## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Rate/Hr | Refernce Website | Equipment Status | Category
Universal Model Research Microscope | [8 empty] | Mineralogical Study | Applied Geology |  |  |  | Up | Characterization
Stereo Binocular Microscopes | [8 empty] | For micropaleontological studies | Applied Geology |  |  |  | Up | Characterization
GPS GeoXT Receiver |  |  | Trimble | [6 empty] | Applied Geophysics |  |  |  | Up | Characterization
GPS ProXR |  |  | Trimble | [6 empty] | Applied Geophysics |  |  |  | Up | Characterization
GPS1200 |  |  | Leica | [6 empty] | Applied Geophysics |  |  |  | Up | Characterization
Proton Precession Magnetometer | [9 empty] | Applied Geophysics |  |  |  | Up | Analytical Measurement
Fluxgate Magnetometer | [9 empty] | Applied Geophysics |  |  |  | Up | Analytical Measurement
Magnetic Susceptibility Meter | [9 empty] | Applied Geophysics |  |  |  | Up | Analytical Measurement
Conductivity Meter | [9 empty] | Applied Geophysics |  |  |  | Up | Analytical Measurement
DC Resistivity Meter | [9 empty] | Applied Geophysics |  |  |  | Up | Analytical Measurement
Standard Proton Gradiometer |  |  |  | GSM-19TG V7.0 | [5 empty] | Applied Geophysics |  |  |  | Up | Analytical Measurement
Seismological Observatory | [9 empty] | Applied Geophysics |  |  |  | Up | Research Infrastructure
Universal Testing Machine | [9 empty] | Civil Engineering |  |  |  | Up | Characterization
Compression Testing Machine | [9 empty] | Civil Engineering |  |  |  | Up | Characterization
Flexural Testing Machine | [9 empty] | Civil Engineering |  |  |  | Up | Characterization
Torsional Testing Machine | [9 empty] | Civil Engineering |  |  |  | Up | Characterization
Triaxial Shear Test Apparatus | [9 empty] | Civil Engineering |  |  |  | Up | Characterization
Direct Shear Test Apparatus | [9 empty] | Civil Engineering |  |  |  | Up | Characterization
Consolidation Test Apparatus | [9 empty] | Civil Engineering |  |  |  | Up | Characterization
SPT CPT Plate Load Test Apparatus | [9 empty] | Civil Engineering |  |  |  | Up | Characterization
Pipe Friction Apparatus | [9 empty] | Civil Engineering |  |  |  | Up | Analytical Measurement
Bernoullis Apparatus | [9 empty] | Civil Engineering |  |  |  | Up | Characterization
Venturi Meter and Orifice Meter Apparatus | [9 empty] | Civil Engineering |  |  |  | Up | Analytical Measurement
Flash Point and Fire Point Test Apparatus | [9 empty] | Civil Engineering |  |  |  | Up | Characterization
Penetration Testing Equipment | [9 empty] | Civil Engineering |  |  |  | Up | Characterization
Softening Point Testing Apparatus | [9 empty] | Civil Engineering |  |  |  | Up | Characterization
Viscosity Testing Apparatus | [9 empty] | Civil Engineering |  |  |  | Up | Characterization
Digital Marshall Test Apparatus | [9 empty] | Civil Engineering |  |  |  | Up | Characterization
Programmable Function Generator | [9 empty] | Electronics Engineering | Communication Lab |  |  | Up | Characterization
Filters | [9 empty] | Electronics Engineering | Communication Lab |  |  | Up | Characterization
Multiplexers | [9 empty] | Electronics Engineering | Communication Lab |  |  | Up | Characterization
Demultiplexers | [9 empty] | Electronics Engineering | Communication Lab |  |  | Up | Characterization
Communication Trainer Kits | [9 empty] | Electronics Engineering | Communication Lab |  |  | Up | Characterization
LabVIEW | [9 empty] | Electronics Engineering | Control Engineering Lab |  |  | Up | Software
Simulink | [9 empty] | Electronics Engineering | Digital Signal Processing Lab |  |  | Up | Software
8085 Microprocessor Kits | [9 empty] | Electronics Engineering | Microprocessor Lab |  |  | Up | Characterization
8086 Microprocessor Kits | [9 empty] | Electronics Engineering | Microprocessor Lab |  |  | Up | Characterization
8051/31 Microcontroller Trainer Kit | [9 empty] | Electronics Engineering | Microprocessor Lab |  |  | Up | Characterization
Stepper Motor Controller Kits | [9 empty] | Electronics Engineering | Microprocessor Lab |  |  | Up | Characterization
Matlab and Simulink | [9 empty] | Electronics Engineering | Nano Electronics and Analog Circuits Lab |  |  | Up | Software
MultiSim with Analog | [9 empty] | Electronics Engineering | Nano Electronics and Analog Circuits Lab |  |  | Up | Software
Filters | [9 empty] | Electronics Engineering | Medici Device Simulation software |  |  | Up | Characterization
Multiplexers | [9 empty] | Electronics Engineering | Medici Device Simulation software |  |  | Up | Characterization
Demultiplexers | [9 empty] | Electronics Engineering | Medici Device Simulation software |  |  | Up | Characterization
Communication Trainer Kits | [9 empty] | Electronics Engineering | Medici Device Simulation software |  |  | Up | Characterization
Spectrum Analyzers | [9 empty] | Electronics Engineering | Medici Device Simulation software |  |  | Up | Analytical Measurement
Gas Chromatograph | [9 empty] | Environmental Engineering | Instrumentation Laboratory |  |  | Up | Characterization
Particle Size Analyser | [9 empty] | Environmental Engineering | Instrumentation Laboratory |  |  | Up | Characterization
Sieve Shaker | [9 empty] | Environmental Engineering | Soil Quality and Soil Mechanics Laboratory |  |  | Up | Analytical Measurement
Muffle Furnace | [9 empty] | Environmental Engineering | Soil Quality and Soil Mechanics Laboratory |  |  | Up | Fabrication
pH and Conductivity Meters | [9 empty] | Environmental Engineering | Soil Quality and Soil Mechanics Laboratory |  |  | Up | Analytical Measurement
Cone Penetrometer | [9 empty] | Environmental Engineering | Soil Quality and Soil Mechanics Laboratory |  |  | Up | Characterization
Infrared Moisture Meter | [9 empty] | Environmental Engineering | Soil Quality and Soil Mechanics Laboratory |  |  | Up | Analytical Measurement
Triaxial Test Apparatus | [9 empty] | Environmental Engineering | Soil Quality and Soil Mechanics Laboratory |  |  | Up | Characterization
Permeameter | [9 empty] | Environmental Engineering | Soil Quality and Soil Mechanics Laboratory |  |  | Up | Analytical Measurement
Consolidation Test Setup | [9 empty] | Environmental Engineering | Soil Quality and Soil Mechanics Laboratory |  |  | Up | Characterization
Sedimentation Test Setup | [9 empty] | Environmental Engineering | Soil Quality and Soil Mechanics Laboratory |  |  | Up | Characterization
pH Meter with Combined Glass Calomel Electrode | [9 empty] | Environmental Engineering | Water Chemistry Laboratory |  |  | Up | Analytical Measurement
TDS Conductivity Meter | [9 empty] | Environmental Engineering | Water Chemistry Laboratory |  |  | Up | Analytical Measurement
Spectrophotometer | [9 empty] | Environmental Engineering | Water Chemistry Laboratory |  |  | Up | Analytical Measurement
Flame Photometer | [9 empty] | Environmental Engineering | Water Chemistry Laboratory |  |  | Up | Characterization
COD Meter | [9 empty] | Environmental Engineering | Water Chemistry Laboratory |  |  | Up | Analytical Measurement
Turbidity Meter | [9 empty] | Environmental Engineering | Water Chemistry Laboratory |  |  | Up | Analytical Measurement
BOD Incubators | [9 empty] | Environmental Engineering | Water Chemistry Laboratory |  |  | Up | Characterization
Universal Trinocular Research Microscope | [9 empty] | Environmental Engineering | Micrometeorological Lab |  |  | Up | Characterization
Trinocular Stereozoom Microscope | [9 empty] | Environmental Engineering | Micrometeorological Lab |  |  | Up | Characterization
Chlorophyll Content Meter | [9 empty] | Environmental Engineering | Micrometeorological Lab |  |  | Up | Analytical Measurement
Colony Counter | [9 empty] | Environmental Engineering | Micrometeorological Lab |  |  | Up | Analytical Measurement
Autoclave | [9 empty] | Environmental Engineering | Micrometeorological Lab |  |  | Up | Fabrication
Student Binocular Microscope | [9 empty] | Environmental Engineering | Micrometeorological Lab |  |  | Up | Characterization
Student Stereozoom Microscope | [9 empty] | Environmental Engineering | Micrometeorological Lab |  |  | Up | Characterization
Stereoscopic Microscope | [9 empty] | Environmental Engineering | Land Use and Hydrogeology Lab |  |  | Up | Characterization
Electronic Digital Planimeter | [9 empty] | Environmental Engineering | Land Use and Hydrogeology Lab |  |  | Up | Analytical Measurement
Sound Level Meter | [9 empty] | Environmental Engineering | Noise Quality Monitoring Lab |  |  | Up | Analytical Measurement
Noise Dose Meter | [9 empty] | Environmental Engineering | Noise Quality Monitoring Lab |  |  | Up | Analytical Measurement
Dosimeter | [9 empty] | Environmental Engineering | Noise Quality Monitoring Lab |  |  | Up | Analytical Measurement
Venturimeter | [9 empty] | Environmental Engineering | Fluid Mechanics Lab |  |  | Up | Analytical Measurement
Orifice Meter | [9 empty] | Environmental Engineering | Fluid Mechanics Lab |  |  | Up | Analytical Measurement
Bernoullis Apparatus | [9 empty] | Environmental Engineering | Fluid Mechanics Lab |  |  | Up | Characterization
Reynolds Apparatus Pitot Tube | [9 empty] | Environmental Engineering | Fluid Mechanics Lab |  |  | Up | Characterization
Fume Hood Chamber | [9 empty] | Environmental Engineering | Air Pollution Lab |  |  | Up | Fabrication
Personal Dust Sampler | [9 empty] | Environmental Engineering | Air Pollution Lab |  |  | Up | Data Monitoring
Stack Monitoring Kit | [9 empty] | Environmental Engineering | Air Pollution Lab |  |  | Up | Data Monitoring
Green House Gas Monitor | [9 empty] | Environmental Engineering | Air Pollution Lab |  |  | Up | Data Monitoring
Portable CO Monitor | [9 empty] | Environmental Engineering | Air Pollution Lab |  |  | Up | Data Monitoring
Auto Exhaust Monitors for Diesel and Petrol Driven Vehicles | [9 empty] | Environmental Engineering | Air Pollution Lab |  |  | Up | Data Monitoring
COD Reactor | [9 empty] | Environmental Engineering | Wastewater Engg. Lab |  |  | Up | Fabrication
Stirrers | [9 empty] | Environmental Engineering | Wastewater Engg. Lab |  |  | Up | Fabrication
Microprocessor based Muffle Furnace | [9 empty] | Environmental Engineering | Wastewater Engg. Lab |  |  | Up | Fabrication
UV-Visible Spectrophotometer | [9 empty] | Environmental Engineering | Wastewater Engg. Lab |  |  | Up | Characterization
Gas Chromatograph | [9 empty] | Environmental Engineering | Wastewater Engg. Lab |  |  | Up | Characterization
Theodolite | [9 empty] | Environmental Engineering | Land Surveying |  |  | Up | Analytical Measurement
Jaw Crusher | [9 empty] | Fuel and Mineral Engineering | Crushing and Grinding |  |  | Up | Fabrication
Roll Crusher | [9 empty] | Fuel and Mineral Engineering | Crushing and Grinding |  |  | Up | Fabrication
Coal Crusher | [9 empty] | Fuel and Mineral Engineering | Crushing and Grinding |  |  | Up | Fabrication
Ball Mill | [9 empty] | Fuel and Mineral Engineering | Crushing and Grinding |  |  | Up | Fabrication
BET Apparatus | [9 empty] | Fuel and Mineral Engineering | Sizing and Classification |  |  | Up | Analytical Measurement
Laser Beam Particle Counter | [9 empty] | Fuel and Mineral Engineering | Sizing and Classification |  |  | Up | Analytical Measurement
Atomic Absorption Spectrophotometer | [9 empty] | Fuel and Mineral Engineering | Analytical Facilities |  |  | Up | Characterization
Flame Photometer | [9 empty] | Fuel and Mineral Engineering | Analytical Facilities |  |  | Up | Analytical Measurement
Metallurgical Microscope | [9 empty] | Fuel and Mineral Engineering | Analytical Facilities |  |  | Up | Characterization
Electronic Balance | [9 empty] | Fuel and Mineral Engineering | Analytical Facilities |  |  | Up | Analytical Measurement
Rheo Viscometer | [9 empty] | Fuel and Mineral Engineering | Analytical Facilities |  |  | Up | Analytical Measurement
DVIII Programable Viscometer | [9 empty] | Fuel and Mineral Engineering | Analytical Facilities |  |  | Up | Analytical Measurement
Digital pH Meter | [9 empty] | Fuel and Mineral Engineering | Analytical Facilities |  |  | Up | Analytical Measurement
Thermal Analyser DTA TGA DSC | [9 empty] | Fuel and Mineral Engineering | Analytical Facilities |  |  | Up | Characterization
CHNSO Analyser | [9 empty] | Fuel and Mineral Engineering | Analytical Facilities |  |  | Up | Analytical Measurement
Flocculation Test Unit | [9 empty] | Fuel and Mineral Engineering | Agglomeration |  |  | Up | Characterization
High Temperature Furnace | [9 empty] | Fuel and Mineral Engineering | Miscellaneous |  |  | Up | Fabrication
Humphrey Spiral Test Rig | [9 empty] | Fuel and Mineral Engineering | Pilot Plant Facilities |  |  | Up | Characterization
CHNSO Analyser | [9 empty] | Fuel and Mineral Engineering | Coal and Coke Analysis Lab |  |  | Up | Analytical Measurement
Calorimeter | [9 empty] | Fuel and Mineral Engineering | Coal and Coke Analysis Lab |  |  | Up | Analytical Measurement
Low Temperature Gray King Assay Furnace | [9 empty] | Fuel and Mineral Engineering | Coal and Coke Analysis Lab |  |  | Up | Fabrication
Drum Test Apparatus | [9 empty] | Fuel and Mineral Engineering | Coal and Coke Analysis Lab |  |  | Up | Characterization
Ergometer | [9 empty] | Management Studies | Human Engineering Laboratory |  |  | Up | Analytical Measurement
BP Measuring Instruments | [9 empty] | Management Studies | Human Engineering Laboratory |  |  | Up | Analytical Measurement
Anthropometer | [9 empty] | Management Studies | Human Engineering Laboratory |  |  | Up | Analytical Measurement
Goniometer | [9 empty] | Management Studies | Human Engineering Laboratory |  |  | Up | Analytical Measurement
Workplace Environmental Monitoring Instruments | [9 empty] | Management Studies | Human Engineering Laboratory |  |  | Up | Data Monitoring
Stress Testing | [9 empty] | Management Studies | Human Engineering Laboratory |  |  | Up | Characterization
Physical Fitness Test | [9 empty] | Management Studies | Human Engineering Laboratory |  |  | Up | Characterization
Anemometer | [9 empty] | Management Studies | Work Study Laboratory |  |  | Up | Analytical Measurement
Clinometer | [9 empty] | Management Studies | Work Study Laboratory |  |  | Up | Analytical Measurement
Inclinometer | [9 empty] | Management Studies | Work Study Laboratory |  |  | Up | Analytical Measurement
Dry and Wet Bulb Thermometer | [9 empty] | Management Studies | Work Study Laboratory |  |  | Up | Analytical Measurement
AutoCAD | [9 empty] | Management Studies | Systems Laboratory |  |  | Up | Software
MATLAB | [9 empty] | Management Studies | Systems Laboratory |  |  | Up | Software
System Dynamics Software IGRASP | [9 empty] | Management Studies | Systems Laboratory |  |  | Up | Software
Kohs Block Design Test | [8 empty] | Intelligence Testing | Management Studies | Psychology Laboratory |  |  | Up | Characterization
Rotameter showing flowrate of Liquid Refrigerant | [9 empty] | Mechanical Engineering | Ice Plant Experimental Setup |  |  | Up | Analytical Measurement
USB Data Monitor | [8 empty] | Clean Energy Trainer – Experiment Set for Energy Generation, Storage and Supply | Mechanical Engineering |  |  |  | Up | Data Monitoring
Kaplan Turbine Experimental Setup | [9 empty] | Mechanical Engineering | Fluid Mechanics and Fluid Machines |  |  | Up | Characterization
Pelton Wheel Experimental Setup | [9 empty] | Mechanical Engineering | Fluid Mechanics and Fluid Machines |  |  | Up | Characterization
Multiple Experimental Setup | [9 empty] | Mechanical Engineering | Fluid Mechanics and Fluid Machines |  |  | Up | Characterization
HAMMER Software | [8 empty] | Pipe Network Transient Analysis Software | Mechanical Engineering | Fluid Mechanics and Fluid Machines |  |  | Up | Software
Sine Wave Vibro Viscometer | [9 empty] | Mechanical Engineering | Tribology Laboratory |  |  | Up | Analytical Measurement
Ultrasonicator | [9 empty] | Mechanical Engineering | Tribology Laboratory |  |  | Up | Characterization
Stabinger Viscometer | [9 empty] | Mechanical Engineering | Tribology Laboratory |  |  | Up | Analytical Measurement
Pin on Disc Wear Measuring Machine | [9 empty] | Mechanical Engineering | Tribology Laboratory |  |  | Up | Analytical Measurement
Ferrogram Maker | [9 empty] | Mechanical Engineering | Tribology Laboratory |  |  | Up | Fabrication
ANSYS | [9 empty] | Mechanical Engineering | CAD Laboratory |  |  | Up | Software
ABAQUS | [9 empty] | Mechanical Engineering | CAD Laboratory |  |  | Up | Software
Universal Testing Machines | [9 empty] | Mechanical Engineering | Strength of Material |  |  | Up | Characterization
Micro Hardness Testing Machine | [9 empty] | Mechanical Engineering | Strength of Material |  |  | Up | Characterization
Torsion Testing Machine | [9 empty] | Mechanical Engineering | Strength of Material |  |  | Up | Characterization
Blower Testing Rig | [9 empty] | Mining Machinery Engineering | Fluid Flow Machines Laboratory |  |  | Up | Characterization
Two Stage Axial Flow Fan Testing Rig | [9 empty] | Mining Machinery Engineering | Fluid Flow Machines Laboratory |  |  | Up | Characterization
Steel Wire Fatigue Strength Measuring Setup | [9 empty] | Mining Machinery Engineering | Mining Machinery Model Laboratory |  |  | Up | Analytical Measurement
Material Testing System (MTS) | MTS | [7 empty] | (100 tones),an electro-hydraulic stiff testing machine, is used for testing the various physico-mechanical properties of rocks under different conditions of loading. | Mining Engineering | Rock Mechanics Laboratory |  |  | Up | Characterization
Compression Testing Machine 600 Tones | [8 empty] | used for determining various strength parameters of rocks & building materials and for testing of mine supports including hydraulic legs for longwall roof support. | Mining Engineering | Rock Mechanics Laboratory |  |  | Up | Characterization
Digital Storage Oscilloscope | [8 empty] | along with borehole pressure transducer, for recording detonation pressure inside blast holes | Mining Engineering | Rock Excavation Laboratory |  |  | Up | Characterization
Near Field Acceleration Measuring Setup | [8 empty] | for understanding rock-explosive interaction for blast damage assessment | Mining Engineering | Rock Excavation Laboratory |  |  | Up | Analytical Measurement
Real Time Aerosol Monitor | [9 empty] | Mining Engineering | Mine Ventilation and Environment Laboratory |  |  | Up | Data Monitoring
Microprocessor based Gas Chromatograph System | [9 empty] | Mining Engineering | Mine Ventilation and Environment Laboratory |  |  | Up | Characterization
GIS Software | [9 empty] | Mining Engineering | Mine Ventilation and Environment Laboratory |  |  | Up | Software
Gas Chromatograph | [9 empty] | Petroleum Engineering | Enhanced Oil Recovery Laboratory |  |  | Up | Characterization
Rheometer | [9 empty] | Petroleum Engineering | Instrumental Analysis and Measurement Laboratory |  |  | Up | Analytical Measurement
Viscometer | [9 empty] | Petroleum Engineering | Instrumental Analysis and Measurement Laboratory |  |  | Up | Analytical Measurement
Tensiometer | [9 empty] | Petroleum Engineering | Instrumental Analysis and Measurement Laboratory |  |  | Up | Analytical Measurement
Optical Microscope | [9 empty] | Petroleum Engineering | Instrumental Analysis and Measurement Laboratory |  |  | Up | Characterization