## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Rate/Hr | Refernce Website | Equipment Status | Category
Electrical Discharge Machine (EDM) | EDM | AMP Lab | Electronica Machine Tools Ltd Pune | SMART ZNC |  | External | MHRD |  | Table 550x350mm, Traverse (X,Y,Z) 300,200,250, | Mechanical Engineering | AMP Lab |  |  | Up | Fabrication
EMCO Lathe CNC |  | AMP Lab | EMCO Maier Austria | Emco Concept Turn 250 |  | External | MHRD |  | Max. Turning diameter Dia. 85 mm, Max. Part length 225 mm, Max. Bar work diameter Dia. 25.5 mm, Travel X 100 mm, Travel Z 300 mm. | Mechanical Engineering | AMP Lab |  |  | Up | Fabrication
EMCO Milling CNC |  | AMP Lab | EMCO Maier Austria | Emco Concept Mill 155 |  | External | MHRD |  | Table 520x180mm, Traverse (X,Y,Z) 300,200,300, | Mechanical Engineering | AMP Lab |  |  | Up | Fabrication
Cutting Tool Dynamometer |  | AMP Lab | Kistler Instruments AG Switzerland | 9257B |  | External | MHRD |  | 8 channel, Force application above top surface Fx, Fy, Fz: -5to5 kN. Range when turning Fx&Fy ≤0,5 Fz -5to10kN | Mechanical Engineering | AMP Lab |  |  | Up | Analytical Measurement
Tungsten Inert Gas (TIG) Welding Machine | TIG | AMP Lab | EWM Hightec Welding Germany | Triton220 |  | External | MHRD |  | 220V AC/DC, Open circuit voltage 45V, Microprocessor digital inverter IGBT based | Mechanical Engineering | AMP Lab |  |  | Up | Fabrication
Metal Inert Gas (MIG) Welding Machine | MIG | AMP Lab | EWM Hightec Welding Germany | Phoenix351 |  | External | MHRD |  | 5A/14.3V, Open circuit voltage92V | Mechanical Engineering | AMP Lab |  |  | Up | Fabrication
Ultrasonic Plastic Welding USW |  | AMP Lab | National Indosonic | UW-1200 |  | External | MHRD |  |  | Mechanical Engineering | AMP Lab |  |  | Up | Fabrication
Ultrasonic Metal Welding USW |  | AMP Lab | National Indosonic | UW2000 |  | External | MHRD |  |  | Mechanical Engineering | AMP Lab |  |  | Up | Fabrication
Abrasive Water Jet AWJM |  | ANNEXE | OMAX corporation USA | 2626 Jet machining center |  | External | MHRD |  | Position accuracy ±0.08mm, Table size 1168mm x 787mm, X-Y Cutting Travel 737mm x 660mm | Mechanical Engineering | Central Facility |  |  | Up | Fabrication
Injection Moulding IMM |  | ANNEXE | Ferromatik Milacron India Pvt Ltd | Hydron Servo-150 |  | External | MHRD |  | Clamp force 150tons, Minimum mould height 200mm | Mechanical Engineering | Central Facility |  |  | Under Maintenance | Fabrication
Analog UTM Machine | UTM | AMIC - ANNEXE | Fine Meta Test | 1000 TUNS |  | External | MHRD |  | For Bending, Shear, compression & Tension | Mechanical Engineering | MTT Lab |  |  | Up | Characterization
Fatigue Testing Machine |  | ANNEXE | Meta Test Instruments | MFT-8D |  | External | MHRD |  | For Fatigue Test | Mechanical Engineering | MTT Lab |  |  | Up | Characterization
Hardness Tester |  | ANNEXE | Meta Test Instruments | Rockwell Brinell |  | External | MHRD |  | For Rockwell & Brinell Test | Mechanical Engineering | MTT Lab |  |  | Up | Characterization
Torsion Testing Machine |  | ANNEXE | Meta Test Instruments | MTT E500NM |  | External | MHRD |  | Torsion Tet | Mechanical Engineering | MTT Lab |  |  | Up | Characterization
Impact Testing Machine |  | ANNEXE | Fasne Test Equipment | Fasne Test |  | External | MHRD |  | Impact Test | Mechanical Engineering | MTT Lab |  |  | Up | Characterization
Diesel Engine Test Rig |  | ANNEXE | VI Microsystem | IndicaEuro 2 Engine |  | External | MHRD |  | IndicaEuro 2 Engine | Mechanical Engineering | Automobile Lab |  |  | Up | Characterization
Petrol Engine Test Rig |  | ANNEXE | Data Cone | wagon R Euro 2 Engine |  | External | MHRD |  | wagon R Euro 2 Engine | Mechanical Engineering | Automobile Lab |  |  | Up | Characterization
VCR Engine with Gas Analyzer |  | ANNEXE | EDU Tech | Single Cylinder |  | External | MHRD |  | Condination Monitoring | Mechanical Engineering | Automobile Lab |  |  | Up | Characterization
FDM 3D Printer |  | CAD/CAM Lab | Adobe | Creator Pro |  | External | MHRD |  | 3D Printing | Mechanical Engineering | CAD CAM Lab |  |  | Up | Fabrication
FDM 3D Printer |  | CAD/CAM Lab | FlashForge | Creator Pro |  | External | MHRD |  | 3D Printing | Mechanical Engineering | CAD CAM Lab |  |  | Up | Fabrication
Rapid Prototype (RP) Machine | RP | Workshop | Stratasys | 400mc |  | External | MHRD |  | 3D Printing | Mechanical Engineering | Mechanical |  |  | Down | Fabrication
Laser Vibrometer LDV |  | MDV Lab | Polytec | PDV 100 |  | External | MHRD |  | For aquire the Vibration Signol | Mechanical Engineering | MDV Lab |  |  | Up | Fabrication
Electrodynamic Shaker |  | MDV Lab | Micron Roorkee | MEV 0050 |  | External | MHRD |  | For aquire the Vibration Signol | Mechanical Engineering | MDV Lab |  |  | Up | Characterization
Roughness Tester Contact Type |  | MDV Lab | TESA | Rogo G |  | External | MHRD |  | Surface Roughness, Profilo meter | Mechanical Engineering | MDV Lab |  |  | Up | Characterization
Roughness Tester Non Contact Type |  | deLOGIC Lab | Mitutoyo South Asia Pvt Ltd | SJ 500 |  | External | DST GoI |  | Surface Roughnes, Profilo meter | Mechanical Engineering | deLOGIC Lab |  |  | Up | Characterization
3D Laser Scanner |  | deLOGIC Lab | APM Technologies | ATIS |  | External | DST GoI |  | GOM Inspect | Mechanical Engineering | deLOGIC Lab |  |  | Up | Analytical Measurement