## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Rate/Hr | Refernce Website | Equipment Status | Category
Pin on Disc Tribometer |  | Tribology Lab M 407 | Ducom Instruments Pvt Ltd | TR-20LE-PHM 400-CHM 600 |  | Internal | Institution |  | Adhesive wear and friction analysis | Mechanical Engineering | Tribology Lab |  |  | Up | Analytical Measurement
Subsonic Wind Tunnel with 3 Component Force Balance |  | workshop area |  |  |  | External | Science and Engineering Research Board |  | Lift and Drag force measurement | Mechanical Engineering | Wind Tunnel Laboratory |  |  | Up | Analytical Measurement
High Speed Digital Camera |  |  | AOS | Promon 501 |  | External | DST GoI |  | high speed imaging | Mechanical Engineering | Boiling Heat Transfer Laboratory |  |  | Up | Analytical Measurement
Free Vibration Setup |  | M 403 | Dewesoft | Dewesoft 7.0 uniaxial accelormeter KISTLER Impact hammer KISTLER |  | External | DST GoI |  | Modal analysis (FRF, mode shapes, Damping ratio) | Mechanical Engineering | Advance Dynamic Lab |  |  | Up | Characterization
Forced Vibration Setup |  | M 403 | MICRON | Amplifer MPA- 0100 Shaker 50 N MEV - 0050 Waveform Generator SMG5229 |  | External | DST GoI |  | FFT plot, Damping Ratio | Mechanical Engineering | Advance Dynamic Lab |  |  | Up | Characterization
Compressor Cascade Wind Tunnel |  | workshop area | Altech |  |  | External | DST GoI |  | Max velocity at test section = 30 m/s, Number of blades 5, test section size 150mm x 400 mm, Low speed | Mechanical Engineering | Turbomachinery Lab |  |  | Up | Characterization
Combined Vibration Test System with Climatic Condition |  | #003, GF, Mechanical Building | Pecific Dynamics Roorkee |  |  | External | DST GoI |  | Temperature Range (-35 to 170 Deg. C.), Humidity (10 to 90 % RH), Max. Displacement (38 mm), Shaker (600 kgf), Power Amplifier (5 to 4000 Hz), Environmental Chamber (576 ltrs) | Mechanical Engineering | Computational Mechanics Lab |  |  | Up | Characterization
Rolling Machine |  | Mechanical Department M006 | Phinitek Engineers |  |  | Internal | Institution |  | Flat Roll and Groove Roll | Mechanical Engineering | Manufacturing Laboratory |  |  | Up | Fabrication
Image Analyser (IA) | IA | Mechanical Department M007 | Expert Vision Labs Pvt Ltd | Bovis MP 2000 |  | Internal | Institution |  | Microscope (4X,10X,40X,100X) equiped with Biovis Material Plus Software For porosity, microstructure etc. | Mechanical Engineering | Manufacturing Laboratory |  |  | Up | Characterization
Material Testing Machine UTM |  | Mechanical Department M008 | Tinius Olsen | H75KS |  | External | TEQIP |  | Loading upto 50KN with jog speed of 0.001-500 mm/min for finding mechanical propeties. | Mechanical Engineering | Manufacturing Laboratory |  |  | Up | Characterization
Micro Hardness Testing Machine (MHT) | MHT | Mechanical Department M009 | Omni Tech | MVS-S-AUTO |  | Internal | Institution |  | Vicker's and Knoop Hardness with loading capacity of 1-2000 grams | Mechanical Engineering | Manufacturing Laboratory |  |  | Up | Characterization
Wire EDM (WEDM) | WEDM | Mechanical Department M010 | Electronic Pvt Ltd | ELPLUS 15 |  | Internal | Institution |  | Dia of wire: 0.15,0.20,0.25mm, deionized water setup for machining materials like steel etc. | Mechanical Engineering | Manufacturing Laboratory |  |  | Up | Fabrication
Vacuum Arc Melting (VAM) | VAM | Mechanical Department M011 | Vacuum Techniques Pvt Ltd | VT ACG 03 |  | Internal | Institution |  | Tungsten arc with argon gas supply capable of melting 4 (10gms) buttons and 1bar (25g) for preparation of alloys. | Mechanical Engineering | Manufacturing Laboratory |  |  | Up | Fabrication
Vickers Hardness Tester VHB |  | Mechanical Department M012 | Phinitek Engineers |  |  | Internal | Institution |  | Hardness | Mechanical Engineering | Manufacturing Laboratory |  |  | Down | Characterization
3D Printer (3DP) | 3DP | Mechanical Department M322 | Aha Jaipur |  |  | External | DST GoI |  | 3D Printer | Mechanical Engineering | Advanced Manufacturing Laboratory |  |  | Up | Fabrication
Extruder |  | Mechanical Department M322 | Aasabi Thane |  |  | External | DST GoI |  | Single screw extruder | Mechanical Engineering | Advanced Manufacturing Laboratory |  |  | Up | Fabrication
Suspension Test Rig (STR) Damper Testing Machine (DTM) | STR DTM | Vehicle Dynamics Lab M014 | HEICO Ltd New Delhi |  |  | External | MHRD |  | Hydraulic equipment for testing dampers and vehicle quarter car suspension. 20 kN capacity actuator with stroke of 150 mm. Peak actuator velocity of 1.2 m/s.Moog Servo valve actuator with Moog controller and DAQ | Mechanical Engineering | Vehicle Dynamics Lab |  |  | Down | Characterization
Dynamic Testing Machine (DTM) | DTM | Vehicle Dynamics Lab M014 | Geotran Roorkee |  |  | External | DST GoI |  | Damper testing machine actuated by hydraulic actuator with loading capacity of 10kN. Controlled by sine wave controller measures damper force and displacement with stoke length of 100mm. | Mechanical Engineering | Vehicle Dynamics Lab |  |  | Up | Characterization
Vehicle Vibration Measurement Instrumentation (VVMI) | VVMI | Vibration and Condition Monitoring Lab M018 | Crystal Instruments and PCB Piezotronics |  |  | External | MHRD |  | Spyder 80X 8 channel DAQ, uniaxial and triaxial accelerometers, LVDT | Mechanical Engineering | Vibration and Condition Monitoring Lab |  |  | Up | Analytical Measurement
Electrodynamic Shakers 25 kg 50 kg 100 kg |  | Vibration and Condition Monitoring Lab M018 | Saraswati Dynamics Pvt Ltd Roorkee |  |  | External | TEQIP |  | Shaker of capacity 25 kg, 50 kg and 100 kg with digital switching power amplifier. Can be used with signal generator | Mechanical Engineering | Vibration and Condition Monitoring Lab |  |  | Up | Characterization
Real Time Vehicular Vibration Control Instrumentation |  | Vibration and Condition Monitoring Lab M018 | National Instruments and PCB Electronics |  |  | External | MHRD |  | CRIO-9045 controller with chassis, Analog Input module, Digital I/O module, IEPE Daq modules, Uni Axial Acceletometers | Mechanical Engineering | Vibration and Condition Monitoring Lab |  |  | Up | Characterization
Photoluminescence (PL) Spectrometer | PL | PH008-Basic science block, Ground floor | Horiba | Fluoromax-4CP |  | External | MHRD |  | The equipment is used to record room tempearture photoluminescence from liquid as well as solid samples in the form of powders or thin films. Facility also has provision to record room temperture fluorescence and phosphoresence lifetime measurement of molecules. | Physics | Advanced Instrumentation Facility |  |  | Up | Characterization
Micro Hardness Tester CMT |  | PH115, Basic Science Block, First floor | CLEMEX Canada | CLEMEX CMT-HD |  | External | TEQIP I |  | CLEMEX CMT Software controlled microhardness tester with Knoop and Vickers Indenter with variable loads | Physics | Material Processing Lab |  |  | Up | Characterization
Rigaku Miniflex Table Top Powder X-ray Diffraction (PXRD) | PXRD | PH008-Basic science block, Ground floor | Rigaku | Rigaku miniflex 600 |  | External | DST GoI |  | Powder diffraction of samples | Physics | Advanced Instrumentation Facility |  |  | Up | Characterization
Fluke 435 UNI Power Quality Analyzer |  | Drives Lab | Fluke | Fluke-435 II |  | External | Science and Engineering Research Board |  |  | Electrical and Electronics Engineering | Drives Lab |  |  | Up | Characterization
DSPACE ACE 1104 CLP USB Hardware and Software |  | AEC DEC Lab |  |  |  | Internal | Institution |  |  | Electrical and Electronics Engineering | AEC DEC Lab |  |  | Up | Characterization
ACE MLBX 1302T Real Time Embedded Controller BOXRTI EMC BS USB |  | Research Lab for Dr. BVP |  | DS 1202 SN 764132 |  | External | DST GoI |  |  | Electrical and Electronics Engineering | Research Lab for Dr. BVP |  |  | Up | Characterization
Programmable AC DC Electronic Load IT 8615 420 V 0-20 A 1800 W 50 Hz |  | Research Lab |  | IT8615 |  | External | Science and Engineering Research Board |  |  | Electrical and Electronics Engineering | Research Lab |  |  | Up | Characterization
Scanning Electron Microscope (SEM) | SEM | Metallurgical & Materials Engg. Dept. | Jeol | JSM-6380LA |  | External | TEQIP |  | Jeol Model JSM 6380 LA Analytical Scanning Electron Microscope | Metallurgical and Materials Engineering | SEM Lab |  |  | Up | Characterization
Particle Size Analyser |  | Metallurgical & Materials Engg. Dept. | Ankersmid | CIS-50L |  | External | TEQIP |  | Particle Size Analyser for mearuing particle size from0.1 to 300 micro mere with lens A | Metallurgical and Materials Engineering | Furnace Lab |  |  | Down | Characterization
High Energy Rate Ball Mill |  | Metallurgical & Materials Engg. Dept. | Retsch | PM-100 |  | External | TEQIP |  |  | Metallurgical and Materials Engineering | Electrospinning Nano Tech II |  |  | Up | Fabrication
Contact Angle Measurement System |  | Metallurgical & Materials Engg. Dept. | Kruff Germany | DSA100S |  | External | TEQIP III |  | Standard System for fully automatic measurement of static and Dynamic Contact angle & surface free energy calculation consisting of: mesuring range 0° - 180°. Resolution: +/- 0.1° | Metallurgical and Materials Engineering | CRC Lab |  |  | Up | Analytical Measurement
Energy Dispersive X-ray Spectroscopy for JEOL JSM 6380 |  | Metallurgical & Materials Engg. Dept. | Jeol | Element Inlne |  | External | TEQIP III |  |  | Metallurgical and Materials Engineering | SEM Lab |  |  | Up | Characterization