## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Rate/Hr | Refernce Website | Equipment Status | Category
Base Model for Experiments in Fluid Mechanics |  |  | GUNT Geratebau GmbH | HM 150 | [5 empty] | Mechanical Engineering | Mechanical Lab |  |  | Up | Research Equipment
Osborne Reynold Demonstrator |  |  | GUNT Geratebau GmbH | HM 150.18 | [5 empty] | Mechanical Engineering | Mechanical Lab |  |  | Up | Research Equipment
Cavitation Demonstrator |  |  | GUNT Geratebau GmbH | ST 250 | [5 empty] | Mechanical Engineering | Mechanical Lab |  |  | Up | Research Equipment
Bernoullis Principle |  |  | GUNT Geratebau GmbH | HM 150.07 | [5 empty] | Mechanical Engineering | Mechanical Lab |  |  | Up | Research Equipment
Stability of Floating Bodies |  |  | GUNT Geratebau GmbH | HM 150.06 | [5 empty] | Mechanical Engineering | Mechanical Lab |  |  | Up | Research Equipment
Methods of Flow Measurement |  |  | GUNT Geratebau GmbH | HM 150.13 | [5 empty] | Mechanical Engineering | Mechanical Lab |  |  | Up | Analytical Measurement
Pipe Friction Training Panel |  |  | GUNT Geratebau GmbH | HL 102 | [5 empty] | Mechanical Engineering | Mechanical Lab |  |  | Up | Research Equipment
Series Parallel Connected Pumps |  |  | GUNT Geratebau GmbH | HM 150.16 | [5 empty] | Mechanical Engineering | Mechanical Lab |  |  | Up | Research Equipment
Francis Turbine and Pelton Wheel |  |  | GUNT Geratebau GmbH | HM 365.31 | [5 empty] | Mechanical Engineering | Mechanical Lab |  |  | Up | Research Equipment
Universal Drive and Brake Unit |  |  | GUNT Geratebau GmbH | HM 365 | [5 empty] | Mechanical Engineering | Mechanical Lab |  |  | Up | Research Equipment
Turbine Supply Module |  |  | GUNT Geratebau GmbH | HM 365.32 | [5 empty] | Mechanical Engineering | Mechanical Lab |  |  | Up | Research Equipment
Water Hammer Apparatus and Surge Chamber |  |  | GUNT Geratebau GmbH | HM 156 | [5 empty] | Mechanical Engineering | Mechanical Lab |  |  | Up | Research Equipment
Brinell Hardness Tester |  |  | Blue Star Ltd | BSHT-3000-MB | [5 empty] | Mechanical Engineering | Strength of Material Lab |  |  | Up | Research Equipment
Digital Torsion Testing Machine |  |  | Blue Star Ltd | BSHT-1000-FD | [5 empty] | Mechanical Engineering | Strength of Material Lab |  |  | Up | Research Equipment
Rockwell Hardness Tester |  |  | Blue Star Ltd | BSHT-FDRS | [5 empty] | Mechanical Engineering | Strength of Material Lab |  |  | Up | Research Equipment
Vicker Hardness Testing Machine |  |  | Blue Star Ltd | BSHT-FHV1-50 | [5 empty] | Mechanical Engineering | Strength of Material Lab |  |  | Up | Research Equipment
Drilling Machine |  |  |  | MS1936 & MS1937 | [5 empty] | Mechanical Engineering | Fitting Shop |  |  | Up | Research Equipment
Grinding Machine |  |  |  | BG41 | [5 empty] | Mechanical Engineering | Fitting Shop |  |  | Up | Research Equipment
Power Hacksaw Machine |  |  |  | OH8 | [5 empty] | Mechanical Engineering | Fitting Shop |  |  | Up | Research Equipment
Cut Off Machine |  |  |  | SN308001106 | [5 empty] | Mechanical Engineering | Fitting Shop |  |  | Up | Research Equipment
Bechtop CNC Milling Machine |  |  |  | XLMILL | [5 empty] | Mechanical Engineering | Tool Room Shop |  |  | Up | Research Equipment
Bechtop CNC Lathe Machine |  |  |  | XLTURN | [5 empty] | Mechanical Engineering | Tool Room Shop |  |  | Up | Research Equipment
Sinergynano Systems |  |  |  | HYPER-15 | [5 empty] | Mechanical Engineering | Tool Room Shop |  |  | Up | Research Equipment
Centre Lathe |  |  |  | 1050/1 | [5 empty] | Mechanical Engineering | Machine Shop |  |  | Up | Research Equipment
Heavy Duty all Gear Shaping Machine |  |  |  | AG24 | [5 empty] | Mechanical Engineering | Machine Shop |  |  | Up | Research Equipment
Pedestal Grinder |  |  |  | PG 573 | [5 empty] | Mechanical Engineering | Machine Shop |  |  | Up | Research Equipment
High Speed Precision Lathe |  |  |  | SC250 | [5 empty] | Mechanical Engineering | Machine Shop |  |  | Up | Research Equipment
Surface Grinding Machine |  |  |  | SG4 | [5 empty] | Mechanical Engineering | Machine Shop |  |  | Up | Research Equipment
Pillar Drilling Machine |  |  |  | S25 | [5 empty] | Mechanical Engineering | Machine Shop |  |  | Up | Research Equipment
Hydraulic Manual Stacker |  |  |  | NKMS1516 | [5 empty] | Mechanical Engineering | Machine Shop |  |  | Up | Research Equipment
Compound Miter Saw |  |  |  | GCM 10M | [5 empty] | Mechanical Engineering | Carpentry Shop |  |  | Up | Research Equipment
Circular Saw |  |  |  | C 7SS | [5 empty] | Mechanical Engineering | Carpentry Shop |  |  | Up | Research Equipment
Arc Welding Machine |  |  |  | 312 | [5 empty] | Mechanical Engineering | Welding Shop |  |  | Up | Research Equipment
Plasma Arc Cutting |  |  | Hypertherm | Powermax 105 | [5 empty] | Mechanical Engineering | Welding Shop |  |  | Up | Research Equipment
Oxygen and Acetylene Gas welding Set |  |  | Bosch | [6 empty] | Mechanical Engineering | Welding Shop |  |  | Up | Research Equipment
Tig and Mig Welding |  |  | EWM | Phoenix 405 plus TDM | [5 empty] | Mechanical Engineering | Welding Shop |  |  | Up | Research Equipment
Grinding Wheel |  |  | Bosch | GWS 6-100 | [5 empty] | Mechanical Engineering | Welding Shop |  |  | Up | Research Equipment
High Temperature Furnace |  |  | Voltam | VFI-1400 | [5 empty] | Mechanical Engineering | Welding Shop |  |  | Up | Research Equipment
Apparatus of Equilibrium of Moments on a Two Arm Lever |  |  | GUNT Geratebau GmbH | EM-409 |  |  |  |  | Fundamentals of the equilibrium of moments and application of the law of levers | Mechanical Engineering | Theory of Machine Lab |  |  | Up | Research Equipment
Flywheel Apparatus |  |  | GUNT Geratebau GmbH | TM-612 |  |  |  |  | Uniform acceleration in angular motion | Mechanical Engineering | Theory of Machine Lab |  |  | Up | Research Equipment
Fundamentals of Statics Apparatus |  |  | GUNT Geratebau GmbH | TM-110 |  |  |  |  | Versatile experimental unit demonstrating planar mechanical force systems | Mechanical Engineering | Theory of Machine Lab |  |  | Up | Research Equipment
Hookes Law Apparatus |  |  | GUNT Geratebau GmbH | TM-400 |  |  |  |  | Elastic behaviour of tension springs under load | Mechanical Engineering | Theory of Machine Lab |  |  | Up | Research Equipment
Cam Analysis Apparatus |  |  | GUNT Geratebau GmbH | GL 112 |  |  |  |  | 4 different cams, 2 different tracers, Influence of spring rigidity and moving mass, Plotting of lift curves | Mechanical Engineering | Theory of Machine Lab |  |  | Up | Research Equipment
Whirling Shaft Apparatus |  |  | GUNT Geratebau GmbH | TM 625 |  |  |  |  | Investigation of the natural modes on 6 shafts withcontinuous mass distribution and of the Level shaft, Optimal visibility and simultaneous protection | Mechanical Engineering | Theory of Machine Lab |  |  | Up | Research Equipment
System for Data Acquisition for Whirling Shaft Apparatus |  |  | GUNT Geratebau GmbH | TM 620.20 |  |  |  |  | Measurement and representation of wave oscillations as a function of speed, Suitable for all experiments with TM 620 andTM 625 experimental units | Mechanical Engineering | Theory of Machine Lab |  |  | Up | Research Equipment
Universal Governor Apparatus |  |  | GUNT Geratebau GmbH | TM 632 |  |  |  |  | Determination of the characteristic curves of different centrifugal force governors | Mechanical Engineering | Theory of Machine Lab |  |  | Up | Research Equipment
Motorised Gyroscope Apparatus |  |  | GUNT Geratebau GmbH | TM 630 |  |  |  |  | Demonstration of the mode shapes of a gyroscope | Mechanical Engineering | Theory of Machine Lab |  |  | Up | Research Equipment
Belt Friction Apparatus |  |  | GUNT Geratebau GmbH | TM 220 |  |  |  |  | Friction of V-belts and flat belts on metal pulleys | Mechanical Engineering | Theory of Machine Lab |  |  | Up | Research Equipment
Static and Dynamic Balancing Apparatus |  |  | GUNT Geratebau GmbH | TM 170 |  |  |  |  | Illustration of fundamental processes of balancing | Mechanical Engineering | Theory of Machine Lab |  |  | Up | Research Equipment
Creo 3.0 |  |  | Parametric Technology Corporation (PTC) | [6 empty] | Mechanical Engineering | Computational Lab |  |  | Up | Software
Ansys |  |  | Ansys Inc. | [6 empty] | Mechanical Engineering | Computational Lab |  |  | Up | Software
Converge CFD |  |  | Convergent Science | [6 empty] | Mechanical Engineering | Computational Lab |  |  | Up | Software
Master CAM |  |  | CNC Software Inc. | [6 empty] | Mechanical Engineering | Computational Lab |  |  | Up | Software
Automation Studio |  |  | Famic Technologies | [6 empty] | Mechanical Engineering | Computational Lab |  |  | Up | Software
Tecplot Academic Suite Software | [9 empty] | Mechanical Engineering | Computational Lab |  |  | Up | Software
Heat Exchanger Supply Unit |  |  | GUNT Geratebau GmbH | WL 110 |  |  |  |  | supply unit for heat exchangers, temperature controller for controlling the temperature of hot water | Mechanical Engineering | Thermal Science Lab |  |  | Up | Research Equipment
Shell and Tube Heat Exchanger |  |  | GUNT Geratebau GmbH | WL 110.03 |  |  |  |  | Cross Parallel and Cross Counter flow operations | Mechanical Engineering | Thermal Science Lab |  |  | Up | Research Equipment
Tubular Heat Exchanger |  |  | GUNT Geratebau GmbH | WL 110.01 |  |  |  |  | Parallel and counter flow operations | Mechanical Engineering | Thermal Science Lab |  |  | Up | Research Equipment
Test Unit for Free and Forced Convection |  |  | GUNT Geratebau GmbH | WL 352 |  |  |  |  | Heat transfer in air duct by free or forced convection | Mechanical Engineering | Thermal Science Lab |  |  | Up | Research Equipment
Heat Conduction Study Unit |  |  | GUNT Geratebau GmbH | WL 372 |  |  |  |  | Measurement of linear and radial heat conduction | Mechanical Engineering | Thermal Science Lab |  |  | Up | Research Equipment
Thermal Radiation Unit |  |  | GUNT Geratebau GmbH | WL 362 |  |  |  |  | Black body emitter with thermopile to investigate thermal radiation, Luxmeter to measure the illuminance | Mechanical Engineering | Thermal Science Lab |  |  | Up | Research Equipment
Heat Conduction in Gases and Liquids |  |  | GUNT Geratebau GmbH | WL 373 |  |  |  |  | Study of heat conduction through liquid and gas. | Mechanical Engineering | Thermal Science Lab |  |  | Up | Research Equipment
Vapour Compression Refrigeration Unit |  |  |  | ET 101 |  |  |  |  | Piston compressor, thermostatic expansion valve, evaporator and condenser to study vapour compression refrigeration | Mechanical Engineering | Thermal Science Lab |  |  | Up | Research Equipment
Vapour Absorption Refrigeration Unit |  |  |  | ET 480 |  |  |  |  | Evaporator, absorber, boiler with bubble pump, condenserto studyVapour absorption refrigeration | Mechanical Engineering | Thermal Science Lab |  |  | Up | Research Equipment
Oil Bath |  |  | Rescholar Equipment | OB 2 | [5 empty] | Mechanical Engineering | Thermal Science Lab |  |  | Up | Research Equipment
Flue Gas Analyzer |  |  | Testo | TESTO 350 |  |  |  |  | To carrying out precise exhaust gas emission measurements and providing proper data administration | Mechanical Engineering | Thermal Science Lab |  |  | Up | Research Equipment
Computer Based Variable Compression Ratio Multi Fuel Engine Test Rig |  |  | TECH ED | IC10C |  |  |  |  | To conduct performance test on variable compression ratio multi fuel engine with eddy current dynamometer . | Mechanical Engineering | Thermal Science Lab |  |  | Up | Research Equipment
Air Velocity Temperature and Humidity Meter |  |  | Testo | TESTO 410-2 |  |  |  |  | Measures air flow, air temperature, and humidity quickly, easily, and accurately. The compact testo 410-2 air and humidity meter is ideal for fast comfort spot checks and timed averaging calculation | Mechanical Engineering | Thermal Science Lab |  |  | Up | Research Equipment
Data Acquisition System |  |  | Keysight Technologies | 34980A |  |  |  |  | Compact, economical, one-box solution for medium to high-density switch/measure applications in design verification, automated test and data acquisition | Mechanical Engineering | Thermal Science Lab |  |  | Up | Research Equipment
Pyranometer |  |  | KIPP & ZONEN B.V. | CMP6+METOEN |  |  |  |  | To carry out global solar radiation measurement research on a plane/ level surface | Mechanical Engineering | Thermal Science Lab |  |  | Up | Research Equipment
Upright Metallurgical Microscope |  |  | Olympus | BX51; DIGITAL |  |  |  |  | PHOTOMICROGRAPHY SYSTEM; DP – 27 SOFTWARE: STREAM START | Mechanical Engineering | Materials Science Lab |  |  | Up | Research Equipment
Double Disc Grinding Machine |  |  | Metatech Industries Pune | METAPOL DC II | [5 empty] | Mechanical Engineering | Materials Science Lab |  |  | Up | Research Equipment
Specimen Mounting Press |  |  | Metco | BAINMOUNT – P AUTO | [5 empty] | Mechanical Engineering | Materials Science Lab |  |  | Up | Research Equipment
Abrasive Cutoff Machine |  |  | Conation Technologies | CCM-10 | [5 empty] | Mechanical Engineering | Materials Science Lab |  |  | Up | Research Equipment
Computerised Micro Vickers Hardness Tester |  |  | FIE | MV-1PC | [5 empty] | Mechanical Engineering | Materials Science Lab |  |  | Up | Research Equipment
Electronic Weighing Balance |  |  | Sartorius | BSA 224SCW | [5 empty] | Mechanical Engineering | Materials Science Lab |  |  | Up | Analytical Measurement
Magnetic Stirrer |  |  | IKA | C-MAG HS-7 | [5 empty] | Mechanical Engineering | Materials Science Lab |  |  | Up | Research Equipment
Magnetic Stand with Dial Indicator |  |  | Mitutoyo | [5 empty] | MITUTOYO RANGE: 0-5 MM, GRADUATION: 0.01 MM | Mechanical Engineering | Metrology and Instrumentation Lab |  |  | Up | Research Equipment
Surface Plate | [9 empty] | Mechanical Engineering | Metrology and Instrumentation Lab |  |  | Up | Research Equipment
Bevel Protractor |  |  | Mitutoyo | [6 empty] | Mechanical Engineering | Metrology and Instrumentation Lab |  |  | Up | Research Equipment
Digital Caliper |  |  | Mitutoyo | [6 empty] | Mechanical Engineering | Metrology and Instrumentation Lab |  |  | Up | Research Equipment
Groove Micrometer |  |  | Mitutoyo | [6 empty] | Mechanical Engineering | Metrology and Instrumentation Lab |  |  | Up | Research Equipment
Outside Micrometer |  |  | Mitutoyo | [6 empty] | Mechanical Engineering | Metrology and Instrumentation Lab |  |  | Up | Research Equipment
Rectangular Gauge Block Set |  |  | Mitutoyo | [5 empty] | 112 BLOCK SETS WITH 1MM BASE | Mechanical Engineering | Metrology and Instrumentation Lab |  |  | Up | Research Equipment
Digital Load Indicator |  |  |  | 4000 Series | [5 empty] | Mechanical Engineering | Metrology and Instrumentation Lab |  |  | Up | Research Equipment
Piezo Film Lab Amplifier Charge Amplifier |  |  | Measurement Specialities | 1007214 | [5 empty] | Mechanical Engineering | Metrology and Instrumentation Lab |  |  | Up | Research Equipment
Constant DC Power Supply |  |  | Scientific Mes-Technik India Pvt Ltd Indore | PSD3304 | [5 empty] | Mechanical Engineering | Metrology and Instrumentation Lab |  |  | Up | Research Equipment
Digital Pressure Indicator |  |  | Syscon Instruments Pvt Ltd Bangalore | SI-514 | [5 empty] | Mechanical Engineering | Metrology and Instrumentation Lab |  |  | Up | Research Equipment
Digital Displacement Indicator |  |  | Syscon Instruments Pvt Ltd Bangalore | SI-716 | [5 empty] | Mechanical Engineering | Metrology and Instrumentation Lab |  |  | Up | Research Equipment
Digital Torque Indicator |  |  | Syscon Instruments Pvt Ltd Bangalore | SI-8022 | [5 empty] | Mechanical Engineering | Metrology and Instrumentation Lab |  |  | Up | Research Equipment
Temperature Indicator with K and S type Thermocouple |  |  | Rasci Instruments Chennai | TPI-48 | [5 empty] | Mechanical Engineering | Metrology and Instrumentation Lab |  |  | Up | Research Equipment
Vernier Depth Gauge |  |  | Mitutoyo | [6 empty] | Mechanical Engineering | Metrology and Instrumentation Lab |  |  | Up | Research Equipment
Vernier Caliper |  |  | Mitutoyo | [6 empty] | Mechanical Engineering | Metrology and Instrumentation Lab |  |  | Up | Research Equipment
Dial Caliper |  |  | Mitutoyo | [6 empty] | Mechanical Engineering | Metrology and Instrumentation Lab |  |  | Up | Research Equipment
Combination Square Set |  |  | Mitutoyo | [6 empty] | Mechanical Engineering | Metrology and Instrumentation Lab |  |  | Up | Research Equipment
Inside Micrometer |  |  | Mitutoyo | [6 empty] | Mechanical Engineering | Metrology and Instrumentation Lab |  |  | Up | Research Equipment
Veriner Height Gage |  |  | Mitutoyo | [6 empty] | Mechanical Engineering | Metrology and Instrumentation Lab |  |  | Up | Research Equipment
Triaxial Icp Accelerometer |  |  | Piezotronics Inc USA | 339A32 | [5 empty] | Mechanical Engineering | Metrology and Instrumentation Lab |  |  | Up | Research Equipment
High Sensitivity Miniature Ceramic Shear Icp Accelerometer |  |  | Piezotronics Inc USA | 352C67 | [5 empty] | Mechanical Engineering | Metrology and Instrumentation Lab |  |  | Up | Research Equipment
Four Channel Line Powered Icp Sensor Signal Conditioner |  |  | Piezotronics Inc USA | 482C16 | [5 empty] | Mechanical Engineering | Metrology and Instrumentation Lab |  |  | Up | Research Equipment
General Purpose Co-Axial Cable |  |  | Piezotronics Inc USA | 002T10 | [5 empty] | Mechanical Engineering | Metrology and Instrumentation Lab |  |  | Up | Research Equipment
Modally Tuned Impulse Hammer |  |  | Piezotronics Inc USA | 086C01 | [5 empty] | Mechanical Engineering | Metrology and Instrumentation Lab |  |  | Up | Research Equipment
Multi Component Dynamometer |  |  | Kistler Switzerland | 9257B, 1677A5, 9403, 5070A12100, 5697A1, 1700A111A2 | [5 empty] | Mechanical Engineering | Advanced Manufacturing Lab |  |  | Up | Research Equipment
CNC Wire Cut EDM |  |  | Concord United Products Pvt Ltd Bangalore | DK-77320 | [5 empty] | Mechanical Engineering | Advanced Manufacturing Lab |  |  | Up | Research Equipment
Thermal Image Camera |  |  | Testo | TESTO 885-2 SET | [5 empty] | Mechanical Engineering | Advanced Manufacturing Lab |  |  | Up | Research Equipment
Surface Roughness Tester Type I |  |  | Taylor Hobson | S-128 | [5 empty] | Mechanical Engineering | Advanced Manufacturing Lab |  |  | Up | Research Equipment
Surface Roughness Tester Type II |  |  | Taylor Hobson | Subtronic Duo | [5 empty] | Mechanical Engineering | Advanced Manufacturing Lab |  |  | Up | Research Equipment
Toll Makers Microscope |  |  | Mitutoyo | TM-505-176-811E | [5 empty] | Mechanical Engineering | Advanced Manufacturing Lab |  |  | Up | Research Equipment
Conductivity Meter | [9 empty] | Department of Chemistry | Analytical Instruments |  |  | Up | Analytical Measurement
pH Meter | [9 empty] | Department of Chemistry | Analytical Instruments |  |  | Up | Analytical Measurement
Analytical Balance | [9 empty] | Department of Chemistry | Miscellaneous Instruments |  |  | Up | Analytical Measurement
Double Distillation Unit | [9 empty] | Department of Chemistry | Miscellaneous Instruments |  |  | Up | Research Equipment
Fume Hood | [9 empty] | Department of Chemistry | Miscellaneous Instruments |  |  | Up | Research Equipment
Heating Mantle | [9 empty] | Department of Chemistry | Miscellaneous Instruments |  |  | Up | Research Equipment
High Vacuum Pump | [9 empty] | Department of Chemistry | Miscellaneous Instruments |  |  | Up | Research Equipment
Hot Air Oven | [9 empty] | Department of Chemistry | Miscellaneous Instruments |  |  | Up | Research Equipment
Hot Water Bath | [9 empty] | Department of Chemistry | Miscellaneous Instruments |  |  | Up | Research Equipment
Magnetic Stirrer | [9 empty] | Department of Chemistry | Miscellaneous Instruments |  |  | Up | Research Equipment
Mechanical Shaker | [9 empty] | Department of Chemistry | Miscellaneous Instruments |  |  | Up | Research Equipment
Melting Point Apparatus | [9 empty] | Department of Chemistry | Miscellaneous Instruments |  |  | Up | Research Equipment
Rockyvac Pump | [9 empty] | Department of Chemistry | Miscellaneous Instruments |  |  | Up | Research Equipment
Ultrasonic Bath | [9 empty] | Department of Chemistry | Miscellaneous Instruments |  |  | Up | Research Equipment
Photo Colorimeter | [9 empty] | Department of Chemistry | Spectroscopy Instruments |  |  | Up | Research Equipment