## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Rate/Hr | Refernce Website | Equipment Status | Category
Automated Grinder and Polisher for Rock Mineral and Ore |  | Cutting and Polishing Lab | Struers Denmark | LaboPol 5 |  | Internal | Institution |  | DIA 8 inch / 200 mm, Lid LALID, Cast Iron Disc, MD-Disc, LABOFORCE-1 (Power Head), Specimen Mover Plate, Specimen Holder for Thin Sections | Department of Applied Geology |  |  |  | Up | Fabrication
Automated Augate Mortal Pestle |  | Cutting and Polishing Lab | IKON | IK-169 |  | Internal | Institution |  | 150 mm dia., digital timer & digital RPM meter | Department of Applied Geology |  |  |  | Up | Fabrication
Transmitted and Reflected Research Microscope |  | Petrology Research Lab | Carl Zeiss Germany | AXIOSCOPA1 POL |  | Internal | Institution |  | Transmited & Reflected Light Microscope with Camera Attechment and software for image analysis | Department of Applied Geology |  |  |  | Up | Characterization
2.5x Objective for Research Microscope |  | Petrology Research Lab | Carl Zeiss Germany | 2X Objective |  | Internal | Institution |  | 2.5 X Objective for Research Microscope | Department of Applied Geology |  |  |  | Up | Characterization
Binacular Polarizing Microscopes for Students |  | Optical Lab | CENSIKO Ltd. Agra India | POL-BN-O-CXL |  | Internal | Institution |  | Binaocular Transmited Microscopes for Thin Section study of minerals and rocks with accessories | Department of Applied Geology |  |  |  | Up | Characterization
Schmidt Hammer |  | Petrology Research Lab | Proceq Switzerland | Proceq N Type |  | Internal | Institution |  | Original Manual Proceq Schmidt Rebound Hammer | Department of Applied Geology |  |  |  | Up | Characterization
Multiparameter |  | Hydrogeology Lab | WTW-Xylem Analytics | WTW 2FD56G |  | Internal | Institution |  | Digital measurement with two universal measuring channels with the Multi 3620 IDS – pH, ORP, dissolved oxygen and/or turbidity simultaneously | Department of Applied Geology |  |  |  | Up | Analytical Measurement
Spectroquant |  | Hydrogeology Lab | Merc | Prove300 |  | Internal | Institution |  | 190-320 nm UV, 320-1100 nm VIS, xenon flash lamp, 4 nm spectral bandwidth | Department of Applied Geology |  |  |  | Up | Characterization
Resistivity Meter Aquameter CRM 500 |  | Hydrogeology Lab | Anvic System | CRM-500 |  | Internal | Institution |  | Potential Measuring Range 10 Micro Volts Resistance Measuring Range 1 mohm to 10 Kohm Data Averaging Up to 64 cycle Accuracy 1% Depth of Investigation Up to 500 meters | Department of Applied Geology |  |  |  | Up | Analytical Measurement
Resistivity Meter SSR MP AT |  | Hydrogeology Lab | Integrated Geo Instruments and Services (P) Ltd | SSR-MP-AT |  | Internal | Institution |  | Excellent depth penetration with relatively low power inputs, Utilizes the signal stacking up to 16 successive readings to achieve good signal enhancement, Can be used for depths of up to 600m under favorable geological field | Department of Applied Geology |  |  |  | Up | Analytical Measurement
Resistivity Meter SSR MP AT |  | Hydrogeology Lab | Integrated Geo Instruments and Services (P) Ltd | DDR 3 |  | Internal | Institution |  | Resistivity surveys up to about 200m depth: The equipment consists of two separate comportment-one for reading the current (G.Unit) and the other for directly reading the resistance/the potential (P-Unit), both housed in a single box: extensive use in ground water exploration, dam site investigation, delineation of geological structural feature | Department of Applied Geology |  |  |  | Up | Analytical Measurement
Mirror Stereoscope |  | Photgeology Lab | Jafri Survey Instruments | 4-Binocular |  | Internal | Institution |  | It provides view of entire overlap by an arrangement of prisms and mirrors with increased distance to about 15 to 20cms. In addition, binoculars, attached with the mirror stereoscope, provide 3X to 8X magnification. The mirror stereoscopes are most widely used in photo interpretation and in photo measurements, in combination with parallax bar. Mirror stereoscopes can be used for larger format sizes of aerial photographs because the visual base in this is enlarged by double reflections. | Department of Applied Geology |  |  |  | Up | Characterization
Global Positioning System |  | Remote Sensing and GIS Lab | Garmin | Gramin Orgon 650 |  | Internal | Institution |  | 3'' capacitive touchscreen ; Dual-band GPS/GLONASS antenna;6-axis compass & barometric altimeter sensors; ANT, Bluetooth(R) capable to wirelessly share routes, tracks, waypoints & geocaches between units; Dual orientation; Rugged & waterproofIPX-7; 8 megapixel camera with autofocus & LED flash/torch;Built-in basemap with DEM (digital elevation model) data;User-customizable button; Compatible with all Garmin(R) spine-mountable accessories, including bike mount, belt clip, carabiner clip, automotive mount, etc.; microSD(TM) Card slot;Requires 2 AA batteries or unit internal charger with optional 650T standard NiMH pack | Department of Applied Geology |  |  |  | Up | Characterization
Unmanned Aerial Vehicle |  | Remote Sensing and GIS Lab | DJI | DJI-inspire1v2 |  | Internal | Institution |  | It integrate an HD video transmission system, 360° rotating gimbal and a 4K camera, as well as the simplicity of app control. The image processing system CineCore2.0 has been upgraded to CineCore2.1, recording video at up to 6K in CinemaDNG/RAW and 5.2K in Apple ProRes when used with Zenmuse X7 camera. It goes from 0 to 50 mph (80 kph) in just 5 seconds and hits a maximum speed of 58 mph (94 kph) and has a max descent speed of 9m/s for unheard of speed and agility in an aircraft this size. A dual battery system prolongs the flight time to a maximum of 27 minutes (with an X4S), while self-heating technology allows it to fly even in low temperatures. | Department of Applied Geology |  |  |  | Up | Characterization
Research Stereozoom Microscope with Camera attachment Model |  | Stratigraphy and Paleontology Lab Micropaleontology Lab | Lawrence and Mayo | HDCE-X5 |  | Internal | Institution |  | Apochromatic corrected stereo scopy zoom system; Zoom Ratio: 10:1; Magnification range: 8X – 80X; Eyepiece: EX 10X/22mm; Free working distance: 78 mm; Built in LED Based cold-light source for both reflected and transmitted light with variable light intensity control; Inclined (20°) binocular tube (55mm to 75mm inter-pupillary distance) with Photo Attachment (one photo tube) for focusing arrangement with Camera; High-Resolution color HD digital 5MP CMOS camera with high speed progressive scanning; Software:For image calibration, measurement & image enhancement and documentation; USB2 & HDMI connection compatible with PCs and Retina Screen. | Department of Applied Geology |  |  |  | Up | Characterization
Stereozoom Microscope |  | Stratigraphy and Paleontology Lab Micropaleontology Lab | Lawrence and Mayo | LM 52-3621 |  | Internal | Institution |  | Binocular head with IPD 55–75 mm inter-pupillary distance; Built in cold-light source incident illumination LED. Transmitted illumination LED. With variable light intensity control; Zoom Ratio: 6.3:1; Free working distance: 115mm; Magnification range: 4X - 100X; | Department of Applied Geology |  |  |  | Up | Characterization
Laminar Air Flow (LAF) Hood | LAF | Lab-1 | Tanco | PLT 270 |  | External | DST GoI |  | An equipment used to maintain aseptic condition for microbial culturing | Bio Technology | BT Research Lab |  |  | Up | Fabrication
Orbital Shaker Incubator |  | Lab-3 | Tanco | PLT 145 |  | External | DST GoI |  | An equipment required to maintain constant incubation condition during microbial growth | Bio Technology | BT Research Lab |  |  | Up | Fabrication
Incubator Shaker |  | Lab-3 | REMI | CIS 24+ |  | External | DBT |  | For microbial culturing | Bio Technology | BT Research Lab |  |  | Up | Fabrication
Cooling Centrifuge |  | Lab-3 | REMI | C-24 Plus |  | External | DST GoI |  | Max speed-20000rpm, max capacity-400ml, minimun tepm= -8°C | Bio Technology | BT Research Lab |  |  | Up | Characterization
Orbital Shaker Incubator |  | Lab-3 | REMI | CIS-24 Plus |  | External | DST GoI |  | max temp-60°C, 250rpm | Bio Technology | BT Research Lab |  |  | Up | Fabrication
Homogenizer |  | Lab-1 | REMI | RQT-127A/D |  | External | DST GoI |  | Stirring Capacity Upto 100 ML, Motor- AC/DC 1/8 HP | Bio Technology | BT Research Lab |  |  | Up | Fabrication
Hot Air Oven |  | Lab-3 | Biotechnics | Biotechnics |  | External | DST GoI |  | Temp.range 50 C TO 250 C and Accuracy : +- 2 C | Bio Technology | BT Research Lab |  |  | Up | Fabrication
Ceramic Membrane Extruder |  | Lab-2 | Nanotec Chennai | Mini Extruder |  | External | DST GoI |  | Mini extruder for tubular membrane preparation | Bio Technology | BT Research Lab |  |  | Up | Fabrication
Coating Machine |  | Lab-2 | VB Ceramics Chennai | Bench top |  | External | DST GoI |  | Spray pyrolysis unit for coating of inorganic nano particles (temp 600oC) | Bio Technology | BT Research Lab |  |  | Up | Fabrication
Muffle Furnace 14000C |  | Lab-2 | Nano Tech Chennai | Bench top |  | External | DST GoI |  | Muffle furnance to sinter the membrane at higher temperature | Bio Technology | BT Research Lab |  |  | Up | Fabrication
Ultrasonicator |  | Lab-2 | PCI Analytics | 6.5 L 200 |  | External | DST GoI |  | Bath type sonicator | Bio Technology | BT Research Lab |  |  | Up | Characterization
Deep Freezer -80oC |  | Lab-1 | Eppendorf | U-410 |  | External | DST GoI |  | Deep freezer to preserve the sampe at -80oC | Bio Technology | BT Research Lab |  |  | Up | Characterization
Magnetic Stirrers |  | Lab-2 | Torson | MC 02 |  | External | DST GoI |  | Stirring the solution | Bio Technology | BT Research Lab |  |  | Up | Fabrication
Hydraulic Press |  | Lab-2 | Guru Ramadas Machine Work Raipur |  |  | External | DST GoI |  | Pressing machine to fabricate the membrane | Bio Technology | BT Research Lab |  |  | Up | Fabrication
Hot Air Oven |  | Lab-2 | Pooja Scientific Instruments New Delhi | TIC-4000 |  | External | DST GoI |  | Dyring the samples | Bio Technology | BT Research Lab |  |  | Up | Fabrication
Gel Doc System |  | Lab 3 | Alpha Innotech | Alphaimager Mini Gel doc |  | External | MHRD |  | To analyze DNA/RNA/Protein Band | Bio Technology | BT Research Lab |  |  | Up | Analytical Measurement
Trinocular Upright Microscope |  | Lab 3 | Labovision | KX-i2000 |  | External | MHRD |  | Microscopic obeservation different specimens | Bio Technology | BT Research Lab |  |  | Up | Characterization
Binocular Upright Microscope |  | Lab 3 | Labovision | KX-i2000 |  | External | MHRD |  | Microscopic obeservation different specimens | Bio Technology | BT Research Lab |  |  | Up | Characterization
UV Transilluminator |  | Lab 1 | Protein | Simple/Endro |  | External | MHRD |  | To analyze DNA/RNA/Protein Band | Bio Technology | BT Research Lab |  |  | Up | Characterization
Tissue Homogenizer |  | Lab 1 | Velp Scientifica | OV-5 |  | External | MHRD |  | To homoginize tissue sample | Bio Technology | BT Research Lab |  |  | Up | Characterization
High Speed Refrigerated Table Top Centrifuge |  | Lab 3 | Sigma 3-30KS | 10375 |  | External | MHRD |  | To Separate bimolecules and chemicals | Bio Technology | BT Research Lab |  |  | Up | Fabrication
Double Beam UV Visible Spectrophotometer |  | Lab 3 | LabIndia | UV 3000+ |  | External | MHRD |  | Quantitative analysis of different biomolecules | Bio Technology | BT Research Lab |  |  | Up | Characterization
Double Beam UV Visible Spectrophotometer |  | Lab 3 | LabIndia | UV 3000+ |  | External | MHRD |  | Quantitative analysis of different biomolecules | Bio Technology | BT Research Lab |  |  | Up | Characterization
Western Blotting System |  | Lab 1 | Semi Dry Blotter | TE70XP |  | External | MHRD |  | To analyze Protein Band | Bio Technology | BT Research Lab |  |  | Up | Characterization
ELISA Reader |  | Lab 1 | Thermo Scientific | Multiscan FC |  | External | MHRD |  | Qualitative and Quantitative analysis of DNA/RNA/Protein | Bio Technology | BT Research Lab |  |  | Up | Characterization
SDS PAGE Assembly with Power Pack |  | Lab 1 | Bio-Rad | Protein Tetra Cell |  | External | MHRD |  | Qualitative and Quantitative analysis of DNA/RNA/Protein | Bio Technology | BT Research Lab |  |  | Up | Characterization
Deep Freezer -40°C |  | Lab-2 | Cryo Sci. System | URC-V-500-2 |  | External | MHRD |  | Preservation of different Biomolecules, Chemicals and microbial cultures | Bio Technology | BT Research Lab |  |  | Up | Characterization
Deep Low Freezer -20°C |  | Lab-2 | Cryo Sci. System | URC-V-500-1 |  | External | MHRD |  | Preservation of different Biomolecules, Chemicals and microbial cultures | Bio Technology | BT Research Lab |  |  | Up | Characterization
Electrophoresis Unit Horizontal Power Pack |  | Lab 3 | BioEra Life Sciences | SEP-170501 |  | External | MHRD |  | Quantitative analysis of different biomolecules | Bio Technology | BT Research Lab |  |  | Up | Characterization
Haemometer |  | Lab 3 | Marienfeld | 32 430 000 |  | External | MHRD |  | Haemoglobin analysis | Bio Technology | BT Research Lab |  |  | Up | Analytical Measurement
Hemocytometer |  | Lab 3 | Rohem India | BS 748 IS 10269 |  | External | MHRD |  | Blood cell counting | Bio Technology | BT Research Lab |  |  | Up | Analytical Measurement
Magnetic Stirrer with Hot Plate |  | Lab-2 | Tarson | MC03 |  | External | MHRD |  | Homoginize the samples | Bio Technology | BT Research Lab |  |  | Up | Fabrication
Nano Drop Spectrophotometer |  | Lab 3 | Thermo | ND-1000 |  | External | MHRD |  | Quantitative analysis of DNA/RNA/Protein | Bio Technology | BT Research Lab |  |  | Up | Analytical Measurement
Vacuum Pump |  | Lab-2 | ProMirac | PDF2-75 |  | External | MHRD |  | Pumping purpose | Bio Technology | BT Research Lab |  |  | Up | Fabrication
Water Distillation Unit Single Filteration |  | Lab-2 | Bhanu Sci | MQO-2PB |  | External | MHRD |  | For water distillation | Bio Technology | BT Research Lab |  |  | Up | Fabrication
Colorimeter Digital |  | Lab-2 | EI | 312 |  | External | MHRD |  | Quantitative analysis of DNA/RNA/Protein | Bio Technology | BT Research Lab |  |  | Up | Analytical Measurement
Thermo Cycler PCR | PCR | Lab-2 | Life Technology | 9902 |  | External | MHRD |  | Amplification of DNA | Bio Technology | BT Research Lab |  |  | Up | Analytical Measurement
Cooling Centrifuge |  | Lab 3 | SIGMA | SIGMA 3-30KS |  | External | MHRD |  | To Separate bimolecules and chemicals under low temperature | Bio Technology | BT Research Lab |  |  | Up | Characterization
Tensile Strength Tester Computerized |  | Lab 3 | TexCare | 100KG-F |  | External | MHRD |  | Polymer testing | Bio Technology | BT Research Lab |  |  | Up | Characterization
CO2 Incubator |  | Lab 3 | YORCO | YSI-449 |  | External | MHRD |  | Incubation of Microbial Culture | Bio Technology | BT Research Lab |  |  | Up | Characterization
BOD Incubator |  | Lab 3 | Tanco | BLT-145 |  | External | MHRD |  | Incubation of Microbial Culture | Bio Technology | BT Research Lab |  |  | Up | Characterization
Microprocessor Cond or TDS Meter |  | Lab-2 | LABARD | LIM-01 |  | External | MHRD |  | Conductivity and TDS detection of water and other samples | Bio Technology | BT Research Lab |  |  | Up | Analytical Measurement
HPLC System with accessories | HPLC | Lab 3 | AGILENT | 1260 INFINITY SERIES |  | External | MHRD |  | Quantification of different samples | Bio Technology | BT Research Lab |  |  | Up | Characterization
Milli Q Water Purification System | MILLI Q | Lab 3 | MiliPore | ZR0Q008WW |  | External | MHRD |  | Water purifications | Bio Technology | BT Research Lab |  |  | Up | Characterization
Benchtop Centrifuge |  | Lab 1 | Remi | R24 |  | External | MHRD |  | To Separate bimolecules and chemicals | Bio Technology | BT Research Lab |  |  | Up | Fabrication
Magnetic Stirrer |  | Lab 3 | Torsons | MC03 |  | External | MHRD |  | Homoginize the samples | Bio Technology | BT Research Lab |  |  | Up | Fabrication
Gel Rocker |  | Lab 3 | Lead | LL-GR-M-100 |  | External | MHRD |  | Homoginize the samples | Bio Technology | BT Research Lab |  |  | Up | Characterization
Laboratory Fermentor |  | Lab 3 | Eppendorf | Bio Flo120 |  | External | MHRD |  | Fermentation process | Bio Technology | BT Research Lab |  |  | Up | Fabrication
Vaccum Oven Ractangular |  | Lab 3 | Biotechnichs Ind | BTI-51 |  | External | MHRD |  | Sterilize the sample under vaccum condition | Bio Technology | BT Research Lab |  |  | Up | Characterization
Deep Freezer |  | Lab 1 | Eppendorf | Cryocube F570 |  | External | MHRD |  | Preservation of different Biomolecules, Chemicals and microbial cultures | Bio Technology | BT Research Lab |  |  | Up | Fabrication
Multiparameter Measuring Device |  | Lab 3 | LOVIBOND | SENSODIRECT PH 150 PH / CON / TDS |  | External | MHRD |  | Determine BOD/pH/TDS/DO of water and other sample | Bio Technology | BT Research Lab |  |  | Up | Analytical Measurement
Orbital Shaker Incubator |  | Lab 1 | REMI | REMI CIS 24 plus |  | External | DST GoI |  | An equipment required to maintain constant incubation condition during microbial growth | Bio Technology | BT Research Lab |  |  | Up | Analytical Measurement
Cooling Centrifuge |  | Lab 3 | REMI | REMI C24 plus |  | External | DST GoI |  | Max speed-20000rpm, max capacity-400ml, minimun tepm= -4°C | Bio Technology | BT Research Lab |  |  | Up | Characterization
Trinocular Microscope |  | Lab 1 | Dewinter | DGI 510 |  | External | DST GoI |  | Microscopic obeservation different specimens | Bio Technology | BT Research Lab |  |  | Up | Characterization
Homogenizer |  | Lab 1 | REMI | RQT-127A/D |  | External | DST GoI |  | Stirring Capacity Upto 100 ML, Motor- AC/DC 1/8 HP | Bio Technology | BT Research Lab |  |  | Up | Characterization
Digital Weighing Balance |  | Lab 1 | OHAUS | PAJ1003CN |  | External | DST GoI |  | 0.01-0.30gm (capacity) Weighing of the matarial | Bio Technology | BT Research Lab |  |  | Up | Analytical Measurement
UV Visible Spectrophotometer |  | Lab 1 | SHIMADZU | UV-1900 |  | External | DST GoI |  | Quantifiaction of the different Reagents and solutions | Bio Technology | BT Research Lab |  |  | Up | Characterization
Biosafety Cabinet |  | Lab 3 | RESCHOLAR | RH-59-06 |  | External | DST GoI |  | Inoculation of the culture and to make the pure culture | Bio Technology | BT Research Lab |  |  | Up | Research Infrastructure
Bioreactor |  | Lab 2 | BIOAGE | BS-02A-1284 |  | External | DST GoI |  | Prodution of alchohlic and organic metabolites | Bio Technology | BT Research Lab |  |  | Up | Characterization
Lyophilizer |  | Lab 3 | Lark | Penguine classic |  | External | MHRD |  | To store the materials | Bio Technology | BT Research Lab |  |  | Up | Fabrication
Particle Size Analyzer‎ |  | Lab 3 | Malvern | ZEN1600 |  | External | MHRD |  | To analyse the particle size | Bio Technology | BT Research Lab |  |  | Up | Characterization
Microwave Synthesizer |  |  | CEM Corporation USA | Discover Lab Mate |  | External | MHRD |  | To synthesize various chemicals under microwave irradiation | Department of Chemistry |  |  |  | Up | Fabrication
Flame Photometer |  |  | ESICO | 1385 |  | External | MHRD |  | To measure concentration of Na, K and Li | Department of Chemistry |  |  |  | Up | Analytical Measurement
High Speed Centrifuge Machine |  |  | Eltek | TC4100F |  | External | MHRD |  | Separation under centrifugation, Eltek EHC-25 | Department of Chemistry |  |  |  | Up | Characterization
LED Fluorimeter |  |  | Quantalase India | LF-2a |  | External | DAE |  | To determine the concentration of Uranium in solution | Department of Chemistry |  |  |  | Up | Analytical Measurement
Gaussian and Gauss View Software with Perpetual Licence |  |  | Gaussian Inc USA |  |  | External | MHRD |  | Software for Theoretical Chemistry Calculations | Department of Chemistry |  |  |  | Up | Software
FTIR Spectrometer | FTIR |  |  | G8044-Cary 630 |  | External | MHRD |  | To determine the Functional Groups of compounds, Cary 630 FTIR, Made in Malaysia | Department of Chemistry |  |  |  | Up | Characterization
Fluorescence Spectrophotometer |  |  |  | G9800AA-Cary Eclips |  | External | MHRD |  | Fluorescence Study, Cary Eclipse, Made in Malaysia, | Department of Chemistry |  |  |  | Up | Characterization
LCR Meter | LCR |  | HIOKI Meter | IM 3533-01 |  | External | MHRD |  | To measure Electrical Properties | Department of Chemistry |  |  |  | Up | Analytical Measurement
Rotary Vacuum Evaporator |  |  |  | RV-10 |  | External | MHRD |  | For Removal of solvents from samples by evaporation, Digital of IKA | Department of Chemistry |  |  |  | Up | Fabrication
Aggregate Impact Test with Counter |  |  | AIMIL LTD | AIM 456 |  | Internal | Institution |  | To determine the aggregate impact value of given aggregates | Department of Civil Engineering | Transportation Engineering Lab |  |  | Up | Characterization
Los Angeles Abrasion |  |  | HEICO | LA 50-60 |  | Internal | Institution |  | To determine the abrasion value of given aggregate sample by conducting Los Angles | Department of Civil Engineering | Transportation Engineering Lab |  |  | Up | Characterization
Set of Sieves fine and Coarse aggregate |  |  | AIMIL LTD B.R. Instruments |  |  | Internal | Institution |  | To carryout sieve analysis of fine and coarse aggregate | Department of Civil Engineering | Transportation Engineering Lab |  |  | Up | Characterization
Automatic Sieve Shaker for Fine aggregates |  |  | AIMIL LTD | 1440 |  | Internal | Institution |  | To carryout particle size analysis of fine aggregate | Department of Civil Engineering | Transportation Engineering Lab |  |  | Up | Characterization
Automatic Sieve Shaker for Coarse aggregates |  |  | HEICO |  |  | Internal | Institution |  | To carryout particle size analysis of coarse aggregate | Department of Civil Engineering | Transportation Engineering Lab |  |  | Up | Characterization
Density Basket with Buoyancy Balance |  |  | AIMIL LTD | AIM-9933 |  | Internal | Institution |  | To determine the water absorption and Specific Gravity of given coarse aggregate | Department of Civil Engineering | Transportation Engineering Lab |  |  | Up | Characterization
CBR Apparatus Electronically operated with analysis software |  |  | HEICO | HS20-610 |  | Internal | Institution |  | To determine CBR value of a given soil sample | Department of Civil Engineering | Transportation Engineering Lab |  |  | Up | Characterization
Automatic Soil Compactor with Compaction and CBR Moulds |  |  | HEICO | HS10-80 |  | Internal | Institution |  | To determine Maximum dry density and OMC of Soil samples | Department of Civil Engineering | Transportation Engineering Lab |  |  | Up | Characterization
Thickness and Elongation Gauges |  |  | AIMIL LTD B.R. Instruments | AIM 451, 450 |  | Internal | Institution |  | To determine the flakiness &Elongation index of a given aggregate sample | Department of Civil Engineering | Transportation Engineering Lab |  |  | Up | Characterization
Devals Abrasion Test Apparatus |  |  | R.H. Agency |  |  | Internal | Institution |  | To determine attrition of aggregate sample | Department of Civil Engineering | Transportation Engineering Lab |  |  | Up | Characterization
Standard or Modified Proctor Compaction Test Apparatus |  |  | HEICO |  |  | Internal | Institution |  | To determine Maximum dry density and OMC of Soil samples | Department of Civil Engineering | Transportation Engineering Lab |  |  | Up | Characterization
Universal Penetrometer with Digital Timer |  |  | R.H. Agency HEICO | HF 60-40 |  | Internal | Institution |  | To determine the penetration resistance of bituminous material | Department of Civil Engineering | Transportation Engineering Lab |  |  | Up | Analytical Measurement
Modified Marshalls Apparatus with accessories |  |  | HEICO | HB 64-05 |  | Internal | Institution |  | To determine optimum binder content of given bituminous mix by marshall method of mix design. | Department of Civil Engineering | Transportation Engineering Lab |  |  | Up | Analytical Measurement
Manual Bitumen Compactor with Modified and Standard Rammer |  |  | HEICO |  |  | Internal | Institution |  | To perform Compaction of Bitumen mix samples | Department of Civil Engineering | Transportation Engineering Lab |  |  | Up | Characterization
Automatic Bitumen Compactor with Modified and Standard Rammer |  |  | AIMIL LTD |  |  | Internal | Institution |  | To perform Compaction of Bitumen mix samples | Department of Civil Engineering | Transportation Engineering Lab |  |  | Up | Characterization
Ring and Ball Apparatus with Electrical Fitting |  |  | AIMIL LTD | AIM 561-2 |  | Internal | Institution |  | To determine the softening point of bitumen | Department of Civil Engineering | Transportation Engineering Lab |  |  | Up | Characterization
Flash and Fire Point Apparatus Electrically operated closed system |  |  | R.H. Agency | AIM 509 |  | Internal | Institution |  | To determine the Flash and Fire point of bitumen | Department of Civil Engineering | Transportation Engineering Lab |  |  | Up | Characterization
Ductility Testing Machine with set of Mould |  |  | HEICO | HB 64-35 |  | Internal | Institution |  | To measure the ductility of a given sample of bitumen | Department of Civil Engineering | Transportation Engineering Lab |  |  | Up | Characterization
Standard Tar Viscometer Electrically |  |  | R.H. Agency |  |  | Internal | Institution |  | To determine the viscosity of bituminous binder. | Department of Civil Engineering | Transportation Engineering Lab |  |  | Up | Analytical Measurement
Bitumen Centrifuge Motorized Extractor |  |  | HEICO | HB 64-30 |  | Internal | Institution |  | To determine quantity of bitumen in hot-mix paving mixtures and pavement samples | Department of Civil Engineering | Transportation Engineering Lab |  |  | Up | Characterization
Cannon Manning Viscometer |  |  | AIMIL LTD |  |  | Internal | Institution |  | To determine Kinematic and absolute viscosity of Bitumen | Department of Civil Engineering | Transportation Engineering Lab |  |  | Up | Analytical Measurement
Asphalt Theoretical Density Meter |  |  | AIMIL LTD | AIM 582 |  | Internal | Institution |  | To determine Theoritical density of Bitumen mixtures | Department of Civil Engineering | Transportation Engineering Lab |  |  | Up | Analytical Measurement
OC or EC Analyser |  |  | Sunset Laboratory USA | RT-4 |  | Internal | Institution |  | Air | Department of Civil Engineering | Env Engg Lab |  |  | Up | Analytical Measurement
Centrifuge |  |  | Remi | R8C-DX |  | Internal | Institution |  | Water & Wastewater | Department of Civil Engineering | Env Engg Lab |  |  | Up | Characterization
High Volume Sampler |  |  | Vayubodhan | APM 430 |  | Internal | Institution |  | For Air | Department of Civil Engineering | Env Engg Lab |  |  | Up | Analytical Measurement
Kjeldahl Distillation Unit |  |  | Pelicon Equipment | Kelplus |  | Internal | Institution |  | Water & Wastewater | Department of Civil Engineering | Env Engg Lab |  |  | Up | Characterization
Laminar Flow Cabinet |  |  | Decibel | DB 5511-02 |  | Internal | Institution |  | Water & Wastewater | Department of Civil Engineering |  |  |  | Up | Fabrication
Jar Test Apparatus |  |  | Decibel | DB 5583 |  | Internal | Institution |  | Water & Wastewater | Department of Civil Engineering | Env Engg Lab |  |  | Up | Characterization
Soxhlet Extraction Unit |  |  | Decibel | DB 5563 |  | Internal | Institution |  | Water & Wastewater | Department of Civil Engineering | Env Engg Lab |  |  | Up | Fabrication
Aethalometer |  |  | M and G Analyser System | AE 33-7 |  | Internal | Institution |  | Air | Department of Civil Engineering | Env Engg Lab |  |  | Up | Analytical Measurement
COD Reactor |  |  | Hatch | DRB 200 |  | Internal | Institution |  | Water & Wastewater | Department of Civil Engineering | Env Engg Lab |  |  | Up | Fabrication
BOD Incubator |  |  | Remi | CI 65 |  | Internal | Institution |  | Water & Wastewater | Department of Civil Engineering | Env Engg Lab |  |  | Up | Characterization
Sound Level Meter |  |  | Envirotech | SLM 100 |  | Internal | Institution |  | Sound | Department of Civil Engineering | Env Engg Lab |  |  | Up | Analytical Measurement
High Volume Sampler |  |  | Envirotech | APM-460 |  | Internal | Institution |  | Air | Department of Civil Engineering | Env Engg Lab |  |  | Up | Analytical Measurement
Fine Particulate Sampler |  |  | Envirotech | APM-550 |  | Internal | Institution |  | Air | Department of Civil Engineering | Env Engg Lab |  |  | Up | Data Monitoring
UV Visible Spectrophotometer |  |  | Lab India | UV-3000 |  | Internal | Institution |  | Water & Wastewater | Department of Civil Engineering | Env Engg Lab |  |  | Up | Characterization
Atomic Absorption Spectrophotometer |  |  | Lab India | AA8000 FG |  | Internal | Institution |  | Water & Wastewater | Department of Civil Engineering | Env Engg Lab |  |  | Up | Characterization
Multi Parameter Monitor |  |  | Thermo Scientific EUTECH | ECPCDWP650 |  | Internal | Institution |  | Water & Wastewater | Department of Civil Engineering | Env Engg Lab |  |  | Up | Characterization
Conductivity Meter |  |  | EUTECH | Con700 |  | Internal | Institution |  | Water & Wastewater | Department of Civil Engineering | Env Engg Lab |  |  | Up | Analytical Measurement
pH Meter |  |  | SYSTRONICS | 335 |  | Internal | Institution |  | Water & Wastewater | Department of Civil Engineering | Env Engg Lab |  |  | Up | Analytical Measurement
Nephelo Turbidity Meter |  |  | SYSTRONICS | 132 |  | Internal | Institution |  | Water & Wastewater | Department of Civil Engineering | Env Engg Lab |  |  | Up | Analytical Measurement
Free and Force Vortex Apparatus |  |  | Mass Internatyional | [5 empty] | To determine the surface profile and total distribution of a forced and free vortex. | Department of Civil Engineering | Fluid Mechanics Lab |  |  | Up | Characterization
Pitot Tube Apparatus |  |  | Mass Internatyional | [5 empty] | to determine velocity in pipe | Department of Civil Engineering | Fluid Mechanics Lab |  |  | Under Maintenance | Analytical Measurement
Francis Turbine Test Rig with Data Logging Facility closed circuit type |  |  | Mass Internatyional | [5 empty] | to study performance characteristics of francis turbine | Department of Civil Engineering | Fluid Mechanics Lab |  |  | Up | Characterization
Hydraulic Bench Apparatus |  |  | K C Engineers Ltd | [5 empty] | study of hydraulic jump | Department of Civil Engineering | Fluid Mechanics Lab |  |  | Under Maintenance | Characterization
Bernoullis Theorem Apparatus |  |  | K C Engineers Ltd | [5 empty] | verification of bernoullis equation | Department of Civil Engineering | Fluid Mechanics Lab |  |  | Up | Characterization
Centrifugal Pump Test with variable speed and SS Tank |  |  | K C Engineers Ltd | [5 empty] | to study performance characteristics of variable speed centrifugal pump | Department of Civil Engineering | Fluid Mechanics Lab |  |  | Up | Characterization
Reciprocating Pump Test |  |  | K C Engineers Ltd | [5 empty] | to study performance characteristics of reciprocating pump | Department of Civil Engineering | Fluid Mechanics Lab |  |  | Up | Characterization
Dead Weight Pressure Gauge Tester |  |  | K C Engineers Ltd | [5 empty] | to study the dead weight pressure gauge tester | Department of Civil Engineering | Fluid Mechanics Lab |  |  | Up | Characterization
Centrifugal Pump series and parallel system hydraulic bench facility |  |  | K C Engineers Ltd | [5 empty] | to study centrifugal pump in series and parallel | Department of Civil Engineering | Fluid Mechanics Lab |  |  | Up | Characterization
Impact Jet Apparatus |  |  | R K Scientific and Engg Work | [5 empty] | verification of momentum equation | Department of Civil Engineering | Fluid Mechanics Lab |  |  | Up | Analytical Measurement
Notch Apparatus |  |  | R K Scientific and Engg Work | [5 empty] | to calibrate triangular & rectangular notch | Department of Civil Engineering | Fluid Mechanics Lab |  |  | Up | Characterization
Venturimeter and Orifice Meter apparatus |  |  | R K Scientific and Engg Work | [5 empty] | to determine coefficient of discharge | Department of Civil Engineering | Fluid Mechanics Lab |  |  | Up | Analytical Measurement
Hydraulic Bench |  |  | K C Engineers Ltd | [5 empty] | study of hydraulic jump | Department of Civil Engineering | Fluid Mechanics Lab |  |  | Under Maintenance | Characterization
Metacentric Height |  |  | K C Engineers Ltd | [5 empty] | determine metacentric height of ship model | Department of Civil Engineering | Fluid Mechanics Lab |  |  | Up | Analytical Measurement
Hydrostatic Pressure |  |  | K C Engineers Ltd | [5 empty] | to determine hydrostatic force on immersed body | Department of Civil Engineering | Fluid Mechanics Lab |  |  | Up | Characterization
Energy Losses in Pipe |  |  | K C Engineers Ltd | [5 empty] | to determine energy losses in pipe | Department of Civil Engineering | Fluid Mechanics Lab |  |  | Up | Characterization
Osborne Reynolds Number Demonstration |  |  | K C Engineers Ltd | [5 empty] | to determine laminar to turbulent flow and lower critical reynold no. | Department of Civil Engineering | Fluid Mechanics Lab |  |  | Under Maintenance | Characterization
Energy Losses in Bend |  |  | K C Engineers Ltd | [5 empty] | to determine minor losses | Department of Civil Engineering | Fluid Mechanics Lab |  |  | Up | Characterization
Cavitation Demonstration |  |  | K C Engineers Ltd | [5 empty] | to calculate cavitation no. | Department of Civil Engineering | Fluid Mechanics Lab |  |  | Up | Characterization
Dead Weight Pressure Gauge Tester |  |  | K C Engineers Ltd | [5 empty] | to study the dead weight pressure gauge tester | Department of Civil Engineering | Fluid Mechanics Lab |  |  | Up | Characterization
Data Acquisition System |  |  | AIMIL LTD | 4-20 mA |  | Internal | Institution |  |  | Department of Civil Engineering | Geotech Lab |  |  | Up | Characterization
Direct Shear Test Electronics |  |  | HEICO | HS24.515 |  | Internal | Institution |  | Data acquisition system& software | Department of Civil Engineering | Advanced Geotech Lab |  |  | Up | Characterization
Field CBR Test Apparatus |  |  | HEICO | HS20.15 |  | Internal | Institution |  |  | Department of Civil Engineering | Advanced Geotech Lab |  |  | Up | Characterization
Repeated Triaxial Test |  |  | GDS Instruments | ELDYN |  | Internal | Institution |  |  | Department of Civil Engineering | Advanced Geotech Lab |  |  | Under Maintenance | Characterization
Universal Testing Machine |  |  |  | UM1-1DT |  | Internal | Institution |  |  | Department of Civil Engineering | Advanced Geotech Lab |  |  | Up | Characterization
Plate Load Test Apparatus |  |  | AIMIL LTD |  |  | Internal | Institution |  | Test Apparatus | Department of Civil Engineering | Geotech Lab |  |  | Up | Characterization
Load Cell with Strain Gauge |  |  | AIMIL LTD |  |  | Internal | Institution |  |  | Department of Civil Engineering | Geotech Lab |  |  | Up | Characterization
ADAPT Structural Concrete Software | ADAPT |  | ADAPT International Private Limited |  |  | Internal | Institution |  | Building & Bridge Software Solution | Department of Civil Engineering | Structural Laboratory |  |  | Up | Software
BENTLEY Subscription Academic SELECT 10 | BENTLEY |  | Bentley Systems International Limited | SELECT 10 |  | Internal | Institution |  | STAAD Pro, STAAD Foundation, Water GEMS, Sewer GEMS, MicroStation, MX Road, RM Bridge | Department of Civil Engineering | Structural Laboratory |  |  | Up | Software
SAP 2000 Advanced V 15 and CSI Bridge Advanced V 15 | SAP 2000 |  | CSI Engineering Software Pvt Ltd New Delhi | V-15 |  | Internal | Institution |  | SAP 2000 V-15, CSI Bridge V-15 | Department of Civil Engineering | Structural Laboratory |  |  | Up | Software
Structural Analysis and Engineering STAAD Pro and STAAD Foundation |  |  | Concept Tele System Bhopal |  |  | Internal | Institution |  | STAAD Pro, STAAD Foundation | Department of Civil Engineering | Structural Laboratory |  |  | Down | Software
ANSYS Civil FEM Research Version 12.2 | ANSYS |  | Innovent Engineering Solutions Pvt Ltd Bangalore | 12.2 |  | Internal | Institution |  | ANSYS | Department of Civil Engineering | Structural Laboratory |  |  | Up | Software
Heads Release 12 Plus Professional Version |  |  | Tech Soft Engineering Services Pvt Ltd Kolkata | 12 Plus |  | Internal | Institution |  | Heads | Department of Civil Engineering | Structural Laboratory |  |  | Down | Software
STAAD Pro 2006 SELECT |  |  | Bentley Systems India Pvt Ltd Kolkata | 2006 |  | Internal | Institution |  | STAAD Pro, STAAD Foundation | Department of Civil Engineering | Structural Laboratory |  |  | Down | Software
Differential Global Positioning System (DGPS) | DGPS |  | Skipper Technologies India Pvt Ltd Noida |  | 1132-10230, 1132- 10242, 1132- 10226, 1132- 10229 |  |  |  | Topcon Dual Frequency RTK DGPS Model Hiper V (Two Sets of Base + Rover with all essential accessories) | Department of Civil Engineering | WRD Lab |  |  | Up | Characterization
Current Meter |  |  | Shree Enterprises Nagpur | [5 empty] | Current Meter | Department of Civil Engineering | WRD Lab |  |  | Up | Analytical Measurement
Pan Evaporator |  |  | Shree Enterprises Nagpur | [5 empty] | Pan Evaporator | Department of Civil Engineering | WRD Lab |  |  | Up | Characterization
Rain Gauge System |  |  | Shree Enterprises Nagpur | [5 empty] | Rain Gauge System | Department of Civil Engineering | WRD Lab |  |  | Up | Characterization
Watershed Modeling System (WMS) Software | WMS |  | Aditi Infotech Nagpur | [5 empty] | Watershed Modeling System Software | Department of Civil Engineering | WRD Lab |  |  | Up | Software
Surfacewater Modeling System (SMS) Software | SMS |  | Aditi Infotech Nagpur | [5 empty] | Surfacewater Modeling Software | Department of Civil Engineering | WRD Lab |  |  | Up | Software
Automatic Level Model |  |  | Janak Positioning and Surveying Systems Pvt Ltd Delhi | AL132 (FOIF) |  | Internal | Institution |  | Levelling | Department of Civil Engineering | Surveying Lab |  |  | Up | Analytical Measurement
Digital Theodolite |  |  | Skipper Technologies India Pvt Ltd Noida | SDJ |  | Internal | Institution |  | Alignement and Angle | Department of Civil Engineering | Surveying Lab |  |  | Up | Characterization
Accelerated Carbonation Chamber |  |  | Surana Enterprises Raipur |  |  | Internal | Institution |  |  | Department of Civil Engineering | Concrete Lab |  |  | Up | Research Infrastructure
Rheometer BT2 |  |  | Aimil Ltd Anandapur Kolkata |  |  | Internal | Institution |  |  | Department of Civil Engineering | Concrete Lab |  |  | Up | Analytical Measurement
Shrinkage Measurement |  |  | Adarsh Enterpries Jabalpur |  |  | Internal | Institution |  |  | Department of Civil Engineering | Concrete Lab |  |  | Up | Analytical Measurement
Compressive Testing Machine |  |  | Adarsh Enterpries Jabalpur |  |  | Internal | Institution |  |  | Department of Civil Engineering | Concrete Lab |  |  | Up | Characterization
Flexural Testing Machine |  |  | Adarsh Enterpries Jabalpur |  |  | Internal | Institution |  |  | Department of Civil Engineering | Concrete Lab |  |  | Up | Characterization
Permeability Apparatus |  |  | Aimil Ltd Anandapur Kolkata |  |  | Internal | Institution |  |  | Department of Civil Engineering | Concrete Lab |  |  | Up | Characterization
Rebound Hammer |  |  | Aimil Ltd Instrumentation and Technologies Naimex Houes New Delhi |  |  | Internal | Institution |  |  | Department of Civil Engineering | Concrete Lab |  |  | Up | Characterization
Concrete Mixer |  |  | Precision Scientific & Equipment Co. |  |  | Internal | Institution |  |  | Department of Civil Engineering | Concrete Lab |  |  | Up | Fabrication
V Funnel |  |  | B R Instruments and Equpiments Raipur |  |  | Internal | Institution |  |  | Department of Civil Engineering | Concrete Lab |  |  | Up | Characterization
Beam Moulds |  |  | B R Instruments and Equpiments Raipur |  |  | Internal | Institution |  |  | Department of Civil Engineering | Concrete Lab |  |  | Up | Characterization
Cube Mould |  |  | National Enterprises Raipur |  |  | Internal | Institution |  |  | Department of Civil Engineering | Concrete Lab |  |  | Up | Characterization
Electrical Resistivity Meter |  |  | Aimil Ltd Anandapur Kolkata |  |  | Internal | Institution |  |  | Department of Civil Engineering | Concrete Lab |  |  | Up | Analytical Measurement
Compact Factor |  |  | Lawrence and Mayo Pvt Ltd Bombay |  |  | Internal | Institution |  |  | Department of Civil Engineering | Concrete Lab |  |  | Up | Characterization
Slump Cone |  |  | R H Ajency New Cloth Market Pandri Raipur |  |  | Internal | Institution |  |  | Department of Civil Engineering | Concrete Lab |  |  | Up | Characterization
Autoclave |  |  | Aimil Ltd Anandapur Kolkata |  |  | Internal | Institution |  |  | Department of Civil Engineering | Concrete Lab |  |  | Up | Fabrication
Table Mixer Machine |  |  | Aimil Ltd Anandapur Kolkata |  |  | Internal | Institution |  |  | Department of Civil Engineering | Concrete Lab |  |  | Up | Characterization
Blain Air Permeability apparatus |  |  | B R Instruments and Equpiments Raipur |  |  | Internal | Institution |  |  | Department of Civil Engineering | Concrete Lab |  |  | Up | Analytical Measurement
Ultrasonic Pulse Velocity apparatus |  |  | Shreent Errese Model Mill Ropad Ganeypath Nagpur |  |  | Internal | Institution |  |  | Department of Civil Engineering | Concrete Lab |  |  | Up | Characterization
Lenovo Thinkstation Workstation Intel Xeon w 2155 |  | Research Lab F-46 | Lenovo ThinkStation | Lenovo Thinkstation P520 |  | Internal | Institution |  | Lenevo P520 ThinkStation (Workstation) Configure with Intel Xeon RAM 32 GB, HDD 1 TB, DVD R/W USB Keyboard, Optical Mouse with windows 10 Pro with Monitor | Computer Science and Engineering | Research Lab |  |  | Up | Characterization
Dell EMC PowerEdge R740 Tesla V100 GPU Computer Server |  | Research Lab F-46 | Dell | Dell PowerEdge R740 Server |  | Internal | Institution |  | Tesla V100, 128GB RAM, HDD 10TB, Intel Xeon Processor | Computer Science and Engineering | Research Lab |  |  | Up | Characterization
Real Time Digital Controller |  | Advanced Electrical Drives and Digital Controller Lab | dSPACE | ds1103 | [5 empty] | Department of Electrical Engineering |  |  |  | Up | Characterization
Control Desk Next Generation Tool |  | Advanced Electrical Drives and Digital Controller Lab | dSPACE | [6 empty] | Department of Electrical Engineering |  |  |  | Up | Characterization
1 HP 3 Phase Induction Motor Drive Setup |  | Advanced Electrical Drives and Digital Controller Lab | Vi Micro System | PEC16DSM01 | [5 empty] | Department of Electrical Engineering |  |  |  | Up | Characterization
1 HP 3 Phase Permanent Magnet Synchronous Motor Setup |  | Advanced Electrical Drives and Digital Controller Lab | Vi Micro System | PEC16DSM01 | [5 empty] | Department of Electrical Engineering |  |  |  | Up | Characterization
1 HP Switched Reluctance Motor Drive Setup |  | Advanced Electrical Drives and Digital Controller Lab | Vi Micro System | PEC16DSM015 | [5 empty] | Department of Electrical Engineering |  |  |  | Up | Characterization
II Three Phase Power Quality Analyzer |  | Advanced Electrical Drives and Digital Controller Lab | Fluke | 434 | [5 empty] | Department of Electrical Engineering |  |  |  | Up | Characterization
Real Time Signal Analyzer |  | Advanced Electrical Drives and Digital Controller Lab | Tektronix | RSA5103B | [5 empty] | Department of Electrical Engineering |  |  |  | Up | Characterization
1.6 kW Solar PV Emulator |  | Advanced Electrical Drives and Digital Controller Lab | ecoSense | IGE-PV4C400-002 | [5 empty] | Department of Electrical Engineering |  |  |  | Up | Characterization
FPGA Kit VIRTEX 7 and SPARTAN 3A |  | Advanced Electrical Drives and Digital Controller Lab | VI Microsystem | [6 empty] | Department of Electrical Engineering |  |  |  | Up | Characterization
Scope Corder |  | Advanced Electrical Drives and Digital Controller Lab | YOKOGAWA | DL850E | [5 empty] | Department of Electrical Engineering |  |  |  | Up | Characterization
1.2 KW Fuel Cell System |  | Advanced Electrical Drives and Digital Controller Lab | Heliocentris | NEXA 1200 | [5 empty] | Department of Electrical Engineering |  |  |  | Up | Characterization
Opal RT Real Time Digital Simulator |  | Advanced Electrical Drives and Digital Controller Lab | OPAL RT | OP5600 | [5 empty] | Department of Electrical Engineering |  |  |  | Under Maintenance | Software
SiC MOSFET based Power Module |  | Advanced Electrical Drives and Digital Controller Lab | MECHTRONIX INDIA | MI/SiC/1030A/03/20181 | [5 empty] | Department of Electrical Engineering |  |  |  | Up | Characterization
dSPACE Micro Lab Box |  | Advanced Electrical Drives and Digital Controller Lab | dSPACE |  |  | External | Science and Engineering Research Board |  |  | Department of Electrical Engineering |  |  |  | Up | Characterization
16 Channel BCI Kit with Electrodes |  | Computer Lab | Brain Products GmbH | actiCAP Xpress |  | External | DST GoI |  | 16-Channel EEG Signal Acquisition Device for BCI | Department of Electrical Engineering |  |  |  | Up | Characterization
Video Camera |  | Computer Lab | SONY | FDR-AX700 |  | External | Science and Engineering Research Board |  | Camcorder 4K HDR (HLG) recording, 14 MPixel 29.0 mm wide-angle ZEISS Vario-Sonnar T* lens, Up to 273-point phase-detection AF | Department of Electrical Engineering |  |  |  | Up | Characterization
Twin Rotor MIMO System |  | Research Lab | Feedback Instruments | 33-007-PCI |  | Internal | Institution |  | Line voltage: 200/250 V or 100/125 V, 50 or 60 Hz. Consumption: 100 VA. Fuse: 4 A (110 V), 2 A (230 V). MATLAB Compatability | Department of Electrical Engineering |  |  |  | Up | Characterization
Impedence Analyzer |  | Measurement Lab | Newtons4th Ltd | PSM 1700 |  | Internal | Institution |  | Bandwidth:10micro Hz to 1MHz Gain Accuracy: 0.02dB < 1kHz. Phase Accuracy:0.02° < 10kHz | Department of Electrical Engineering |  |  |  | Up | Analytical Measurement
MyDAQ |  | Measurement Lab | National Instruments |  |  | Internal | Institution |  |  | Department of Electrical Engineering |  |  |  | Up | Characterization
Digital Camcoder |  |  | Parasonic | HCPV100 |  | External | Science and Engineering Research Board |  | Use to extract high quality video | Department of Electronics and Telecommunication Engineering |  |  |  | Up | Characterization
Digital Camcoder |  |  | Parasonic | HCPV100 |  | External | Science and Engineering Research Board |  | Use to extract high quality video | Department of Electronics and Telecommunication Engineering |  |  |  | Up | Characterization
Microsoft Visual Basic 6 (VB6) | VB6 |  | MICROSOFT | VB6 |  | External | Science and Engineering Research Board |  | SOFTWARE | Department of Electronics and Telecommunication Engineering |  |  |  | Up | Software
DSP Processor TMS320C6713 |  |  | Spectrum Digital | TMS320C6713 |  | External | Science and Engineering Research Board |  | DIGITAL SIGNAL PROCESSOR | Department of Electronics and Telecommunication Engineering |  |  |  | Up | Characterization
MCR 102 Rheometer |  | HE Lab | Anton Paar | MCR-102 |  | Internal | Institution |  | Rheology measurement | Mechanical Engineering |  |  |  | Up | Analytical Measurement
KD2 Thermal Property Analyzer |  | HE Lab | Das and Kumar | KD-2 PRO |  | Internal | Institution |  | measurement of thermal property | Mechanical Engineering |  |  |  | Up | Analytical Measurement
CNC Milling |  | workshop | MTAB | Flaxmill |  | Internal | Institution |  | Milling | Mechanical Engineering |  |  |  | Up | Analytical Measurement
CNC Turning |  | workshop | MTAB | Maxturn+ |  | Internal | Institution |  | Turning | Mechanical Engineering |  |  |  | Up | Fabrication
NI Elvis |  | Cabin in front of RAC Lab | National Instrument | Elvis II |  | External | DST GoI |  | DAQ System | Mechanical Engineering |  |  |  | Up | Fabrication
Ultrasonic Generator |  | Cabin in front of RAC Lab | National Instrument |  |  | External | DST GoI |  | Homogenous mixing | Mechanical Engineering |  |  |  | Up | Characterization
XYZ Translator |  | Cabin in front of RAC Lab | Scientific Components | PVIS |  | External | DST GoI |  | Linear Translation of tool | Mechanical Engineering |  |  |  | Up | Characterization
LCD Microscope |  | Cabin in front of RAC Lab | Scientific Components |  |  | External | DST GoI |  | 500X microscope | Mechanical Engineering |  |  |  | Up | Characterization
Tungsten Inert Gas and Submerged Arc Welding |  | Workshop | Neelam Engineering Company |  |  | Internal | Institution |  | welding | Mechanical Engineering |  |  |  | Up | Fabrication
Solar Thermal Training System |  | HE Lab | Ecosense Sustainable |  |  | Internal | Institution |  | Heating | Mechanical Engineering |  |  |  | Up | Characterization
Solar Concentration Traing System |  | HE Lab | Ecosense Sustainable |  |  | Internal | Institution |  | Heating | Mechanical Engineering |  |  |  | Up | Characterization
Four Ball Tester |  | Tribology Lab | Ducom instruments |  |  | Internal | Institution |  | Tribology (Oil Testing) | Mechanical Engineering |  |  |  | Up | Characterization
Rolling Element Tester |  | Tribology Lab | Ducom instruments |  |  | Internal | Institution |  | Tribology (Oil Testing) | Mechanical Engineering |  |  |  | Up | Characterization
X-Ray Diffraction (XRD) | XRD | X-Ray Diffraction Laboratory | PANalytical | PANalytical 3 kW X’pert Powder |  | Internal | Institution |  | X-Ray Diffraction | Metallurgical Engineering | XRD Laboratory |  |  | Up | Characterization
Scanning Electron Microscope (SEM) | SEM | SEM Lab | Zeiss | Zeiss EVO 18 |  | Internal | Institution |  | Scanning Electron Microscope | Metallurgical Engineering | SEM Laboratory |  |  | Up | Characterization
Analytical Balance |  | Material Testing Laboratory | Shimadzu | AUX Series AUX220 |  | Internal | Institution |  | Analytical Balance | Metallurgical Engineering | Material Testing Lab |  |  | Up | Analytical Measurement
Universal Testing Machine (UTM) 100 kN | UTM | Material Testing Laboratory | Instron | INSTRON 5982 |  | Internal | Institution |  | Universal Testing Machine | Metallurgical Engineering | Material Testing Lab |  |  | Up | Characterization
Wear Testing Machine |  | Material Testing Laboratory | Ducom | TR-20-PHM-400 |  | Internal | Institution |  | Wear Testing Machine | Metallurgical Engineering | Material Testing Lab |  |  | Up | Characterization
Inverted Microscope |  | Material Testing Laboratory | Carl Zeiss | ZEISS Axio Vert.A1 |  | Internal | Institution |  | Inverted Microscope | Metallurgical Engineering | Material Testing Lab |  |  | Up | Characterization
Micro Hardness Tester |  | Material Testing Laboratory | Shimadzu | HMV-2T |  | Internal | Institution |  | Micro Hardness Tester | Metallurgical Engineering | Material Testing Lab |  |  | Up | Characterization
Turbular Powder Mixer |  | Material Testing Laboratory | Hexagon Product Devolopment Pvt Ltd | ALPHIE-3 |  | Internal | Institution |  | Turbular Powder Mixer | Metallurgical Engineering | Material Testing Lab |  |  | Up | Characterization
High Energy Ball Mill |  | Material Testing Laboratory | Retsch | PM 400 |  | Internal | Institution |  | Planetary Boll Mill | Metallurgical Engineering | Material Testing Lab |  |  | Up | Fabrication
Abrasive cut off Machine |  | Melting and Casting Lab | Banbros Engineering | ACO-100 |  | Internal | Institution |  | Abrasive cut off machine | Metallurgical Engineering | Project Lab |  |  | Up | Fabrication
Jominy End Quench Test Setup |  | Melting and Casting Lab | Contation Technology | CJT-1 |  | Internal | Institution |  | Jominy End Quench test setup | Metallurgical Engineering | Project Lab |  |  | Up | Characterization
Tubular Furnace |  | Melting and Casting Lab | VB Ceramics |  |  | Internal | Institution |  | Tubular Furnace | Metallurgical Engineering | Project Lab |  |  | Up | Fabrication
Muffle Furnace |  | Melting and Casting Lab | Therelek |  |  | Internal | Institution |  | Muffle Furnace | Metallurgical Engineering | Project Lab |  |  | Up | Fabrication
Power Drill |  | Project Lab | Praga | 250 |  | Internal | Institution |  | Power Drill | Metallurgical Engineering | Project Lab |  |  | Up | Fabrication
Arc Welding Machine |  | Project Lab | Sanjay | SEEW/50 |  | Internal | Institution |  | Arc Welding machine | Metallurgical Engineering | Project Lab |  |  | Up | Fabrication
TIG and Arc Welding Machine |  | Project Lab | Jagdeesh | TIG/MMA-200A |  | Internal | Institution |  | TIG + Arc Welding machine | Metallurgical Engineering | Project Lab |  |  | Up | Fabrication
Lathe Machine |  | Project Lab | MK Ltd | MBD I |  | Internal | Institution |  | Lathe machine | Metallurgical Engineering | Project Lab |  |  | Up | Fabrication
Vertical Milling Machine |  | Project Lab | R K Machine Tools | 1967 |  | Internal | Institution |  | Vertical milling machine | Metallurgical Engineering | Project Lab |  |  | Up | Fabrication
DC Power Supply Machine |  | Electo Chemistry and Corrosion Lab | Keysight | E3632A |  | Internal | Institution |  | D.C. Power Supply machine | Metallurgical Engineering | Project Lab |  |  | Up | Characterization
Vacuum Arc Melting Furnace |  | Electo Chemistry and Corrosion Lab | VEC Solution |  |  | Internal | Institution |  | Vacuum Arc Melting Furnace | Metallurgical Engineering | Project Lab |  |  | Up | Fabrication
Potentiostat |  | Electo Chemistry and Corrosion Lab | Princeton Applied Research | Versa Stat 3 |  | Internal | Institution |  | Potentiostat | Metallurgical Engineering | Project Lab |  |  | Up | Characterization
Ultrasonic Flaw Detector |  | Electo Chemistry and Corrosion Lab | Vibronics | FD-201-B |  | Internal | Institution |  | Ultrasonic Flaw Detector | Metallurgical Engineering | Project Lab |  |  | Up | Characterization
Slow Speed Cutting Machine |  | Metallography Lab | S R Technology | PRECICUT |  | Internal | Institution |  | Slow Speed Cutting Machine | Metallurgical Engineering | Metallography Lab |  |  | Up | Fabrication
Disc Polisher |  | Metallography Lab | SSA Yanthra Vigyan | Master Disk Grinder polisher |  | Internal | Institution |  | Disc Polisher | Metallurgical Engineering | Metallography Lab |  |  | Up | Fabrication
Hot Mounting Press |  | Metallography Lab | SSA Yanthra Vigyan | Master Mounting Press |  | Internal | Institution |  | Hot Mounting Press | Metallurgical Engineering | Metallography Lab |  |  | Up | Fabrication
Metallurgical Microscope |  | Metallography Lab | Zeiss | AXIO Lab-A1 |  | Internal | Institution |  | Metallurgical Microscope | Metallurgical Engineering | Metallography Lab |  |  | Up | Characterization
Digital Rockwell Hardness Testing Machine |  | Metallography Lab | PMI Co India | PMI-3200 |  | Internal | Institution |  | Digital Rockwell Hardness Testing Machine | Metallurgical Engineering | Metallography Lab |  |  | Up | Characterization
Workstation |  | Electrochemistry and Corrosion Laboratory | Dell | Dell Precision 5820 |  | Internal | Institution |  | Workstation | Metallurgical Engineering | Corrosion Engg Lab |  |  | Up | Characterization
Turbidity Meter |  |  | LaMotte | 2020we |  | External | MHRD |  | To measure turbulance of liquid ` | Department of Mining Engineering |  |  |  | Up | Analytical Measurement
Minimate Plus |  |  | Instantel | 716A0403 |  | External | MHRD |  | To monitor blast induced ground vibration | Department of Mining Engineering |  |  |  | Up | Characterization
Minimate |  |  | Instantel |  |  | External | MHRD |  | To monitor blast induced ground vibration | Department of Mining Engineering |  |  |  | Up | Characterization
Large Direct Shear Apparatus |  |  | Aimil |  |  | External | MHRD |  | To measure the cohession and angle of internal friction of waste of material, soils and gravels | Department of Mining Engineering |  |  |  | Up | Analytical Measurement
Concrete Test Hammer Type LN Testing Anvil |  |  | Schimidt |  |  | External | MHRD |  | To measure the surface hardness of rock and concrete | Department of Mining Engineering |  |  |  | Up | Characterization
Core Cutting and Grinding Machine for Rock Cores |  |  | SK |  |  | External | MHRD |  | For cutting and preperation of core samples | Department of Mining Engineering |  |  |  | Up | Characterization
Rock Direct Shear Test |  |  | Aimil |  |  | External | MHRD |  | To measure the cohession and angle of internal friction of rock block containing discontinuty | Department of Mining Engineering |  |  |  | Up | Characterization
Oysis Slope Stability Software |  |  | Oysis |  |  | External | MHRD |  | Software for design of slopes | Department of Mining Engineering |  |  |  | Up | Software
Software UDEC |  |  | ITASCA | Version 6.0 |  | External | MHRD |  | Software for design of slopes and tunnel in discontinuous rock mass | Department of Mining Engineering |  |  |  | Up | Software
Electronic Theodolite |  |  | South | ET-02 |  | External | MHRD |  | To measure Horizonal vs Verical Angles | Department of Mining Engineering |  |  |  | Up | Characterization
Dual Frequency RTK DGPS |  |  | Topcon |  |  | External | MHRD |  | The Differential Global Positioning System (DGPS) is a satellite-based system for navigation. | Department of Mining Engineering |  |  |  | Up | Characterization
Electronic Theodolite |  |  | South | ET-02 |  | External | MHRD |  | To measure Horizonal vs Verical Angles | Department of Mining Engineering |  |  |  | Up | Characterization
Human Vibration Analyser |  |  | Svantek | SV106A |  | External | MHRD |  | To anlyse vibration of human body during operation of any machine | Department of Mining Engineering |  |  |  | Up | Analytical Measurement
Small Direct Shear Test Apparatus |  |  | Aimil Ltd | AIM-105-3 |  | External | MHRD |  | To measure the cohession and angle of internal friction of soil | Department of Mining Engineering |  |  |  | Up | Characterization
Universal Testing Machine 60T |  |  | Enkay | UT 60 |  | External | MHRD |  | To measure tensile strength and compressive strength of materials. | Department of Mining Engineering |  |  |  | Up | Characterization
Brazillian Test Apparatus |  |  | Heico | As per IS Code |  | External | MHRD |  | For indirect measurement of tensile strength of rocks | Department of Mining Engineering |  |  |  | Up | Characterization
Slake Durability Apparatus |  |  | Enkay | As per IS Code |  | External | MHRD |  | To determine abrasion resistance in wetting and drying cycles of shale and similar soft rocks | Department of Mining Engineering |  |  |  | Up | Characterization
Jaw Crusher |  |  | Kusum | JC/63 |  | External | MHRD |  | To reduce the size of large aggregate | Department of Mining Engineering |  |  |  | Up | Fabrication
Double Roll Crusher |  |  |  | IAB |  | External | MHRD |  | To reduce the size of large aggregate | Department of Mining Engineering |  |  |  | Up | Fabrication