## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Rate/Hr | Refernce Website | Equipment Status | Category
Computer Controlled Constant Temperature Anemometer |  | Hydraulic Engineering Lab | Dantec Dynamics |  |  | Internal | Institution |  | 1-, 2- and 3-velocity components, • Both freestream and near-wall measurements, • Internal flows,• Boundary layer transition, • Wall shear stress, Dantec Dynamics A/S Tonsbakken 16 - 18 2740 Skovlunde Denmark | Civil Engineering | Hydraulic Engineering Lab |  |  | Up | Analytical Measurement
Microwave Digestion System |  | MS112 | Milestone Italy | START D |  | Internal | Institution |  |  | Civil Engineering | Environmental Engineering Laboratory |  |  | Up | Fabrication
Accelerated Solvent Extractor |  | MS112 | Thermo Scientific USA | Dionex ASE-150 |  | Internal | Institution |  |  | Civil Engineering | Environmental Engineering Laboratory |  |  | Up | Fabrication
Data Acquisition System with Load Cell and LVDT |  | MS-101 | United Electronic Industries USA and Honeywell USA | 43 |  | Internal | Institution |  | Datalogger, Load Cell ( 200 Tonne) LVDT (Range (+/- 76.2 mm), Datalogger - UEI300 Analog Input - A1-201-100 Load Cell, LVDT: JEC-AG | Civil Engineering | Structure Engineering Lab |  |  | Up | Characterization
Automatic Compression Testing Machine |  | MS-101 | Aimil Ltd | 320E-FA-1 |  | Internal | Institution |  | Capacity 3000 kN | Civil Engineering | Structure Engineering Lab |  |  | Up | Characterization
Ultrasonic Pulse Velocity Apparatus |  | MS-101 | Proceq | PL02-003-0378BO |  | Internal | Institution |  |  | Civil Engineering | Structure Engineering Lab |  |  | Up | Characterization
Automatic Flexure Testing Machine |  | MS-101 | Aimil Ltd | 332E-FA-1 |  | Internal | Institution |  | Transducer 54 kHz | Civil Engineering | Structure Engineering Lab |  |  | Up | Characterization
Multi Channel Vibration Analyzer System with Sensor |  | MS-101 | OROS France | OR 35 |  | Internal | Institution |  | Vibration Analyser with sensors such as accelerometer, LVDT | Civil Engineering | Structure Engineering Lab |  |  | Under Maintenance | Characterization
Electro Dynamic Shaker |  | MS-101 | Saraswati Dynamics Pvt Ltd | SEV 125/DSA 1K |  | Internal | Institution |  | Capacity 100kgf | Civil Engineering | Structure Engineering Lab |  |  | Up | Characterization
FFT Analyzer |  | MS-101 | Bruel and Kjaer Sound and Vibration | 3560-B-020 |  | Internal | Institution |  | 4-channel FFT analyser with accelerometer and impact hammer | Civil Engineering | Structure Engineering Lab |  |  | Up | Characterization
Universal Testing Machine |  | MS-101 | FIE Instruments |  |  | Internal | Institution |  | Universal testing machine with microprocessor based measuring panel, Capacity - 1000 kN | Civil Engineering | Structure Engineering Lab |  |  | Up | Characterization
Horizontal Shake Table |  | MS-101 | Milenium Technologies Pvt Ltd | sine 1000x1000mm |  | Internal | Institution |  | Motion: unidirectional, frequency range: 1-20 Hz | Civil Engineering | Structure Engineering Lab |  |  | Up | Characterization
Structural Test Frame |  | MS-101 | Rcg Instruments | STR2000 |  | Internal | Institution |  | Automatic Data Acquisition system. Used for bending and bucking of test specimens. | Civil Engineering | Structure Engineering Lab |  |  | Up | Characterization
Rolling Thin Film Oven Test for Bitumen |  | MN-138 | James Cox and Sons USA | CS 325-B |  | Internal | Institution |  | 240V AC, 3500 Watts, Programmable micro processor controller, Temp. Range: Ambient to 2000 C, Flow Meter: Range 200-14000 ML/MIN, Air Pressure Range: 0-100psi. | Civil Engineering | Highway and Concrete Lab |  |  | Up | Characterization
Pressure Aging Vessel for Bitumen |  | MN-138 | Prentex Alloy Fabricators Inc USA | 9300E |  | Internal | Institution |  | Operation on 208-250 V AC, 50-60 Hz, Contaning leak tight ASME Pressure Ageing Vessel, pressure relief valve, O-ring gasket, Removable insulation cover, TFOT pans, Rack for TFOT sample pans, Air Exhaust Muffler with Controller software. | Civil Engineering | Highway and Concrete Lab |  |  | Down | Fabrication
Cleavland Flash Point and Fire Point Test Apparatus for Bitumen |  | MN-138 | Sumeet Instruments Kolkata |  |  | Internal | Institution |  | Flash & Fire Point Apparatus electrically heated with controlled by energy Regulator | Civil Engineering | Highway and Concrete Lab |  |  | Up | Characterization
Penetration Testing Equipment for Bitumen |  | MN-138 | AIMIL Ltd New Delhi |  |  | Internal | Institution |  | Penetrometer Digital with Timer complete with Bitumen penetration Kit | Civil Engineering | Highway and Concrete Lab |  |  | Up | Characterization
Softening Point Testing Apparatus for Bitumen |  | MN-138 | Lawrence and Mayo Kolkata |  |  | Internal | Institution |  | Ring & Ball Apparatus with steel balls, Brass rings tapered, Ball centering guide, Ring supporter, heat resistance glass and Thermometer | Civil Engineering | Highway and Concrete Lab |  |  | Up | Characterization
Viscosity Testing Apparatus Brookfield for Bitumen |  | MN-138 | Brookfield Engg Laboratories INC USA | RVDV-II + PRO |  | Internal | Institution |  | Brookfield Viscometer with Spindle No. 2 to 7, Built in RTD Temp. Probe, 54 selectable speeds, Viscosity Range: 100 Cp to 40 MCp, Speed: 0.01 to 200 RPM, Thermosel 230V DP for control sample Temp. upto 3000C, Digital Display. | Civil Engineering | Highway and Concrete Lab |  |  | Up | Characterization
Ductility for Bitumen |  |  | AIMIL Ltd New Delhi |  |  | Internal | Institution |  | Ductility Testing machine electrically operated with Brass made Briquette Moulds, Thermostat maintained water bath | Civil Engineering | Highway and Concrete Lab |  |  | Up | Characterization
Dynamic Block Vibration Unit |  | MN-149 | Micron |  |  | Internal | Institution |  |  | Civil Engineering | Geotechnical Lab |  |  | Down | Characterization
Theodolite |  | MN-140 | Eastman |  |  | Internal | Institution |  |  | Civil Engineering | Land Surveying |  |  | Up | Analytical Measurement
Chain Survey Setup |  | MN-140 |  |  |  | Internal | Institution |  |  | Civil Engineering | Land Surveying |  |  | Up | Analytical Measurement
Plane Table Survey Setups |  | MN-140 |  |  |  | Internal | Institution |  |  | Civil Engineering | Land Surveying |  |  | Up | Analytical Measurement
Total Station |  | MN-140 |  |  |  | Internal | Institution |  | SOKKIA TRIMBLE | Civil Engineering | Land Surveying |  |  | Up | Analytical Measurement
ArcGIS |  | RS and GIS Lab | Geo Infotech | 10.2 |  | Internal | Institution |  | GIS software | Civil Engineering | Remote Sensing and GIS Lab |  |  | Up | Software
ERDAS |  | RS and GIS Lab | Intergraph | Basic Edu Kit |  | Internal | Institution |  | Image analysis software | Civil Engineering | Remote Sensing and GIS Lab |  |  | Up | Software
Differential Scanning Calorimetry and Thermogravimetry (DSCTG) | DSCTG | CR-234 | NETZSCH | STA 449 C Jupiter |  | Internal | Institution |  | Identification of thermo chemical and gravimetrical analysis | Ceramic Engineering | MC LAB I |  |  | Under Maintenance | Characterization
Dilatometer |  | CR-234 | NETZSCH | DIL 402 C |  | Internal | Institution |  | Identification of thermo physical analysis | Ceramic Engineering | MC LAB I |  |  | Under Maintenance | Analytical Measurement
Impedence Analyzer (IA) | IA | CR-107 | SOLARTRON | SOLARTON 1260 |  | Internal | Institution |  | Fuel cell and electro-chemical characterization Materials research | Ceramic Engineering | Electroceramic Lab |  |  | Under Maintenance | Analytical Measurement
RFDC Sputtering Coating Unit |  | CR-105 | Hind Hivac |  |  | Internal | Institution |  | Thin film Coating | Ceramic Engineering | Thin Film Lab |  |  | Under Maintenance | Fabrication
UV-Vis Spectrophotometer |  | MN343 | Systronics | 2203 |  | Internal | Institution |  | UV-Vis spectrophotometer | Life Science | Food Microbiology and Bioprocess Laboratory |  |  | Up | Characterization
Bright Field Microscope |  | MN343 | Olympus | CH20i |  | Internal | Institution |  | Bright field microscope | Life Science | Food Microbiology and Bioprocess Laboratory |  |  | Up | Characterization
Attenuated Total Reflection Fourier Transform Infrared Spectroscopy (ATRFTIR) | ATRFTIR | MN344 | Bruker | Alpha 2 |  | Internal | Institution |  |  | Life Science | Protein Biology Laboratory |  |  | Up | Characterization
UV-Visible Spectrophotometer |  | MN344 | Agilent | Carry 100 |  | Internal | Institution |  | Colorimeter | Life Science | Protein Biology Laboratory |  |  | Up | Characterization
Precision Ferroelectric Characterization System (PFCS) | PFCS | MN 247 | Radiant Technology | 2012 |  | Internal | Institution |  | Precision Premier II Ferroelectric Test System | Physics and Astronomy | Electroceramics Lab |  |  | Up | Characterization
Impedance Analyzer |  | MC223 | Newtons4th Ltd | N4L: PSM 1735 |  | Internal | Institution |  | Measurements | Physics and Astronomy |  |  |  | Up | Characterization
Micro PL Raman Spectroscopy |  | MC226 | WITec GMBH Germany | WI Tec alpha 300 R |  | Internal | Institution |  | PL Raman Spectra | Physics and Astronomy | Raman Lab |  |  | Up | Characterization
UV-Visible Spectrophotometer |  | SIL CY MN 443 | Shimadzu | UV 2450 |  | Internal | Institution |  | UV visible Spectrophotometer | Chemistry | SIL 2 CY |  |  | Up | Characterization
Circular Dichroism (CD) Spectrophotometer |  | SIL CY MN 443 | JASCO | J 1500 |  | Internal | Institution |  | CD Spectrophotometer | Chemistry | SIL 2 CY |  |  | Down | Characterization
UV-Vis Spectrophotometer |  | BMBT BM 418 | Agilent | Cary 100 |  | Internal | Institution |  | UV visible Spectrophotometer | Chemistry | BM 418 |  |  | Up | Characterization
Nuclear Magnetic Resonance Spectrometer (NMR) | NMR | SIL CY MS 117 | Bruker | AV400 Avance III |  | Internal | Institution |  | NMR | Chemistry | SIL 1 CY |  |  | Up | Characterization
Fluorescence Spectrometer (FS) | FS | SIL CY MN 443 | Jobin Yvon | Fluoromax-4P |  | Internal | Institution |  | Fluorescence | Chemistry | SIL 2 CY |  |  | Up | Characterization
Advanced Optical Microscope |  | SIL CY MN 443 | Olympus | BX-5175E21P |  | Internal | Institution |  | Microscopy with images in digital mode | Chemistry | SIL 2 CY |  |  | Down | Characterization
Ultracentrifuge |  | SIL CY MN 443 | Hitachi | CS150FNX |  | Internal | Institution |  | Microprocessor controlled Bench top freeze dryer | Chemistry | SIL 2 CY |  |  | Up | Characterization
Ultrasonic Welding Machine |  | ME Department | Roop Telsonic Ultrasonix Limited | M4000 |  | Internal | Institution |  |  | Mechanical Engineering | Ultrasonic Lab |  |  | Up | Fabrication
Coordinate Measuring Machine |  | ME Department | Accurate | India/ Spectra 5-6-4 |  | Internal | Institution |  |  | Mechanical Engineering | Metrology Lab |  |  | Up | Analytical Measurement
Optical Microscope |  | ME Department |  |  |  | Internal | Institution |  |  | Mechanical Engineering | Metrology Lab |  |  | Up | Characterization
Carl Zeiss Tool Makers Microscope |  | ME Department | Carl Zeiss | Carl Zeiss |  | Internal | Institution |  |  | Mechanical Engineering | Metrology Lab |  |  | Up | Characterization
Universal Testing Machine 600 Kn and 1000 Kn |  | ME Department |  |  |  | Internal | Institution |  |  | Mechanical Engineering | Stress Analysis Prodn Lab |  |  | Up | Characterization
Wire EDM Machine |  | ME Department | Electronica | ECOCUT |  | Internal | Institution |  | Electronica ELPULS 15 | Mechanical Engineering | Production Lab |  |  | Up | Fabrication
Heavy Duty Lathe Machine |  | ME Department | HMT Bangalore | India/ NH26 |  | Internal | Institution |  |  | Mechanical Engineering | Production Lab |  |  | Up | Fabrication
Electrochemical Machine |  | ME Department | MetaTech Industries Pune | India/ EC MAC-II |  | Internal | Institution |  |  | Mechanical Engineering | Production Lab |  |  | Down | Characterization
Engine Combustion Smoke Analysis Kit |  | ME Department | AVL | 437 C smoke meter |  | Internal | Institution |  |  | Mechanical Engineering | IC Engine Lab |  |  | Up | Characterization
Exhaust Gas Analyser |  | ME Department | AVL | AVL 444 |  | Internal | Institution |  |  | Mechanical Engineering | IC Engine Lab |  |  | Up | Characterization
Smoke Meter |  | ME Department |  |  |  | Internal | Institution |  |  | Mechanical Engineering | IC Engine Lab |  |  | Up | Analytical Measurement
Linde Liquid Nitrogen Plant |  | ME Department | Linde CryoPlants Ltd UK | LINIT 25 |  | Internal | Institution |  |  | Mechanical Engineering | Cryogenics Lab |  |  | Down | Research Infrastructure
Rapid Prototyping Machine |  | ME Department | Stratasys USA | Fortus 400mc |  | Internal | Institution |  |  | Mechanical Engineering | CAD Lab |  |  | Up | Fabrication
Electro Discharge Machine |  | ME Department | Electronica Machine Tool | PS50 ZNC |  | Internal | Institution |  |  | Mechanical Engineering | Production Lab |  |  | Up | Fabrication
Laser Welding Machine |  | ME Department | Alpha Laser | Germany /ALT-200 |  | Internal | Institution |  |  | Mechanical Engineering | Ultrasonic Lab |  |  | Down | Fabrication
Heavy Duty Milling Machine |  | ME Department | HMT Bangalore India | FN2UA |  | Internal | Institution |  |  | Mechanical Engineering | Production Lab |  |  | Down | Fabrication
Measuring Micro Hardness Tester |  | ME Department | Vaiseshika | India/ 7005 |  | Internal | Institution |  |  | Mechanical Engineering | Ultrasonic Lab |  |  | Down | Characterization