## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Rate/Hr | Refernce Website | Equipment Status | Category
FTIR Spectrometer |  |  | Nicolet | Magna 550II |  |  |  |  | Range: 400 to 4000 cm-1; Attenuated total reflectance accessory | Sophisticated Analytical Instrument Facility |  |  |  | Up | Characterization
Atomic Absorption Spectrometer (AAS) | AAS |  | GBC | 932 |  |  |  |  | Detection limit: ppm/ppb; Graphite furnace; Hydride generator for As & Hg | Sophisticated Analytical Instrument Facility |  |  |  | Up | Characterization
TGA SDTA |  |  | Mettler Toledo | [5 empty] | Temp. range: Ambient to 10000 C | Sophisticated Analytical Instrument Facility |  |  |  | Up | Characterization
DTA |  |  | AIMIL | 1600 DTA |  |  |  |  | Temp. range: 4000 C to 16000 C | Sophisticated Analytical Instrument Facility |  |  |  | Up | Characterization
DSC |  |  | Mettler | DSC 30S |  |  |  |  | Temp. range: -1500 C to 6000 C | Sophisticated Analytical Instrument Facility |  |  |  | Up | Characterization
Powder X-ray Diffractometer (PXRD) | PXRD |  | Philips | PW 1710 |  |  |  |  | Range (2θ): 50 to 1350 ; X-ray tubes: Cu, Fe; ICCD data base | Sophisticated Analytical Instrument Facility |  |  |  | Up | Characterization
Transmission Electron Microscope (TEM) | TEM |  | Jeol | 1200 EX II |  |  |  |  | Resolution: upto 4.5 0 A Acc. voltage: upto 120 kV; Magnification: upto 10,00,000 x Ultramicrotome; Glass/diamond knife maker | Sophisticated Analytical Instrument Facility |  |  |  | Up | Characterization