## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Rate/Hr | Refernce Website | Equipment Status | Category
Bomb Calorimeter |  | Sophisticated Instrumentation Center, MED, SVNIT | LECO | AC-350 | 603-300-100 | External | TEQIP |  | Use For Determination of Gross and Net Calorific Value of any Solid and Liquid Fuels including Sludge, Bagasse , Rice Husk and any Type of Bio-Mass & Coal. | Department of Mechanical Engineering | SIC Lab |  |  | Up | Analytical Measurement
Desktop X-Ray Diffractometer (XRD) System | XRD | Sophisticated Instrumentation Center, MED, SVNIT | Rigaku | MiniFlex | BD111915 | External | TEQIP |  | Use for Charecterization and Phase Detaction of any Powder and Alloy Samples. | Department of Mechanical Engineering | SIC Lab |  |  | Up | Characterization
Proximate Analyzer Thermo Gravimetric Analyzer (TGA) | TGA | Sophisticated Instrumentation Center, MED, SVNIT | LECO | 604-100-700 | 3284 | External | TEQIP |  | Use For Determination ofFix Carbon, Moisture, Ash Contain and Volatile Matter of any Solid Fuels including Sludge, Bagasse , Rice Husk and any Type of Bio-Mass & Coal. | Department of Mechanical Engineering | SIC Lab |  |  | Up | Characterization
Scanning Electron Microscope (SEM) | SEM | Sophisticated Instrumentation Center, MED, SVNIT | Hitachi | S-3400N | 340625-07 | External | TEQIP |  | Use for Study of Surface Morphology Catalyst Characterization and Coeeosion Study etc. | Department of Mechanical Engineering | SIC Lab |  |  | Up | Characterization
CHNS Analyzer TruSpec CHN |  | Sophisticated Instrumentation Center, MED, SVNIT | LECO | 630-100-400 | 3474 | External | TEQIP |  | Use for Element Compositions i.e. Carbon, Hydrogen, Nitrogen and Sulfur for any Solid and Liquid Fuels including Sludge, Bagasse , Rice Husk and any Type of Bio-Mass & Coal. | Department of Mechanical Engineering | SIC Lab |  |  | Up | Characterization
CHNS Analyzer TruSpec S |  | Sophisticated Instrumentation Center, MED, SVNIT | LECO | 630-100-700 | 4051 | External | TEQIP |  | Use for Element Compositions i.e. Carbon, Hydrogen, Nitrogen and Sulfur for any Solid and Liquid Fuels including Sludge, Bagasse , Rice Husk and any Type of Bio-Mass & Coal. | Department of Mechanical Engineering | SIC Lab |  |  | Up | Characterization
XRF Analyzer |  | Sophisticated Instrumentation Center, MED, SVNIT | Rigaku | ZSX Mini II | DR05003 | External | TEQIP |  | Use for Characterization on Element basis of ant Material including Metals, Alloy, Sludge, Coal, Soil, Ores, Bio-Mass, Heavy Metals etc. | Department of Mechanical Engineering | SIC Lab |  |  | Up | Characterization
Gas Chromatograph (GC) with accessories | GC | Sophisticated Instrumentation Center, MED, SVNIT | Netel India | Micro-9100 |  | Institution | Annual Plan Grant |  | Use for Characterization of any Gas like Natural Gas , Bio-Gas & Producer Gas etc. | Department of Mechanical Engineering | SIC Lab |  |  | Up | Characterization
ANSYS Fluent Version | ANSYS | Sophisticated Instrumentation Center, MED, SVNIT | ANSYS Software Pvt Ltd Banglore | CFD Version 11.0 |  | Institution | Annual Plan Grant |  | Use for Simulation Work | Department of Mechanical Engineering | SIC Lab |  |  | Up | Software
Rapid Prototyping Machine Object 3D with Object Studio (3DP) | 3DP | Reverse Engineering Lab | Stratasys |  |  | Institution | Annual Plan Grant |  | Tray Size: 300*200*150 mm Net build size : 294*192.7*148.6 mm Build resolution: X axis : 600 DPI Y axis: 600 DPI Z axis: 900 DPI Accuracy: 0.1 mm ( 0.0039’) Materials supported: Vero white/ blue/black, grey Support type : Full Cure R705 support ( Non- toxic gel like photopolymer removed by water jet) | Department of Mechanical Engineering | Reverse Engineering Lab |  |  | Up | Fabrication
AxStream Education Version |  | Sophisticated Instrumentation Center, MED, SVNIT | SoftIn Way Inc. Burlington. |  |  | Institution | Annual Plan Grant |  | Use for Simulation Work | Department of Mechanical Engineering |  |  |  | Up | Software
High Speed Camera |  | Sophisticated Instrumentation Center, MED, SVNIT |  |  |  | Institution | Annual Plan Grant |  | Use for Image Capture Flame and Flow visulization. | Department of Mechanical Engineering |  |  |  | Up | Analytical Measurement
Erosion Testing Rig |  | Sophisticated Instrumentation Center, MED, SVNIT | Ducom Origin India | TR-471-900 |  | Institution | Annual Plan Grant |  | Use for Erosion Study | Department of Mechanical Engineering |  |  |  | Up | Characterization
Coriolis Flow Meter System with necessary components |  | Sophisticated Instrumentation Center, MED, SVNIT | SWA Automaton Surat |  |  | Institution | Annual Plan Grant |  | Develop a test facility to investigate the flow inside electrically heated test section and the effect of temperature and pressure on it. | Department of Mechanical Engineering |  |  |  | Up | Analytical Measurement
Cordinate Measuring Machine |  | Metal forming lab | Mitutoyo | M443 |  | External | TEQIP III |  | for coordinate measuring of machined/manufactured parts | Department of Mechanical Engineering |  |  |  | Up | Analytical Measurement
Falling Weight Deflectometer (FWD) | FWD | Geoetechnical Engineering Lab | Dynatest Denmark |  |  | External | DST |  | To evaluate strucutral perofrmance of road pavements | Applied Mechanics Department | Geotech Lab |  |  | Up | Analytical Measurement
Bump Integrator |  | Geoetechnical Engineering Lab | STECO New Delhi |  |  | External | DST |  | To determine international roughness index (IRI) of Pavement | Applied Mechanics Department | Geotech Lab |  |  | Up | Analytical Measurement
Cyclic Triaxial Test Apparatus |  | Geoetechnical Engineering Lab | GDS UK | [5 empty] | To evaluate soil properties | Applied Mechanics Department | Geotech Lab |  |  | Up | Characterization
Triaxial Test Apparatus with Electronics Data Acquisition System and Geotechnical Analysis Software |  | Geoetechnical Engineering Lab | AIMIL New Delhi | [5 empty] | To evaluate soil properties | Applied Mechanics Department | Geotech Lab |  |  | Up | Characterization
Consolidation Apparatus Three Gang Electronic |  | Geoetechnical Engineering Lab | AIMIL New Delhi | [5 empty] | To evaluate soil properties | Applied Mechanics Department | Geotech Lab |  |  | Up | Characterization
Direct Shear Apparatus Electronic |  | Geoetechnical Engineering Lab | AIMIL New Delhi | [5 empty] | To evaluate soil properties | Applied Mechanics Department | Geotech Lab |  |  | Up | Characterization
Universal Testing Machine 100 Ton |  | Strength of Material Lab | [6 empty] | To check compressive, tensile, flexural, and shear strength of different materials like wood, steel, cocnrete etc. & Core test | Applied Mechanics Department | Strength of Material Lab |  |  | Up | Characterization
Uniaxial Shake Table with Servo Motor Control |  | Dynamic Lab | [6 empty] | TO check the Earthqiake | Applied Mechanics Department | Dynamic Lab |  |  | Up | Characterization
Compression Testing Machine 250 kN |  | Cement Laboratory | [6 empty] | To check compressive strength oand split tensile strength of cocnrete & Core test | Applied Mechanics Department | Cement Laboratory |  |  | Up | Characterization
High Performance Ultrasonic Pulse Velocity Meter |  | Vibration Lab | [6 empty] | To check the quality of concrete | Applied Mechanics Department | Vibration Lab |  |  | Up | Analytical Measurement
Digital Rebound Hammer |  | Concrete Laboratory | [6 empty] | To check the strength of concrete | Applied Mechanics Department | Concrete Laboratory |  |  | Up | Characterization
Electronics Extensometer |  | Concrete Laboratory | [6 empty] | To check yield stress of bar | Applied Mechanics Department | Concrete Laboratory |  |  | Up | Analytical Measurement
Humidity Chamber |  | Concrete Laboratory | [6 empty] | Scientific Instrument for Stability Studies | Applied Mechanics Department | Concrete Laboratory |  |  | Up | Characterization
300 kN Automatic Compression Testing |  | Concrete Laboratory | [6 empty] | To check compressive strength oand split tensile strength of cocnrete & Core test | Applied Mechanics Department | Concrete Laboratory |  |  | Up | Characterization
QualNet Simulator and EXata Emulator |  | B.Tech Project Lab | Nihon Communication |  |  | External | TEQIP II |  | Wireless Cellular Network Simulator with Developer Libraries | Department of Computer Engineering | B.Tech Project Lab |  |  | Up | Software
Thermogravimetric Analyzer Differential Thermal Analyzer (TGADTA) | TGADTA | Sophisticated Instrument Lab-1 (Room No. 207, ACD) | Water (India) Private Limited | Q600 SDT |  | External | MHRD |  | The instrument utilized to perform various studies in research laboratory such as changes in material properties, when it is subjected to higher temperatures, to study thermal stability of the materials, to study physical and chemical changes occurred in materials as a function of temperature,etc. | Applied Chemistry Department | Sophisticated Instrument Lab |  |  | Up | Characterization
Water Analysis Kit |  | Catalysis and Ion-exchange (Room No. 318, ACD) | Systronics | Type 371 |  | External | DST |  | For Water Quality Analysis (pH, TDS, Salinity, Conductivity, Turbidity & Colorimetry analysis) | Applied Chemistry Department |  |  |  | Up | Characterization
Oven |  | Catalysis and Ion-exchange (Room No. 318, ACD) | Durga Scientific Pvt Ltd | 24" X 24" 07/2016 |  | External | DST |  | For drying the chemicals / materials | Applied Chemistry Department |  |  |  | Up | Fabrication
Flame Photometer (FP) | FP | Catalysis and Ion-exchange (Room No. 318, ACD) | Systronics | Type 128 05/2017 |  | External | DST |  | For analysis of Sodium and Potassium in water samples / liquid solutions | Applied Chemistry Department |  |  |  | Up | Analytical Measurement
Calcination Furnace (CF) | CF | Catalysis and Ion-exchange (Room No. 318, ACD) | Nebertherm | L 3/11 |  | External | DST |  | For Calcination of inorganic/organic materials | Applied Chemistry Department |  |  |  | Up | Fabrication
Vacuum Oven |  | Catalysis and Ion-exchange (Room No. 318, ACD) | Classic Scientific | CS-44 |  | External | MHRD |  | For vaccum drying | Applied Chemistry Department |  |  |  | Up | Fabrication
Lab pH Meter |  | Catalysis and Ion-exchange (Room No. 318, ACD) | Rakiro Biotech | AB-PH-01 |  | External | MHRD |  | For pH measurement | Applied Chemistry Department |  |  |  | Up | Analytical Measurement
UV-Visible Spectrometer (UV-VIS) | UV-VIS | Applied chemistry Department (Lab No. 319) | SINSIL INTERNATIONAL | DH-2000-BAL |  | External | DST |  | High resolution spectrometer with light source, probes and accessories | Applied Chemistry Department | Nano Chemistry Lab |  |  | Up | Analytical Measurement
Fluorescence Spectrometer (FS) | FS | Applied chemistry Department (Lab No. 319) | Agilent Technologies | G9800AA |  |  |  |  | Carry eclips Bundle includes winFLR software and desktop pr Laplop PC. Flourescence cell UV 10 mm 3.5 mL open 2/p. Flourescence cell, rectangular. UV quartz. | Applied Chemistry Department |  |  |  | Up | Analytical Measurement
Attenuated Total Reflection Fourier Transform Infrared Spectrometer (ATR-FTIR) | ATR-FTIR | Applied chemistry Department (Lab No. 319) | LabIndia Analytical Instruments Pvt Ltd | Alpha II |  | External | BRNS |  | Spectral range: 8,000-400 cm-1, DTGS detector | Applied Chemistry Department |  |  |  | Up | Characterization
HPLC | HPLC | Sophisticated Instrument Lab - 1 (Room No. 207, ACD) | Agilent Technologies India Pvt Ltd | Agilent Infinity 1260 |  | Institution | Annual Plan Grant |  | For separation of various compounds molecules etc. | Applied Chemistry Department |  |  |  | Up | Characterization
DSC | DSC | Old Department Physical Lab | Mettler Toledo India Pvt Ltd | Mettler Toldo DSC- 1 |  | Institution | Annual Plan Grant |  | Measuring thermoanalytical properties of Substance. | Applied Chemistry Department |  |  |  | Up | Characterization
AC Impedance |  | Sophisticated Instrument Lab - 1 (Room No. 207, ACD) | Sinsil International Pvt Ltd | CHI- 608c |  | Institution | Annual Plan Grant |  | For measuring redox activity of compounds molecules, polymers etc. | Applied Chemistry Department |  |  |  | Up | Characterization
Digital Multimeter |  | Microprossesor Lab | Optimized Solution | DMM4050 |  | Institution | Annual Plan Grant |  | Multimeter-Commercial calibration | Department of Electrical Engineering | Microprocessor Lab |  |  | Up | Analytical Measurement
Impedance Analyzer |  | High Voltage Lab |  |  |  | Institution | Annual Plan Grant |  | Impedance Analyzer | Department of Electrical Engineering | High Voltage Lab |  |  | Up | Analytical Measurement
Mixed Domain Oscilloscope |  | High Voltage Lab | Royal Electronics Sales and Services |  |  | Institution | Annual Plan Grant |  | Mixed Domain Oscilloscope | Department of Electrical Engineering | High Voltage Lab |  |  | Up | Analytical Measurement
HV Test and Measuring Equipment |  | High Voltage Lab | W.S.Test System Pvt Ltd |  |  | External | TEQIP II |  | H.V. Test & Measuring Equipment | Department of Electrical Engineering | High Voltage Lab |  |  | Up | Analytical Measurement
Partial Discharge Measuring System |  | High Voltage Lab | W.S.Test System Pvt Ltd |  |  | External | TEQIP II |  | Partial Discharge Measuring System | Department of Electrical Engineering | High Voltage Lab |  |  | Up | Analytical Measurement
Oscilloscope Compatible with TCP202A Current Probes |  | Power Electronics Lab | Royal Electronics Sales and Services |  |  | Institution | Annual Plan Grant |  | Oscilloscope Compatible with TCP202A current probes | Department of Electrical Engineering | Power Electronics Lab |  |  | Up | Characterization
Oscilloscope compatible with TCP202A Current Probes Mixed Domain Oscilloscope |  | Power Electronics Lab | Royal Electronics Sales and Services |  |  | Institution | Annual Plan Grant |  | Oscilloscope Compatible with TCP202A current probes, Mixed domain oscilloscope | Department of Electrical Engineering | Power Electronics Lab |  |  | Up | Characterization
Thermal Imager |  | Power Electronics Lab | Sai Tech Control |  |  | External | TEQIP II |  | Thermal-Imager | Department of Electrical Engineering | Power Electronics Lab |  |  | Up | Analytical Measurement
PMSG Motor |  | Power Electronics Lab | Royal Electronics Sales and Services |  |  | Institution | Annual Plan Grant |  | PMSG Motor | Department of Electrical Engineering | Power Electronics Lab |  |  | Up | Fabrication
Transducer and Instrumentation Trainer SAIT |  | Measurment Lab | Hem Electronics |  |  | External | TEQIP |  | Transducer & instrumentation trainer (SAIT) | Department of Electrical Engineering | Measurement Lab |  |  | Up | Analytical Measurement
DSO 2 Channel |  | Measurment Lab | Automation System Engg. Pvt Ltd | DSOX2004A |  | Institution | Annual Plan Grant |  | DSO, 2 Chhanel | Department of Electrical Engineering | Measurement Lab |  |  | Up | Characterization
Single Phase Power Quality Analyzer |  | Drives Lab | Automation Systems Engineers Private Limited |  |  | Institution | Annual Plan Grant |  | Single Phase Power Quality Analyzer(2) | Department of Electrical Engineering | Drives Lab |  |  | Up | Analytical Measurement
Portable Handheld Scopemeter |  | Drives Lab | Automation Systems Engineers Private Limited |  |  | Institution | Annual Plan Grant |  | Portable Hand Held Scopemeter | Department of Electrical Engineering | Drives Lab |  |  | Up | Analytical Measurement
ACE 1104 CLP |  | Drives Lab | DynaFusion Technologies Private Limited |  |  | Institution | Annual Plan Grant |  | ACE 1104 CLP | Department of Electrical Engineering | Drives Lab |  |  | Up | Software
Wind Emulator |  | Machines Lab. | Ecosense Sustainable Solutions Pvt Ltd |  |  | External | TEQIP II |  | Wind Emulator | Department of Electrical Engineering | Energy Lab |  |  | Up | Fabrication
Solar Module Analyzer |  | Energy lab. | V.B. Electronics Pvt Ltd |  |  | Institution | Annual Plan Grant |  | Solar Modular Analyzer | Department of Electrical Engineering | Energy lab |  |  | Up | Characterization
CT PT Testing Unit |  | Testing Lab | Royal Electronics Sales and Services |  |  | External | TEQIP II |  | Standard CT Ratio- 5 T0 2000A/5A,5VA Class-0.2%, CT Burden-5AMP/1AMP | Department of Electrical Engineering | Testing Lab |  |  | Up | Characterization
Kelvin Double Bridge |  | Testing Lab | Royal Electronics Sales and Services | [5 empty] | Range of Measurement:0.02Micro-Ohm TO 1.1Ohm,Accuracy: Below 0.0001 ohm-0.2% | Department of Electrical Engineering | Testing Lab |  |  | Up | Analytical Measurement
Decade Megohm Box |  | Testing Lab | [6 empty] | 0.1 Meg Ohm To 1000 Gigaohm, Accuracy:+ - 2% Uptil 1.0 Gigaohm | Department of Electrical Engineering | Testing Lab |  |  | Up | Characterization
Digital Power Meter |  | Testing Lab | HI-Tech Marketing Belgium Tower Surat | yokogawa |  | External | TEQIP II |  | Input voltage: 1.5 to 1000v ac/dc,Phase & wiring :1 phase 2 Wmnk,1 PHASE 3 W,3 PHASE 3 W,3 PHASE 3 W3CURRENT,3 PHASE 4W,1 | Department of Electrical Engineering | Testing Lab |  |  | Up | Analytical Measurement
Digital Precision Multimeter |  | Testing Lab | Optimized Solutions Pvt Ltd | Tektronics/dmm4050 |  |  |  |  | Digital 3+1/2 display, AC V:100mV-1000V,100Micro Amp-10A,Fre:3 Hz-1KHz | Department of Electrical Engineering | Testing Lab |  |  | Up | Analytical Measurement
Earth Ground Tester |  | Testing Lab | Automation Systems Engineers Pvt Ltd Ahmedabad | Fluke/1623 |  |  |  |  | Resistance:0.001-199.9 Ohms, Accuracy:0.001-0.1 Ohm | Department of Electrical Engineering | Testing Lab |  |  | Up | Characterization
Insulation Tester |  | Testing Lab | Automation Systems Engineers Pvt Ltd Ahmedabad | Fluke/ 5500A |  |  |  |  | AC V:1mV-1020 V,Current:29 mA-11A,0.33 nF-1.1 mF,AC Power:109 mW-11Kw | Department of Electrical Engineering | Testing Lab |  |  | Up | Characterization
Oil Insulation Testing Kit |  | Testing Lab | Royal Electronics Sales and Services | [5 empty] | 100 KV | Department of Electrical Engineering | Testing Lab |  |  | Up | Characterization
Digital Micro Ohm Meter |  | Testing Lab | Automation Systems Engineers Pvt Ltd Ahmedabad | Megger/DLRO10X |  |  |  |  | 19999 mΏ-19999 Ohm,Accuracy:0.2%±0.2Ώ | Department of Electrical Engineering | Testing Lab |  |  | Up | Analytical Measurement
Digital Picoammeter |  | Testing Lab | Royal Electronics Sales and Services | KEITHEY/6485 |  |  |  |  | Digital PICO Ammeter | Department of Electrical Engineering | Testing Lab |  |  | Up | Analytical Measurement
EMI EMC Test Kit |  | Testing Lab | Scientific MES-Technik Pvt Ltd | [5 empty] | Laplace SA1002-a 1ghz Emc a | Department of Electrical Engineering | Testing Lab |  |  | Up | Characterization
LCR Bridge HM8118 |  | Testing Lab | Scientific MES-Technik Pvt Ltd |  |  | Institution | Annual Plan Grant |  | LCR-Bridge HM8118 | Department of Electrical Engineering | Testing Lab |  |  | Up | Analytical Measurement
AC Electric Motor Design Software |  | Computer Lab | Trident Techlabs Pvt Ltd |  |  | External | TEQIP |  | AC Electric Motor Design Software 5 User license | Department of Electrical Engineering | Computer Lab |  |  | Up | Software
Transformer Design Software |  | Computer Lab | Trident Techlabs Pvt Ltd |  |  | External | TEQIP |  | Transformer Design Software 5 User license | Department of Electrical Engineering | Computer Lab |  |  | Up | Software
LabVIEW Software |  | Computer Lab | Trident Techlabs Pvt Ltd |  |  | External | TEQIP |  | Lab View Software 50 User License | Department of Electrical Engineering | Computer Lab |  |  | Up | Software
PSCAD Software |  | Computer Lab | KLG Systel Ltd |  |  | External | TEQIP |  | PSCAD Software 20 user license | Department of Electrical Engineering | Computer Lab |  |  | Up | Software
LabVIEW Software |  | Computer Lab | National Instruments Systems India Pvt Ltd |  |  | Institution | Annual Plan Grant |  | Lab View Software 25 User License | Department of Electrical Engineering | Computer Lab |  |  | Up | Software
ETAP Power Station Software |  | Computer Lab | KLG Systel Ltd |  |  | External | TEQIP |  | ETAP Power Station Software (10 User License) | Department of Electrical Engineering | Computer Lab |  |  | Up | Software
Electro Magneto Software |  | Computer Lab | Advanced micromic Devices Ltd |  |  | External | TEQIP |  | Electro Magneto Software (01 User License) | Department of Electrical Engineering | Computer Lab |  |  | Up | Software
ANSYS Academic Research EM |  | Computer Lab | Entuple Technologies Pvt Ltd |  |  | External | TEQIP III |  | ANSYS Academic *Research EM Pakage Includees:Maxwell 2D/3D, Simplorer, Pexpert, Rmxpert, Optimetrics, MCAD Translators, PERPETUAL, LAN BASED | Department of Electrical Engineering | Electrical Vehical Lab |  |  | Up | Software
COMSOL Multiphysics RF Modules Wave Optics Module |  | EC403N | COMSOL | [6 empty] | Department of Electronics Engineering | Microwave & Optical Communication Lab |  |  | Up | Software
COMSRSoft Diffect MOD add on and FEMSIM add on v2014.09 Software |  | EC401N | Rsoft | [6 empty] | Department of Electronics Engineering | Sensor Research Lab |  |  | Up | Software
HFSS |  | EC402N | ANSYS | [6 empty] | Department of Electronics Engineering | Microwave and Optical Communication Lab |  |  | Up | Software
RSoft CAD GUI v2013.12 Software with add on Full Wave Single User Node Locked Academic License for Window 7 and 8 |  | EC401N | Rsoft | [6 empty] | Department of Electronics Engineering | Sensor Research Lab |  |  | Up | Software
Optisuite Opti FDTD OptiSystem OptiSpice and Opti BPM Opti Gratting |  | EC401N |  | 005NH | [5 empty] | Department of Electronics Engineering | Sensor Research Lab |  |  | Up | Software
OptiSystem |  | EC401N | Optiwave | OCS-2011-457NH | [5 empty] | Department of Electronics Engineering | Sensor Research Lab |  |  | Up | Software
Estinet software Networking and Simulator |  | EC402N | [7 empty] | Department of Electronics Engineering | Basic Communication Lab |  |  | Up | Software
Cognitive Wireless Communication Software Defined Radio Lab SDR04 |  | EC407N | [7 empty] | Department of Electronics Engineering | Communication Research Lab |  |  | Up | Software
DLS for Size Measurement |  | Analytical Lab (New Building) | Aimi LTD | ZS-90 |  | Institution | Annual Plan Grant |  | Analytical | Department of Chemical Engineering | Analytical Lab |  |  | Up | Analytical Measurement
Solar Distillation Unit Solar Simulator |  | Terrace (Old Building) | NRG Technologists Pvt Ltd Vadodra | ET058-300 |  | Institution | Annual Plan Grant |  | Experimental Set Up | Department of Chemical Engineering |  |  |  | Up | Characterization
Membrane Test Kit Setup |  | Research Lab (Old Department) | Paras Engineering Works Bhavnagar |  |  | External | TEQIP II |  | Membrane filtration-based method that uses nanometer sized through-pores that pass through the membrane | Department of Chemical Engineering | Research Lab |  |  | Up | Characterization
Langmuir Trough |  | Mass transfer lab (Old Building) | APEX Instruments Co Pvt Ltd | RMCS-1001 AP-01 |  | Institution | Annual Plan Grant |  | Used for deposition isotherm study | Department of Chemical Engineering | Mass Transfer Lab |  |  | Up | Analytical Measurement
Frequency Response Analyzer |  | Research Lab (Old Department) | Techscience Services Pvt Ltd Chennai |  |  | Institution | Annual Plan Grant |  | Analytical | Department of Chemical Engineering | Research Lab |  |  | Up | Analytical Measurement
Automatic Film Applicator |  | Old building research lab | APEX India | 1133N |  | Institution | Annual Plan Grant |  | unit operation | Department of Chemical Engineering |  |  |  | Up | Fabrication
Ion Analyzer with Different Electrodes |  | CRE Lab (old building) | HACH | MM374 |  | External | TEQIP II |  | Analytical | Department of Chemical Engineering | CRE Lab |  |  | Up | Analytical Measurement
Nano Fluid Inter Ferometer |  | M.Tech research lab (New building) | Mittal Enterprises New Delhi | NF-10X |  | External | TEQIP II |  | Experimental Set Up | Department of Chemical Engineering | M.Tech Research Lab |  |  | Up | Analytical Measurement
Chemical Vapor Deposition with Accessories |  | IPC Lab (Old Building) | V.B. Ceramics Consultants Chennai | DPRG-01D |  | External | TEQIP II |  | Thin Film Preparation | Department of Chemical Engineering | IPC Lab |  |  | Up | Fabrication
Robinson Mahoney Basket Reactor |  | IPC Lab (Old Building) | Chemito Technology Pvt Ltd Nasik | 401C-0269 |  | External | TEQIP II |  | Experimental Set Up | Department of Chemical Engineering | IPC Lab |  |  | Up | Characterization
Electrochemical Measurement System |  | Research Lab (Old Building) | Techscience Services Pvt Ltd Chennai |  |  | External | GUJCOST |  | Analytical | Department of Chemical Engineering | Research Lab |  |  | Up | Analytical Measurement
Magnetic Stirrer with Temperature Controller |  | M Tech Research Lab | Sterling Labcare Surat | ETS-D5 |  | External | TEQIP II |  | unit operation | Department of Chemical Engineering | M.Tech Research Lab |  |  | Up | Fabrication
Potentiostat Galvanostat |  | MO Lab (Old building) | Metrohm India Ltd Vadodara | ST40010487 |  | Institution | IRG |  | Analytical | Department of Chemical Engineering | MO Lab |  |  | Up | Analytical Measurement
Gas Chromatograph |  | CRE Lab (Old Building) | Chromegate Instruments Vadodara | TRACE-1110 AI-1310 |  | Institution | IRG |  | Analytical | Department of Chemical Engineering | CRE Lab |  |  | Up | Characterization
Electrical Conductivity Meter |  | FFO Lab (Old Building) | Bandi Technology Delhi |  |  | Institution | IRG |  | Analytical | Department of Chemical Engineering | FFO Lab |  |  | Up | Analytical Measurement
Contact Angle |  | Analytical Lab (New Building) | Dataphysics | OCA 15EC |  | Institution | Annual Plan Grant |  | Analytical | Department of Chemical Engineering | Analytical Lab |  |  | Up | Analytical Measurement
Benchtop pH EC TDS and DO Meter |  | CRE Lab (old building) | Hanna | EDGE |  | External | DST |  | Analytical | Department of Chemical Engineering | CRE Lab |  |  | Up | Analytical Measurement
UV Spectrophotometer with Reactor |  | CRE Lab (old building) | HACH | DR6000 |  | External | TEQIP II |  | Analytical | Department of Chemical Engineering | CRE Lab |  |  | Up | Analytical Measurement
Dip Coating Unit |  | Analytical Lab (New Building) | Apex India | Xdip-MV1 |  | Institution | Annual Plan Grant |  | unit operation | Department of Chemical Engineering | Analytical Lab |  |  | Up | Fabrication
Gas Chromatograph |  | IPC Lab (Old Building) | Perkin Elmer (India) Vadodara | CLARUS-500 |  | External | TEQIP I |  | Analytical | Department of Chemical Engineering | IPC Lab |  |  | Up | Characterization
Portable Flue Gas Analyzer |  | MO Lab (NEW building) | Applied Techno System Thane |  |  | External | TEQIP III |  | Analytical | Department of Chemical Engineering | MO Lab |  |  | Up | Analytical Measurement
High Speed Motion Camera |  | MTO Lab (Old Building) | Integrated Process Systems Chennai |  |  | Institution | Annual Plan Grant |  | Experimental Set Up | Department of Chemical Engineering | MTO Lab |  |  | Up | Characterization