## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Rate/Hr | Refernce Website | Equipment Status | Category
3D Scanner Non Contact Type |  | Reverse Engineering Lab | Roland |  |  | Institution | Annual Plan Grant |  | Scanning area: 250 Dia*400mm Scanning pitch: Rotary 2 to 50 degree, planed 0.5 to 200mm Sensor or scanning method: Non Contact Laser type Scanning step:0.05mm Scanning speed: 40 mm/sec Out file: DXF, STL etc. | Department of Mechanical Engineering | Reverse Engineering Lab |  |  | Up | Characterization
3D Scanner Contact Type |  | Reverse Engineering Lab | Roland |  |  | Institution | Annual Plan Grant |  |  | Department of Mechanical Engineering | Reverse Engineering Lab |  |  | Up | Characterization
Engine Test Rig with Eddy Current Dynamometer and accessories |  | I.C. Engine Lab, MED, SVNIT | S.P.Make Engineers |  |  | External | TEQIP |  | Simulation Optimization and Development of dedicated CNG Engine | Department of Mechanical Engineering | SIC Lab |  |  | Up | Characterization
Tabletop Microscope with accessories |  | First floor of the lab | Hitachi Forevision Instruments India Pvt Ltd Hyderabad | TM 3030 |  | External | TEQIP II |  | Used for practical & Research work | Department of Mechanical Engineering | Advanced Manufacturing Lab |  |  | Up | Characterization
Double Action Deep Drawing Press |  | Ground floor of the lab | Flowmech Engineers Pvt Ltd Delhi | [5 empty] | Used for practical & Research work | Department of Mechanical Engineering | Advanced Manufacturing Lab |  |  | Up | Characterization
Lab Scale Single Screw Extruder |  | Ground floor if the lab | Cosmic Machine Ahmedabad | CR 50 |  | External | TEQIP II |  | Used for practical & Research work | Department of Mechanical Engineering | Advanced Manufacturing Lab |  |  | Up | Characterization
Cyberbot High Performance Robot Kit |  | Industrial Automation Lab (Hardware) | Cybermotion Technologies Pvt Ltd Hyderabad |  |  | Institution | Annual Plan Grant |  | This is used for demonstrating how to assemble and program a robot. | Department of Mechanical Engineering | Industrial Automation Lab (Hardware) |  |  | Up | Characterization
Mechatronics Control Unit |  | Industrial Automation Lab (Hardware) | Cybermotion Technologies Pvt Ltd Hyderabad | M-1 |  | Institution | Annual Plan Grant |  | This is used for demonstrating various types of control such as linear control, non-linear control, optimal control, adaptive control, etc. | Department of Mechanical Engineering | Industrial Automation Lab (Hardware) |  |  | Up | Characterization
Mechatronics Controller Comprehensive Mechatronics Training System |  | Industrial Automation Lab (Hardware) | Cybermotion Technologies Pvt Ltd Hyderabad |  |  | Institution | Annual Plan Grant |  | To provide comprehensive training on various mechatronic systems including the virtual laboratory software | Department of Mechanical Engineering | Industrial Automation Lab (Hardware) |  |  | Up | Characterization
Alloy Analyzer |  | Sophisticated Instrumentation Center, MED, SVNIT | Oxford Instrument | X-Met 5000 |  | Institution | Annual Plan Grant |  | Use for Characterization of any Type of Alloy and its Compositions at any Site etc. | Department of Mechanical Engineering |  |  |  | Up | Characterization
Dynamic Actuator |  | Geoetechnical Engineering Lab | Geotran Roorkee | [5 empty] | To evaluate soil properties | Applied Mechanics Department | Geotech Lab |  |  | Up | Characterization
100 Tonne Loading Frame |  | Heavy structure lab | [6 empty] | To test large scale specimens | Applied Mechanics Department | Concrete Laboratory |  |  | Up | Characterization
Vacuum Pump with Filtration Assembly |  | Catalysis and Ion-exchange (Room No. 318, ACD) | AITCOOL | ATV 218 |  | External | DST |  | For accurately weighing the chemicals | Applied Chemistry Department |  |  |  | Up | Characterization
COD Digester |  | Catalysis and Ion-exchange (Room No. 318, ACD) | Durga Scientific Pvt Ltd | 15 Tubes 02/2017 |  | External | DST |  | For COD Testing | Applied Chemistry Department |  |  |  | Up | Characterization
BOD Incubator |  | Catalysis and Ion-exchange (Room No. 318, ACD) | Biotechnologies INC | BTI-BOD-04/SS 11/2016 |  | External | DST |  | For BOD Testing in water samples | Applied Chemistry Department |  |  |  | Up | Characterization
Autoclave Reactor |  | Catalysis and Ion-exchange (Room No. 318, ACD) | Amar Equipments Pvt Ltd | 100 mL 10/2016 |  | External | DST |  | To carry out autogeneous Pressurised reaction | Applied Chemistry Department |  |  |  | Up | Characterization
Temperature Controlled Water Shaker Bath |  | Catalysis and Ion-exchange (Room No. 318, ACD) | Bio Technics India | BTI-55 |  | External | MHRD |  | For chemical kinetics & thermodynemics studies | Applied Chemistry Department |  |  |  | Up | Characterization
SS Autoclave Reactors (ACR) Static 50 ml | ACR | Catalysis and Ion-exchange (Room No. 318, ACD) | Maya Engineering Works | MEW 002 |  | External | MHRD |  | To carry out autogeneous Pressurised reaction | Applied Chemistry Department |  |  |  | Up | Characterization
SS Autoclave Reactors (ACR) Static 100 ml | ACR | Catalysis and Ion-exchange (Room No. 318, ACD) | Maya Engineering Works | MEW 003 |  | External | MHRD |  | To carry out autogeneous Pressurised reaction | Applied Chemistry Department |  |  |  | Up | Characterization
Autoclave |  | Applied chemistry Department (Lab No. 319) | Amar Equiepments Pvt Ltd | 1-T-A-P-HT |  | External | BRNS |  | Volume : 50 & 100 mL, 100 bar pressure, 350 °C temp. | Applied Chemistry Department |  |  |  | Up | Characterization
NI ELVIS II+ Circuit Design Bundle |  | Control Lab | NI System (India) Pvt Ltd |  |  | Institution | Annual Plan Grant |  | 1.NI ELVIS II+ circuit design bundle (for academic use only) 2.Quanser QNET Rotary Inverted Pendulum Bd for NI ELVIS (Acad only) Requires LabVIEW Control Design & Simulation Module & PID Toolkit | Department of Electrical Engineering | Control Lab |  |  | Up | Characterization
Blower and Heater Based System |  | Control Lab | Powertech Marketing |  |  | Institution | Annual Plan Grant |  | A -Blower with 1-2 HP 3 ph Induction Motor,1-2 KW 1 phase Meter,Pressure Transmitter with 4-20 MA | Department of Electrical Engineering | Control Lab |  |  | Up | Characterization
Programmable Logic Control |  | Control Lab | NiTech Automation |  |  | Institution | Annual Plan Grant |  | 1.Programmable Logic Control with customized panel 2.Variable Frequency Drive with customized panel | Department of Electrical Engineering | Control Lab |  |  | Up | Characterization
Variable Frequency Drive |  | Control Lab | NiTech Automation |  |  | Institution | Annual Plan Grant |  | 1.Programmable Logic Control with customized panel 2.Variable Frequency Drive with customized panel | Department of Electrical Engineering | Control Lab |  |  | Up | Characterization
Omni Bundle including Phantom Omni Haptic Device with Quarc Software |  | Control Lab | Trident Techlabs Pvt Ltd | 35499 |  | External | TEQIP III |  | Omni Bundle Which includes phantom Omni Haptic Device with Quarc Software | Department of Electrical Engineering | Control Lab |  |  | Up | Characterization
Electro Pneumatic Workbench |  | Control Lab | Bedare Electronics Pvt Ltd |  |  | Institution | Annual Plan Grant |  | (To be operated automatically with PLC & also manually as per the description,diagram & specifications offered in ANNEXURE-III) | Department of Electrical Engineering | Control Lab |  |  | Up | Characterization
Programmable Linear DC Power Supply |  | Microprossesor Lab | Optimized Solution | GPR-185OHD |  | Institution | Annual Plan Grant |  | Dc Power Supply 700W, 20V, 35A | Department of Electrical Engineering | Microprocessor Lab |  |  | Up | Research Infrastructure
Induction Motor and DC Generator with IGBT |  | Microprossesor Lab | Hertz Power Control |  |  | Institution | Annual Plan Grant |  | 1. Induction Motor and DC Generator with IGBT based Three phase Bi-directional Inverter. 2. Converter and Control of Hybrid Energy Storage Unit for Electric Vehicle. 3. Load Arrangement for three phase Induction Motor loading. 4. Torque Controller of three phase induction motor (motoring and generating mode) with acceleration pedal and brake pedal. | Department of Electrical Engineering | Microprocessor Lab |  |  | Up | Characterization
Convertor and Control of Hybrid Energy Storage Unit |  | Microprossesor Lab | Hertz Power Control |  |  | Institution | Annual Plan Grant |  | 1. Induction Motor and DC Generator with IGBT based Three phase Bi-directional Inverter. 2. Converter and Control of Hybrid Energy Storage Unit for Electric Vehicle. 3. Load Arrangement for three phase Induction Motor loading. 4. Torque Controller of three phase induction motor (motoring and generating mode) with acceleration pedal and brake pedal. | Department of Electrical Engineering | Microprocessor Lab |  |  | Up | Characterization
Load Arrangement for Three Phase Induction Motor |  | Microprossesor Lab | Hertz Power Control |  |  | Institution | Annual Plan Grant |  | 1. Induction Motor and DC Generator with IGBT based Three phase Bi-directional Inverter. 2. Converter and Control of Hybrid Energy Storage Unit for Electric Vehicle. 3. Load Arrangement for three phase Induction Motor loading. 4. Torque Controller of three phase induction motor (motoring and generating mode) with acceleration pedal and brake pedal. | Department of Electrical Engineering | Microprocessor Lab |  |  | Up | Characterization
Torque Controller |  | Microprossesor Lab | Hertz Power Control |  |  | Institution | Annual Plan Grant |  | 1. Induction Motor and DC Generator with IGBT based Three phase Bi-directional Inverter. 2. Converter and Control of Hybrid Energy Storage Unit for Electric Vehicle. 3. Load Arrangement for three phase Induction Motor loading. 4. Torque Controller of three phase induction motor (motoring and generating mode) with acceleration pedal and brake pedal. | Department of Electrical Engineering | Microprocessor Lab |  |  | Up | Characterization
Numerical IDMT Relay Test Setup |  | Power System Lab | Royal Electronics Sales and Services |  |  | Institution | Annual Plan Grant |  | Numerical Idmt relay test setup | Department of Electrical Engineering | Power System Lab |  |  | Up | Characterization
Numerical Over and Under Voltage Relay Test |  | Power System Lab | Royal Electronics Sales and Services | Micomp-921 |  | Institution | Annual Plan Grant |  | Numerical over & under voltage relay test | Department of Electrical Engineering | Power System Lab |  |  | Up | Characterization
Numerical Relay for Three Phase Transformer Differential Projection |  | Power System Lab | Monarch Sales | CSP2-T2 |  | Institution | Annual Plan Grant |  | Numerical relay for 3-phase transformer differential projection | Department of Electrical Engineering | Power System Lab |  |  | Up | Characterization
Induction Motor and DC Generator Set |  | Power System Lab | Royal Electronics Sales and Services |  |  | External | TEQIP II |  | Motor Protection Test Setup.- Induction motor 3 Phase 415 V, 5HP, 1440 RPM. and D.C. Generator set Benn make, Auto Transformer 3 Phase, Input 415 V, Output 470 V 15 A | Department of Electrical Engineering | Power System Lab |  |  | Up | Characterization
Motor Protection Test Setup |  | Power System Lab | Royal Electronics Sales and Services |  |  | External | TEQIP II |  | Motor Protection Test Setup.- Induction motor 3 Phase 415 V, 5HP, 1440 RPM. and D.C. Generator set Benn make, Auto Transformer 3 Phase, Input 415 V, Output 470 V 15 A | Department of Electrical Engineering | Power System Lab |  |  | Up | Characterization
Parallel Feeder Protection Setup |  | Power System Lab | Royal Electronics Sales and Services |  |  | External | TEQIP II |  | Parallel Feeder Protection Setup ,9 ohm 12A 4 Nos., 18 ohm 12A 1Nos, 300 ohm 2A 2 Nos | Department of Electrical Engineering | Power System Lab |  |  | Up | Characterization
Mixed Signal Oscilloscope 100MHz 4+16 Ch |  | Project Lab | Agmatel India Pvt Ltd |  |  | Institution | Annual Plan Grant |  | Mixed Signal Oscilloscope; 100 MHz 4+16-ch Color Display | Department of Electrical Engineering | Project Lab |  |  | Up | Characterization
Lighting Impulse Voltage Generator |  | High Voltage Lab | High Voltage (INDIA) |  |  | External | TEQIP II |  | Lighting Impluse Voltage Genrator | Department of Electrical Engineering | High Voltage Lab |  |  | Up | Characterization
PLC Trainer Panel |  | Power Electronics Lab | National Infotch |  |  | Institution | Annual Plan Grant |  | PLC Trainer (Panel) | Department of Electrical Engineering | Power Electronics Lab |  |  | Up | Characterization
Technosoft Development Tool for Induction Motor and + Motor |  | Power Electronics Lab | Technosoft Solutions |  |  | Institution | Annual Plan Grant |  | Technosoft Development tool for induction motor & + motor | Department of Electrical Engineering | Power Electronics Lab |  |  | Up | Characterization
BLDC Kit Motor and DC Power Supply |  | Power Electronics Lab | Technosoft Solutions |  |  | Institution | Annual Plan Grant |  | BLDC Kit *Motor & * DC power supplye | Department of Electrical Engineering | Power Electronics Lab |  |  | Up | Characterization
Power and Harmonics Analyzer |  | Power Electronics Lab | MECO India Ltd | PHA 5850 |  | Institution | Annual Plan Grant |  | Power & Harmonics Analyzer (PHA 5850) | Department of Electrical Engineering | Power Electronics Lab |  |  | Up | Characterization
Four Channel Digital Storage Oscilloscope (DSO) | DSO | Power Electronics Lab | Tetronics India Ltd | TPS2014 |  | Institution | Annual Plan Grant |  | Four channel Digital storage Oscilloscope (DSO) | Department of Electrical Engineering | Power Electronics Lab |  |  | Up | Characterization
AC and DC Current Probe |  | Power Electronics Lab | Royal Electronics Sales and Services |  |  | Institution | Annual Plan Grant |  | A.C. / D.C. Current Probe | Department of Electrical Engineering | Power Electronics Lab |  |  | Up | Characterization
Slip Ring Wound Router Induction Generator Coupled with DC Motor |  | Power Electronics Lab | Royal Electronics Sales and Services |  |  | Institution | Annual Plan Grant |  | Slip ring (Wound Router)induction genrator coupled with dc motor | Department of Electrical Engineering | Power Electronics Lab |  |  | Up | Characterization
AC DC Current and Voltage Flow |  | Drives Lab | Automation Systems Engineers Private Limited |  |  | External | Science and Engineering Research Board |  | AC-DC Current Probe/Voltage Probe | Department of Electrical Engineering | Drives Lab |  |  | Up | Characterization
Experimental Prototypes for Z Source Inverter |  | Machines Lab | Royal Electronics Sales and Services |  |  | Institution | Annual Plan Grant |  | Experimental Prototypes For Z-Source Inverter | Department of Electrical Engineering | Machines Lab |  |  | Up | Characterization
Eddy Current Dynamometer Type W 40 |  | Testing Lab | Schenck Avery Ltd | Schenck Avery/w-40 |  | External | TEQIP II |  | Eddy Current,Power 40KM,Max.Torque 75NM,Max.speed 17000rpm 1. remote control system 2.magnetic filter,3. calibration system kit,4.display system for indicating following parameters | Department of Electrical Engineering | Testing Lab |  |  | Up | Characterization
Multi Product Calibrator |  | Testing Lab | Test and Measurement Pvt Ltd | Fluke/5500A |  | External | TEQIP II |  | Dc Volts:Range :0 To 1020v,o.1 micro volt,50 ppm,Dc current: 0 To 11A,0.01micro A,ac volts:1mv to 1020v,10hz to 500khz,1 micro volt,Ac Current:33micro A to 11A ,0.01 micro A,Resistance:0-330 M Ohm,1M ohm,power DC :1Mw to 11.2 kw,1mw,AC POWER :1MW TO 11.2 KW,1 MW | Department of Electrical Engineering | Testing Lab |  |  | Up | Characterization
Current Transformer |  | Testing Lab | Monark Sales Vadodara | [5 empty] | 50-400 Amp,5 VA,Accuracy class:0.05 | Department of Electrical Engineering | Testing Lab |  |  | Up | Characterization
Memory Hicorder |  | Testing Lab | Measurement and Control | Hioki/8870-20 |  |  |  |  | Memory Hicorder | Department of Electrical Engineering | Testing Lab |  |  | Up | Characterization
GW INSTEK DC Power Supply |  | Electrical Vehical Lab | Automate process control | GW-INSTEK |  | Institution | Annual Plan Grant |  | GW-INSTEK D.C. Power Supply | Department of Electrical Engineering | Electrical Vehical Lab |  |  | Up | Characterization
DSO 4 Channel |  | Multi Facility Resarch and Devlopment Lab | Automation System Engg. Pvt Ltd | DSOxCX2014A |  | Institution | Annual Plan Grant |  | DSO 4 Channel | Department of Electrical Engineering | Multi Facility Resarch and Devlopment Lab |  |  | Up | Characterization
Logic Analyzer 34 Channel 666 MHz |  | EC306N | Tektronix | TLA6401 |  | External | TEQIP II |  |  | Department of Electronics Engineering | VLSI Lab |  |  | Up | Characterization
MXG Vector Signal Generator 100kHz-3GHz |  | EC402N |  | N5182A | [5 empty] | Department of Electronics Engineering | Basic Communication Lab |  |  | Up | Characterization
Vector Network Analyzer up to 3GHz |  | EC402N |  | 11015011 | [5 empty] | Department of Electronics Engineering | Microwave and Optical Communication Lab |  |  | Up | Characterization
RF Signal Generator 9KHz to 3.0 GHz |  | EC407N |  | N9310A | [5 empty] | Department of Electronics Engineering | Communication Research Lab |  |  | Up | Characterization
IRNSS NavIC Fixed Receivers |  | EC407N |  |  |  | External | ISRO |  |  | Department of Electronics Engineering | Communication Research Lab |  |  | Up | Characterization
IRNSS NavIC Portable Receivers |  | EC407N |  |  |  | External | ISRO |  |  | Department of Electronics Engineering | Communication Research Lab |  |  | Up | Characterization
Software Defined Radio GNSS Setup with USRP for IRNSS NavIC |  | EC402N |  | Vi SDR 01 |  | External | ISRO |  |  | Department of Electronics Engineering | Basic Communication Lab |  |  | Up | Characterization
PCB Prototype Machine Single Side |  | EC302N | Scientech | EP2006H |  | External | TEQIP II |  |  | Department of Electronics Engineering | Electronics System Design Lab |  |  | Up | Characterization
Low Temperature Bath Refrigerated Bath Circulator Incubator Centrifuge and Deep Freezer |  | IPC Lab (Old Building) | Amar Equipments Pvt Ltd Mumbai | AC-25 |  | Institution | Annual Plan Grant |  | Uni Operations | Department of Chemical Engineering | IPC Lab |  |  | Up | Characterization
Bioreactor Setup |  | FFO Lab (Old Building) | Zahabi Marketers Surat |  |  | Institution | Annual Plan Grant |  | Experimental Set Up | Department of Chemical Engineering | FFO Lab |  |  | Up | Characterization
Nano Particles Setup |  | Research Lab (Old Building) | Zahabi Marketers Surat |  |  | Institution | Annual Plan Grant |  | Experimental Set Up | Department of Chemical Engineering | Research Lab |  |  | Up | Characterization
Orbital Reciprocal Shaker |  | Research Lab (Old Building) | Orbit Research Associates Pvt Ltd Delhi | VS-202 P |  | Institution | Annual Plan Grant |  | Uni Operations | Department of Chemical Engineering | Research Lab |  |  | Up | Characterization
UV Reactor and Spectrophotometer |  | Research Lab (Old Building) | Zahabi Marketers Surat | 30 ASI-01 |  | Institution | Annual Plan Grant |  | Experimental Set Up | Department of Chemical Engineering | Research Lab |  |  | Up | Characterization
Ultrasonic Processer with accessories Ultrasonic Bath with Variable Power Variable Frequency Ultrasonicator Unit |  | MTO Lab (New Building) | Inkarp Instrument Pvt Ltd | VCX 750 |  | Institution | Annual Plan Grant |  |  | Department of Chemical Engineering | MTO Lab |  |  | Up | Characterization
Microwave Reactor Setup |  | Research Lab (Old Building) | Falcon Microwave Technology Mumbai | 2M210-M1 |  | Institution | Annual Plan Grant |  | Experimental Set Up | Department of Chemical Engineering | Research Lab |  |  | Up | Characterization
Autoclave Vacuum Oven with Vacuum Pump High Vaccum System Teflon Autoclave |  | M. Tech. Research Lab (New Building) |  |  |  | Institution | Annual Plan Grant |  | Experimental Set Up | Department of Chemical Engineering | M. Tech Research Lab |  |  | Up | Characterization
Video Digital Microscope with Accessories |  | MTO Lab (New Building) | Aqua Scientific Surat | 90317 |  | Institution | Annual Plan Grant |  | Analytical | Department of Chemical Engineering | MTO Lab |  |  | Up | Characterization
Infrared Biogas Analyzer Portable Type |  | CRE Lab (old building) | DNP International Surat | 3200L |  | Institution | Annual Plan Grant |  | Analytical | Department of Chemical Engineering | CRE Lab |  |  | Up | Characterization
BOD PP Setup |  | M. Tech. Research Lab (New Building) | Zahabi Marketers Surat |  |  | Institution | Annual Plan Grant |  | Analytical | Department of Chemical Engineering | M. Tech Research Lab |  |  | Up | Characterization
Orbit Shaking Incubator |  | Research Lab (Old Building) |  | CIS-24BL |  | Institution | Annual Plan Grant |  | Analytical | Department of Chemical Engineering | Research Lab |  |  | Up | Characterization
Laboratory Nano Mill |  | MO Lab (Old Building) | Milltech Engineering Pvt Ltd Mumbai | 1044437 |  | Institution | Annual Plan Grant |  | Mechanical milling for production of nanoparticles | Department of Chemical Engineering | MO Lab |  |  | Up | Characterization
Bright Field Microscope |  | CRE Lab (old building) | Kailashpati Corporation Ahmadabad | E200 |  | Institution | Annual Plan Grant |  | Analytical/biological | Department of Chemical Engineering | CRE Lab |  |  | Up | Characterization
Rotary Vacuum Evaporator Rotary Evaporator |  | Ph.D. Research Lab (New ChED) Room No. 305 | Heidolph | Hei-VAP Advantage/ML/G3 |  | External | TEQIP III |  | The rotary evaporator connected with vaccum pump is used for evaporating solvents under vacuum. The RBF capacity is 50 mL to 5000 mL, rotation speed 20-280 rpm, temperature range of heating bath 20-210°C and ultimate vaccum up to 7 mbar. | Department of Chemical Engineering | Ph.D Research Lab |  |  | Up | Fabrication
Membrane Pervaporation Setup |  | Research Lab (Old Department) | Permionics Membranes Pvt Ltd Vadodara | 867 |  | External | TEQIP II |  | Used for separating binary/multicomponent liquid mixtures & Wastewater Treatment | Department of Chemical Engineering | Research Lab |  |  | Up | Research Infrastructure
Membrane Bioreactor Setup |  | M.Tech Research Lab(New Building) | Sepra Tech Solutions Pvt Ltd Vadodara | 1617054 |  | External | TEQIP II |  | Used for separating binary/multicomponent liquid mixtures & Wastewater Treatment | Department of Chemical Engineering | M.Tech Research Lab |  |  | Up | Research Infrastructure
IV Tracer |  | FFO Lab (Old Building) | Optimized Solutions Pvt Limited | 2400 |  | Institution | Annual Plan Grant |  | IV Performance Curves for solar cells. | Department of Chemical Engineering | FFO Lab |  |  | Up | Characterization
Stirred Tank Reactor |  | FFO Lab (Old Building) | Amar Equipments Pvt Ltd Mumbai | SS-316 3391 |  | Institution | Annual Plan Grant |  | Experimental Set Up | Department of Chemical Engineering | FFO Lab |  |  | Up | Characterization
Electrochemical Analyzer |  | CRE Lab (old building) | CHI | CHI760E |  | Institution | Annual Plan Grant |  | Analytical | Department of Chemical Engineering | CRE Lab |  |  | Up | Characterization
Gas Permeation Setup |  | Mass Transfer Operation Lab (Old Department) | Permionics Membranes Pvt Ltd Vadodara | 865 |  | External | TEQIP II |  | Used for separating different gas mixture such as CO2/N2, CO2/CH4 etc. | Department of Chemical Engineering | Mass Transfer Operation Lab |  |  | Up | Characterization
Water Purification and Pre Filtration |  | Research Lab (Old Department) | Metrix trade link Pvt Ltd Ahmedabad | BM7JA9916F |  | Institution | Annual Plan Grant |  | unit operation | Department of Chemical Engineering | Research Lab |  |  | Up | Characterization
Nano Fluid Heat Capacity |  | M. Tech Research Lab (New Building) | Mittal Enterprises New Delhi | 2151/T-7C |  | External | TEQIP II |  | Experimental Set Up | Department of Chemical Engineering | M. Tech Research Lab |  |  | Up | Characterization
Multi Sensor Data Acquisition |  | CRE Lab (old building) | MI System Pvt Ltd Banglore |  |  | Institution | IRG |  | Analytical | Department of Chemical Engineering | CRE Lab |  |  | Up | Characterization
Atomic Absorption Spectrophotometer (AAS) with Accessories | AAS | Research Lab (Old Building) | Ellico Ltd Ahmedabad |  |  | External | MHRD |  | Analytical | Department of Chemical Engineering | Research Lab |  |  | Up | Characterization
Pilot Scale Membrane Separation System |  | Research Lab (Old Building) | Permionics Membranes Pvt Ltd Baroda |  |  | External | MHRD |  | Experimental Set Up | Department of Chemical Engineering | Research Lab |  |  | Up | Characterization
Video Digital Microscope with Accessories |  | MC Faculty CABIN (OLD) | Sartorius AG Germany | VCX750 |  | External | AICTE |  | Analytical | Department of Chemical Engineering |  |  |  | Up | Characterization
Ultra Turrax |  | MC Faculty CABIN (OLD) | IKA Germany | T-25 |  | External | AICTE |  | Analytical | Department of Chemical Engineering |  |  |  | Up | Characterization
Refrigerated Research Centrifuge |  | MTO Lab (New Building) | Bandi Technology Delhi | BL-165D |  | External | Science and Engineering Research Board |  | unit operation | Department of Chemical Engineering | MTO Lab |  |  | Up | Characterization
HPLC Pump and Syringe Pump |  | IPC Lab (Old Building) | Search Sales and Services Mumbai | LS P01-1A |  | External | TEQIP II |  | unit operation | Department of Chemical Engineering | IPC Lab |  |  | Up | Characterization
Ultrasonicator Unit |  | FFO Lab (Old Building) | Vijay Electronics Roorkee | PFU400 |  | Institution | IRG |  | Experimental Set Up | Department of Chemical Engineering | FFO Lab |  |  | Up | Characterization
Spray Pyrolysis Equipment with Accessories |  | MO Lab (Old building) | VB Ceramic Consultants Chennai |  |  | Institution | IRG |  | Experimental Set Up | Department of Chemical Engineering | MO Lab |  |  | Up | Characterization
Inverted Microscope |  | Ph.D. Research Lab | Krishna Medi-Tech Ahmedabad | TS100 |  | Institution | IRG |  | Analytical | Department of Chemical Engineering | Ph.D Research Lab |  |  | Up | Characterization
FO Membrane Setup with Accessories |  | Ph.D. Research Lab | Sterling Labcare Surat |  |  | Institution | IRG |  | Experimental Set Up | Department of Chemical Engineering | Ph.D Research Lab |  |  | Up | Characterization
Microwave Reactor |  | Research Lab (Old Building) | I.R. Technology Services Pvt Ltd Mumbai | SN-133327 |  | External | BRNS |  | Experimental Set Up | Department of Chemical Engineering | Research Lab |  |  | Up | Characterization
OMFC Setup with all accessories |  | CRE Lab (old building) | Davey Products |  |  | External | DST |  | unit operation | Department of Chemical Engineering | CRE Lab |  |  | Up | Characterization
12” diffused Light Research Polariscope with Oblique Incidence attachment with accessories and Telmicroscope with stand |  | Photo Elastic Lab ESA Lab | [6 empty] | seismic behaviour assessment | Applied Mechanics Department | Photo Elastic Lab ESA Lab |  |  | Up | Characterization
Ultrasonic Pulse Velocity Tester with Hammer |  | Concrete Laboratory | [6 empty] | To check the quality of existing cocnete strucutres | Applied Mechanics Department | Concrete Laboratory |  |  | Up | Characterization
High Performance Ultrasonic Pulse velocity Meter |  | Concrete Laboratory | [6 empty] | To check the quality of existing cocnete strucutres | Applied Mechanics Department | Concrete Laboratory |  |  | Up | Characterization
High Performance Computing Laboratory |  | HPC Lab | CDAC |  |  | External | MHRD |  | HPC with GPU system | Department of Computer Engineering | HPC Lab |  |  | Up | Research Infrastructure
DSOX2022A Oscilloscope 2 Channel 200MHz |  | Control Lab | Agmatel India Pvt Ltd |  |  | Institution | Annual Plan Grant |  | 1.Oscilloscope,2-channel,200MHz , 2.Oscilloscope,4-channel,200MHz | Department of Electrical Engineering | Control Lab |  |  | Up | Characterization
DSOX2024A Oscilloscope 4 Channel 200MHz |  | Control Lab | Agmatel India Pvt Ltd |  |  | Institution | Annual Plan Grant |  | 1.Oscilloscope,2-channel,200MHz , 2.Oscilloscope,4-channel,200MHz | Department of Electrical Engineering | Control Lab |  |  | Up | Characterization
Graphical Su. Based Real Time Data CRIO |  | Project Lab | NI System India Pvt Ltd |  |  | Institution | Annual Plan Grant |  | 1. cRIO-9014 Real-Time PowerPC Embedded Controller for CompactRIO, 2 GB Disc on Chip Non- Volatile Storage, 128 Mb DRAM 2. cRIO-9113, $-slot Virtex-% LX 50 Reconfigurable Chassis For CompactRIO 3.NI PS-15 Power Supply, 24 Vdc, 5A, 100-120/200-240 Vac Input 4.Rs232 Null- Modem Cable, DB-9 Female to DB-9 Female,2m 5. Ni 9201 8- Channel, 12-Bit,10 Vdc, 500 ks/s, Analog Input Module | Department of Electrical Engineering | Project Lab |  |  | Up | Characterization
SRM Power Model PEC16DSM015 |  | Power Electronics Lab | V. I. Micro System Pvt Ltd |  |  | External | TEQIP II |  | SRM Power Modle (PEC16DSM015) | Department of Electrical Engineering | Power Electronics Lab |  |  | Up | Characterization
Three Phase Variable Inductor |  | Drives Lab | Katare Power Industry |  |  | Institution | Annual Plan Grant |  | 3 Phase Variable Inductor | Department of Electrical Engineering | Drives Lab |  |  | Up | Characterization
3 Phase Reference Energy Meter |  | Testing Lab | Intrax Systems Pvt Ltd | Kocos/CTO5693/320 |  | External | TEQIP II |  | Current:0.05-100 A, Voltage:65-400 V,Power+-1 %,power factor +-0.1%;energy+-0.1hz | Department of Electrical Engineering | Testing Lab |  |  | Up | Characterization
Standard Resistor |  | Testing Lab | Royal Electronics Sales and Services | Vaiseshika |  |  |  |  | Resisance in ohms:0.01,10.0 A ,Accuracy+-0.02%,ohms:1.0 Accuracy =-0.01% | Department of Electrical Engineering | Testing Lab |  |  | Up | Characterization