## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Rate/Hr | Refernce Website | Equipment Status | Category
Burkard Personal Air Sampler |  | BOTA-1C-22 | Burkard Manufaturing Co Ltd | MEIOO51 |  | External | DBT |  | The Burkard Spore Trap (Burkard) is a volumetric air sampler that is one of the standard devices for monitoring airborne pollen and spores | Botany | Mycology and Plant Pathology Lab |  |  | Up | Data Monitoring
Anderson Air Sampler |  | BOTA-1C-22 | Bose Institute | 300 |  | External | DBT |  | An application of the Andersen sampler to the study of potentially allergenic, culturable, airborne fungus particles i | Botany | Mycology and Plant Pathology Lab |  |  | Up | Data Monitoring
Autoclave |  | Botany Corridor | B.K Scientific |  |  | External | DBT |  | Autoclaves provide a physical method for disinfection and sterilization. They work with a combination of steam, pressure and time | Botany | Mycology and Plant Pathology Lab |  |  | Up | Fabrication
Laminar Airflow |  | BOTA-1C-22 | SNS Brand | SNS-HFD-400B |  | External | DBT |  | Laminar Air Flow provides a work area with aseptic/sterile conditions for the tissue culture or microbial culture | Botany | Mycology and Plant Pathology Lab |  |  | Up | Fabrication
Trinocular Microscope |  | BOTA-1C-21 | Dewinter | Crown-Trinocular |  | External | DBT |  | Microscope is an instrument with lenses which is used to make really small objects look bigger by magnifying them | Botany | Mycology and Plant Pathology Lab |  |  | Up | Characterization
BOD Incubator |  | BOTA-1C-36 | SNS Brand | SNS-BOD-6 |  | External | DBT |  | BOD Incubator (Bio-Oxygen Demand) are used to maintain temperature for test tissue culture growth, storage of bacterial cultures and incubation where high degree of constant temperature accuracy is required. | Botany | Mycology and Plant Pathology Lab |  |  | Up | Characterization
UV Spectrophotometer |  | BOTA-1C-21 | Eppendorf | 22331 |  | External | DBT |  | Its main use is for the quantitative determination of different organic and inorganic compounds in solution. | Botany | Mycology and Plant Pathology Lab |  |  | Up | Characterization
Seed Germinator |  | BOTA-1C-09 | SNS Brand | SNS-SG-10 |  | External | DBT |  | A seed germinator is a device for germinating seeds. Typically, these create an environment in which light, humidity and temperature are controlled | Botany | Mycology and Plant Pathology Lab |  |  | Up | Fabrication
Centrifuge |  | BOTA-1C-21 | Eppendorf | 5430R |  | External | DBT |  | It used for the separation of fluids, gas or liquid, based on density. | Botany | Mycology and Plant Pathology Lab |  |  | Up | Fabrication
Freezer |  | BOTA-1C-09 | Vestfrost | VT-307 |  | External | DBT |  | To store the biological sample. | Botany | Mycology and Plant Pathology Lab |  |  | Up | Characterization
BOD Incubator |  | BOTA-1C-09 | SNS Brand | SNS-BOD-10 |  | External | DBT |  | BOD Incubator (Bio-Oxygen Demand) are used to maintain temperature for test tissue culture growth, storage of bacterial cultures and incubation where high degree of constant temperature accuracy is required. | Botany | Mycology and Plant Pathology Lab |  |  | Up | Characterization
Freezer |  | BOTA-1C-09 | Blue Star |  |  | External | DBT |  | To store the biological sample. 400 litre | Botany | Mycology and Plant Pathology Lab |  |  | Up | Characterization
Laminar Airflow |  | BOTA-1C-10 | Labard | LI-LAF-57 |  | External | DBT |  | Laminar Air Flow provides a work area with aseptic/sterile conditions for the tissue culture or microbial culture | Botany | Mycology and Plant Pathology Lab |  |  | Up | Fabrication
Autoclave |  | Botany Corridor | OSWORLD | OAT-S-93 |  | External | UGC |  | An autoclave is a pressure chamber used for sterilazation | Botany | Cytogenetics and Plant Biotechnology |  |  | Up | Fabrication
Autoclave |  | Botany Corridor | OSWORLD | OAT-S-93 |  | External | UGC |  | An autoclave is a pressure chamber used for sterilazation | Botany | Cytogenetics and Plant Biotechnology |  |  | Down | Fabrication
Laminar Airflow |  | BOTA 1C-24 | SPAC-N-SERVICE | SNS HLF-3 |  | External | DBT |  | A laminar flow cabinet or tissue culture hood is a carefully enclosed bench designed to prevent contamination of semiconductor wafers, biological samples, or any particle sensitive materials. | Botany | Cytogenetics and Plant Biotechnology |  |  | Up | Fabrication
Laminar Airflow |  | BOTA 1B-42 | Klenz Flo | 1500C-36-24-24 |  | External | DBT |  | A laminar flow cabinet or tissue culture hood is a carefully enclosed bench designed to prevent contamination of semiconductor wafers, biological samples, or any particle sensitive materials. | Botany | Cytogenetics and Plant Biotechnology |  |  | Up | Fabrication
Refrigerator |  | BOTA 1C-16 | Samsung | RT32 |  | External | DBT |  | Compartment which is used to store the chemicals in cool condition | Botany | Cytogenetics and Plant Biotechnology |  |  | Up | Characterization
UV-Vis Spectrophotometer |  | BOTA 1C-17 | PerkinElmer | LAMBDA 25 |  | External | DBT |  | Uv-vis spectrophotometer is used to measure the optical density | Botany | Cytogenetics and Plant Biotechnology |  |  | Up | Characterization
Millipore Water Purification System |  | CI Room | Merck Millipore India Pvt. Ltd. | SYNS0HFIN, SYPK0SIA1, MPGP02001 |  | External | DST GoI |  | It use to purify water | Botany | Laboratory of DST FIST and UGC SAP |  |  | Down | Fabrication
Refrigerated Super Speed Centrifuge |  | CI Room | Sigma laborzentrifugen GmbH | 10166LTO |  | External | DST GoI |  | Refrigerated centrifuge is a device that spins liquid samples at high speeds at controlledtemperature and thus creates a strong centripetal force causing the denser materials to travel towards the bottom of the centrifuge tube more rapidly than they would under the force of normal gravity. | Botany | Laboratory of DST FIST and UGC SAP |  |  | Down | Fabrication
Hot Plates and Magnetic Stirrer |  | CI Room | Bibby Scientific Limited | CB160 , CB 161 |  | External | DST GoI |  | A magnetic stirrer is a device that employs a rotating magnetic field to cause a stir bar (or flea) immersed in a liquid to spin very quickly | Botany | Laboratory of DST FIST and UGC SAP |  |  | Up | Fabrication
Thermal Cycler |  | CI Room | Life Technologies Holding PTE LTD | 4314278 |  | External | DST GoI |  | The thermal cycler(also known as a , PCR machine is a laboratory apparatus most commonly used to amplify segments of DNA | Botany | Laboratory of DST FIST and UGC SAP |  |  | Up | Characterization
Carl Zeiss Microscope |  | CI Room | Carl Zeiss Microscopy GmbH |  |  | External | DST GoI |  | It is an instrument used to see objects that are too small to be seen by the naked eye with computer. Axio LabA and Axio cam ERC 5s camera | Botany | Laboratory of DST FIST and UGC SAP |  |  | Up | Characterization
Laminar Airflow Cabinet |  | CI Room | ESCo Micro PTE Ltd. | AHC 3D1 |  | External | DST GoI |  | A laminar flow cabinet or tissue culture hood is a carefully enclosed bench designed to prevent contamination of semiconductor wafers, biological samples, or any particle sensitive materials. | Botany | Laboratory of DST FIST and UGC SAP |  |  | Up | Fabrication
Thermomixer C |  | CI Room | Eppendorf India Limited | 5382 000.015, 5360 000.038 |  | External | DST GoI |  | The thermomixer is used to maintain samples at a steady temperature while constantly stirring them to prevent settling | Botany | Laboratory of DST FIST and UGC SAP |  |  | Up | Fabrication
Inverted Microscope with Camera and Software |  | CI Room | Leica | DM IL LED |  | External | UGC |  | An inverted microscope is a microscope with its light source and condenser on the top, above the stage pointing down, while the objectivesand turret are below the stage pointing up | Botany | Laboratory of DST FIST and UGC SAP |  |  | Up | Characterization
Ulta Freezer -80oC |  | CI Room | ESCo | UUS-552B-1 |  | External | UGC |  | It is used to store at freezing condition | Botany | Laboratory of DST FIST and UGC SAP |  |  | Up | Characterization
BOD Incubator |  | CI Room | Labtech | LBI-250M |  | External | UGC |  | Incubator is a device used to grow and maintain microbiological cultures. The incubator maintains optimal temperature, humidity and oxygen content of the atmosphere inside. | Botany | Laboratory of DST FIST and UGC SAP |  |  | Up | Characterization
Incubator cum Shaker |  | CI Room | Labtech | LSI-4018R |  | External | UGC |  | It is used as both incubator and shaker | Botany | Laboratory of DST FIST and UGC SAP |  |  | Up | Fabrication
Nanodrop Spectrophotometer |  | CI Room | Thermo Scientific | ND 2000C |  | External | DBT |  | IT is used, quantitation of nucleic acids is commonly performed to determine the average concentrations of DNA or RNA present in a mixture | Botany | Laboratory of DST FIST and UGC SAP |  |  | Down | Characterization
Ice Flaking Machine |  | Botany Corridor | Simag | SPR 120 |  | External | DBT |  | It is used make ice flakes | Botany | Cytogenetics and Plant Biotechnology |  |  | Up | Fabrication
RTPCR |  | CI Room | BIO-RAD | CFX connect |  | External | DBT |  | PCR machine is a laboratory apparatus most commonly used to amplify segments of DNA | Botany | Laboratory of DST FIST and UGC SAP |  |  | Up | Characterization
Trinocular Fluorescence Research Microscope |  | Dept Room of Faculty | Carl Zeiss GmbH | AxioScope A1 |  | External | CSIR |  | For viewing and accquiring photomicrographs of fixed cells at brightfield and epiflourescence | Botany | Cell Biology and Cytogenetics |  |  | Up | Characterization
ATR FTIR |  | Instrument lab 1 | Bruker Germany | Alpha, Bruker |  | Internal | Institution |  | FTIR with both ATR and KBr Mode | Pharmacy | Instrument Lab |  |  | Up | Characterization
Digital Magnetic Stirrer with Hot Plate |  | Instrument lab 1 | Tarson |  |  | Internal | Institution |  | For heating and stirring of reaction mixtures | Pharmacy | Instrument Lab |  |  | Up | Fabrication
Hot Air Oven |  | Instrument lab 1 | Labman |  |  | Internal | Institution |  | Drying | Pharmacy | Instrument Lab |  |  | Up | Fabrication
Hot Air Oven |  | Instrument lab 1 | SNS |  |  | Internal | Institution |  | Drying | Pharmacy | Instrument Lab |  |  | Up | Fabrication
Ice Flaking Machine |  | Instrument lab 1 | Simag Italy |  |  | Internal | Institution |  | Ice flaking machine | Pharmacy | Instrument Lab |  |  | Up | Fabrication
Magnetic Stirrer |  | Instrument lab 1 | Tarson Ceramic |  |  | Internal | Institution |  | Stirring of solutions | Pharmacy | Instrument Lab |  |  | Up | Fabrication
Mechanical Overhead Stirrer |  | Instrument lab 1 | IKA | RW 20 |  | Internal | Institution |  | Shigh speed strirring | Pharmacy | Instrument Lab |  |  | Down | Fabrication
Melting Point Apparatus |  | Instrument lab 1 | Sunsim and Stuart |  |  | Internal | Institution |  | Melting point reading | Pharmacy | Instrument Lab |  |  | Up | Characterization
Mettler Toledo Balance |  | Instrument lab 1 | Mettler | ME-204 |  | Internal | Institution |  | Weighing | Pharmacy | Instrument Lab |  |  | Up | Analytical Measurement
Oil cum Water Bath |  | Instrument lab 1 | SNS | WB-16 |  | Internal | Institution |  | Heating of solutions | Pharmacy | Instrument Lab |  |  | Up | Characterization
pH Meter |  | Instrument lab 1 | Mettler |  |  | Internal | Institution |  | pH reading | Pharmacy | Instrument Lab |  |  | Up | Analytical Measurement
Rotary Evaporator with Chiller |  | Instrument lab 1 | IKA Germany |  |  | External | DST GoI |  | Vacuum evaporation of solvent | Pharmacy | Instrument Lab |  |  | Up | Fabrication
Rotary Vane Vacuum Pump |  | Instrument lab 1 | Tarson |  |  | Internal | Institution |  | Vacuum filtration, Tarson (Tanker 150) | Pharmacy | Instrument Lab |  |  | Up | Fabrication
UV Chamber for TLC |  | Instrument lab 1 |  | R/340/OB |  | Internal | Institution |  | TLC visualization | Pharmacy | Instrument Lab |  |  | Up | Characterization
UV Spectrophotometer |  | Instrument lab 1 | Shimadzu |  |  | Internal | Institution |  | UV specrtometric analysis | Pharmacy | Instrument Lab |  |  | Up | Characterization
Vacuum Pump |  | Instrument lab 1 | SNS | DC-301 |  | Internal | Institution |  | Vacuum filtration | Pharmacy | Instrument Lab |  |  | Up | Fabrication
Water Bath |  | Instrument lab 1 |  | DWD-1090A |  | Internal | Institution |  | Heating of volatile solvents | Pharmacy | Instrument Lab |  |  | Down | Characterization
Water Distillation Unit |  | Instrument lab 1 | Riviera |  |  | Internal | Institution |  | Water distillaton unit | Pharmacy | Instrument Lab |  |  | Up | Fabrication
Weighing Balance |  | Instrument lab 1 | Callibar |  |  | Internal | Institution |  | Wieighing of materials | Pharmacy | Instrument Lab |  |  | Up | Analytical Measurement
Digital Melting Point Apparatus |  | Instrument lab 1 | ESICO International | 935 |  | Internal | Institution |  | Reading of melting point of solid samples | Pharmacy | Instrument Lab |  |  | Up | Characterization
Ultrasonic Bath |  | Instrument lab 1 | GT Sonic | GT-1860QTS |  | Internal | Institution |  | Ultrasonication | Pharmacy | Instrument Lab |  |  | Up | Fabrication
Digital Polarimeter |  | Instrument lab 1 | LASANY | LI-701 |  | Internal | Institution |  | Determination of optical activity | Pharmacy | Instrument Lab |  |  | Up | Analytical Measurement
Permeameter Constant Head with all accessories |  | Deptt. Of Geography & Disaster Management | Steel Fabricators Roorkee |  |  | External | Ministry of Earth Science |  | To study permeability of soil | Geography and Disaster Management | Department of Geography and Disaster Management |  |  | Up | Analytical Measurement
Advanced Programmable Spin Coating System |  | Materials Lab2 | Apex India | Spin NXGP1A |  | Internal | Institution |  | •Speed Range:100-10,00 R.P.M(based on glass substrate of dimension1.5''(L)cX1''(W) & thickness 0.05''),•Acceleration:40-5,000 R.P.M/Sec,•Duration:1-9999Sec/step,•N2 & Other Gas Purging Port,•Wattage:120W(Maximum) | Material Science and Engineering | Department of Material Science and Engineering |  |  | Up | Fabrication
Ultrasonic Cleaner |  | Materials Lab2 | Apex India | JP-010S |  | Internal | Institution |  | •Ultra sonic Power:60 W,•capacity:2.0L,•Heating Power :100W,•Timer:0-30 Min,•Tank Size:150X135X100mm. | Material Science and Engineering | Department of Material Science and Engineering |  |  | Up | Fabrication
Semi Micro Balance II |  | Materials Lab2 | Mettler Toledo | MS105DU |  | Internal | Institution |  | •Maximum Capacity:120g,•Minimum Capacity:0.01Mg,•Weighning pan Diameter:80mm,•Setteling Time:8S | Material Science and Engineering | Department of Material Science and Engineering |  |  | Up | Analytical Measurement
Micro Balance I |  | Materials Lab2 | Essae Teraoka Pvt. Ltd. | DS-852G |  | Internal | Institution |  | •Maximum Capacity:500g,•Minimum Capacity:0.5g | Material Science and Engineering | Department of Material Science and Engineering |  |  | Up | Analytical Measurement
Homogenizer |  | Materials Lab2 | DLAB Scientific Pvt Ltd | D-160 |  | Internal | Institution |  | • Ideal for manual operation due to its light weight and ergonomic design • Processing range: 0.1-50mL or 1-250mL • 316L stainless steel shafts are fully autoclavable and inert for highly corrosive solutions • All shafts are interchangeable for easy dismantling and cleaning. • 6 modes of motor speed from 8,000 to 30,000 rpm | Material Science and Engineering | Department of Material Science and Engineering |  |  | Up | Characterization
Polishing Machine |  | Materials Lab2 | Chennai Matco | Bainpol VTD Individual Drive PMV018 |  | Internal | Institution |  | metallography | Material Science and Engineering | Department of Material Science and Engineering |  |  | Up | Fabrication
Distilled Water Plant |  | Materials Lab2 | LAB-SIL INSTRUMENTS | LQDD2.5 |  | Internal | Institution |  | Distilled water for various applications | Material Science and Engineering | Department of Material Science and Engineering |  |  | Down | Research Infrastructure
Electrochemical Workstation |  | Functional Nanomaterials Lab | Sinsil International | 600 series |  | Internal | Institution |  | For Corrosion and electrochemical studies | Material Science and Engineering | Department of Material Science and Engineering |  |  | Up | Characterization
Hot Air Oven with Air Circulation Fan |  | Materials Lab1 | Electro Scientific Equipment | ESE 450 HAQ |  | Internal | Institution |  | Maximum temperature 450 degree celcius | Material Science and Engineering | Department of Material Science and Engineering |  |  | Up | Fabrication
Horizontal High Temperature Tube Furnace |  | Materials Lab1 | Electro Scientific Equipment | ESE 1600 HTF |  | Internal | Institution |  | Furnae for sintering and heat treatment | Material Science and Engineering | Department of Material Science and Engineering |  |  | Up | Fabrication
High Temperature Muffle Furnace |  | Materials Lab1 | Electro Scientific Equipment | ESE-FMICM-1450CF |  | Internal | Institution |  | Power:5Kw, Tempertaure:1450 degree celcius | Material Science and Engineering | Department of Material Science and Engineering |  |  | Up | Fabrication
Belt Grinder Machine with Water Cooling System |  | Materials Lab1 | Chennai Metco | Bainline Twin wet TBG 011 |  | Internal | Institution |  | Water cooling, 100 X 915 mm endless belt,Size 660 X 600 mm | Material Science and Engineering | Department of Material Science and Engineering |  |  | Up | Fabrication
Slow Speed Horizontal Pot Mill Jar Mil |  | Materials Lab1 | Ants Ceramic Pvt. Ltd. |  |  | Internal | Institution |  | power :0.75 kw ,R.P.M:1440 | Material Science and Engineering | Department of Material Science and Engineering |  |  | Up | Fabrication
Digital Multimeter |  | Materials Lab1 | Keithley | 2110 5 1/2 |  | Internal | Institution |  | 4 probe resistance measurement | Material Science and Engineering | Department of Material Science and Engineering |  |  | Up | Analytical Measurement
Hydraulic Press for Powder Pressing |  | Materials Lab1 | Ants ceramic Pvt. Ltd. |  |  | Internal | Institution |  | Maximum Pressure 400 kg/cm2 | Material Science and Engineering | Department of Material Science and Engineering |  |  | Up | Fabrication
Metallurgical Optical Microscope |  | Materials Lab1 | Leica | DM 750 M |  | Internal | Institution |  | highest magnification 500 X | Material Science and Engineering | Department of Material Science and Engineering |  |  | Up | Characterization
Table Top Attritor |  | Materials Lab1 | Ants ceramic Pvt. Ltd. |  |  | Internal | Institution |  | Maximum Speed :4000 R.P.M, Jar volume 250 ml or 500 ml. | Material Science and Engineering | Department of Material Science and Engineering |  |  | Up | Fabrication
High Temperature Vertical Tube Furnace 1200 degree Centrigrade |  | Materials Lab1 | Ants ceramic Pvt. Ltd. |  |  | Internal | Institution |  | 1200 degree centrigrade | Material Science and Engineering | Department of Material Science and Engineering |  |  | Up | Fabrication
Magnetic Stirrer with Hot Plate |  | Materials Lab1 | Apex India | MAXstir-H+ |  | Internal | Institution |  | Power :600 watt | Material Science and Engineering | Department of Material Science and Engineering |  |  | Up | Fabrication
Solar Simulator |  | Functional Nanomaterials Lab | Newport USA | LCS 100 |  | External | Science and Engineering Research Board |  | Artificial Solar spectrum | Material Science and Engineering | Functional Nanomaterials Lab |  |  | Up | Characterization
Source Meter |  | Functional Nanomaterials Lab | Keithley USA | 2401 |  | External | DST GoI |  | Electrical measurmant | Material Science and Engineering | Functional Nanomaterials Lab |  |  | Up | Analytical Measurement
Arbitrary Waveform Generator |  | ECE Department | GW Instek | AFG2225 |  | Internal | Institution |  | Used in Research purpose | Electronics and Communication Engineering | Optical Fiber Communication Lab |  |  | Up | Characterization
Digital Storage Oscilloscope |  | ECE Department | Keysight Technologies | EDUX1002G |  | Internal | Institution |  | Used in Research purpose | Electronics and Communication Engineering | Optical Fiber Communication Lab |  |  | Up | Characterization
Bench Top Spectrum Analyzer |  | ECE Department | Rigol | DSA815 |  | Internal | Institution |  | Used in Research purpose | Electronics and Communication Engineering | Optical Fiber Communication Lab |  |  | Up | Characterization
Laser Optics Lab Setup |  | ECE Department | Holmarc Opto Machatronics | HO-ED-LOL-01 |  | Internal | Institution |  | Used in Research purpose | Electronics and Communication Engineering | Optical Fiber Communication Lab |  |  | Up | Research Infrastructure
Motorized Antenna Trainer |  | ECE Department | Akademika Lab Solution | RFL-AMS-A-ADVANCE |  | Internal | Institution |  | Used in Research purpose | Electronics and Communication Engineering | Microwave and Antenna Engineering Lab |  |  | Up | Characterization
Microwave Test Bench Klyastron Based |  | ECE Department | Akademika Lab Solution | MTB |  | Internal | Institution |  | Used in Research purpose | Electronics and Communication Engineering | Microwave and Antenna Engineering Lab |  |  | Up | Characterization
Advance Fiber Optic Network Training |  | ECE Department | Akademika Lab Solution | FOL-DUAL |  | Internal | Institution |  | Used in Research purpose | Electronics and Communication Engineering | Optical Fiber Communication Lab |  |  | Up | Characterization
Fiber Optic Laser Source and Detector |  | ECE Department | [6 empty] | Used in Research purpose | Electronics and Communication Engineering | Optical Fiber Communication Lab |  |  | Up | Characterization
Fiber Optic Passive Component Module |  | ECE Department | Akademika Lab Solution | FOL-PASSIVE |  | Internal | Institution |  | Used in Research purpose | Electronics and Communication Engineering | Optical Fiber Communication Lab |  |  | Up | Characterization
Advance Optical Fiber Communication Trainer |  | ECE Department | Akademika Lab Solution | FOL-A-P |  | Internal | Institution |  | Used in Research purpose | Electronics and Communication Engineering | Optical Fiber Communication Lab |  |  | Up | Characterization
OTDR Operating Wavelength 1310 1550 nm |  | ECE Department | ATL | D26(PRO 1000) |  | Internal | Institution |  | Used in Research purpose | Electronics and Communication Engineering | Optical Fiber Communication Lab |  |  | Up | Characterization
Fiber Optic Power Meter |  | ECE Department | Akademika Lab Solution | FOL-A-P |  | Internal | Institution |  | Used in Research purpose | Electronics and Communication Engineering | Optical Fiber Communication Lab |  |  | Up | Analytical Measurement
Fusion Splicing Machine |  | ECE Department | SUMOTOMO Japan | ZIC |  | Internal | Institution |  | Used in Research purpose | Electronics and Communication Engineering | Optical Fiber Communication Lab |  |  | Up | Fabrication
Visual Fault Locator |  | ECE Department | Akademika Lab Solution | VFL Visual Fault Locator |  | Internal | Institution |  | Used in Research purpose | Electronics and Communication Engineering | Optical Fiber Communication Lab |  |  | Up | Characterization
Double Ridged Broadband Horn Antenna |  | ECE Department | Microline | HA-08M18G-L-NF |  | External | UGC |  | Used in Research purpose | Electronics and Communication Engineering | Microwave and Antenna Engineering Lab |  |  | Up | Characterization
Turn Table with Bench Top Portable 13 GHz and Vector Network Analyzer |  | ECE Department | Microline | HA-08M18G-L-NF |  | External | UGC |  | Used in Research purpose | Electronics and Communication Engineering | Microwave and Antenna Engineering Lab |  |  | Up | Characterization
Rotary Evaporator |  | Department of Chemistry | BIBY STIRLING JEOTECH | RE 300, RE 300B |  | External | CSIR |  | Used in Research purpose | Chemistry | Department of Chemistry |  |  | Up | Fabrication
Immersion Cooler |  | Department of Chemistry | Mukherjee Scientific Lucknow | AL-IC 90 |  | External | DST GoI |  | Low temp bath | Chemistry | Department of Chemistry |  |  | Down | Characterization
HPLC |  | Department of Chemistry | DIONEX | ULTIMATE 3000 |  | External | DST GoI |  | HPLC | Chemistry | Department of Chemistry |  |  | Up | Characterization
Polarometer |  | Department of Chemistry | ANTONPAAR | MCP200 |  | External | DST GoI |  | ROTATION | Chemistry | Department of Chemistry |  |  | Up | Analytical Measurement
400 MHz NMR |  | Central Instrumentation Centre, Tripura University | Bruker | AVANCE III HD 400 |  | External | DST GoI |  | NMR | Chemistry | Department of Chemistry |  |  | Up | Characterization
Gas Chromatograph |  | Department of Chemistry | CHEMITO | GC 8610 |  | External | DST GoI |  | GC | Chemistry | Department of Chemistry |  |  | Down | Characterization
UV-Vis |  | Department of Chemistry | PerkinElmer | LAMBDA EZ30 |  | Internal | Institution |  | UV-VIS | Chemistry | Department of Chemistry |  |  | Up | Characterization
FTIR |  | Department of Chemistry | PerkinElmer | Spectrum 100 |  | Internal | Institution |  | IR | Chemistry | Department of Chemistry |  |  | Up | Characterization
UV-Vis |  | Department of Chemistry | Shimadzu | uv 1800 |  | Internal | Institution |  | uv-vis | Chemistry | Department of Chemistry |  |  | Down | Characterization
UV-Vis Single Beam |  | Department of Chemistry |  | 2092UV |  | Internal | Institution |  | UV-VIS | Chemistry | Department of Chemistry |  |  | Up | Characterization
Vacuum Concentrator |  | Department of Chemistry | Eppendrof | AG22331 |  | External | DBT |  | vacuum concentrator | Chemistry | Department of Chemistry |  |  | Up | Fabrication
UV-Vis |  | Department of Chemistry | HITACHI | UH5300 |  | External | DBT |  | UVVIS | Chemistry | Department of Chemistry |  |  | Up | Characterization
Flash Chromatograph |  | Department of Chemistry | Biotage | ISO-PSV |  | External | DBT |  | Chromatogram | Chemistry | Department of Chemistry |  |  | Up | Characterization
Weighing Balance |  | Instrument Room | B K Enterprise | C Y 320 |  | Internal | Institution |  |  | Human Physiology | Department of Human Physiology |  |  | Up | Analytical Measurement
Blood Analyzer |  | Instrument Room | K.R.Lynch | P E 6800 |  | Internal | Institution |  |  | Human Physiology | Department of Human Physiology |  |  | Up | Characterization
Vertical Autoclave |  | Prof.S.K.Sil Lab | PLANTERS |  |  | Internal | Institution |  |  | Human Physiology | Department of Human Physiology |  |  | Up | Fabrication
Tissue Processor |  | Instrument Room | BIOCRAFT SCIENTIFIC SYSTEMS PVT LTD | BMT-20 |  | Internal | Institution |  |  | Human Physiology | Department of Human Physiology |  |  | Up | Characterization
Real Time PCR |  | Instrument Room | Applied Biosystems | 271001549 |  | Internal | Institution |  |  | Human Physiology | Department of Human Physiology |  |  | Up | Characterization
Spectrophotometer |  | Instrument Room | Eppendorf | (1 EA DE) 20 Basic 230v |  | Internal | Institution |  |  | Human Physiology | Department of Human Physiology |  |  | Up | Characterization
Cooling Centrifuge |  | Instrument Room | REMi Amalgamated Suppliers |  |  | Internal | Institution |  | C-24 BL with 12X15 ml | Human Physiology | Department of Human Physiology |  |  | Down | Characterization
Olympus Microscope |  | Instrument Room | B K Enterprise | G. B |  | Internal | Institution |  |  | Human Physiology | Department of Human Physiology |  |  | Up | Characterization
Water Bath |  | Biochemistry Lab | Indian Instrument Manufacturing Company | Yoma water bath220/230 |  | Internal | Institution |  |  | Human Physiology | Department of Human Physiology |  |  | Up | Characterization
Incubator |  | Biochemistry Lab | PLANTERS | ANISU 9001-2008 |  | Internal | Institution |  |  | Human Physiology | Department of Human Physiology |  |  | Up | Characterization
Muffle Furnace |  | Biochemistry Lab | PLANTERS |  |  | Internal | Institution |  |  | Human Physiology | Department of Human Physiology |  |  | Up | Fabrication
Rotary Microtome |  | Histology Room | BIOCRAFT SCIENTIFIC SYSTEMS PVT LTD | AGAR-5 (India) |  | Internal | Institution |  |  | Human Physiology | Department of Human Physiology |  |  | Down | Characterization
Centrifuge |  | Instrument Room | Eppendorf | 5702 |  | Internal | Institution |  |  | Human Physiology | Department of Human Physiology |  |  | Up | Fabrication
Microtome |  | Instrument Room | Leica | Leica RM2125 RTS |  | Internal | Institution |  |  | Human Physiology | Department of Human Physiology |  |  | Up | Characterization
Autoclave |  | Out side of Lab | Yorco | YSI-403 13G2472 |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Down | Fabrication
Bacteriological Incubator |  | Lab II | Yorco | YSI-438 13G4302 |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Up | Fabrication
Digital Analytical Balance |  | Lab I | Thermo Fisher Scintific | OHAV212 B332646856 |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Down | Analytical Measurement
Distillation Plant |  | Lab I | Borosil | sabmarine |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Under Maintenance | Research Infrastructure
Electrophoresis System |  | Lab II |  | 45-I0I0-I |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Up | Characterization
Horizontal Electrophoresis System |  | Lab II | Genie | 28810 |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Up | Characterization
Mini Vertical Electrophoresis System |  | Lab II | Bio-Rad | 106562GB, Cat-1658005 |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Up | Characterization
Fine Balance |  | Lab II | AFCOSET | ER-200A |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Up | Analytical Measurement
Hot Air Oven |  | Cell culture Room | Labman |  |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Up | Fabrication
Incubator Witeg |  | Cell culture Room | Witeg Germany |  |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Down | Characterization
Laminar Airflow |  | Lab I &II | SD Instruments |  |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Down | Fabrication
Laminar Airflow |  | Lab I &II | SD Instruments |  |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Down | Fabrication
Laminar Airflow |  | Cell culture Room | SNS |  |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Up | Fabrication
Laminar Airflow |  | Laminar Room | Lab X | LXDB4SS |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Up | Fabrication
Micro Centrifuge 5418R |  | Lab II | Eppendorf | 5401000013 |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Up | Fabrication
Microscope Digital Gippo Nilpa |  | Lab II | NILPA | S 500 |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Up | Characterization
Monocular Microscope |  | Lab I | Magnus | MLX-M |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Under Maintenance | Characterization
Monocular Microscope |  | Lab I | Magnus | MLX-M |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Under Maintenance | Characterization
Monocular Microscope |  | Lab I | Magnus | MLX-M |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Under Maintenance | Characterization
Monocular Microscope |  | Lab I | Magnus | MLX-M |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Under Maintenance | Characterization
Monocular Microscope |  | Lab I | Magnus | MLX-M |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Under Maintenance | Characterization
Monocular Microscope |  | Lab I | Magnus | MLX-M |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Under Maintenance | Characterization
Monocular Microscope |  | Lab I | Magnus | MLX-M |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Under Maintenance | Characterization
Monocular Microscope |  | Lab I | Magnus | MLX-M |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Under Maintenance | Characterization
Monocular Microscope |  | Lab I | Magnus | MLX-M |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Under Maintenance | Characterization
Monocular Microscope |  | Lab I | Magnus | MLX-M |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Under Maintenance | Characterization
Magnetic Stirrer |  | Lab I | REMI | 1MLH GFMS-3812 |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Up | Fabrication
Microwave Oven |  | Lab I | Whirlpool |  |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Up | Characterization
Mastercycler Nexus |  | Lab II | Eppendorf AG Germany | 6333000014 |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Up | Characterization
Orbital Shaker |  | Cell culture Room |  | ORBITEK LT |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Down | Characterization
pH Meter |  | Lab I &II | Systonic | S-906 13086121 |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Down | Analytical Measurement
pH Meter |  | Lab I &II | Systonic | S-906 13086121 |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Down | Analytical Measurement
Refrigerator |  | Lab II | LG | GL-294PMG4 |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Up | Characterization
Refrigerator |  | Lab II | LG | GL-294PMG4 |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Up | Characterization
Refrigerator |  | Lab I | Whirlpool | 14116 |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Up | Characterization
Remi Cooling Centrifuge |  | Lab II | REMI | C-24 Plus |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Up | Characterization
Soxhlet Apparatus |  | Lab I |  |  |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Up | Fabrication
Sonicator |  | Lab II | PCI | PKS-750F |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Up | Characterization
UV-Vis Spectrophotometer |  | Lab II | SHIMADZU | UV 1800 |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Up | Characterization
UV Transillumination |  | Lab II | Witeg Germany | WUV-120UV |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Up | Characterization
Vacuum Rotary Evaporator |  | Lab I | LabX | LXDRV2C |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Up | Fabrication
Vortex Mixture |  | Lab I | Yorko | YSI-512 |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Up | Fabrication
Water Bath Yorko |  | Lab I | Yorko | 12L4589 |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Up | Characterization
Water Bath Biocraft |  | Lab I |  |  |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Up | Characterization
-20 Freezer |  | Lab II | Vestfrost Solution | LF-DW25-200 |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Up | Characterization
-80 Freezer |  | Lab II | ESCO | UUS-552A-1-G2 |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Up | Characterization
pH Meter |  | Lab II | EUTECH | 2839642 |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Up | Analytical Measurement
Analytical Balance |  | Lab I | Shimadzu | D316100184 |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Up | Analytical Measurement
Shaking Incubator |  | Lab I | Temstar | KSI- 101 |  | Internal | Institution |  |  | Microbiology | Microbiology Laboratory |  |  | Up | Characterization
Serological Water Bath |  | MTG Lab, Ground floor, Day Care building, Tripura University | B.D. Instrumentation | BDI57 |  | External | BIRAC |  | heating | Microbiology | Microbial Technology Laboratory |  |  | Up | Characterization
Hot Air Oven |  | MTG Lab, Ground floor, Day Care building, Tripura University | B.D. Instrumentation | BDI50 |  | External | BIRAC |  | Drying | Microbiology | Microbial Technology Laboratory |  |  | Up | Fabrication
Laminar Flow Chamber |  | MTG Lab, Ground floor, Day Care building, Tripura University | Biobase | BBS SDC(15V1804141 D) |  | External | DBT |  | Handling bacteria | Microbiology | Microbial Technology Laboratory |  |  | Up | Fabrication
BOD Shaker Incubator |  | MTG Lab, Ground floor, Day Care building, Tripura University | Spac-N-Service | BST/SI/200L |  | External | DBT |  | incubator | Microbiology | Microbial Technology Laboratory |  |  | Up | Characterization
BOD Shaker Incubator |  | MTG Lab, Ground floor, Day Care building, Tripura University | Bionics Labard | LI-BODS-10 |  | External | DBT |  | incubator | Microbiology | Microbial Technology Laboratory |  |  | Up | Characterization
BOD Stationery Incubator |  | MTG Lab, Ground floor, Day Care building, Tripura University | Spac-N-Service | SNS-BOD-06 |  | External | DBT |  | incubator | Microbiology | Microbial Technology Laboratory |  |  | Up | Characterization
40C Refrigerator Biobase Chromatography Chamber |  | MTG Lab, Ground floor, Day Care building, Tripura University | Biobase | BXC-V260M |  | External | DBT |  | Chromatography chamber | Microbiology | Microbial Technology Laboratory |  |  | Up | Characterization
20 degree Deep Freezer |  | MTG Lab, Ground floor, Day Care building, Tripura University | LABARD | LI-DFH-54 |  | External | DBT |  | Deep frezeer | Microbiology | Microbial Technology Laboratory |  |  | Up | Characterization
Bioreactor with Pump with Lyophilizer and Spectrophotometer |  | MTG Lab, Ground floor, Day Care building, Tripura University | Biobase | MS7-H550-S, BK-FD10P, BK1000 |  | External | DBT |  | Bioreactor with fermentation facility with Lyophilization and Spectrophotometry | Microbiology | Microbial Technology Laboratory |  |  | Up | Fabrication
Micro Centrifuge |  | MTG Lab, Ground floor, Day Care building, Tripura University | REMI | RM-03 Plus |  | External | MHRD |  | Centrifugation | Microbiology | Microbial Technology Laboratory |  |  | Up | Fabrication
Vortex |  | MTG Lab, Ground floor, Day Care building, Tripura University | REMI | REMI CM 101 |  | External | MHRD |  | Vortex | Microbiology | Microbial Technology Laboratory |  |  | Up | Fabrication
Magnetic Stirrer |  | MTG Lab, Ground floor, Day Care building, Tripura University | REMI | REMI 2MLH |  | External | MHRD |  | Stirring sample | Microbiology | Microbial Technology Laboratory |  |  | Up | Fabrication
Fluorescent Microscope |  | MTG Lab, Ground floor, Day Care building, Tripura University |  | XY-2 |  | External | DBT |  | Microscopy | Microbiology | Microbial Technology Laboratory |  |  | Up | Characterization
Decorticating Machine |  | MTG Lab, Ground floor, Day Care building, Tripura University | CRIJAF |  |  | External | DBT |  | fiber decorticator containing 3 HP motor,220V | Microbiology | Microbial Technology Laboratory |  |  | Up | Fabrication
Microwave Koryo |  | MTG Lab, Ground floor, Day Care building, Tripura University | KORYO | KMG21BF11 |  | External | BIRAC |  | heating | Microbiology | Microbial Technology Laboratory |  |  | Up | Characterization
Clevenger Apparatus with Heating Mantle |  | MTG Lab, Ground floor, Day Care building, Tripura University | Sarada Glass and Chemicals |  |  | External | BIRAC |  | secondary metabolites estimation | Microbiology | Microbial Technology Laboratory |  |  | Up | Characterization
Viscometer |  | MTG Lab, Ground floor, Day Care building, Tripura University | [6 empty] | Ostwald viscometer for viscocity measurement | Microbiology | Microbial Technology Laboratory |  |  | Up | Analytical Measurement
Dissolved Oxygen Measurement Kit |  | MTG Lab, Ground floor, Day Care building, Tripura University | Thermo Scientific |  |  | External | MHRD |  | Dissolved oxygen measurement | Microbiology | Microbial Technology Laboratory |  |  | Up | Analytical Measurement
Water Testing Kit Palintest |  | MTG Lab, Ground floor, Day Care building, Tripura University | Palintest |  |  | External | MHRD |  | water quality testing | Microbiology | Microbial Technology Laboratory |  |  | Up | Characterization
Electrophoresis Unit |  | MTG Lab, Ground floor, Day Care building, Tripura University | Concept International |  |  | External | UGC |  | Electrophoresis | Microbiology | Microbial Technology Laboratory |  |  | Up | Fabrication
Ultrasonic Water Bath |  | MTG Lab, Ground floor, Day Care building, Tripura University | Labmad | LMUC-12 |  | External | DBT |  | Sonication | Microbiology | Microbial Technology Laboratory |  |  | Up | Characterization
Biosafety Cabinet |  | MTG Lab, Ground floor, Day Care building, Tripura University | SNS | SNS-MS-BSC-III-3 |  | External | DBT |  | Handling bacteria | Microbiology | Microbial Technology Laboratory |  |  | Up | Characterization
Trinocular Microscope |  | MTG Lab, Ground floor, Day Care building, Tripura University | Leica | Leica-DM750 |  | External | DBT |  | Microscopy | Microbiology | Microbial Technology Laboratory |  |  | Up | Characterization
Bioreactor |  | MTG Lab, Ground floor, Day Care building, Tripura University | Concept | PBBR-2 |  | External | DBT |  | Immobilization of microbial cells | Microbiology | Microbial Technology Laboratory |  |  | Up | Characterization
Atomic Force Microscope (AFM) | AFM | CIC, Academic Building VIII | Bruker | INOVA | [5 empty] | Central Instrumentation Center | Central Instrumentation Center |  |  | Up | Characterization
Field Emission Scanning Electron Microscope with EDS and Sputter Coater |  | CIC, Academic Building VIII | Carl Zeiss | Sigma 300 | [5 empty] | Central Instrumentation Center | Central Instrumentation Center |  |  | Up | Characterization
Nuclear Magnetic Resonance (NMR) | NMR | CIC, Academic Building VIII | Bruker | 400 MHz | [5 empty] | Central Instrumentation Center | Central Instrumentation Center |  |  | Up | Characterization
Liquid Nitrogen Plant |  | CIC, Academic Building VIII | Stirling Cryogenics | StirLITE | [5 empty] | Central Instrumentation Center | Central Instrumentation Center |  |  | Up | Research Infrastructure
Gas Chromatography Mass Spectrum (GCMS) | GCMS | CIC, Academic Building VIII | Agilent Service | Varian 220-MS / 450-GC, 230V | [5 empty] | Central Instrumentation Center | Central Instrumentation Center |  |  | Up | Characterization
High Performance Liquid Chromatography (HPLC) | HPLC | CIC, Academic Building VIII | DIONEX | Dionex U3000 | [5 empty] | Central Instrumentation Center | Central Instrumentation Center |  |  | Up | Characterization
GPS Ionospheric Scintillation and TEC Monitor (GISTM) | GISTM | CIC, Academic Building VIII |  | GSV4004B | [5 empty] | Central Instrumentation Center | Central Instrumentation Center |  |  | Up | Data Monitoring
Lifetime Spectrofluorometer |  | CIC, Academic Building VIII | Horiba | FluroLog-3 | [5 empty] | Central Instrumentation Center | Central Instrumentation Center |  |  | Up | Characterization
Chemidoc |  | CIC, Academic Building VIII | BIO-RAD | Universal Hood III | [5 empty] | Central Instrumentation Center | Central Instrumentation Center |  |  | Up | Analytical Measurement
Immunofluorescence Microscope |  | CIC, Academic Building VIII | Carl Zeiss | AXIO Vert A1 | [5 empty] | Central Instrumentation Center | Central Instrumentation Center |  |  | Up | Characterization