## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Electrochemical Workstation |  | Dept. of Physics (R&D Lab) | C H Instruments Inc USA | CHI608E |  | Internal | Institution |  | Electrochemical Work Station with Potentiostat/ Galvanostat with Corrosion, Impendance, Electrochemistry s/w, Latest Wondows based Acquistion s/w also includes powr supply 220V/50Hz, Interface cble for USB Port, Cellcabel & Installation | Physics | R&D Lab |  |  | Up | Characterization
Baseband Generator and Channel Emulator |  | Ground Floor/TE115 | Agilent Technologies | PXB N5106A |  | Internal | Institution |  | 4 IO Ports, 4 anlog I/Q out and 4 digital IO and 2 IO cards, base band generation, Calibrated AWGN, fading with SISO channel models, 6 DSP Blocks on 3 Baseband cards | Electronics and Telecommunication Engineering | Keysight-RVCE Advanced RF and Wireless Communication Lab |  |  | Up | Characterization
Mixed Signal Oscilloscope (MSO) | MSO | Ground Floor/TE115 | Agilent Technologies | MSO 7104B |  | Internal | Institution |  | 4 + 16 channels , 1 GHz, Display size -12.1 inch, 8bits ADC, Maximum sample rate 4GSa/s | Electronics and Telecommunication Engineering | Keysight-RVCE Advanced RF and Wireless Communication Lab |  |  | Up | Characterization
Signal Analyzer |  | Ground Floor/TE115 | Agilent Technologies | EXA N9010A |  | Internal | Institution |  | 7 KHz to 7 GHz, pre amplifier upto 7 GHz, phased noise <-99 dB/Hz, standard attenuator range /step; 60 dB/10dB , amplitude accuracy +/- 0.27 dB, resolution bandwidth 1 Hz to 8 MHz, analysis bandwidth 10 MHz, USB ports 2, Matlab compatible | Electronics and Telecommunication Engineering | Keysight-RVCE Advanced RF and Wireless Communication Lab |  |  | Up | Characterization
Vector Signal Generator |  | Ground Floor/TE115 | Agilent Technologies | MXG N5182A |  | Internal | Institution |  | 9 kHz to 6 GHz, All Analog modulation, pulse modulation, digital modulations/keying, Frequency range 100 KHz to 6 GHz, Arbitrary waveform generation supporting 80 MHz, RF bandwidth and 64 Mega samples of playback memory, IQ inputs and outputs, reference signals for GSM, WCDMA, CDMA2000 | Electronics and Telecommunication Engineering | Keysight-RVCE Advanced RF and Wireless Communication Lab |  |  | Up | Characterization
Power Supply |  | Ground Floor/TE115 | Agilent Technologies | E3631A |  | Internal | Institution |  | 80W Triple output, 6v . 5A & +/- 25V 1A | Electronics and Telecommunication Engineering | Keysight-RVCE Advanced RF and Wireless Communication Lab |  |  | Up | Characterization
Waveform Generator |  | Ground Floor/TE115 | Agilent Technologies | 33250A |  | Internal | Institution |  | 80 Mhz, Single Channel with Arbitrary, 80 MHz sine and square waveforms, Ramp, triangle, noise, DC and other waveforms, 12-bit, 200 MSa/s, 64 Kpoint arbitrary waveforms, Pulse capability with variable edge | Electronics and Telecommunication Engineering | Keysight-RVCE Advanced RF and Wireless Communication Lab |  |  | Up | Characterization
Waveform Generator |  | Ground Floor/TE115 | Keysight Technologies | 3325B |  | Internal | Institution |  | 30 MHz, 2-Channel with Arbitrary, 250 MSa/s sampling rate for higher time resolution arbitrary waveforms, USB, LAN (LXI-C), GPIB standard for quick and easy connectivity to PC or network | Electronics and Telecommunication Engineering | Keysight-RVCE Advanced RF and Wireless Communication Lab |  |  | Up | Characterization
Vector Network Analyzer (VNA) | VNA | Ground Floor/TE115 | Rohde and Schwarz | ZVL13 |  | Internal | Institution |  | 9 kHz to 13.6 GHz, Measurement Speed <50 ms, Test Points 2 to 4001 points per trace, Dynamic Range typ. 90 dB to 105 dB, Output Power typ. -40 dBm to 0 dBm. | Electronics and Telecommunication Engineering | Keysight-RVCE Advanced RF and Wireless Communication Lab |  |  | Up | Characterization
Spectrum Analyser |  | Ground Floor/TE115 | Rohde and Schwarz | HMS-X |  | Internal | Institution |  | 100kHz to 3GHz, Spectral purity >-100dBc(1Hz) (at 100kHz), Sweep from 20ms to 1000s, Functions Tracking generator with Frequency range 5Mhz to 3GHzoutput level:-20dBm to 0dBm | Electronics and Telecommunication Engineering | Keysight-RVCE Advanced RF and Wireless Communication Lab |  |  | Up | Characterization
Programmable Synthesizer |  | Ground Floor/TE115 | Rohde and Schwarz | HM8135 |  | Internal | Institution |  | 1Hz - 3GHz, Output power - 135dBm …+13dBm, Frequency Resolution 1Hz(accuracy 0.5ppm), Modulation modes- AM, FM, Pulse, FSK, PSK, Internal modulator (sine wave, square wave, triangle, sawtooth) 10Hz…200Khz | Electronics and Telecommunication Engineering | Keysight-RVCE Advanced RF and Wireless Communication Lab |  |  | Up | Characterization
Signal Analyzer |  | Third Floor/TE303 | Tektronix | RSA306B |  | External | AICTE, Govt. of India |  | USB real time signal analyzer: 9 kHz-6.2 GHz with licenses and real time signal analysis capability, WLAN No suggestions/FM/PM Modulation,+20 dBm to -160 dBm measurement range, with Signal Vue software license. | Electronics and Telecommunication Engineering | PG Lab 2 Center for 5G and Emerging Wireless Technologies |  |  | Up | Characterization