## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
nRad base system | Slot Die Coater | NCFlexE, IIT Kanpur | FAS Holding Group LLC USA | nRad | 67212039 | External Funding | MeitY, Govt. of India | Centre of Excellence for Large area of Flexible Electronics at IIT Kanpur | nRad Base System - Including 150mm Al die & chuck, syringe pump | SCDT, IIT Kanpur |  | 1 |  | Active | Fabrication |  |  | Dr Sudheer Kumar | coo_flexe@iitk.ac.in | scdt@iitk.ac.in
Reactive Ion Etcher System(RIE) | RIE | SCDT, IIT Kanpur | AURION ANLAGENTECHNIK GmbH | CYLOS 350 (VPA-27) | 302152 | External Funding | MeitY, Govt. of India | Centre of Excellence for Large area of Flexible Electronics at IIT Kanpur | Reactive Ion Etching System Model-CYLOS 350 | SCDT, IIT Kanpur |  | 1 |  | Active | Fabrication |  |  | Dr. Sudheer Kumar | coo_flexe@iitk.ac.in | scdt@iitk.ac.in
Robust R&D Inkjet Printing System (Single Head) | R&D Inkjet Printing System | NCFlexE, IIT Kanpur | Meyer Burger B.V. Netherlands | LP-50 (PIXDRO) | lp50-186 | External Funding | MeitY, Govt. of India | Centre of Excellence for Large area of Flexible Electronics at IIT Kanpur | Robust R&D inkjet printing system, specifically customized | SCDT, IIT Kanpur |  | 1 |  | Active | Fabrication |  |  | Dr. Sudheer Kumar | coo_flexe@iitk.ac.in | scdt@iitk.ac.in
Photon Sintering | Photon Sintering | NCFlexE, IIT Kanpur | Novacentrix Austin USA | Pulse Forge Model -1200 | 120027 | External Funding | MeitY, Govt. of India | Centre of Excellence for Large area of Flexible Electronics at IIT Kanpur | Customized Pulse forge 1200 system with specialized environmental chamber and integrated energy measurement | SCDT, IIT Kanpur |  | 1 |  | Active | Fabrication |  |  | Dr. Sudheer Kumar | coo_flexe@iitk.ac.in | scdt@iitk.ac.in
Photo Luminescence Spectrofluorometer | PL System | NCFlexE, IIT Kanpur | Horiba Instruments Inc USA | FL-1039A/40A | FL1039A-1586-1516 | External Funding | MeitY, Govt. of India | Centre of Excellence for Large area of Flexible Electronics at IIT Kanpur | FL3C-21 Research Spectrofluorometer with 450W ozone free Xe source and Power supply etc. | SCDT, IIT Kanpur |  | 1 |  | Active | Characterization |  |  | Dr. Sudheer Kumar | coo_flexe@iitk.ac.in | scdt@iitk.ac.in
Dynamic Light Scattering System | DLS System | NCFlexE, IIT Kanpur | Malvern Instruments UK | Zetasizer Nano ZS | MAL1176451 | External Funding | MeitY, Govt. of India | Centre of Excellence for Large area of Flexible Electronics at IIT Kanpur | ZETASIZER NANO-ZS with 633nm He-Ne LASER ZEN3600 | SCDT, IIT Kanpur |  | 1 |  | Active | Characterization |  |  | Dr. Sudheer Kumar | coo_flexe@iitk.ac.in | scdt@iitk.ac.in
Rheometer | Rheometer | NCFlexE, IIT Kanpur | Anton Paar GmbH Austria | MCR 102 | 81961412 | External Funding | MeitY, Govt. of India | Centre of Excellence for Large area of Flexible Electronics at IIT Kanpur | Modular Compact Rheometer for rheological measurement | SCDT, IIT Kanpur |  | 1 |  | Active | Characterization |  |  | Dr. Sudheer Kumar | coo_flexe@iitk.ac.in | scdt@iitk.ac.in
FTIR with IR-Microscope | FTIR | NCFlexE, IIT Kanpur | Agilent Technology | CARY 660 FTIR | MY16110001 | External Funding | MeitY, Govt. of India | Centre of Excellence for Large area of Flexible Electronics at IIT Kanpur | FTIR WITH IR-MICROSCOPE- Quality control, failure analysis, and competitor analysis | SCDT, IIT Kanpur |  | 1 |  | Active | Characterization |  |  | Dr. Sudheer Kumar | coo_flexe@iitk.ac.in | scdt@iitk.ac.in
Climate Chamber | Climate Chamber | NCFlexE, IIT Kanpur | CM Envirosystems Pvt Ltd | PAC-120 A-H | 120473 | External Funding | MeitY, Govt. of India | Centre of Excellence for Large area of Flexible Electronics at IIT Kanpur | Test the effects of specified environmental conditions on biological items, industrial products, materials, and electronic devices and components. | SCDT, IIT Kanpur |  | 1 |  | Active | Processing |  |  | Dr. Sudheer Kumar | coo_flexe@iitk.ac.in | scdt@iitk.ac.in
2D Color Analyzer | 2D Color Analyzer | SCDT, IIT Kanpur | Konica Minolta | CA-2500 | 1501334 | External Funding | MeitY, Govt. of India | Centre of Excellence for Large area of Flexible Electronics at IIT Kanpur | Measurement of luminance and chromaticity distribution of displays | SCDT, IIT Kanpur |  | 1 |  | Active | Characterization |  |  | Dr. Sudheer Kumar | coo_flexe@iitk.ac.in | scdt@iitk.ac.in

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
Test Funding Agency
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
INODE FAG
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
Testing Funding Agency
GIA
TestName12
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
TestFundingAgencySS
DME Government of Karnataka
I-STEM Funding at IISc
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE