## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs)
INDUCTIVELY COUPLED PLASMA OPTICAL EMISSION SPECTROSCOPE | ICP-OES | FTD-MS&E | PERKIN ELMER | OPTIMA2000DV | 080N2062702 | ICAR | NA | general | Elemental analyser | FISHING TECHNOLOGY | MATERIAL SCIENCE AMD ENVIORNMENT | 35 LAKHS | NA | WORKING | TESTING | NA | NA | NA
ATOMIC FORCE MICROSCOPE | AFM | FTD-MS&E | PARK SYSTEMS | XE 100 | HA77600435 | ICAR | NA | general | Nano surface topography | FISHING TECHNOLOGY | MATERIAL SCIENCE AND ENVIORNMENT | 45 LAKHS | NA | WORKING | CHARACTERISATION | NA | NA | NA
UNIVERSAL TESTING MACHNE SHIMADZU250 | UTM | FTD-MS&E | SHIMADZU | AGIS-250KN | 346-51961-01 | ICAR | NA | general | Strength tester | FISHING TECHNOLOGY | MATERIAL SCIENCE AND ENVIORNMENT | 53.36 LAKHS | NA | WORKING | TESTING | NA | NA | NA
XENO TEST | XENO TEST | FTD-MS&E | ALPHA | PLUS | 1105004 | ICAR | NA | general | Colour fastness tester | FISHING TECHNOLOGY | MATERIAL SCIENCE AND ENVIORNMENT | 49.49 LAKHS | NA | WORKING | TESTING | NA | NA | NA
MICROARRAY SURE SCAN |  | CIFT-HQ | AGILENT TCHNOLOGIES | 64900DA | SG13354331 | NASF |  | Development of multiplex microarray for detection of food-borne and shrimp pathogens | Used for detection of food borne pathogens based on DNA Microarray | MICROBIOLOGY, FERMENTATION AND BIOTECHNOLOGY |  | 28 LAKHS |  | UNDER REPAIR | Research
INFRARED FTIR SPECTROMETR |  | CIFT-HQ | THERMO FISHER NICOLET | IS10191D | AKX1002366 | ICAR |  | Assessment of microbial seafood safety hazards and bioprospecting of aquatic microbial resources for enzymes | Used for determination of chemical compounds and identification of bacteria | MICROBIOLOGY, FERMENTATION AND BIOTECHNOLOGY |  | 33 LAKHS |  | WORKING | Research
OXYGEN PERMIABILITY TESTER | OTR | PACKAGING LAB | LYSSY | OPT5000 | 61090061 | NAIP |  |  | Equipmnt is designed for testing oxygen transmission rate (OTR) on films with low to high oxygen barrier properties. This analyzer provides test results within a wide detection range from 0.1 to 10000 cc/(m2*day) | FISH PROCESSING | Oxygen Transmission Rate Analyser | 28.57 LAKHS | www.systechillinois.com | NOT WORKING | Analytical equipment
PULSE LIGHT PRESERVATION MACHNE | PL | FISH PROCESSING LAB | XENON LH840 | RC-847 | 13899-02 | NAIP | ICAR-NATIONAL AGRICULTURAL INNOVATION PROJECT | A value chain on Oceanic Tuna fisheries in Lakshadweep sea | Equipment consists of a pulse light generator (which generates short duration on high voltage) through xenon lamp placed in a lamp house to produce intense , visible broad- spectrum pulse of light to the samples kept in a sterilization chamber. | FISH PROCESSING | Pulsed Light Processing Machine | 33.26 LAKHS | www.xenoncorp.com | NOT WORKING | Processing equipment
DIFFERENTIAL SCANNING CALORIMETER | DSC | INSTRUMENT ROOM | TA INSTRUMENTS | TA DSC25 |  | INSTITUTE |  |  | Used for calorimetric analysis of sample | FISH PROCESSING | DIFFERENTIAL SCANNING CALORIMETER | 26.20 LAKHS |  | WORKING | Analytical Equipment
HIGH PESSURE FOOD POCESSOR SYSTEM | HPP | HIGH PRESSURE PROCESSING FACILITY | STANSTED FLUID POWER LTD. | FPG 7100:9/2C |  | NAIP | ICAR- NAIP-NATIONAL AGRICULTURAL INNOVATION PROJECT | Studies on High Pressure Processing of High Value Perishable Commodities | ISO-LAB system with 2L capacity ( length -570 mm, diameter -70 mm), max working pressure- 900 mPa, temp range - -20 to + 80 ͦC) | FISH PROCESSING | High Pressure Processing Facility | 157.54 LAKHS | www.highpressurefoodprocesser.com | UNDER REPAIR | Processing Equipment
Liquid Chromatograophy-Mass spectrometry | LC-MS/MS | NRL | SCIEX | Q Trap 6500 | CS2034710 | FSSAI | Referral Lab Upgradation-FSSAI | FSSAI Referrral Lab | Testng of Veterinary Drug Residues, Pesticides, Biotoxins and endocrine disruptors | QUALITY ASSURANCE & MANAGEMENT |  | 346.29 LAKHS |  | WORKING
Inductively coupled plasms mass spectrometer coupled with HPLC and IC | HPLC-IC-ICP-MS | NRL | THERMO FISHER SCIENTIFIC | iCAPQ/Ultimate HPLC/ICS 5000 | ICAPQ01955/16110279 | ICAR |  |  | Testing of heavy metals | QUALITY ASSURANCE & MANAGEMENT |  | 147.25 LAKHS |  | WORKING
Gas Chromatograpyhy-Mass Spectrometry | GC-MS/MS | NRL | THERMO FISHER SCIENTIFIC | TSQ 800 EVO | 715101869 | ICAR |  |  | Testing of pesticides, PAHs, PCBs | QUALITY ASSURANCE & MANAGEMENT |  | 101.20 LAKHS |  | WORKING
VIDAS | VIDAS | NRL | BIOMERIEUX | VIDAS | IVD7003249 | ICAR |  |  | Screening of Foodborne pathogens | QUALITY ASSURANCE & MANAGEMENT |  | 25.07 LAKHS |  | WORKING
VITEK 2 Compact | VITEK 2 Compact | NRL | BIOMERIEUX | VITEK | VK2C15471 | ICAR |  |  | Identification of Foodborne pathogens | QUALITY ASSURANCE & MANAGEMENT |  | 29.00 LAKHS |  | WORKING
TEMPO | TEMPO | NRL | BIOMERIEUX | TEMPO | IQIR02373 | ICAR |  |  | Enumeration of microorganisms | QUALITY ASSURANCE & MANAGEMENT |  | 33.35 LAKHS |  | WORKING
INDUCTIVELY COUPLED PLASMA OPTICAL EMISSION SPECTROMETER | ICP-OES | QAM | THERMO FISHER SCIENTIFIC | Icap -6300 duo | icp-20111309 | ICAR |  |  | Testing of heavy metals | QUALITY ASSURANCE & MANAGEMENT |  | 26.76 LAKHS |  | WORKING
Liquid Chromatograophy-Mass spectrometry | LC-MS/MS | QAM | SCIEX | Q Trap 4000 | 23157090602 | ICAR |  |  | Testng of Veterinary Drug Residues, Pesticides, Biotoxins and endocrine disruptors | QUALITY ASSURANCE & Management |  | 264.27 LAKHS |  | WORKING
HEAD SPACE GCMS | HEAD SPACE GCMS | B&N | PERKIN ELMER | TURBO MASS GOLD | 647N2022201 | GOVERNMENT | ICAR | NA | Preparatory equipment for extraction of bioactives | BIOCHEMISTRY & NUTRITION | B&N Instrumenation Laboratory | 65 LAKHS | www.cift.res.in | UNDER REPAIR | Analytical
High Performance Liquid Chromatograph | HPLC PDA FID | B&N | SHIMADZU | PROMINENCE | C220903903386KL | GOVERNMENT | ICAR | NA | Analytical equipment for chemical nutrients and bioactives | BIOCHEMISTRY & NUTRITION | B&N Instrumenation Laboratory | 27 LAKHS | www.cift.res.in | WORKING | Analytical
SUPERCRITICAL FLUID EXTRACTOR UNIT | SFE | B&N | WATERS | WATERS SFE | Waters SFE-279003369 | GOVERNMENT | CMLRE |  |  | BIOCHEMISTRY & NUTRITION | B&N Instrumenation Laboratory | 80 LAKHS | www.cift.res.in | WORKING | Preparative