## Equipment
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Total Organic Carbon Analyzer | TOC, DOC | Environment Lab | Analytic Jena | Multi N/C 3100 | N2-800/0 | Plan Grant |  |  | To measure of the total amount of carbon in organic compundds in pure water and aqueous system. | Civil Engineering |  | 36,37,739/- |  | UP | Analytical |  |  |  | Analytik Jena | gulshan-kumar.narula@analytik-jena.com | Analytik Jena | gulshan-kumar.narula@analytik-jena.com | anuj.mce@iitr.ac.in, vinay.mce@iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, absar.kazmi@ce.iitr.ac.in
Gas Chromatograph Mass Spectrometer | GCMS | Environment Lab | Varian | 450-GC | GC0912B019 | SRIC Grant |  |  | Separating chemical mixtures and identifying their components at the molecular level. | Civil Engineering |  | 38,77,899/- |  | DOWN | Analytical |  |  |  | Varian B V | thermofisher.com | Varian B V | thermofisher.com | anuj.mce@iitr.ac.in, vinay.mce@iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, absar.kazmi@ce.iitr.ac.in
Carbon, Hydrogen, Nitrogen, Sulfur Analyzer | CHNS | Environment Lab | Elementar | UNICUBE | 0400BC1033 | DDF Grant |  |  | Burning a sample at high temperature to create gases that contain the elements Carbon, Hydrogen, Nitrogen, Sulfur. | Civil Engineering |  | 46,02,000/- |  | UP | Analytical |  |  |  | Elementar India Pvt Ltd | info-india@elementar.com | Elementar India Pvt Ltd | info-india@elementar.com | anuj.mce@iitr.ac.in, vinay.mce@iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, absar.kazmi@ce.iitr.ac.in
Atomic Absorption Spectrophotometer | AAS | Environment Lab | Thermo | ICE3500AA | AA0513150 | Plan Grant |  |  | Measure the concentratioin of different cations including heavy metals in ppm and ppb range. | Civil Engineering |  | 27,64,330/- |  | UP | Analytical |  |  |  | Thermo fisher Scientific | ininfo@thermofisher.com | Thermo fisher Scientific | ininfo@thermofisher.com | anuj.mce@iitr.ac.in, vinay.mce@iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, absar.kazmi@ce.iitr.ac.in
Ion Chromatograph | IC | Environment Lab | Metrohm | 850 Professional IC | 26156 | Plan Grant |  |  | To separate ions based on their interaction with a resin and an eluent. | Civil Engineering |  | 22,57,150/- |  | UP | Analytical |  |  |  | Metrohm Ltd | materials@metrohm.in | Metrohm Ltd | materials@metrohm.in | anuj.mce@iitr.ac.in, vinay.mce@iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, absar.kazmi@ce.iitr.ac.in
Gas Chromatograph | GC | Environment Lab | Shimadzu | GC-2014 | C121655 | SRIC DBT893CED |  |  | To separate and identifies compounds in a muxture | Civil Engineering |  | 22,36,771/- |  | UP | Analytical |  |  |  | Shimadzu | service@toshvin.com | Toshvin Analytical Pvt Ltd | service@toshvin.com | anuj.mce@iitr.ac.in, vinay.mce@iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, absar.kazmi@ce.iitr.ac.in
Liquid Chromatography Mass Spectrometry | LCMS | Environment Lab | Waters | e-2695 | M18SM4233A | SRIC Grant |  |  | To separate of compound from the mixture and Ionization and Quantification of trace contaminants. | Civil Engineering |  | 68,36,232/- |  | UP | Analytical |  |  |  | Waters Pvt Ltd | anuj_gupta@waters.com | Waters Pvt Ltd | anuj_gupta@waters.com | anuj.mce@iitr.ac.in, vinay.mce@iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, absar.kazmi@ce.iitr.ac.in
Ultra Performance Liquid Chromatography | UPLC QTOF | Environment Lab | Waters | XEV0G2 QTOF | YFA1801 | SMIL-2018-013-CED |  |  | To separate of compound from the mixture and Qualitative analysis of trace contaminants and Targeted & Non targeted screening | Civil Engineering |  | 2,38,35,033/- |  | UP | Analytical |  |  |  | Waters Pvt Ltd | anuj_gupta@waters.com | Waters Pvt Ltd | anuj_gupta@waters.com | anuj.mce@iitr.ac.in, vinay.mce@iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, absar.kazmi@ce.iitr.ac.in
High Performance Liquid Chromatography | HPLC | Environment Lab | Waters |  | C195CH420G | CMP-1275-CED |  |  | To measure the concentration emerging organic contaminants like antibiotics, amino acids etc. | Civil Engineering |  | 22,81,220/- |  | UP | Analytical |  |  |  | Waters Pvt Ltd | anuj_gupta@waters.com | Waters Pvt Ltd | anuj_gupta@waters.com | anuj.mce@iitr.ac.in, vinay.mce@iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, absar.kazmi@ce.iitr.ac.in
Particle Analyzer | DLS | Environment Lab | Anton Paar | LITESIZER 500 | 83881848 | Plan Grant |  |  | Determine the particle size and particle size distribution of both liquid dispersions and dry powders from the nanometer up to the millimeter range. | Civil Engineering |  | 24,70,837.54/- |  | UP | Analytical |  |  |  | Anton Paar India Pvt Ltd | service.in@anton-paar.com | Anton Paar India Pvt Ltd | service.in@anton-paar.com | anuj.mce@iitr.ac.in, vinay.mce@iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, absar.kazmi@ce.iitr.ac.in
Collector 18 |  | Environment Lab | Idexx | 89-10894-05 | 13-023-06833 | MSC01/71/105/801 |  |  | To detects both total coliforms and Escherichia coli in water, giving confirmed results in 18 hours. | Civil Engineering |  | 22,10,348/- |  | UP | Analytical |  |  |  | Idexx Laboratories | info@shahbros.com | Shah Brothers | info@shahbros.com | anuj.mce@iitr.ac.in, vinay.mce@iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, absar.kazmi@ce.iitr.ac.in
Portable Aerosol Spectrophotometer (PAS) | PAS | Environment Lab | Grimm Aerosol Technic | Model 163 | 9G120030 | MSC01/71/105/801 |  |  | It provides the number-weighted diameter distribution of aerosols over the entire sub-micrometer range (10 to 863 nano meter) in one scan | Civil Engineering |  | 24,90,490/- |  | UP | Analytical |  |  |  | Alfa Tech | service@alfatechservices.com | Alfa Tech | service@alfatechservices.com | anuj.mce@iitr.ac.in, vinay.mce@iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, absar.kazmi@ce.iitr.ac.in
Burris Gravity Meter | GM | Geospatial Lab | Gravity Consult |  | B-96 | Plan Grant |  |  | Calibrated screw Burris Gravity meter: Land Gravity meter with beam galvo, 50 mgal automatic nulling range with microgal reading precision. | Civil Engineering |  | 96,98,584/- | http://www.gravity-consult.de | DOWN | Geophysical |  |  |  | Gravity Consult | service@gravionic.de | Geospatial group, Deptt. of Civil Engineering | geomatics@ce.iitr.ac.in | geomatics@ce.iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, saurabh.vijay@ce.iitr.ac.in
Field Spectroradiometer (SVC) | SVC | Geospatial Lab | Spectra Vista Corporation | HR-1024i | 3009 | SRIC Funds |  | SMILE Project (IITR/SRIC/96/SMILE) | Field Spectroradiometer with spectral range of (350 nm - 2500 nm), 4 deg FOV fore optic | Civil Engineering |  | 49,19,844/- | http://spectravista.com/instruments/hr-1024i/ | DOWN | Remote Sensing and Optical Measurement |  |  |  | Spectra Vista Corporation | svcinfo@spectravista.com | Geospatial group, Deptt. of Civil Engineering | geomatics@ce.iitr.ac.in | geomatics@ce.iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, saurabh.vijay@ce.iitr.ac.in
Unmanned Aerial Vehicles (UAV) | UAV | Geospatial Lab | Aibotix GmbH | Aibotix X6v2 RTK | 818288 | SRIC Funds |  | SMILE Project (IITR/SRIC/248/SMILE) | UAV for thermal and optical R/S with following items …. 1. Aibot X6v2 version- RTK capable GNSS system 2. Digital compact camera 3. Thermal sensor with RGB camera | Civil Engineering |  | 44,26,048/- | www.aibotix.com/en/ | DOWN | Data collection and Analysis |  |  |  | Aibotix GmbH | info@aibotix.com | Geospatial group, Deptt. of Civil Engineering | geomatics@ce.iitr.ac.in | geomatics@ce.iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, saurabh.vijay@ce.iitr.ac.in
3D Laser Scanner | TLS | Geospatial Lab | FARO | FARO Focus 3D S350 plus Laser Scanner | LLS082119446 | DDF Grant |  |  | Terrestial 3D Laser Scanner (with accessories) | Civil Engineering |  | 44,99,985/- | www.faro.com | UP | Surveying and Geospatial technology |  |  |  | GEOSYSTEMS & SURVEY SOFTWARES Pvt. Ltd. | yash@geosystemsindia.com | Geospatial group, Deptt. of Civil Engineering | geomatics@ce.iitr.ac.in | geomatics@ce.iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, saurabh.vijay@ce.iitr.ac.in
Lieca Smart Station | LSS | Geospatial Lab | Lieca Geosystems | Leica Total Station Viva GS16 | 1018 | CWC-1130-HYD |  |  | Automated total station with wide angle camera, Powersearch & reflector less EDM R2000 for M560, R2000 and Leica GPS Model GS16 | Civil Engineering |  | 51,53,837/- | www.leica-geosystems.com | UP | Surveying and Geospatial technology |  |  |  | Leica Geosystems AG | info@leica-geosystems.com | Geospatial group, Deptt. of Civil Engineering | geomatics@ce.iitr.ac.in | geomatics@ce.iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, saurabh.vijay@ce.iitr.ac.in
Cyclic Cum Static Rock Triaxial Testing System | SRTT | Geotechnical Engg. Lab | HEICO | HR72.550 | H-0818 | DST & OBC Grant |  |  | To conduct Triaxial Test, Unconfined, Indirect Tensile and Creep Tests on Rock specimen Ex to Nx size. Capacity; Axial Load: 2000 kN, Confining Pressure: 100 MPa | Civil Engineering |  | 50,64,300/- | www.heico.com | UP | Geotechnical Testing |  |  |  | HEICO | info@heicoin.com | Geotechnical Engg. | neeraj.mce2018@iitr.ac.in | neeraj.mce2018@iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, kaustav.chatterjee@ce.iitr.ac.in
Servo Controlled Large Direct Shear Testing Equipment | DST | Geotechnical Engg. Lab | HEICO | HR72.360 | H201109 | DST & OBC Grant |  |  | To determine the Shear Strength Characteristic of the Soil-Bolder Matrix and Rock fill material. Capacity; Normal Load: 1500 kN, Shear Load: 2000 kN, Shear Box Size: 750 x 750 x 1000 mm | Civil Engineering |  | 68,19,019/- | www.heico.com | UP | Geotechnical Testing |  |  |  | HEICO | info@heicoin.com | Geotechnical Engg. | neeraj.mce2018@iitr.ac.in | neeraj.mce2018@iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, kaustav.chatterjee@ce.iitr.ac.in
Polyaxial Test Apparatus | PTA | Geotechnical Engg. Lab | APS Wille Geotechnik | Not available | 0107-TT100-1/001 | MHR & CED/JNG |  |  | To study the effect of intermediate principle stress on the compressive strength of rock. Max stress upto 600 MPa, Specimen size: 100 x 100 mm | Civil Engineering |  | EUR 360,250/- | www.wille-geotechnik.com | UP | Geotechnical Testing |  |  |  | APS Wille Geotechnik | info@wille-geotechnik.com | Geotechnical Engg. | neeraj.mce2018@iitr.ac.in | neeraj.mce2018@iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, kaustav.chatterjee@ce.iitr.ac.in
Rowe Cell Testing System | RCTS | Geotechnical Engg. Lab | VJ Tech | VJT0640-252 | Not available | DDF |  |  | To measure consolidation and permeability characteristics of soil with a fast consolidation rate and controlled drainage. Sample size: H 90 x D 250 mm, BP: 1000 kPa, CP: 1000 kPa | Civil Engineering |  | 38,35,411/- | www.vjtech.co.uk | UP | Geotechnical Testing |  |  |  | ZS Infratest llP, | contact@infratestindia.com | Geotechnical Engg. | neeraj.mce2018@iitr.ac.in | neeraj.mce2018@iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, kaustav.chatterjee@ce.iitr.ac.in
Rock Triaxial | RT | Geotechnical Engg. Lab | Controls | 32-C7022/RCK | 23700845 | PLAN |  |  | To conduct Triaxial and Unconfined test on Rock specimen Bx to Nx size. Capacity; Axial Load: 3000 kN, Confining Pressure: 70 MPa | Civil Engineering |  | 49,14,366/- | www.chirayugroup.in | UP | Geotechnical Testing |  |  |  | Chir-Ayu Controls | sales@chirayugroup.in | Geotechnical Engg. | neeraj.mce2018@iitr.ac.in | neeraj.mce2018@iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, kaustav.chatterjee@ce.iitr.ac.in
Miniature Laser Doppler Velocimeter | Mini LDV | Hydraulics Lab | Measurenment Science Enterprise,INC; USA | miniLDV-G5-240-FSA; HSML 3M 250/10M FSA; | S/N: N00508 | Plan Grant |  |  | miniLDV-G5 probe including frequency shifting, 240mm standoff, processing Engine and sensor drive, 3 MHz APD bandwidth | Civil Engineering |  | 32,40,869/- | https://measurementsci.com/products/minildv-products/ | UP | Fluid Mechanics and Flow Measurement |  |  |  | Nanotek Instruments | sales@nanotek.co.in | Nanotek Instruments | sales@nanotek.co.in | pratap.mce@iitr.ac.in, priya.mce@iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, c.ojha@ce.iitr.ac.in
Ground Water Magnetic Resonance Instrument | GMR | Hydraulics Lab | Vista clara Inc., USA | Model: GMR540VDCDC012 | S/N: GMR540VDCDC012 | Plan Grant |  |  | GMR, 4-channel surface NMR instrument with complete instrumentation and software to perform 1-D magnetic resonance sounding and inversion | Civil Engineering |  | 1,30,00,000/- | https://www.vista-clara.com/products/gmr-surface-nmr-tools/ | UP | Geophysical and Hydrogeological Exploration Tool |  |  |  | PAN India Consultants Pvt. Ltd. | paie@panindiagroup.com | PAN India Consultants Pvt. Ltd. | paie@panindiagroup.com | pratap.mce@iitr.ac.in, priya.mce@iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, c.ojha@ce.iitr.ac.in
Earth Resistivity Meter | ERM | Hydraulics Lab | LGM Lippmann, Germany | 4 Point Light 10 W; RS232 | S/N: RS232 | Plan Grant |  |  | Earth Resistivity meter for ground water prospecting, surface geophysics, Archaeology; Standalone tomography mode;Software GEOTEST for data acquisition and control of instrument; Software RES2DINV | Civil Engineering |  | 27,82,500/- | https://groundwaterimaging.com.au/products/electrical-resistivity-tomography/lippmann-earth-resistivity-meter | UP | Geophysical |  |  |  | PAN India Consultants Pvt. Ltd. | paie@panindiagroup.com | PAN India Consultants Pvt. Ltd. | paie@panindiagroup.com | pratap.mce@iitr.ac.in, priya.mce@iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, c.ojha@ce.iitr.ac.in
MicroS(Micro-optical sublayer profile meter & shear stress sensor) | MicroS | Hydraulics Lab | Measurenment Science Enterprise,INC; USA | Model: microPRO | S/N: MP242 | CWC-1130-HYD |  |  | Mounted miniLDV probe body Integrated 130 mW laser diode, 660 nm wavelength Micro Translation stage Traverse controller, 3 meter protected cable, micropro Processing Engine consist of Photodetector DC to 2 MHz, computer controlled bandpass filters, Automated traversing controller, microProTM acquisition and processing software, Power Supply 12 VDC | Civil Engineering |  | 39,00,710/- | https://measurementsci.com/products/micros/ | UP | Fluid Dynamics and Surface Characterization |  |  |  | Nanotek Instruments | sales@nanotek.co.in | Nanotek Instruments | sales@nanotek.co.in | pratap.mce@iitr.ac.in, priya.mce@iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, c.ojha@ce.iitr.ac.in
PIV(Particle Image Velocimetry) | PIV | Hydraulics Lab | Dantec Dynamics | BS EN 60825-1:2007 | S/N 90224/0148 | CWC-1130-HYD |  |  | Dual Power 50-100 Laser, 100 Hz, 50 mJ@532nm, Laser Sheet Optics light guide Arm & Base, Camera Filter Narrow Band( 52 and 62 mm Thread), 532 nm for Nikon lenses(52 and 62 mm thread),Synchronizer, Timing Hub 8 outputs, 2 Inputs USB. | Civil Engineering |  | 1,00,97,078/- | https://www.dantecdynamics.com/solutions/fluid-mechanics/particle-image-velocimetry-piv/ | UP | Fluid Mechanics and Optical Measurement |  |  |  | Jost's Engineering Company Limited | akpatidar@josts.in | Jost's Engineering Company Limited | akpatidar@josts.in | pratap.mce@iitr.ac.in, priya.mce@iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, c.ojha@ce.iitr.ac.in
Acoustic Doppler Velocimeter (ADV) | ADV | Hydraulics Lab | Sontek(Xylen Inc.) USA | SonTek FlowTracker2 Handheld-ADV | S/N: REV J_FT2P2213008 | Plan Grant |  |  | The SonTek FlowTracker2 handheld Acoustic Doppler Velocimeter (ADV®) is a handheld, portable, and precise wading discharge measurement instrument.Acoustic Frequency: 10.0 MHz; Velocity — Range: ±0.001 - 4.0 m/s (±0.003 to 13 ft/s); Velocity — Resolution: 0.0001 m/s (0.0003 ft/s); Velocity — Accuracy: +/1% of measured velocity, +/- 0.25cm/s | Civil Engineering |  | 9,39,949/- | https://www.ysi.com/flowtracker2 | UP | Flow Measurement and Hydrodynamic |  |  |  | ADK Instruments | enquiry@adkinstruments.in | ADK Instruments | enquiry@adkinstruments.in | pratap.mce@iitr.ac.in, priya.mce@iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, c.ojha@ce.iitr.ac.in
Servo Controled Compression Testing Machine, 5000 kN | CTM | Structural Engg. Material Testing Lab | Controls, SRL Italy | C78Z00 | 1301239 | MHR-01-71-105-801 (Plan Grant) |  |  | Compression Testing, Machine operate on both load control as well as displacement control with 100 kn flexural test setup | Civil Engineering |  | 37,27,874/- | info@controls-group.com | UP | Materials Testing |  |  |  | Chir Ayu Controls, Vadodara Gujraat | sales@chirayugroup.in | Chir Ayu Controls, Vadodara Gujraat | sales@chirayugroup.in | strengg@ce.iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, umesh.sharma@ce.iitr.ac.in
Acoustic Emission System With Sensor | AE | Structural Engg. Material Testing Lab | M/s Mistras Group, USA |  | 70503030419 | Plan Grant |  |  | Measure the micro cracks profiles and energy release pattern | Civil Engineering |  | 28,14,588/- | www.mistasgroup.com | UP | Non-Destructive Testing (NDT) |  |  |  | Physical Acoustics India Pvt. Ltd., Thane West, Maharashtra | vnrao@mistrasindia.in | Physical Acoustics India Pvt. Ltd., Thane West, Maharashtra | vnrao@mistrasindia.in | strengg@ce.iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, umesh.sharma@ce.iitr.ac.in
500 kN Fatigue Testing Machine | FTM | Structural Engg. Fatigue and Fracture Lab | ITW India Pvt. Ltd., Banglore | UT-05-0500 | CC.2701 | SMILE-2018-019-CED |  |  | Low & High Frequency Fatigue Test Both Compression & Testion as well as Flexural | Civil Engineering |  | 2,48,62,559/- | sales.india@instron.com | UP | Materials Testing |  |  |  | ITW India Pvt. Ltd, Bangalore | sales.india@instron.com | ITW India Pvt. Ltd, Bangalore | sales.india@instron.com | strengg@ce.iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, umesh.sharma@ce.iitr.ac.in
Universal Testing Machine, 25 kN Twin Column | UTM | Structural Engg. Material Testing Lab | Tinius Olsen | 25 ST | ST-AF-02060GB | SER-1597-CED & FIG-100868 |  |  | Pull Out Testing, Compression Testing | Civil Engineering |  | 28,57,466/- | www.aimil.com | UP | Materials Testing |  |  |  | Aimil ltd., Naimex House, A-8, Mohan Co-operative Estate, Mathura Road, New Delhi | info@aimil.com | Aimil ltd., Naimex House, A-8, Mohan Co-operative Estate, Mathura Road, New Delhi | info@aimil.com | strengg@ce.iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, umesh.sharma@ce.iitr.ac.in
Laboratory Scale Concrete 3D Printer | 3DP | Structural Engg. Casting lab | Tvasta Manufacturing Pvt. Ltd., Chennai |  | NRD2210102 | DDF Grant |  |  | 3D Printing of different type of concrete specimen | Civil Engineering |  | 44,39,400/- | info@tvastagroup.in | UP | Additive Manufacturing and Construction Technology |  |  |  | Tvasta Manufacturing Solutions Pvt. Ltd., Chennai | info@tvastagroup.in | Tvasta Manufacturing Solutions Pvt. Ltd., Chennai | info@tvastagroup.in | strengg@ce.iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, umesh.sharma@ce.iitr.ac.in
PXLe High Frequency Oscilloscope Module | OM | Structural Engg. SHPB lab | Nexus Engiconsults Pvt. Ltd., Ghazaiabad | 1078 | 3045C62 | OH-35-71-105 |  |  | Strain Measurement at high stress | Civil Engineering |  | 28,02,287/- | https://www.nex-india.com | UP | Electronic Measurement and Testing Instruments |  |  |  | Nexus Engiconsults Pvt. Ltd., Indirapuram Ghaziabad | mail@nex-india.com | Nexus Engiconsults Pvt. Ltd., Indirapuram Ghaziabad | mail@nex-india.com | strengg@ce.iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, umesh.sharma@ce.iitr.ac.in
Servo Controled Actuator (250 kN, 500 kN & 1000 kN) | SCA | Structural Engg. Heavy Test Lab.-1 | MTS System Corp. USA | 661.22D-01-250 kN 661.23F-01-500 kN 661.31F-01-1000 kN | 10402099D-250 kN 10400207A-500 kN 10394143-1000 kN | MHR-01-71-105-801 (Plan Grant) and DST-149-CED |  |  | Axial & Dynamic Test at different speeds | Civil Engineering |  | 3,03,72,062/- | https://www.mts.com/en | DOWN | Materials Testing |  |  |  | MTS Testing Solutions India Pvt Ltd. No. 38, Ground Floor, Donata Radiance, 1st Cross, Tavarekere Main Road, DRC Post, Krishna Nagar Industrial Layout, Koramangala, Bengalouru | mts.india@mts.com | MTS Testing Solutions India Pvt Ltd. No. 38, Ground Floor, Donata Radiance, 1st Cross, Tavarekere Main Road, DRC Post, Krishna Nagar Industrial Layout, Koramangala, Bengalouru | mts.india@mts.com | strengg@ce.iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, umesh.sharma@ce.iitr.ac.in
VIC 3D Image Corelation Systems | DIC | Structural Engg. Heavy Test Lab.-1 | M/s Correlated Solution Inc., USA |  | VZ19-1111 | MHR-01-71-105-801 (Plan Grant) |  |  | Stress & Strain Analysis with Image Correlation System | Civil Engineering |  | 41,14,816/- | https://www.correlatedsolutions.com/ | UP | Optical Measurement and Strain Analysis Technology |  |  |  | M/s Correlated Solution Inc., USA | sales@correlatedsolutions | Pyrodynamics, Plot 272, Rd No 2, KIADB Industrial Area Phase 2, Harohalli, Kanakapura Taluk, Ramanagara Dist, Bengaluru, Karnataka - 562112 | info@pyrodynamicsindia.com | strengg@ce.iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, umesh.sharma@ce.iitr.ac.in
INSTRON Universal Testing Machine 2500kN | UTM 2500kN | Structural Engg. Heavy Test Lab.-1 | INSTRON Ltd. ENGLAND |  | 2791405 | MHR-01-71-105-801 (Plan Grant) |  |  | Compression, Tensile & Flexural Test | Civil Engineering |  | 1,94,36,918/- | https://www.instron.com/en/ | DOWN | Materials Testing |  |  |  | Instron India. Bangalore Office. No. 497E. 14th Cross. 4th Phase, Peenya Industrial Area. Bangalore | Rashmi_Adiga@instron.com | Instron India. Bangalore Office. No. 497E. 14th Cross. 4th Phase, Peenya Industrial Area. Bangalore | Rashmi_Adiga@instron.com | strengg@ce.iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, umesh.sharma@ce.iitr.ac.in
High Performance Calorimeter | HPC | Structural Engg. New Chemical Lab | Calmetrix, USA | i-cal-4000 | CM10171221 | MHR-02-22-105-412 |  |  | Heat of Hydration of Cement | Civil Engineering |  | 24,90,074/- | https://www.calmetrix.com/ | UP | Thermal Analysis Instruments |  |  |  | Calmetrix, USA | support@calmetrix.com | Mr. Pratik Bhayani | pbhayani@calmetrix.com | strengg@ce.iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, umesh.sharma@ce.iitr.ac.in
5000 kN Capacity Servo Controlled Compression Testing Machine | CTM | Structural Engg. ICCTBR | HEICO, New Delhi | HCA592.502-4P | K13250821 | MLE-001-TRC |  |  | Compression Testing, Machine operate on both load control as well as displacement control with 300 kn flexural test setup | Civil Engineering |  | 49,12,144/- | https://heicoin.com/ | UP | Materials Testing |  |  |  | HEICO, A-13, Naraina Industries Area, Ph-II, New Delhi | info@heicoin.com | HEICO, A-13, Naraina Industries Area, Ph-II, New Delhi | info@heicoin.com | strengg@ce.iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, umesh.sharma@ce.iitr.ac.in
High Speed Framing Camera | HSFC | Structural Engg. ICCTBR | Phantom, USA | PHANTOM | VR0814 | MLE-001-TRC |  |  | High Speed Video Recording | Civil Engineering |  | 40,83,750/- | https://www.phantomhighspeed.com/ | UP | High-speed Imaging and Motion Analysis |  |  |  | AMETEK Instruments India Pvt. Ltd., 3rd & 4th Floor, Block 1, Bhoruka Tech Park, Mahadevapura Industrial Area, Hoodi, Ward No. 1, Krishnarajpuram Hobli, Bangalore - 560048 | Jayaraj.Balasubramanian@ametek.com | AMETEK Instruments India Pvt. Ltd., 3rd & 4th Floor, Block 1, Bhoruka Tech Park, Mahadevapura Industrial Area, Hoodi, Ward No. 1, Krishnarajpuram Hobli, Bangalore - 560048 | Jayaraj.Balasubramanian@ametek.com | strengg@ce.iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, umesh.sharma@ce.iitr.ac.in
500 kN Sevo Controlled Universal Testing Machine | UTM | Structural Engg. ICCTBR | HEICO, New Delhi | HLC-591.25 | 4279 | MLE-001-TRC |  |  | Compression and Tensile Testing | Civil Engineering |  | 36,61,875/- | https://heicoin.com/ | UP | Materials Testing |  |  |  | HEICO, A-13, Naraina Industries Area, Ph-II, New Delhi | info@heicoin.com | HEICO, A-13, Naraina Industries Area, Ph-II, New Delhi | info@heicoin.com | strengg@ce.iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, umesh.sharma@ce.iitr.ac.in
Dynamic Data Logger | DDL | Structural Engg. ICCTBR | National Instruments, Malaysia | NI-Pxle-1078 | 3045C62 | MLE-001-TRC |  |  | High Strain Data Recording System | Civil Engineering |  | 25,68,005/- | www.ni.com | UP | Data collection and Analysis |  |  |  | Nexus Engiconsults Pvt. Ltd., A-115, II Floor, Vikas Marg, Shakarpur, New Delhi | mail@nex-india.com | Nexus Engiconsults Pvt. Ltd., A-115, II Floor, Vikas Marg, Shakarpur, New Delhi | mail@nex-india.com | strengg@ce.iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, umesh.sharma@ce.iitr.ac.in
Column Fire Furnace | CFF | Structural Engg Fire Lab | Gayatri Enterprises, Avas Vikas Roorkee |  | TH/MAS-1/42 | MHR-01-71-105-801 |  |  | Axial Compression Test with Fire Testing facility | Civil Engineering |  | 8,05,000/- |  | UP | Fire Testing Equipment for Material |  |  |  | Gayatri Enterprises, Avas Vikas Roorkee |  | Gayatri Enterprises, Avas Vikas Roorkee |  | strengg@ce.iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, umesh.sharma@ce.iitr.ac.in
Beam Fire Furnace | BFF | Structural Engg Fire Lab | Gayatri Enterprises, Avas Vikas Roorkee |  | TH/MAS-1/43 | MHR-01-71-105-801 |  |  | Bending & Flexural Test with Fire Testing facility | Civil Engineering |  | 14,75,000/- |  | DOWN | Fire Testing Equipment for Material |  |  |  | Gayatri Enterprises, Avas Vikas Roorkee |  | Gayatri Enterprises, Avas Vikas Roorkee |  | strengg@ce.iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, umesh.sharma@ce.iitr.ac.in
Bending Beam Fatigue Test Machine | FTM | Pavement Test Hall Ground Floor | M/s James Cox and Sons Inc., P.O. box 674, 10854 Alpineway, Colfax CA 95713, USA | 1544-01 | 846250000 | Project Grant |  | DST-419-CED |  | Civil Engineering |  | 2798716 | https://www.jamescoxandsons.com | DOWN | Materials Testing |  |  |  | James Cox & Sons | info@jamescoxandsons.com |  |  | guru.mce@iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, satish.chandra@ce.iitr.ac.in
Falling Weight Deflectometer | FWD | Out Side the Transportation Engineering Laboratory on Road | M/s Geotran, D-17, Industrial Estate, Roorkee 247 667 | GTFWD-V | UK08CA4162 | Plan Grant |  | MHR01-71-105-801 |  | Civil Engineering |  | 3720675 | https://www.geotran.in | UP | Geotechnical and Pavement Testing |  |  |  | Geotran | sales@geotran.in | Geotran | sales@geotran.in | guru.mce@iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, satish.chandra@ce.iitr.ac.in
Low Frequency Ultrasonic Tomographic for Imaging of Concrete Structure | UT | Material Testing Laboratory | M/s Chir-Ayu Controls Pvt. Ltd., 4 Golden Apartment, Subhanpura, Vadodara-390023 | A1040 MIRA | 314271 | Plan Grant |  | OH-35-70-105-809 |  | Civil Engineering |  | 4780325 |  | UP | Non-Destructive Testing (NDT) |  |  |  | Chir Ayu Controls | shailesh.chauhan1@gmail.com | Chir Ayu Controls | shailesh.chauhan1@gmail.com | guru.mce@iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, satish.chandra@ce.iitr.ac.in
Resilient Modulus Tester with Air compressor | RMT | Pavement Test Hall Ground Floor | M/s Chir-Ayu Controls Pvt. Ltd., 4 Golden Apartment, Subhanpura, Vadodara-390023 | AT0700ZM00 | 129350 | Plan Grant |  | OH-35-70-105-809 |  | Civil Engineering |  | 3011929 |  | UP | Geotechnical Testing |  |  |  | Chir Ayu Controls | shailesh.chauhan1@gmail.com | Chir Ayu Controls | shailesh.chauhan1@gmail.com | guru.mce@iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, satish.chandra@ce.iitr.ac.in
WLB10s + WLM 30 Laboratory Scale Foamed Bitumen Plant + Mixing Unit | BP | Pavement Test Hall Ground Floor | M/s Wirtgen GmbH, Reinhard Wirtgen Strasse Street 2-53578 Windhagen, Germany | WLB1OS | 02SA0169 | SRIC Funds |  | IITR/SRIC/99/SMILE-09-809 |  | Civil Engineering |  | 3642231 | https://www.wirtgen-group.com | UP | Asphalt and Bitumen Processing |  |  |  | Wirtgen India Pvt. Ltd. | info@wirtgen.de | Wirtgen India Pvt. Ltd. | info@wirtgen.de | guru.mce@iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, satish.chandra@ce.iitr.ac.in
Superpave Gyratory Compactor | SGC | Pavement Test Hall Ground Floor | M/s Controls SPA 2/4 VIA Salvo D'acquisto 20060 Liscate-Milan, Italy |  |  | Plan Grant |  | OH-35-71-105-809 |  | Civil Engineering |  | 2581956.2 | https://controls-group.com | DOWN | Asphalt and Pavement Testing |  |  |  | Controls | controls@controls.it | Chir Ayu Controls | shailesh.chauhan1@gmail.com | guru.mce@iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, satish.chandra@ce.iitr.ac.in
Wearable and Remote Eye Tracker (Hardware & Software) | RET | Almira | M/s Sanki Machine Tools (India) Pvt. Ltd., 301/302 Deepali Darshan, Japrakash Nagar Road No. 5 , Goregaon (E) Mumbai | Glasses 2 RU | TG03B-080202002571 | Plan Grant |  | OH-35-71-105-809 |  | Civil Engineering |  | 4000000 | https://www.sankimachinetools.com | UP | Eye Tracking Technology and Human-Computer Interaction |  |  |  | Sanki Machine & Tools | sales@sankimachinetools.com | Sanki Machine & Tools | sales@sankimachinetools.com | guru.mce@iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, satish.chandra@ce.iitr.ac.in
Projector Based Pedestrian Simulator | PBPS | Simulator Laboratory 2nd Floor Transportation Engineering Group | M/s Viswire Simulation & Training Pvt. Ltd., Door No. 43 A, 19th Street, Sri Krishna Nagar, Maduravoyal, Chennai | ELITE2 | v04010248 | DDF-CED |  |  |  | Civil Engineering |  | 4488750 |  | UP | Traffic and Pedestrian Behavior Analysis |  |  |  | Vishwire Simulator | iswaran@viswire.com | Vishwire Simulator | iswaran@viswire.com | guru.mce@iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, satish.chandra@ce.iitr.ac.in
Connected Simulator Setup | CSS | Simulator Laboratory 2nd Floor Transportation Engineering Group | M/s Viswire Simulation & Training Pvt. Ltd., Door No. 43 A, 19th Street, Sri Krishna Nagar, Maduravoyal, Chennai | RSEATHFL4 | 001/IITR/22-23 | SRIC Funds |  | SMILE-2022-21-CED |  | Civil Engineering |  | 16472800 |  | UP | Simulation and Training Systems |  |  |  | Vishwire Simulator | iswaran@viswire.com | Vishwire Simulator | iswaran@viswire.com | guru.mce@iitr.ac.in, head@ce.iitr.ac.in, adci@iitr.ac.in, satish.chandra@ce.iitr.ac.in
Driving Simulator
(a) Cab with motion plate form |  |  |  |  | RSEAT-HF-009-L4
(b) 65” LED Display
(c) VR Head Set 360 View
(d) Surround Sound System
(e) Simulator PC
(f) Eye Tracker
(g) Body Sensor
(h) Controllers
(i) Tracers
(j) Bike Simulator |  |  |  |  | RSEAT-HF-010-L4
(k) Bicycle Simulator |  |  |  |  | 11876CE
(l) Uniline UPS with 30 battery

## Sheet2 (hidden)
Common |  | Not Common
Total Organic Carbon Analyzer | Environmental | Acoustic Doppler Velocimeter (ADV) | Hydraulics
Atomic Absorption Spectrophotometer | Environmental | Beam Fire Furnace | Structural
Gas Chromatograph Mass Spectrometer | Environmental | Collector 18 | Environmental
Ion Chromatograph | Environmental | Column Fire Furnace | Structural
Burris Gravity Meter | Geospatial | Portable Aerosol Spectrophotometer (PAS) | Environmental
Field Spectroradiometer (SVC) | Geospatial
Unmanned Aerial Vehicles (UAV) | Geospatial
Miniature Laser Doppler Velocimeter | Hydraulics
Ground Water Magnetic Resonance Instrument | Hydraulics
Servo Controled Compression Testing Machine, 5000 kN | Structural
Servo Controled Actuator (250 kN, 500 kN & 1000 kN) | Structural
VIC 3D Image Coreletion Systems | Structural
INSTRON Universal Testing Machine 2500kN | Structural
High Speed Framing Camera | Structural