## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
3D Printing machine |  | CoE Additive Manufacturing Lab | 3D Systems | Figure 4 stand alone | 1090F-444704 | Others | Govt. of india |  |  |  |  | 2000000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
3D Scanner Body |  | CoE Additive Manufacturing Lab | Shining 3D | EinscanHX | Ein Scan HX | Others | Govt. of india |  |  |  |  | 300000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
SINUMERIK 808D Turning Training kit- T1 |  | CoE- CNC Controller Lab | Siemens | SINUMERIK 808D ADVANCED | SZVN8XAC002449 | Others | Govt. of india |  |  |  |  | 300000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
SINUMERIK 808D Turning Training kit- T2 |  | CoE- CNC Controller Lab | Siemens | SINUMERIK 808D ADVANCED | SZVN8XAC002450 | Others | Govt. of india |  |  |  |  | 300000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
SINUMERIK 808D Milling Training kit- M1 |  | CoE- CNC Controller Lab | Siemens | SINUMERIK 808D ADVANCED | SZVN0XAB001826 | Others | Govt. of india |  |  |  |  | 300000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
SINUMERIK 808D Milling Training kit- M2 |  | CoE- CNC Controller Lab | Siemens | SINUMERIK 808D ADVANCED | SZVN0XAB001825 | Others | Govt. of india |  |  |  |  | 300000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
SINUMERIK 840DSL Training kit |  | CoE- CNC Controller Lab | Siemens | Customized Training Kit | Customized Training Kit | Others | Govt. of india |  |  |  |  | 1185000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
SINUTRAIN Software Version 4.8 |  | CoE- CNC Controller Lab | Siemens | Not applicable | Not applicable | Others | Govt. of india |  |  |  |  | 200000 | [7 empty] | mbhargava@nitttrbpl.ac.in
S7 1200 Test kit |  | CoE- Industrial Automation Lab | Siemens | Customized Training Kit | N3AW5718 | Others | Govt. of india |  |  |  |  | 500000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
S7 1200 Test kit |  | CoE- Industrial Automation Lab | Siemens | Customized Training Kit | N3AW5737 | Others | Govt. of india |  |  |  |  | 500000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
S7 1200 Test kit |  | CoE- Industrial Automation Lab | Siemens | Customized Training Kit | N3AW5759 | Others | Govt. of india |  |  |  |  | 500000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
S7 1200 Test kit |  | CoE- Industrial Automation Lab | Siemens | Customized Training Kit | N3AW4511 | Others | Govt. of india |  |  |  |  | 500000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
S7 1200 Test kit |  | CoE- Industrial Automation Lab | Siemens | Customized Training Kit | N3AW5787 | Others | Govt. of india |  |  |  |  | 500000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
S7 1200 Test kit |  | CoE- Industrial Automation Lab | Siemens | Customized Training Kit | N3AW4600 | Others | Govt. of india |  |  |  |  | 500000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
S7 1500 Test kit |  | CoE- Industrial Automation Lab | Siemens | Customized Training Kit | N2HJ9618 | Others | Govt. of india |  |  |  |  | 500000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
Siemens Software- TIA Portal |  | CoE- Industrial Automation Lab | Siemens | Not applicable | Not applicable | Others | [5 empty] | 100000 | [7 empty] | mbhargava@nitttrbpl.ac.in
Siemens Software- SCADA |  | CoE- Industrial Automation Lab | Siemens | Not applicable | Not applicable | Others | [5 empty] | 2000000 | [7 empty] | mbhargava@nitttrbpl.ac.in
Feeding Station Kit |  | CoE- Mechatronics Lab | Siemens | Customized Training Kit | E0-DC-A0-A9-C8-A9 | Others | Govt. of india |  |  |  |  | 2000000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
Quality Checking Station Kit |  | CoE- Mechatronics Lab | Siemens | Customized Training Kit | AC-64-17-02-38-C0 | Others | Govt. of india |  |  |  |  | 2000000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
Buffer Station Kit |  | CoE- Mechatronics Lab | Siemens | Customized Training Kit | AC-64-17-02-37-DE | Others | Govt. of india |  |  |  |  | 2000000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
Processing Station Kit |  | CoE- Mechatronics Lab | Siemens | Customized Training Kit | E0-DC-A0-55-84-8C | Others | Govt. of india |  |  |  |  | 2000000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
Sorting Station Kit |  | CoE- Mechatronics Lab | Siemens | Customized Training Kit | AC-64-17-02-3C-27 | Others | Govt. of india |  |  |  |  | 2000000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
Complete Station (MAP system with All Five station-Feeding Station Kit,Quality Checking Station Kit,Buffer Station Kit,Processing Station Kit,Sorting Station Kit) |  | CoE- Mechatronics Lab | Siemens | Customized Training Kit | E0-DC-A0-E4-10-7D,E0-DC-A0-E4-0E-F5,AC-64-17-02-38-43,E0-DC-A0-E4-10-05,E0-DC-A0-E4-0F-A9 | Others | Govt. of india |  |  |  |  | 2000000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
Radar Level Measurement |  | CoE- Process Instrumentation Lab | Siemens | SITRANS LR560 | 7ML54400GA000AA2 | Others | Govt. of india |  |  |  |  | 500000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
Ultrasonic Level Transmitter |  | CoE- Process Instrumentation Lab | Siemens | SITRANS Probe LU | 7ML52212BA21 | Others | Govt. of india |  |  |  |  | 150000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
Point level measurement — Capacitance switches Siemens (Digital) |  | CoE- Process Instrumentation Lab | Siemens | POINTEK CLS200 | 7ML5640-0AA01-1KA0 | Others | Govt. of india |  |  |  |  | 150000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
Smart Electropneumatic Positioner |  | CoE- Process Instrumentation Lab | Siemens | SIPART PS2 | 6DR5120-0NN00-0AA4 | Others | Govt. of india |  |  |  |  | 250000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
Point Pressure Transmitter |  | CoE- Process Instrumentation Lab | Siemens | SITRANS P300 | 7MF8024-1SA14-1AB6 | Others | Govt. of india |  |  |  |  | 125000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
Flow Transmitter |  | CoE- Process Instrumentation Lab | Siemens | FC MASS 6000 |  | Others | Govt. of india |  |  |  |  | 200000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
Ultrasonic Flow Transmitter |  | CoE- Process Instrumentation Lab | Siemens | SITRANS FUS060 | 7ME3050-2BA10-1BA1 | Others | Govt. of india |  |  |  |  | 250000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
SITRANS P320 Pressure transmitter Differential pressure |  | CoE- Process Instrumentation Lab | Siemens | SITRANS P320 | 7MF0340-1GM01-5AM2-Z | Others | Govt. of india |  |  |  |  | 180000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
Ultrasonic Flow Sensor |  | CoE- Process Instrumentation Lab | Siemens | FUS SONO 3300 | 7ME3300-1AH10-1NB0 | Others | Govt. of india |  |  |  |  | 200000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
Magnetic Flow Transmitter |  | CoE- Process Instrumentation Lab | Siemens | SITRANS FM MAG 5000 | 7ME69101AA301AA0 | Others | Govt. of india |  |  |  |  | 200000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
Coriolis Flow Sensor |  | CoE- Process Instrumentation Lab | Siemens | SITRANS F C MASS 2100 | 7ME4100-1AD11-1AB1 | Others | Govt. of india |  |  |  |  | 250000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
Field Device Coupler (Profibus connected to CP5711 with USB cable) And Power supply |  | CoE- Process Instrumentation Lab | Siemens | SIMATIC S7 IP 6ES7 157-0AC85-0XA0 | 6ES7 307-1EA01 0AA0 | Others | Govt. of india |  |  |  |  | 150000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
RTD PT-100 with SITRANS TH300 |  | CoE- Process Instrumentation Lab | Siemens | SITRANS TH300 | YSN/K5002695 | Others | Govt. of india |  |  |  |  | 50000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
Communication Processor CP5711 |  | CoE- Process Instrumentation Lab | Siemens | CP5711 | SVPN20258703 | Others | Govt. of india |  |  |  |  | 80000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
HART MODEM |  | CoE- Process Instrumentation Lab | Siemens | HM-MT-USB-SIEMENS-010033 | 40000113540295 | Others | Govt. of india |  |  |  |  | 50000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
Load cell Honeywell Humidity Sensor kit |  | CoE- Process Instrumentation Lab | Siemens | Customized Training Kit |  | Others | Govt. of india |  |  |  |  | 1500000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
S7-400 PCS7 kit |  | CoE- Process Instrumentation Lab | Siemens | Customized Training Kit |  | Others | Govt. of india |  |  |  |  | 1500000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
Simatic Manager PCS 7 V9.0 Software |  | CoE- Process Instrumentation Lab | Siemens | Not Apllicable | Not Apllicable | Others | Govt. of india |  |  |  |  | 7200000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
Type -II Co-ordination kit |  | CoE- Electrical and Energy Studies Lab | Siemens | Customized Training Kit | 3RT2015-1AP01 | Others | Govt. of india |  |  |  |  | 300000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
Energy saving kit1 |  | CoE- Electrical and Energy Studies Lab | Siemens | Customized Training Kit | V-N6B33727 | Others | Govt. of india |  |  |  |  | 500000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
Energy saving kit2 |  | CoE- Electrical and Energy Studies Lab | Siemens | Customized Training Kit | V-N6B09277 | Others | Govt. of india |  |  |  |  | 500000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
Air Circuit Braker(3WT) |  | CoE- Electrical and Energy Studies Lab | Siemens | Customized Training Kit | 3WT81210AA030RB8 | Others | Govt. of india |  |  |  |  | 100000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
Air Circuit Braker(3WL) |  | CoE- Electrical and Energy Studies Lab | Siemens | Customized Training Kit | 3WA8110-3AA32-1BG1 | Others | Govt. of india |  |  |  |  | 200000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
MCCB(3VT) |  | CoE- Electrical and Energy Studies Lab | Siemens | Customized Training Kit | 3VT2725-2AA36-0AA0 | Others | Govt. of india |  |  |  |  | 50000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
MCCB(3VA) |  | CoE- Electrical and Energy Studies Lab | Siemens | Customized Training Kit | 3VA2225-5HL32-0AA0 | Others | Govt. of india |  |  |  |  | 50000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
Star -Delta kit |  | CoE- Electrical and Energy Studies Lab | Siemens | Customized Training Kit | 3RA2434-8XF32-1AL2 | Others | Govt. of india |  |  |  |  | 40000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
Timer and Relay Kit |  | CoE- Electrical and Energy Studies Lab | Siemens | Customized Training Kit | 3RP15131AP308K | Others | Govt. of india |  |  |  |  | 40000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
Soft starter kit |  | CoE- Electrical and Energy Studies Lab | Siemens | Customized Training Kit | 3RW4422-1BC44 | Others | Govt. of india |  |  |  |  | 100000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
DC Drive |  | CoE- Electrical and Energy Studies Lab | Siemens | Customized Training Kit |  | Others | Govt. of india |  |  |  |  | 1000000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
SINAMIC S-120 with servo motor |  | CoE- Electrical and Energy Studies Lab | Siemens | Customized Training Kit |  | Others | Govt. of india |  |  |  |  | 3000000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
SINAMIC G-120 with 3-phase I.M. |  | CoE- Electrical and Energy Studies Lab | Siemens | Customized Training Kit |  | Others | Govt. of india |  |  |  |  | 3000000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
Siemens PAC 4200 Democase |  | CoE- Electrical and Energy Studies Lab | Siemens | Customized Training Kit |  | Others | Govt. of india |  |  |  |  | 40000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
Circuit Braker |  | CoE- Electrical and Energy Studies Lab | Siemens | Customized Training Kit | 3RV21110AA10 | Others | Govt. of india |  |  |  |  | 30000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
Soft starter |  | CoE- Electrical and Energy Studies Lab | Siemens | Customized Training Kit | 3RW30131BB14 | Others | Govt. of india |  |  |  |  | 2000000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
Welding Robot |  | CoE- Robotics lab | ABB | IRB 2600-12/1.65 | 2600-519137 | Others | Govt. of india |  |  |  |  | 5000000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
Yumi Robot |  | CoE- Robotics lab | ABB | IRB 14000-0.5/0.5 | 14000-502249 | Others | Govt. of india |  |  |  |  | 7500000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
ABB Software- Robot Studio |  | CoE- Robotics lab | ABB | Not applicable | Not applicable | Others | Govt. of india |  |  |  |  | 3000000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
Simcenter SCADAS XS advance V/ICP/TEDS system w/0 table |  | CoE- Simulation, Optimization and Test Lab | Siemens | V/ICP/TEDS system w/0 table | SC-XS12-AL (11212401) | Others | Govt. of india |  |  |  |  | 933535.58 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
PCB 356A02 Triaxial, general purpose ICP accelerometer |  | CoE- Simulation, Optimization and Test Lab | Siemens | PCB 356A02 | 356A02 | Others | Govt. of india |  |  |  |  | 69266.46 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
PCB 010G10 shielded Teflon cable, 4-socket plug to (3) BNC |  | CoE- Simulation, Optimization and Test Lab | Siemens | PCB 010G10 | 010G10 | Others | Govt. of india |  |  |  |  | 19265.94 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
PCB TLD086C03 Modally Tuned Impulse Hammer |  | CoE- Simulation, Optimization and Test Lab | Siemens | PCB TLD086C03 | TLD086C03 | Others | Govt. of india |  |  |  |  | 78362.58 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
PCb 002T10 general purpose coaxial cable, 10 ft, BNC plug |  | CoE- Simulation, Optimization and Test Lab | Siemens | PCb 002T10 | 002T10 | Others | Govt. of india |  |  |  |  | 19265.94 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
PCB 378B02 1/2" free-field prepol microphone |  | CoE- Simulation, Optimization and Test Lab | Siemens | PCB 378B02 1/2" | 378B02 | Others | Govt. of india |  |  |  |  | 102174.41 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
ICP Laser Tachometer 2 |  | CoE- Simulation, Optimization and Test Lab | Modal Shop |  | LT2 SN810 | Others | Govt. of india |  |  |  |  | 258977.49 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
TMS Miniature shaker kit |  | CoE- Simulation, Optimization and Test Lab | Modal Shop | Customized Training Kit | K2007E007 | Others | Govt. of india |  |  |  |  | 3410 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
PCB 003C20 Low-noise, 10-32 coaxial plug to BNC plug |  | CoE- Simulation, Optimization and Test Lab | Siemens | PCB 003C20 | 003C20 | Others | Govt. of india |  |  |  |  | 1731.77 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
Force Sensor PCB 208C02 Multi-purpose, ICP force sensor |  | CoE- Simulation, Optimization and Test Lab | Siemens | PCB 208C02 | SN LW55566 | Others | Govt. of india |  |  |  |  | 61218.06 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
IoT Gateway- 1 |  | CoE- Internet of Things Lab | Siemens | Mindconnect nano | MO956612 | Others | Govt. of india |  |  |  |  | 50000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
IoT Gateway- 2 |  | CoE- Internet of Things Lab | Siemens | Mindconnect nano | MO955763 | Others | Govt. of india |  |  |  |  | 50000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
Siemens software- Siemens insights hub |  | CoE- Internet of Things Lab | Siemens | Not applicable | Not Applicable | Others | Govt. of india |  |  |  |  | 3500000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
Siemens software- Mendix |  | CoE- Internet of Things Lab | Siemens | Not applicable | Not Applicable | Others | Govt. of india |  |  |  |  | 4000000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
NX Academic Perpetual License Core+CAD |  | CoE- Product Design And Validation Lab | Siemens | Not applicable | Not Applicable | Others | Govt. of india |  |  |  |  | 1125000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
NX Academic Perpetual License CAE |  | CoE- Product Design And Validation Lab | Siemens | Not applicable | Not Applicable | Others | Govt. of india |  |  |  |  | 1125000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
Femap with NX Nastran : Basic Educational License |  | CoE- Product Design And Validation Lab | Siemens | Not applicable | Not Applicable | Others | Govt. of india |  |  |  |  | 39800 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
Fibersim for NX Perpetual Academic Bundle |  | CoE- Product Design And Validation Lab | Siemens | Not applicable | Not Applicable | Others | Govt. of india |  |  |  |  | 224736 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
Geolous Academic Bundle |  | CoE- Product Design And Validation Lab | Siemens | Not applicable | Not Applicable | Others | Govt. of india |  |  |  |  | 630000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
Solid Edge University Edition |  | CoE- Product Design And Validation Lab | Siemens | Not applicable | Not Applicable | Others | Govt. of india |  |  |  |  | 200000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
SIMCENTER 3D Academic Bundle |  | CoE- Simulation, Optimization and Test Lab | Siemens | Not applicable | Not Applicable | Others | Govt. of india |  |  |  |  | 2490000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
TEST LAB Academic Bundle |  | CoE- Simulation, Optimization and Test Lab | Siemens | Not applicable | Not Applicable | Others | Govt. of india |  |  |  |  | 1660000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
STAR-CCM+ Academic Pack |  | CoE- Simulation, Optimization and Test Lab | Siemens | Not applicable | Not Applicable | Others | Govt. of india |  |  |  |  | 1245000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
HEEDS Academic Teaching Package |  | CoE- Simulation, Optimization and Test Lab | Siemens | Not applicable | Not Applicable | Others | Govt. of india |  |  |  |  | 996000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
SIMCENTER AMESIM |  | CoE- Simulation, Optimization and Test Lab | Siemens | Not applicable | Not Applicable | Others | Govt. of india |  |  |  |  | 2075000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
NX Nastran Academic Perpetual License |  | CoE- Simulation, Optimization and Test Lab | Siemens | Not applicable | Not Applicable | Others | Govt. of india |  |  |  |  | 1660000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
Siemens Software- Tecnomatix 2301 (Process Simulate) |  | CoE- Manufacturing Process Digitization Lab | Siemens | Not applicable | Not Applicable | Others | Govt. of india |  |  |  |  | 1700000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
Siemens Software- Tecnomatix Plant Simulation 2302 |  | CoE- Manufacturing Process Digitization Lab | Siemens | Not applicable | Not Applicable | Others | Govt. of india |  |  |  |  | 1500000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
Siemens Software- Opcenter |  | CoE- Manufacturing Process Digitization Lab | Siemens | Not applicable | Not Applicable | Others | Govt. of india |  |  |  |  | 400000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
Siemens software- Synchrofit |  | CoE- Manufacturing Process Digitization Lab | Siemens | Not applicable | Not Applicable | Others | Govt. of india |  |  |  |  | 200000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
Siemens Software- Geolous |  | CoE- Manufacturing Process Digitization Lab | Siemens | Not applicable | Not Applicable | Others | Govt. of india |  |  |  |  | 630000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
Siemens Software- Teamcenter |  | CoE- Manufacturing Process Digitization Lab | Siemens | Not applicable | Not Applicable | Others | Govt. of india |  |  |  |  | 800000 |  |  | Autonomous |  |  |  |  | mbhargava@nitttrbpl.ac.in
mbhargava@nitttrbpl.ac.in

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
Test Funding Agency
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
INODE FAG
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
Testing Funding Agency
GIA
TestName12
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
TestFundingAgencySS
DME Government of Karnataka
I-STEM Funding at IISc
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE