## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
LN2 Dewar (3 lit capacity) for BET Surface Area Analyser. |  | IACS Kolkata |  |  | 1941671 | Internal Funding | CSS Common |  | LN2 Dewar (3 lit capacity) for BET Surface Area Analyser. | Central Scientific Service |  | Rs.141600.00 |  |  | Instrument | PARTECH SCIENTIFIC INSTRUMENTS |  |  |  | admpkr@iacs.res.in
Air Cooled, split type chiller, cap:5ltr(15000K cal/hr). |  | IACS Kolkata |  |  | 1941672 | Internal Funding | CSS Common |  | Air Cooled, split type chiller, cap:5ltr(15000K cal/hr). | Central Scientific Service |  | Rs. 478844.00 |  |  | Instrument | DAI-CHI COOLING SOLUTIONS PVT LTD |  |  |  | admpkr@iacs.res.in
_ PCA, TEC Supply,and _ PCA for One View Bing Controller. |  | IACS Kolkata |  |  | 1941673 | Internal Funding | CSS Common |  | _ PCA, TEC Supply,and _ PCA for One View Bing Controller. | Central Scientific Service |  | Rs.405200.20 |  |  | Instrument | MARS SCIENTIFIC INSTRUMENTS SERVICES |  |  |  | admpkr@iacs.res.in
In-Situ Electrochemical cell for Rigaku smart lab 9 kW XRD |  | IACS Kolkata |  |  | 1941674 | Internal Funding | CSS Common |  | In-Situ Electrochemical cell for Rigaku smart lab 9 kW XRD | Central Scientific Service |  | Rs.2085060.00 |  |  | Instrument | I.R. TECHNOLOGY SERVICES PVT. LTD. |  |  |  | admpkr@iacs.res.in
Mettler Toledo make Analytical Balance ; Model:ME-204 for Inert Atmosphere Glove Box System . |  | IACS Kolkata |  | Model:ME-204 for Inert Atmosphere Glove Box System . | 1941675 | Internal Funding | CSS Common |  | Mettler Toledo make Analytical Balance ; Model:ME-204 for Inert Atmosphere Glove Box System . | Central Scientific Service |  | Rs. 105020.00 |  |  | Instrument | Indian Instruments Manufacturing Company |  |  |  | admpkr@iacs.res.in
Power Disit Board, Vacuum Hose 3 Ft., Hall Effect assy for floor model refrigerated centrifuge beckman ( avanti JXN ). |  | IACS Kolkata |  |  | 1941676 | Internal Funding | CSS Common |  | Power Disit Board, Vacuum Hose 3 Ft., Hall Effect assy for floor model refrigerated centrifuge beckman ( avanti JXN ). | Central Scientific Service |  | Rs. 410420.40 |  |  | Instrument | Beckman Coulter India Private Limited |  |  |  | admpkr@iacs.res.in
new Leybold TURBOVAC 350I Turbo vacuum pump , controller and accessories for the DC/RF sputtering system . |  | IACS Kolkata |  |  | 1941677 | Internal Funding | CSS Common |  | new Leybold TURBOVAC 350I Turbo vacuum pump , controller and accessories for the DC/RF sputtering system . | Central Scientific Service |  | Rs.1095040.00 |  |  | Instrument | Leybold India Pvt. Ltd. |  |  |  | admpkr@iacs.res.in
Atomic Force Microscope (AFM) |  | IACS Kolkata |  |  | 1941678 | Internal Funding | CSS Common |  | Atomic Force Microscope (AFM) | Central Scientific Service |  | USD 110600.00 |  |  | Instrument | M/S. Oxford Instruments Asylum Research Inc |  |  |  | admpkr@iacs.res.in
Recovery compressor control system and accessories for liquefier unit |  | IACS Kolkata |  |  | 1941679 | Internal Funding | CSS Common |  | Recovery compressor control system and accessories for liquefier unit | Central Scientific Service |  | Rs.214760.00 |  |  | Instrument | ATOS INSTRUMENTS MARKETING SERVICES |  |  |  | admpkr@iacs.res.in
Water Chiller |  | IACS Kolkata |  |  | 1941680 | Internal Funding | CSS Common |  | Water Chiller | Central Scientific Service |  | Rs.312228.00 |  |  | Instrument | Addcool Trade & Services |  |  |  | admpkr@iacs.res.in
Air Cooled Split Type Chiller, Capacity : 5TR (15,000Kcal/hr.) for Cryogen Free cryomagnetic System with DC resistivity. |  | IACS Kolkata |  |  | 1941681 | Internal Funding | CSS Common |  | Air Cooled Split Type Chiller, Capacity : 5TR (15,000Kcal/hr.) for Cryogen Free cryomagnetic System with DC resistivity. | Central Scientific Service |  | Rs.478844.00 |  |  | Instrument | DAI-CHI COOLING SOLUTIONS PVT LTD |  |  |  | admpkr@iacs.res.in
HiPace 300 and HiScroll 6 Pumps |  | IACS Kolkata |  |  | 1941682 | Internal Funding | CSS Common |  | HiPace 300 and HiScroll 6 Pumps | Central Scientific Service |  | Rs. 1226610.00 |  |  | Instrument | M/s Pfeiffer Vacuum (India) Private Limited |  |  |  | admpkr@iacs.res.in
Dehumidifier |  | IACS Kolkata |  |  | 1941683 | Internal Funding | CSS Common |  | Dehumidifier | Central Scientific Service |  | Rs. 161953.00 |  |  | Instrument | Volsonic India Private Limited |  |  |  | admpkr@iacs.res.in
Automated Powder X-Ray Diffractometer System Model D8 Advance . |  | IACS Kolkata |  |  | 1941684 | Internal Funding | CSS Common |  | Automated Powder X-Ray Diffractometer System Model D8 Advance . | Central Scientific Service |  | EUR 160000.00 |  |  | Instrument | Bruker Singapore Pte ltd |  |  |  | admpkr@iacs.res.in
Microplate Spectrophotometer . |  | IACS Kolkata |  |  | 1941685 | Internal Funding | CSS Common |  | Microplate Spectrophotometer . | Central Scientific Service |  | Rs.798000.00 |  |  | Instrument | Medispec India Ltd. |  |  |  | admpkr@iacs.res.in
DUEX Intelligent Dehumidifier for AFM room . |  | IACS Kolkata |  |  | 1941686 | Internal Funding | CSS Common |  | DUEX Intelligent Dehumidifier for AFM room . | Central Scientific Service |  | Rs. 56105 |  |  | Instrument | DUEX INDUSTRIAL SYSTEMS |  |  |  | admpkr@iacs.res.in
Gas Chromatography-Mass Spectroscopy System (GC-MS) with Accessories |  | IACS Kolkata |  |  | 1941687 | Internal Funding | CSS Common |  | Gas Chromatography-Mass Spectroscopy System (GC-MS) with Accessories | Central Scientific Service |  | Rs. 588600.00 |  |  | Instrument | Thermo Fisher Scientific Pte Ltd |  |  |  | admpkr@iacs.res.in
VACUUM COATER |  | IACS Kolkata |  |  | 1941688 | Internal Funding | CSS Common |  | VACUUM COATER | Central Scientific Service |  | Rs. 3202499.70 |  |  | Instrument | HIND HIGH VACUUM COMPANY PRIVATE LTD |  |  |  | admpkr@iacs.res.in
general purpose compact fluorescence spectrometer . |  | IACS Kolkata |  |  | 1941689 | Internal Funding | CSS Common |  | general purpose compact fluorescence spectrometer . | Central Scientific Service |  | USD 24500 |  |  | Instrument | HORIBA INSTRUMENTS INCORPORATED |  |  |  | admpkr@iacs.res.in
CO2 Incubator . |  | IACS Kolkata |  |  | 1941690 | Internal Funding | CSS Common |  | CO2 Incubator . | Central Scientific Service |  | Rs. 735000.00 |  |  | Instrument | SURAVI INSTRUMENTATION PVT LTD |  |  |  | admpkr@iacs.res.in
FTIR spectrometer for the replacement of the existing old FTIR spectrometer |  | IACS Kolkata |  |  | 1941691 | Internal Funding | CSS Common |  | FTIR spectrometer for the replacement of the existing old FTIR spectrometer | Central Scientific Service |  | USD 35000 |  |  | Instrument | PerkinElmer Singapore Pte Ltd |  |  |  | admpkr@iacs.res.in
Ultra-Microtome for Biological Samples and others with accessories. Including EMUC7 module with Cryo Upgradation Facility. |  | IACS Kolkata |  |  | 1941692 | Internal Funding | CSS Common |  | Ultra-Microtome for Biological Samples and others with accessories. Including EMUC7 module with Cryo Upgradation Facility. | Central Scientific Service |  | Rs. 5974500.00 |  |  | Instrument | DHR Holding India Pvt. Ltd. |  |  |  | admpkr@iacs.res.in
Planetary Ball Mill . |  | IACS Kolkata |  |  | 1941693 | Internal Funding | CSS Common |  | Planetary Ball Mill . | Central Scientific Service |  | Rs. 929668.00 |  |  | Instrument | VERDER SCIENTIFIC PRIVATE LIMITED |  |  |  | admpkr@iacs.res.in
Ice Flake Machine (Storage capacity 15kg;Model No:LMIF 100 Labman) |  | IACS Kolkata |  |  | 1941694 | Internal Funding | CSS Common |  | Ice Flake Machine (Storage capacity 15kg;Model No:LMIF 100 Labman) | Central Scientific Service |  | Rs.149994.60 |  |  | Instrument | K.K. Enterprise |  |  |  | admpkr@iacs.res.in
Source Measure Unite With accessories [SINGLE CHANNEL,40V, 2600-TRIAX-TRIAX ADAPTER FOR 2600 SERIES, 7078-TRX-GND-3-SLOT MALE TRIAX TO BNC ADAPTER (GUARD REMOVED) |  | IACS Kolkata |  |  | 1941695 | Internal Funding | CSS Common |  | Source Measure Unite With accessories [SINGLE CHANNEL,40V, 2600-TRIAX-TRIAX ADAPTER FOR 2600 SERIES, 7078-TRX-GND-3-SLOT MALE TRIAX TO BNC ADAPTER (GUARD REMOVED) | Central Scientific Service |  | Rs.1524600.00 |  |  | Instrument | Promptech Instruments Pvt.Ltd. |  |  |  | admpkr@iacs.res.in
Thermic System for Optical Imaging Devices NO.(1): LTS420 Large Sample Area Heating Stage with XY Manipulation and T96 Controller with Linkpad. |  | IACS Kolkata |  |  | 1941696 | Internal Funding | CSS Common |  | Thermic System for Optical Imaging Devices NO.(1): LTS420 Large Sample Area Heating Stage with XY Manipulation and T96 Controller with Linkpad. | Central Scientific Service |  | Rs. 1286615.50 |  |  | Instrument | Labindia Instruments Pvt. Ltd. |  |  |  | admpkr@iacs.res.in
12000C High Temperature Horizontal Split Tube Furnace |  | IACS Kolkata |  |  | 1941697 | Internal Funding | CSS Common |  | 12000C High Temperature Horizontal Split Tube Furnace | Central Scientific Service |  | Rs. 271999.40 |  |  | Instrument | ANTS INNOVATIONS PRIVATE LIMITED |  |  |  | admpkr@iacs.res.in
MT200/SN 1007196 Replacement of Components and Thorlabs optical accessories for existing FLIM setup. |  | IACS Kolkata |  |  | 1941698 | Internal Funding | CSS Common |  | MT200/SN 1007196 Replacement of Components and Thorlabs optical accessories for existing FLIM setup. | Central Scientific Service |  | Rs.5709888.50 |  |  | Instrument | Simco Global Technology & Systems Limited |  |  |  | admpkr@iacs.res.in
ASIQ TEMP INTERFACE SM PCB ( BET - Analyzer ) |  | IACS Kolkata |  |  | 1941699 | Internal Funding | CSS Common |  | ASIQ TEMP INTERFACE SM PCB ( BET - Analyzer ) | Central Scientific Service |  | Rs.51450.00 |  |  | Instrument | Anton Paar India Pvt. Ltd. |  |  |  | admpkr@iacs.res.in
System for measurement Surface Tension / Interfacial Tension . |  | IACS Kolkata |  |  | 1941700 | Internal Funding | CSS Common |  | System for measurement Surface Tension / Interfacial Tension . | Central Scientific Service |  | Rs.799558.00 |  |  | Instrument | SPECIALISE INSTRUMENTS MARKETING COMPANY |  |  |  | admpkr@iacs.res.in
USB-2405[4CH 24-Bit 128kS/s Dynamic Signal Acquisition USB 2.0 module] |  | IACS Kolkata |  |  | 1941701 | Internal Funding | CSS Common |  | USB-2405[4CH 24-Bit 128kS/s Dynamic Signal Acquisition USB 2.0 module] | Central Scientific Service |  | Rs.135187.50 |  |  | Instrument | M/s TECH Square |  |  |  | admpkr@iacs.res.in
RCS Gas Dryer for Q2000 DSC. |  | IACS Kolkata |  |  | 1941702 | Internal Funding | CSS Common |  | RCS Gas Dryer for Q2000 DSC. | Central Scientific Service |  | Rs.60299.05 |  |  | Instrument | Waters (India) Private Limited TA Instruments Divi |  |  |  | admpkr@iacs.res.in
SR830 DSP Dual Phase Lock in Amplifier , SR554 Lock in transformer preamplifier , SIM900 Mainframe with RS-232 computer interface , SR540 Optical Chopper . |  | IACS Kolkata |  |  | 1941703 | Internal Funding | CSS Common |  | SR830 DSP Dual Phase Lock in Amplifier , SR554 Lock in transformer preamplifier , SIM900 Mainframe with RS-232 computer interface , SR540 Optical Chopper . | Central Scientific Service |  | USD 9806.10 |  |  | Instrument | STANFORD RESEARCH SYSTEMS |  |  |  | admpkr@iacs.res.in
Interactive Digital Source Meter |  | IACS Kolkata | KEITHLEY |  | 1941704 | Internal Funding | CSS Common |  | Interactive Digital Source Meter | Central Scientific Service |  | Rs. 441787.60 |  |  | Instrument | Promptech Instruments Pvt.Ltd. |  |  |  | admpkr@iacs.res.in
PerkinElmer DSC-8000 instrument against Buy-Back of existing PerkinElmer Diamond DSC |  | IACS Kolkata |  |  | 1941705 | Internal Funding | CSS Common |  | PerkinElmer DSC-8000 instrument against Buy-Back of existing PerkinElmer Diamond DSC | Central Scientific Service |  | Rs.3820800.00 |  |  | Instrument | PerkinElmer (India) Pvt. Ltd. |  |  |  | admpkr@iacs.res.in
BIOVIA Materials Studio research Suit. [ BIOVIA- Materials Studio Academic Research Suit (2020) ] ; |  | IACS Kolkata |  |  | 1941706 | Internal Funding | CSS Common |  | BIOVIA Materials Studio research Suit. [ BIOVIA- Materials Studio Academic Research Suit (2020) ] ; | Central Scientific Service |  | Rs. 1495399.50 |  |  | Instrument | Dassault Systemes India Private limited |  |  |  | admpkr@iacs.res.in
Complete Package of Air Separation Unit for producing Nitrogen Gas |  | IACS Kolkata |  |  | 1941707 | Internal Funding | CSS Common |  | Complete Package of Air Separation Unit for producing Nitrogen Gas | Central Scientific Service |  | Rs.1522500.00 |  |  | Instrument | Addcool Trade & Services |  |  |  | admpkr@iacs.res.in
Agilent Cary 5000 UV-Vis-NIR Bundle system with Accessories. |  | IACS Kolkata |  |  | 1941708 | Internal Funding | CSS Common |  | Agilent Cary 5000 UV-Vis-NIR Bundle system with Accessories. | Central Scientific Service |  | Rs.3880000.00 |  |  | Instrument | Agilent Technologies India Pvt. Ltd. |  |  |  | admpkr@iacs.res.in
KBR WINDOW ASSY and SOURCE ELEMENT ASSY for FTIR instrument . |  | IACS Kolkata |  |  | 1941709 | Internal Funding | CSS Common |  | KBR WINDOW ASSY and SOURCE ELEMENT ASSY for FTIR instrument . | Central Scientific Service |  | Rs. 98115.00 |  |  | Instrument | PerkinElmer (India) Pvt. Ltd. |  |  |  | admpkr@iacs.res.in
ZETASIZER ADVANCE PRO BLUE (DLS Instrument) with Accesories . |  | IACS Kolkata |  |  | 1941710 | Internal Funding | CSS Common |  | ZETASIZER ADVANCE PRO BLUE (DLS Instrument) with Accesories . | Central Scientific Service |  | GBP 30915.00 |  |  | Instrument | Malvern Panalytical Ltd. |  |  |  | admpkr@iacs.res.in
OLYMPUS UPRIGHT MICROSCOPE MODEL BX53M WITH MAG. RANGE 50X-1000X. |  | IACS Kolkata |  |  | 1941711 | Internal Funding | CSS Common |  | OLYMPUS UPRIGHT MICROSCOPE MODEL BX53M WITH MAG. RANGE 50X-1000X. | Central Scientific Service |  | Rs.1868999.90 |  |  | Instrument | I.R. TECHNOLOGY SERVICES PVT. LTD. |  |  |  | admpkr@iacs.res.in
DIAPHRAGM VACUUM PUMP WITH ACCESSORIES FOR LINKAM THMS600 STAGE |  | IACS Kolkata | MVP 010-3 DC |  | 1941712 | Internal Funding | CSS Common |  | DIAPHRAGM VACUUM PUMP WITH ACCESSORIES FOR LINKAM THMS600 STAGE | Central Scientific Service |  | Rs.262500.00 |  |  | Instrument | Labindia Instruments Pvt. Ltd. |  |  |  | admpkr@iacs.res.in
Inverter Chiller with cooling capacity of 5 TR |  | IACS Kolkata |  |  | 1941713 | Internal Funding | CSS Common |  | Inverter Chiller with cooling capacity of 5 TR | Central Scientific Service |  | Rs.459892.60 |  |  | Instrument | Addcool Trade & Services |  |  |  | admpkr@iacs.res.in
Recirculating Chiller for Rotary Evaporator |  | IACS Kolkata |  |  | 1941714 | Internal Funding | CSS Common |  | Recirculating Chiller for Rotary Evaporator | Central Scientific Service |  | Rs. 74999.97 |  |  | Instrument | Ajanta Enterprise |  |  |  | admpkr@iacs.res.in
a New TGA 4000 Instrument. |  | IACS Kolkata |  |  | 1941715 | Internal Funding | CSS Common |  | a New TGA 4000 Instrument. | Central Scientific Service |  | USD 19800.00 |  |  | Instrument | PerkinElmer Singapore Pte Ltd |  |  |  | admpkr@iacs.res.in
Water Chiller for APEX-II SCXRD Instrument. |  | IACS Kolkata |  |  | 1941716 | Internal Funding | CSS Common |  | Water Chiller for APEX-II SCXRD Instrument. | Central Scientific Service |  | Rs.249500.00 |  |  | Instrument | Addcool Trade & Services |  |  |  | admpkr@iacs.res.in
Eater Chiller for D8Advance XRD System. |  | IACS Kolkata |  |  | 1941717 | Internal Funding | CSS Common |  | Eater Chiller for D8Advance XRD System. | Central Scientific Service |  | Rs.320250.00 |  |  | Instrument | Bruker India Scientific Pvt Ltd |  |  |  | admpkr@iacs.res.in
a JASCO CD Spectro Polarimeter |  | IACS Kolkata |  | J-1500 | 1941718 | Internal Funding | CSS Common |  | a JASCO CD Spectro Polarimeter | Central Scientific Service |  | JPY 7300000.00 |  |  | Instrument | M/s. JASCO INTERNATIONAL CO. LTD |  |  |  | admpkr@iacs.res.in
Turbo Moleculer Pumping Station. |  | IACS Kolkata |  |  | 1941719 | Internal Funding | CSS Common |  | Turbo Moleculer Pumping Station. | Central Scientific Service |  | GBP 7150 |  |  | Instrument | Edwards Limited |  |  |  | admpkr@iacs.res.in
TCSPC Spectrometer. |  | IACS Kolkata |  |  | 1941720 | Internal Funding | CSS Common |  | TCSPC Spectrometer. | Central Scientific Service |  | GBP 88300.00 |  |  | Instrument | Horiba Jobin Yvon IBH Ltd |  |  |  | admpkr@iacs.res.in
Coater Unit for SEM System. |  | IACS Kolkata |  |  | 1941721 | Internal Funding | CSS Common |  | Coater Unit for SEM System. | Central Scientific Service |  | USD 17200 |  |  | Instrument | JEOL ASIA PTE LTD |  |  |  | admpkr@iacs.res.in
Bry-Air Dehumidifier Model FFB-300 along with Digital Humidistat |  | IACS Kolkata |  |  | 1941722 | Internal Funding | CSS Common |  | Bry-Air Dehumidifier Model FFB-300 along with Digital Humidistat | Central Scientific Service |  | Rs. 226500.00 |  |  | Instrument | M/s. Bry-Air (Asia) Pvt. Ltd |  |  |  | admpkr@iacs.res.in
P/N : MTP TLC Adapter (Inclusive of Software Licence) for MALDI Measurements.,Big Glass Slides., SIMLIPID SW is high throughput Lipid identification software. |  | IACS Kolkata |  |  | 1941723 | Internal Funding | CSS Common |  | P/N : MTP TLC Adapter (Inclusive of Software Licence) for MALDI Measurements.,Big Glass Slides., SIMLIPID SW is high throughput Lipid identification software. | Central Scientific Service |  | USD 21305 |  |  | Instrument | Bruker Daltonik GmbH |  |  |  | admpkr@iacs.res.in
Water Level Sensor for BET Instrument. |  | IACS Kolkata |  |  | 1941724 | Internal Funding | CSS Common |  | Water Level Sensor for BET Instrument. | Central Scientific Service |  | Rs. 64900.00 |  |  | Instrument | PARTECH SCIENTIFIC INSTRUMENTS |  |  |  | admpkr@iacs.res.in
ES- UCD 3X Insertion Type Dewar for EPR Instrument. |  | IACS Kolkata |  |  | 1941725 | Internal Funding | CSS Common |  | ES- UCD 3X Insertion Type Dewar for EPR Instrument. | Central Scientific Service |  | USD 10680 |  |  | Instrument | JEOL ASIA PTE LTD |  |  |  | admpkr@iacs.res.in
Electronic Balance for BET. |  | IACS Kolkata |  |  | 1941726 | Internal Funding | CSS Common |  | Electronic Balance for BET. | Central Scientific Service |  | Rs.89250.00 |  |  | Instrument | ASTHA DIGITAL |  |  |  | admpkr@iacs.res.in
PSU0040 PSU for Zetasizer Nano DLS. |  | IACS Kolkata |  |  | 1941727 | Internal Funding | CSS Common |  | PSU0040 PSU for Zetasizer Nano DLS. | Central Scientific Service |  | Rs.164790.00 |  |  | Instrument | Aimil Ltd. |  |  |  | admpkr@iacs.res.in
Quantachrome make Surface Area Analyzer (BET) |  | IACS Kolkata |  |  | 1941728 | Internal Funding | CSS Common |  | Quantachrome make Surface Area Analyzer (BET) | Central Scientific Service |  | USD 45100.00 |  |  | Instrument | QUANTACHROME INSTRUMENTS |  |  |  | admpkr@iacs.res.in
2.axis motor driver and distribution board of XRD Instrument. |  | IACS Kolkata |  |  | 1941729 | Internal Funding | CSS Common |  | 2.axis motor driver and distribution board of XRD Instrument. | Central Scientific Service |  | EUR 2941.00 |  |  | Instrument | Bruker Singapore Pte ltd |  |  |  | admpkr@iacs.res.in
Heater (ACD) for FEG-TEM |  | IACS Kolkata |  |  | 1941730 | Internal Funding | CSS Common |  | Heater (ACD) for FEG-TEM | Central Scientific Service |  | JPY172125.00 |  |  | Instrument | JEOL ASIA PTE LTD |  |  |  | admpkr@iacs.res.in
Turbo Pump HiPace 80 |  | IACS Kolkata |  |  | 1941731 | Internal Funding | CSS Common |  | Turbo Pump HiPace 80 | Central Scientific Service |  | EUR 5256.00 |  |  | Instrument | Pfeiffer Vacuum GmbH |  |  |  | admpkr@iacs.res.in
Helium Compressor Package |  | IACS Kolkata |  |  | 1941732 | Internal Funding | CSS Common |  | Helium Compressor Package | Central Scientific Service |  | USD 24695.00 |  |  | Instrument | CRYOMECH |  |  |  | admpkr@iacs.res.in

## Worksheet 1 (hidden)
NEHU Internal Funds
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Internal Resource Generation
SRIC Development Fund
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Vinayaka Missions Research Foundation
NITTTR Bhopal
ICAR-CMFRI
Ministry of Textiles
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
DBT, Govt. of India
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
CSIR, Govt. of India
DST, Govt. of India
ICFRE