## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Alert to be sent (Email id)*
Field emission scanning electron microscopy (FESEM) with Energy Dispersive Spectroscopy (EDS) | FESEM | Meitry Building, 5th Floor, R&D Department, MIT-WPU, Pune. | TESCAN | S8152 | 1230260 | Internal Funding | Institution | High-resolution FESEM for nanoscale imaging and surface analysis. Features EDS for elemental analysis, BSE for compositional contrast, and low-vacuum mode for non-conductive samples. Ideal for advanced research, and material characterization. | Research & Development | Central Research Facility | 60565828 | https://mitwpu.edu.in | Up | Characterization | dean.rnd@mitwpu.edu.in
X-ray Diffractometer | XRD | Meitry Building, 5th Floor, R&D Department, MIT-WPU, Pune. | Malvern Panalytical | Empyrean-DY3280 | 100031866 | Internal Funding | Institution | X-ray Diffraction (XRD) is an analytical technique used to determine phase composition, crystal structure, and orientation of powder and polycrystalline solid samples. Widely used for ceramics, metals, intermetallics, minerals, and inorganic compounds. | Research & Development | Central Research Facility | 17593800 | https://mitwpu.edu.in | Up | Characterization | dean.rnd@mitwpu.edu.in
Inductively Coupled Plasma Mass Spectrometer | ICP-MS | Meitry Building, 5th Floor, R&D Department, MIT-WPU, Pune. | Shimadzu | ICPMS-2040 LF | B432061 | Internal Funding | Institution | The Shimadzu ICPMS-2040 LF is a high-sensitivity inductively coupled plasma mass spectrometer designed for precise trace-element analysis. It offers fast, accurate multi-element detection with a low-flow sample introduction system for improved stability and low sample consumption. | Research & Development | Central Research Facility | 17449999 | https://mitwpu.edu.in | Up | Characterization | dean.rnd@mitwpu.edu.in
Raman Spectrometer | RAMAN | Meitry Building, 5th Floor, R&D Department, MIT-WPU, Pune. | JASCO | NRS-4500 | F012861984 | Internal Funding | Institution | The JASCO NRS-4500 Raman Spectrometer offers high-resolution vibrational analysis with 532 nm and 785 nm lasers. It supports precise micro-Raman measurements, chemical identification, and Raman mapping for advanced material characterization. | Research & Development | Central Research Facility | 9676000 | https://mitwpu.edu.in | Up | Characterization | dean.rnd@mitwpu.edu.in
Zetasizer | ZETASIZER | Meitry Building, 5th Floor, R&D Department, MIT-WPU, Pune. | Malvern Panalytical | Zetasizer Advance | 100018743 | Internal Funding | Institution | The Malvern Panalytical Zetasizer Advance measures particle size and zeta potential using dynamic light scattering. It enables high-resolution analysis of nanoparticles, colloids, and biomolecules for research and industrial applications. | Research & Development | Central Research Facility | 3380000 | https://mitwpu.edu.in | Up | Characterization | dean.rnd@mitwpu.edu.in
Physical Vapor Deposition (PVD) System | E Beam / Thermal Evaporator | Meitry Building, 5th Floor, R&D Department, MIT-WPU, Pune. | HHV ADVANCED TECHNOLOGIES | AUTO 500 | D1333 | Internal Funding | Institution | E-Beam and Thermal Evaporators are PVD systems used to deposit thin films of metals, semiconductors, and dielectrics on substrates. They enable fabrication of multilayer structures, electrodes, optical coatings, and nanostructures for research, electronics, optics, and materials science applications. | Research & Development | Central Research Facility | 3304000 | https://mitwpu.edu.in | Up | Fabrication | dean.rnd@mitwpu.edu.in
Sputtering System | DC/RF Sputter | Meitry Building, 5th Floor, R&D Department, MIT-WPU, Pune. | M/S. HHV ADVANCED TECHNOLOGIES | AUTO 500 | D1333 | Internal Funding | Institution | DC/RF Sputtering System is a Physical Vapor Deposition (PVD) tool used to deposit thin films of metals, oxides, and semiconductors on substrates. It enables fabrication of electrodes, multilayer structures, optical coatings, and nanostructures for research and device applications. | Research & Development | Central Research Facility | 7493000 | https://mitwpu.edu.in | Up | Fabrication | dean.rnd@mitwpu.edu.in
Nanoindenter | NA | Meitry Building, 5th Floor, R&D Department, MIT-WPU, Pune. | Industron | NG90 | NG80 REVB 11 2024 01 | Internal Funding | Institution | Industron Nanoindenter is the instrument that probes nanomechanical properties of materials (bulk, coatings, thin films, and polymers) such as elastic modulus, hardness, and fracture toughness. | Research & Development | Central Research Facility | 12950000 | https://mitwpu.edu.in | Up | Characterization | dean.rnd@mitwpu.edu.in
Surface Profilometer | SPM | Meitry Building, 5th Floor, R&D Department, MIT-WPU, Pune. | Bruker | Dektak Pro | DPRO-25-1031 | Internal Funding | Institution | Bruker Surface Profilometer is the instrument that probes quality and integrity of surface of materials (bulk, coatings, thin films, and polymers) reflecting average surface roughness, peak to valley profiles, average surface height, and thickness and residual stresses in the thin films. | Research & Development | Central Research Facility | 14681607 | https://mitwpu.edu.in | Up | Characterization | dean.rnd@mitwpu.edu.in
Tribometer | NA | Meitry Building, 5th Floor, R&D Department, MIT-WPU, Pune. | Ducom | POD 4.O | 0 | Internal Funding | Institution | A tribometer is a device that measures friction and wear between two surfaces. It's used to study how surfaces interact, including lubrication, wear, and abrasion. Tribometers are used in many industries, including automotive, aerospace, and biomedical. | Research & Development | Central Research Facility | 15244616 | https://mitwpu.edu.in | Up | Characterization | dean.rnd@mitwpu.edu.in
UV-VIS-NIR Spectrophotometer | NA | Meitry Building, 5th Floor, R&D Department, MIT-WPU, Pune. | Shimadzu | UV-3600i | A126161 | Internal Funding | Institution | The UV-3600i Plus is a high-end bench-top UV-VIS-NIR spectrophotometer: i.e. it can measure absorption, transmittance or reflectance of samples across ultraviolet (UV), visible (VIS) and near-infrared (NIR) spectral regions. | Research & Development | Central Research Facility | 600000 | https://mitwpu.edu.in | Up | Characterization | dean.rnd@mitwpu.edu.in
Complete Battery Fabrication Facility (Coin cell) | NA | Meitry Building, 5th Floor, R&D Department, MIT-WPU, Pune. | AME Energy | NA | NA | Internal Funding | Institution | Battery fabrication facility with slurry mixer, electrode coater, calendering machine, and punching unit for precise electrode preparation. A moisture-free argon glove box enables safe and reliable assembly of Li-ion and Na-ion coin cells for research. | Research & Development | Central Research Facility | 5908980 | https://mitwpu.edu.in | Up | Fabrication | dean.rnd@mitwpu.edu.in
UV/VIS Spectrophotmeter | NA | Meitry Building, 5th Floor, R&D Department, MIT-WPU, Pune. | LABINDIA | UV-3200 | 2306001A | Internal Funding | Institution | The UV/Vis Spectrophotometer UV-3200 (Touch Screen) is designed for accurate liquid sample analysis. It offers precise absorbance, a user-friendly interface, stable optics, and reliable performance for routine laboratory applications. | Research & Development | Central Research Facility | 200000 | https://mitwpu.edu.in | Up | Characterization | dean.rnd@mitwpu.edu.in
UV/VIS Spectrophotmeter | NA | Meitry Building, 5th Floor, R&D Department, MIT-WPU, Pune. | LABINDIA | UV-3092 | 32-0197-00-0100 | Internal Funding | Institution | The UV-3092 is a versatile double-beam UV-Vis spectrophotometer designed for liquid and solid samples. It offers high-sensitivity absorbance, transmittance, and reflectance measurements with adjustable bandwidth for precise analytical performance | Research & Development | Central Research Facility | 600000 | https://mitwpu.edu.in | Up | Characterization | dean.rnd@mitwpu.edu.in

## Worksheet 1 (hidden)
NEHU Internal Funds
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Internal Resource Generation
SRIC Development Fund
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Vinayaka Missions Research Foundation
NITTTR Bhopal
ICAR-CMFRI
Ministry of Textiles
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
DBT, Govt. of India
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
Minister of Labour and Employment
Central Water Commission CWC
CSIR, Govt. of India
DST, Govt. of India
ICFRE