## cs lab
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Equipment Description | Department Name* | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Alert to be sent (Email id)*
DC SERVO MOTOR | DC SERVO MOTOR | V-115 | TECHNO INSTRUMENTS | DCM-01 | NA | External Funding | AICTE, Govt. of India | A DC servo motor is a high-precision motor using direct current (DC) that offers exact control over position, velocity, and acceleration, unlike standard DC motors, by incorporating a feedback system (like an encoder) and controller to continuously monitor and adjust its movement for specific, accurate tasks in robotics, CNC machines, and RC devices. It combines a DC motor, gear train for high torque, a sensor, and a control circuit, allowing for precise angular or linear motion. | EEE | Control Systems | 31584 |  | Working | Analytical Measurement | rayudu.katuri@bvrit.ac.in
AC SERVO MOTOR | AC SERVO MOTOR | V-115 | TECHNO INSTRUMENTS | ACS-01 | NA | External Funding | AICTE, Govt. of India | An AC servo motor is a high-performance electric motor using alternating current, designed for precise control of position, speed, and acceleration in closed-loop systems, differentiating itself from standard AC motors by incorporating feedback for accuracy. They offer high torque-to-inertia ratios, enabling rapid movements, and are crucial in robotics, CNC machines, and automation where accuracy and smooth, efficient operation under heavy loads are needed, often featuring permanent magnets for responsiveness and efficiency. | EEE | Control Systems | 29484 |  | Working | Analytical Measurement | rayudu.katuri@bvrit.ac.in
PLC TRAINER | PLC TRAINER | V-115 | ABB | PM554 | NA | External Funding | AICTE, Govt. of India | A Programmable Logic Controller (PLC) is a rugged, specialized industrial computer used to automate machinery and control processes in harsh environments. It continuously monitors inputs from sensors and switches, applies user-defined logic, and controls outputs to operate devices like motors, valves, and alarms. PLCs replaced complex, hard-wired relay systems, offering greater flexibility, reliability, and ease of modification via software programming. They are the "brains" behind modern industrial automation, essential for manufacturing, energy management, and infrastructure. | EEE | Control Systems | 53928 |  | Working | Packaging | rayudu.katuri@bvrit.ac.in
P PD PID CONTROLLER | P,PD,PID CONTROLLER | V-115 | TECHNO INSTRUMENTS | PID-01 | NA | External Funding | AICTE, Govt. of India | P, PD, and PID controllers are feedback mechanisms adjusting output based on error (Setpoint - Measured Value) to achieve a goal, with P (Proportional) reacting to current error, D (Derivative) predicting future error from its rate of change, and I (Integral) summing past errors to eliminate steady-state offset, with PID combining all three for optimal control (faster response, less overshoot, zero error). | EEE | Control Systems | 26292 |  | Working | Analytical Measurement | rayudu.katuri@bvrit.ac.in
AC POSITION CONTROLLER | AC POSITION CONTROLLER | V-115 | TECHNO INSTRUMENTS | ACP-01 | NA | External Funding | AICTE, Govt. of India | An AC Position Controller is a closed-loop system using an AC servomotor to precisely move and hold a load at a desired angular or linear position, controlled by varying voltage to the motor's control winding, with feedback from a sensor (like a potentiometer or encoder) detecting actual position to create an error signal for correction, commonly found in precision instruments, robotics, and aerospace. | EEE | Control Systems | 31584 |  | Working | Analytical Measurement | rayudu.katuri@bvrit.ac.in
DC POSITION CONTROLLER | DC POSITION CONTROLLER | V-115 | TECHNO INSTRUMENTS | DCP-01 | NA | External Funding | AICTE, Govt. of India | A DC Position Controller is a closed-loop feedback system that precisely manages a DC motor's angular position, comparing a desired target position (setpoint) with the motor's actual position (sensed by a potentiometer or encoder) to generate an error signal. This error drives an amplifier and power stage (often a MOSFET chopper) to adjust the motor's voltage/current, moving it to the target and maintaining it there, crucial for robotics, automation, and CNC machines. | EEE | Control Systems | 31584 |  | Working | Analytical Measurement | rayudu.katuri@bvrit.ac.in
SYNCHRO PAIR | SYNCHRO PAIR | V-115 | TECHNO INSTRUMENTS | SD-01 | NA | External Funding | AICTE, Govt. of India | A Synchro Pair is an electromagnetic system, typically a Synchro Transmitter (Tx) and a Synchro Control Transformer (CT), used in control systems to convert a mechanical angular position into electrical signals, and vice versa, acting as an error detector by comparing positions. An AC voltage is applied to the transmitter's rotor, inducing voltages in its stator windings that vary with the shaft's angle; these signals are sent to the control transformer, which produces an output voltage (error signal) indicating the difference between the transmitter's angle and its own, driving a servo system to null the error | EEE | Control Systems | 39144 |  | Working | Analytical Measurement | rayudu.katuri@bvrit.ac.in
CURRENT PROBE FOR DSO | CURRENT PROBE FOR DSO | V-115 | SCIENTIFIC | CP4020 | NA | External Funding | AICTE, Govt. of India | A current probe for a Digital Storage Oscilloscope (DSO) is a non-invasive device used to measure the current flowing through a conductor by sensing the magnetic field it produces. It converts the measured current into a proportional voltage signal that the oscilloscope can display and analyze as a waveform. | EEE | Control Systems | 39060 |  | Working | Analytical Measurement | rayudu.katuri@bvrit.ac.in
NI MY RIO EMBEDDED BOARD | NI MY RIO EMBEDDED BOARD | V-115 | NI | NI MY RIO-1900 | NA | External Funding | AICTE, Govt. of India | The NI myRIO (Reconfigurable I/O) is a compact, student-focused embedded device from National Instruments, combining a dual-core ARM processor and Xilinx FPGA on a single chip (Zynq-7010) for real-world engineering projects in controls, robotics, and mechatronics, programmed visually with NI LabVIEW or C, offering versatile analog/digital I/O, WiFi, and onboard sensors like an accelerometer, bridging academic learning with industry-standard RIO architecture | EEE | Control Systems | 66150 |  | Working | Analytical Measurement | rayudu.katuri@bvrit.ac.in
PLC Trainer With Allen Bradely | PLC Trainer With Allen Bradely Micro 820.8 Application | V-115 | Allen Bradely | Micro 820.8 | NA | Internal Funding | Institution | A Programmable Logic Controller (PLC) is a rugged, specialized industrial computer used to automate machinery and control processes in harsh environments. It continuously monitors inputs from sensors and switches, applies user-defined logic, and controls outputs to operate devices like motors, valves, and alarms. PLCs replaced complex, hard-wired relay systems, offering greater flexibility, reliability, and ease of modification via software programming. They are the "brains" behind modern industrial automation, essential for manufacturing, energy management, and infrastructure. | EEE | Control Systems | 52042 |  | Working | Analytical Measurement | rayudu.katuri@bvrit.ac.in

## HARITH TECH
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Equipment Description | Department Name* | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Alert to be sent (Email id)*
IVN Lab Set Up (IVN Test Bed ECU Units Software for Auto Electronics Desing)( 1 back bone, 13 nodes, 8 subnets, 1-8 local nodes & total 52 nodes | IVN Lab Set Up (IVN Test Bed ECU Units Software for Auto Electronics Desing)( 1 back bone, 13 nodes, 8 subnets, 1-8 local nodes & total 52 nodes | NM-110 | Harita TechServ | - | - |  | - | IVN Lab Set Up: IVN test bed with ECU units and software for automotive electronics design, supporting CAN communication with 1 backbone, 13 nodes, 8 subnets, up to 52 total nodes, and integration with the TSMASTER tool. | EEE ECE MECH |  | 1312500 |  | working |  | vijaykumar.y@bvrit.ac.in

## Worksheet 1 (hidden)
NEHU Internal Funds
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Internal Resource Generation
SRIC Development Fund
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Vinayaka Missions Research Foundation
NITTTR Bhopal
ICAR-CMFRI
Ministry of Textiles
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
DBT, Govt. of India
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
Minister of Labour and Employment
Central Water Commission CWC
CSIR, Govt. of India
DST, Govt. of India
ICFRE