## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
Triple Quadrupole ICP-QQQ-MS | ICP-MS- QQQ | Block C, Ground Floor OLD SAC, IIT Kanpur | Agilent Technologies | Agilent 8900 | JP18290476 | External Funding | others | IUSSTF/ES/2017400B | PPB level, chemical composition analysis | Earth Sciences |  | 13500000 |  | Working | Analytical & research | Agilent Technologies |  |  |  | isen@iitk.ac.in,head_es@iitk.ac.in
Agilent, ICP OES | ICP-OES | Block C, Ground Floor OLD SAC, IIT Kanpur | Agilent Technologies | Agilent, 5800 | MY2443cQ08 | External Funding | others | Leased through a consultancy project | sub-ppm to percentage levels from pure metals trace analysis to high alloyed grades | Earth Sciences | ICP-OES | 6580000 |  | Working | Analytical & research | Agilent Technologies |  |  |  | isen@iitk.ac.in,head_es@iitk.ac.in
Dual Carbon Isotope Analyzer | Carbon Isotope analyzer | Block C, Ground Floor OLD SAC, IIT Kanpur | Picarro, INC | G220-i | 4431-CFIDS2362 | External Funding | SERB, DST, Govt. of India | SERB/ES/2021023 | Carbo isotope anaysis | Earth Sciences | Carbon Isotope Analyzer | 8500000 |  | Working | Analytical & research | Picarro, INC |  |  |  | isen@iitk.ac.in,head_es@iitk.ac.in
High-pressure Asher |  | Block C, Ground Floor OLD SAC, IIT Kanpur | ANTON PAAR GMBH,AUSTRIA | HPA-S | 81487769 | Internal Funding | Institution |  |  | Earth Sciences | High Pressure | 3600000 |  | Working | Analytical & research | ANTON PAAR GMBH,AUSTRIA |  |  |  | isen@iitk.ac.in,head_es@iitk.ac.in
Seal Autoanalyzer Etc. | Nutrient Analyzer | Block C, Ground Floor OLD SAC, IIT Kanpur | Seal Analytical GMBH, Germany, | AA3HR |  | Internal Funding | Institution |  | Nutrient Analysis | Earth Sciences |  | 4000000 |  | Working | Analytical & research | Seal Analytical GMBH, Germany, |  |  |  | isen@iitk.ac.in,head_es@iitk.ac.in
Inductive coupled Plasma Mass spectrometer | ICP-MS | Room NO. 204 B, WLE, IIT Kanpur | Thermo Fisher Pvt. Ltd | ICAP-Q | SN02965R | Internal Funding | Institution |  | Trace element analysis at PPM Level | Earth Sciences | ICP-MS | 8000000 |  | Working | Analytical & research | Thermo Fisher India Pvt. Ltd |  | Thermo Fisher India Pvt. Ltd |  | head_es@iitk.ac.in, dpaul@iitk.ac.in
Gas Chromatograph | GC-MS | Lab 101, ACMS,IITK | Thermo Fisher Pvt. Ltd |  |  | Internal Funding | Institution |  | Isotope Measurement | Earth Sciences | GC-MS | 4800000 |  | Working | Analytical & research | Thermo Fisher India Pvt. Ltd |  |  |  | head_es@iitk.ac.in, dpaul@iitk.ac.in
Water Isotope Analyzer | Water Isotope Analyzer | Lab 101, ACMS,IITK | LOS Gatos research(LGR), USA |  |  | Internal Funding | Institution |  | water isotope measurement | Earth Sciences |  | 8500000 |  | Working | Analytical & research | LGR |  |  |  | head_es@iitk.ac.in, dpaul@iitk.ac.in
XRAY Flourosence | XRF | Lab 101, ACMS,IITK | Rigaku, Japan | ZSX Primus II | N-HR06104-4 | Internal Funding | Institution |  | Bulk & trace elemental analysis | Earth Sciences | XRF | 5720000 |  | Working | Analytical & research | I R Tech Pvt. Ltd |  | I R Tech Pvt. Ltd |  | dpaul@iitk.ac.in
Isotope Ratio Mass Spectrometer | IRMS | Lab 101, ACMS,IITK | Thermo Fisher Pvt. Ltd | DeltaV | SN08808D | Internal Funding | Institution |  | Isotope analysis of oxygen, carbon, Nitrogen | Earth Sciences | IRMS | 20270250 |  | Working | Analytical & research | Thermo Fisher India Pvt. Ltd |  | Thermo Fisher India Pvt. Ltd |  | dpaul@iitk.ac.in
Combined Gas & Liquid Permeameter | Permeameter | B Block Ground Floor OLD SAC IITK | PMI/Porous Materials Inc.USA | LP100A GP101A | 09302015-3247 | Internal Funding | ES Department |  |  | Earth Sciences | MOES National Facility | 4916885 | iitk.ac.in/es | Not Working | Rock Deformation | PMI/Porous Materials Inc.USA |  |  |  | head_es@iitk.ac.in, smisra@iitk.ac.in
Pulse Decay Permeameter | PDP | B Block Ground Floor OLD SAC IITK | Core Lab USA | PDP 200 | 19-5042 | Internal Funding | CE Deapartment, SERB |  |  | Earth Sciences | MOES National Facility | 4081814 | iitk.ac.in/es | Working | Rock Deformation | Core Lab USA |  |  |  | head_es@iitk.ac.in, smisra@iitk.ac.in
Servo Hydraulic Compression Load Testing Machine | HPHT | B Block Ground Floor OLD SAC IITK | APS Germany | 00111-A5-008 | 46120003 | External Funding | ONGC Dehradun |  |  | Earth Sciences | MOES National Facility | 32942760 | iitk.ac.in/es | Working | Rock Deformation | APS Germany |  |  |  | head_es@iitk.ac.in, smisra@iitk.ac.in
High Pressure High Temperature Deforamtion Appratus | HPHT TRIAXIAL | B Block Ground Floor OLD SAC IITK | ETA Technology Banglore | IT0530990 | IT053-00-00-00 | External Funding | Department of Science and Technology |  |  | Earth Sciences | MOES National Facility | 23761500 | iitk.ac.in/es | Working | Rock Deformation | ETA Technology Banglore |  |  |  | head_es@iitk.ac.in, smisra@iitk.ac.in
D-RTK GNSS, Hexa Coptor aircraft &Accesssories | Hexacoptor | CC-201, CC Building, IITK | Kambill Syestem Pvt. Ltd | Matrix 600 Pro | M600P | External Funding | MOES |  |  | Earth Sciences | MOES National Facility | 2614248 | iitk.ac.in/es | Working | Survey | Kambill Syestem Pvt. Ltd |  |  |  | head_es@iitk.ac.in, smisra@iitk.ac.in
Permanent Mode GPS System | GPS System | CC-201, CC Building, IITK | Elcome Technologies pvt. Ltd | Ailgline | GR30 | External Funding | MOES |  |  | Earth Sciences | MOES National Facility | 21126718.5 | iitk.ac.in/es | Working | Survey | Lieca Geosystems Pvt. Ltd |  |  |  | head_es@iitk.ac.in, smisra@iitk.ac.in
Engineering Seismograph Syestem (Model-1126) | Seismograph | CC-201, CC Building, IITK | OYO corporation | 1126F | 200046 | Internal Funding | DST, Govt. of India |  |  | Earth Sciences |  | 7039388 | iitk.ac.in/es | Working | Survey | Mekaster International Pvt. Ltd |  |  |  | head_es@iitk.ac.in, smisra@iitk.ac.in
SIR-3000 System GPR with accessories | GPR | CC-201, CC Building, IITK | M/s ParasEquipment Pvt. Ltd. | 32078 | 58 | Internal Funding | DST, Govt. of India |  |  | Earth Sciences |  | 5445542 | iitk.ac.in/es | Working | Survey | M/s ParasEquipment Pvt. Ltd. |  |  |  | head_es@iitk.ac.in, smisra@iitk.ac.in
OLS Reader | OSL | CC-201, CC Building, IITK | From JICA, Japan | RISO DTU | DA-20 | External Funding | other |  |  | Earth Sciences |  | 12000000 | iitk.ac.in/es | Working | Dating | From JICA, Japan |  |  |  | head_es@iitk.ac.in, smisra@iitk.ac.in
Gamma Spectrometry | Gamma Spectrometer | CC-201, CC Building, IITK | From JICA, Japan | _ | _ | Others | other |  |  | Earth Sciences |  | 5200000 | iitk.ac.in/es | Working | Dating | From JICA, Japan |  |  |  | head_es@iitk.ac.in, smisra@iitk.ac.in
SYSCAL-RI Plus Resistivity Meter with 72 +48 electrodes | Resistivity meter | ESB3 | Iris instrument | Syscal R1 plus switch 72 | 12692-432309240-1051 | Internal Funding | ES |  |  | Earth Sciences | Integrated Geophysical lab | 4506480 | www.iitk.ac.in/es | Working | Analytical Research | Makaster Pvt Ltd |  |  |  | animeshm@iitk.ac.in, head_es@iitk.ac.in
CG-6 Auto Grav (Scintrex) -Digital Gravimeter | Gravimeter | ESB3 | Scintrex | CG6 auto grave | 17040016 | Internal Funding | ES, Project |  |  | Earth Sciences | Integrated Geophysical lab | 8762462.5 | www.iitk.ac.in/es | Working | Analytical Research | Scintrex |  |  |  | animeshm@iitk.ac.in, head_es@iitk.ac.in
RAU, geophone and dongles | RAU | ESB3/ WLE | Sercel/ xplore technologies | Sercel RAU | 914jp0106g41200120M000 | Internal Funding | ES, SERB |  |  | Earth Sciences | Crustal imaging lab | 5761500 | www.iitk.ac.in/es | Working | Analytical Research | Sercel SA France |  |  |  | dghosal@iitk.ac.in, head_es@iitk.ac.in
ESS 1000 with 950-1000 pound Hammer | Thumper | WLE | Bobcat skid street (Gisco) | ESS1000+Tromino | 1127792 | Internal Funding | ES, SERB, ONGC |  |  | Earth Sciences | Crustal imaging lab | 4915150 | www.iitk.ac.in/es | Working | Analytical Research | Geological Intruments USA |  |  |  | dghosal@iitk.ac.in, head_es@iitk.ac.in
Spectroradiometer SVC | Spectroradiometer | HB Lab | Spectra Vista Corporation | SVC-XHR-1024i | 3025 | Internal Funding | SERB, MOWR, AvH Foundation |  |  | Earth Sciences | HB LAb | 5670000 | iitk.ac.in/es | Working | Field Survey | Sinsil International | sinsilbrd@gmail.com |  |  | head_es@iitk.ac.in, rsinha@iitk.ac.in
Hyperspectral Camera AFX 17 | Hyperspectral Camera | HB Lab | Specim Spectral Imaging Ltd | AFX17 | A2110091 | Internal Funding | SERB |  |  | Earth Sciences | HB LAb | 5334244 | iitk.ac.in/es | Working | Field Survey | ATOS Instruments Marketing |  |  |  | head_es@iitk.ac.in, rsinha@iitk.ac.in
LiDAR camera MARSS MID 40-01-01 | LiDAR camera MARSS | HB Lab | Dilabs Systems Pvt Ltd | MARSS MID 40-01-01 | MRS-60956 | Internal Funding | SERB |  |  | Earth Sciences | HB LAb | 2578855 | iitk.ac.in/es | Working | Field Survey | Dilabs Systems Pvt Ltd | bramhachar.m@dilabs.in |  |  | head_es@iitk.ac.in, rsinha@iitk.ac.in

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE