## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
Nuclear Magnetic Resonance | NMR | Central Analytical Instrumentation Facility, MIT, MAHE,Manipal | Bruker | Bruker Ascend 400 MHz | 244 | Internal Funding | Institution | NA | Provides a detailed method of qualitative and quantitative chemical analysis for molecular compounds.Used in for determining the three dimensional structure of proteins, nucleic acids and other macromolecules | Central Analytical Instrumentation Facility(CAIF) | Central Analytical Instrumentation Facility(CAIF), MIT, MAHE | 13359282 | https://caif.manipal.edu | Active | Research | Bruker India Scientific Pvt.Ltd | Vignesh.Selvaraj@bruker.com, cvm@bruker.in/cv.manjunath@bruker-biospin.in | CAIF,MIT, MAHE | caif.mit@manipal.edu | caif.mit@manipal.edu, a.rao@manipal.edu, vishwanath.managuli@manipal.edu
UV-VIS-NIR Spectrophotometer | NIR | Central Analytical Instrumentation Facility, MIT, MAHE,Manipal | Shimadzu | UV 3600 | A11294901038 | Internal Funding | Institution | NA | For the applications such as transmittance and reflectance properties of flat panel display screens, paint films, thin films and solutions etc.To compute the optical constants of the given specimen such as refractive index, extinction coefficient, absorption coefficient.To find the thickness of the sample in the case of thin films. | Central Analytical Instrumentation Facility(CAIF) | Central Analytical Instrumentation Facility(CAIF), MIT, MAHE | 1900000 | https://caif.manipal.edu | non-functional | Research | Toshvin Analytical Pvt Ltd | blr.service@toshvin.com; blr.service1@toshvin.com;support@toshvin.com | CAIF,MIT, MAHE | caif.mit@manipal.edu | caif.mit@manipal.edu, a.rao@manipal.edu, vishwanath.managuli@manipal.edu
Scanning Electron Microscope - Energy Dispersive X-Ray Analysis | SEM - EDS | Central Analytical Instrumentation Facility, MIT, MAHE,Manipal | Carl Zeiss | EVO MA18 with Oxford EDS(X-act) | EVO18-15-57 | Internal Funding | Institution | NA | Find Morphology of the given samples (bulk samples, thin film samples) With an attached EDS, compositional analysis can be done. It is essential for finding the various components present in the given specimen. It is a versatile instrument for the measurement of grain size and the cluster formation in samples and measures the thickness of given specimen.. | Central Analytical Instrumentation Facility(CAIF) | Central Analytical Instrumentation Facility(CAIF), MIT, MAHE | 10659478 | https://caif.manipal.edu | Active | Research | Carl Zeiss India (Bangalore) Pvt. Ltd. , Bangalore | mikroservice.india@zeiss.com;sailaja.b@zeiss.com;ravi.sasthavu@zeiss.com;prakash.thiyagarajan@zeiss.com | CAIF,MIT, MAHE | caif.mit@manipal.edu | caif.mit@manipal.edu, a.rao@manipal.edu, vishwanath.managuli@manipal.edu
Atomic Force Microscope | AFM | Central Analytical Instrumentation Facility, MIT, MAHE,Manipal | Bruker | Innova SPM | 42462IN010 | External Funding | DST, Govt. of India | NA | Widely used for finding the surface morphology of the samples.Surface roughness can be measured and it is an indirect method for morphological analysis of the sample.Phase imaging can be performed | Central Analytical Instrumentation Facility(CAIF) | Central Analytical Instrumentation Facility(CAIF), MIT, MAHE | 4646401 | https://caif.manipal.edu | Active | Research | Bruker India Scientific Pvt.Ltd | Ashar.Abu_Zubaida@bruker.com;Bixam.Manthri@bruker.com;Shamjith_Khan.KC@bruker.com | CAIF,MIT, MAHE | caif.mit@manipal.edu | caif.mit@manipal.edu, a.rao@manipal.edu, vishwanath.managuli@manipal.edu
X-Ray Diffractometer | XRD | Central Analytical Instrumentation Facility, MIT, MAHE,Manipal | Rigaku | Rigaku Miniflex 600 (5th gen ) | ID34593 | Internal Funding | Institution | NA | X-ray diffractometer is a versatile instrument commonly used for the structural characterization. Sample crystallinity, grain size can be found both in the case of thin films and bulk samples. | Central Analytical Instrumentation Facility(CAIF) | Central Analytical Instrumentation Facility(CAIF), MIT, MAHE | 3935160 | https://caif.manipal.edu | Active | Research | IR Technology Services Pvt Ltd | service_blr@irtech.in;basavaraj_sp@irtech.in;goudar_bs@irtech.in | CAIF,MIT, MAHE | caif.mit@manipal.edu | caif.mit@manipal.edu, a.rao@manipal.edu, vishwanath.managuli@manipal.edu
FTIR Spectrometer | FTIR | Central Analytical Instrumentation Facility, MIT, MAHE,Manipal | Bruker | Bruker Alpha II | 211887 | Internal Funding | Institution | NA | FTIR ATR mode provides infrared spectrum of absorption or transmittance of a solid and liquid materials to identify the functional groups. | Central Analytical Instrumentation Facility(CAIF) | Central Analytical Instrumentation Facility(CAIF), MIT, MAHE | 1947000 | https://caif.manipal.edu | Active | Research | Labindia Analytical Instruments Pvt Ltd | servicebglr@inkarp.co.in | CAIF,MIT, MAHE | caif.mit@manipal.edu | caif.mit@manipal.edu, a.rao@manipal.edu, vishwanath.managuli@manipal.edu
PL Spectrophotometer with life time measurements | PL | Central Analytical Instrumentation Facility, MIT, MAHE,Manipal | Horiba | HORIBA Fluorolog-QM™ | FQ310024062A00244 | Internal Funding | Institution | NA | PL-TCSPC provides the measurement of fluorescence emission intensity, Photoluminescence Quantum Yield, fluorescence lifetime(nano seconds and micro seconds), emission in the near-infrared range(850nm to 1550nm). | Central Analytical Instrumentation Facility(CAIF) | Central Analytical Instrumentation Facility(CAIF), MIT, MAHE | 14575497.3 | https://caif.manipal.edu | Active | Research | M/S Horiba Instruments Incorporated | info.sci@horiba.com | CAIF,MIT, MAHE | caif.mit@manipal.edu | caif.mit@manipal.edu, a.rao@manipal.edu, vishwanath.managuli@manipal.edu
Dynamic Light Scattering And Zeta Potential Analyzer | DLS | Central Analytical Instrumentation Facility, MIT, MAHE,Manipal | Malvern | Malvern_Zetasizer Lab Pro, (Blue label) ZSU3200 | MAL1310601 | Internal Funding | Institution | NA | Zetasizer instrument provides size distribution of metallic colloids, metal oxides and pigments and their Zeta potential values (surface charge) | Central Analytical Instrumentation Facility(CAIF) | Central Analytical Instrumentation Facility(CAIF), MIT, MAHE | 5492900.01 | https://caif.manipal.edu | Active | Research | Aimil Instrumentation and Technologies Ltd | info@aimil.com, arjunau@aimil.com | CAIF,MIT, MAHE | caif.mit@manipal.edu | caif.mit@manipal.edu, a.rao@manipal.edu, vishwanath.managuli@manipal.edu
Differential Scanning Calorimetry | DSC | Central Analytical Instrumentation Facility, MIT, MAHE,Manipal | PerkinElmer | PerkinElmer DSC 6000 | 523A23061205 | Internal Funding | Institution | NA | Differential Scanning Calorimetry (DSC) measures the heat flow into or from a sample as it is heated, cooled or held under isothermal conditions. Testing capabilities: Temperature range: -80 °C to 450 °C Controlled heating / cooling rates: 0.1 to 100 °C/min | Central Analytical Instrumentation Facility(CAIF) | Central Analytical Instrumentation Facility(CAIF), MIT, MAHE | 3717000 | https://caif.manipal.edu | Active | Research | Spectralytic Scientific India Pvt Ltd | India.Servicesupport@PERKINELMER.COM | CAIF,MIT, MAHE | caif.mit@manipal.edu | caif.mit@manipal.edu, a.rao@manipal.edu, vishwanath.managuli@manipal.edu
Thermogravimetric Analyzer | TGA-DTA | Central Analytical Instrumentation Facility, MIT, MAHE,Manipal | PerkinElmer | PerkinElmer STA 6000 (TGA & DTA) with auto sampler | 521B23012705 | Internal Funding | Institution | NA | Simultaneous Thermal Analyzer (STA) is a simultaneous technique that determines the weight change of a sample (TG) and measures the change in temperature between a sample and the reference as a function of temperature and/or time (DTA). Hyphenation upgrade option to identify outgassing products | Central Analytical Instrumentation Facility(CAIF) | Central Analytical Instrumentation Facility(CAIF), MIT, MAHE | 3483000.1 | https://caif.manipal.edu | Active | Research | Spectralytic Scientific India Pvt Ltd | India.Servicesupport@PERKINELMER.COM | CAIF,MIT, MAHE | caif.mit@manipal.edu | caif.mit@manipal.edu, a.rao@manipal.edu, vishwanath.managuli@manipal.edu
Brunauer-Emmett-Teller(BET) surface area and pore size analyser | BET | Central Analytical Instrumentation Facility, MIT, MAHE,Manipal | Microtrac | MICROTRAC – BELSORP MINI X, Belprep Vacc11 | 0336,A607 | Internal Funding | Institution | NA | BET (Brunauer-Emmett-Teller) method for specific surface area determination and Barrett-Joyner-Halenda(BJH)method for pore size distribution. | Central Analytical Instrumentation Facility(CAIF) | Central Analytical Instrumentation Facility(CAIF), MIT, MAHE | 3500000 | https://caif.manipal.edu | Active | Research | Verder Scietific Private Limited | info.scientific.in@verder.com, pamidipati.varma@verder.com | CAIF,MIT, MAHE | caif.mit@manipal.edu | caif.mit@manipal.edu, a.rao@manipal.edu, vishwanath.managuli@manipal.edu
Gas Chromatography-Mass Spectrometry | GC-MS/MS | Central Analytical Instrumentation Facility, MIT, MAHE,Manipal | Agilent | G7000E,Agilent 8890 GC | US2342UB09,CN2411A120 | Internal Funding | Institution | NA | GCMS/MS provides, Full Scan . Single ion monitoring (SIM) modes analysis. Multiple reaction monitoring (MRM) mode analysis. | Central Analytical Instrumentation Facility(CAIF) | Central Analytical Instrumentation Facility(CAIF), MIT, MAHE | 18644000 | https://caif.manipal.edu | Active | Research | Agilent Technologies India Pvt Ltd | nithin.p-b@agilent.com | CAIF,MIT, MAHE | caif.mit@manipal.edu | caif.mit@manipal.edu, a.rao@manipal.edu, vishwanath.managuli@manipal.edu
Real Time Simulator | R T Simulator | Central Analytical Instrumentation Facility, MIT, MAHE,Manipal | Quarbz Info Systems | Make: Typhoon HIL GmbH, Switzerland, Model: HIL 604 | 00604-14-11575 | Internal Funding | Institution | NA | The Typhoon HIL 604 used testing and validating power electronics and microgrid control systems | Central Analytical Instrumentation Facility(CAIF) | Central Analytical Instrumentation Facility(CAIF), MIT, MAHE | 4999660 | https://caif.manipal.edu | Active | Research | Quarbz Info Systems | rajesh@quarbz.com | CAIF,MIT, MAHE | caif.mit@manipal.edu | caif.mit@manipal.edu, a.rao@manipal.edu, vishwanath.managuli@manipal.edu
High-Performance Liquid Chromatography | HPLC | Central Analytical Instrumentation Facility, MIT, MAHE,Manipal | Waters Pacific | Waters 1525, Waters 2707 Autosampler | L225CH236G,J23707017Z | Internal Funding | Institution | NA | High Performance Liquid Chromatography(HPLC) coupled with Photodiode array(PDA) detector enables to determine the purity of the sample (consisting of chromophore groups). | Central Analytical Instrumentation Facility(CAIF) | Central Analytical Instrumentation Facility(CAIF), MIT, MAHE | 3429287.38 | https://caif.manipal.edu | Active | Research | Waters Pacific Pvt Ltd | Gurubasavaraj_HM@waters.com; Anish_Vijay@waters.com | CAIF,MIT, MAHE | caif.mit@manipal.edu | caif.mit@manipal.edu, a.rao@manipal.edu, vishwanath.managuli@manipal.edu
Auto Lab/Potentiostat | AUTOLAB | Central Analytical Instrumentation Facility, MIT, MAHE,Manipal | Metrohm Autolab | Metrohm- PGstat 302N, Autolab -Booster 20A | AUT89236, MSB 70503 | Internal Funding | Institution | NA | ECAT Complete Package with different modules and accessories such as PGSTAT302N with FRA32M module, Multichannel PGSTAT module, RDE electrode, GC disk, and Pt ring electrode for rotating ring disk electrode (RRDE). In addition, a 10 A booster for high-performance electrochemical analysis. | Central Analytical Instrumentation Facility(CAIF) | Central Analytical Instrumentation Facility(CAIF), MIT, MAHE | 7428386.12 | https://caif.manipal.edu | Active | Research | Metrohm India Pvt Ltd | info@metrohm.in | CAIF,MIT, MAHE | caif.mit@manipal.edu | caif.mit@manipal.edu, a.rao@manipal.edu, vishwanath.managuli@manipal.edu
High Resolution X-Ray Diffractometer | HR-XRD | Central Analytical Instrumentation Facility, MIT, MAHE,Manipal | Rigaku | SmartLab 9KW | BD74000155 | Internal Funding | Institution | NA | A highly versatile automated X-ray diffraction (XRD) system offering refinement of the ease-of-use features. A few of its features include automatic alignment, component recognition, cross-beam optics and a 2D detector. This model offers high-resolution X-ray diffraction analyzers engineered to provide the best performance in all X-ray diffraction or scattering applications by offering not only breakthrough hardware but also advanced "User Guidance" functionality within the software to establish a new industry standard for multipurpose X-ray diffractometers. | Central Analytical Instrumentation Facility(CAIF) | Central Analytical Instrumentation Facility(CAIF), MIT, MAHE | 25065347.4 | https://caif.manipal.edu | Active | Research | IR Technology Services Pvt Ltd | service_blr@irtech.in | CAIF,MIT, MAHE | caif.mit@manipal.edu | caif.mit@manipal.edu, a.rao@manipal.edu, vishwanath.managuli@manipal.edu
Field emission scanning electron microscopy | FESEM | Central Analytical Instrumentation Facility, MIT, MAHE,Manipal | ThermoFisher | Apreo 2S | 9964164 | Internal Funding | Institution | NA | FE-SEM can achieve imaging for magnifications up to 1 million times and is used for detailed surface analysis and elemental composition with techniques like Energy Dispersive X-ray Spectroscopy (EDX). | Central Analytical Instrumentation Facility(CAIF) | Central Analytical Instrumentation Facility(CAIF), MIT, MAHE | 46957902.2 | https://caif.manipal.edu | Active | Research | Thermo Fisher Scientific India Pvt. Ltd. | ininfo@thermofisher.com, sunil.malode@thermofisher.com | CAIF,MIT, MAHE | caif.mit@manipal.edu | caif.mit@manipal.edu, a.rao@manipal.edu, vishwanath.managuli@manipal.edu
X-ray Photoelectron Spectroscopy | XPS | Central Analytical Instrumentation Facility, MIT, MAHE,Manipal | ThermoFisher | K - ALPHA | 9963990 | Internal Funding | Institution | NA | X- ray Photoelectron Spectroscopy measurement involves elemental analysis(survey and core spectra), depth profiling, angle resolved XPS and work function determination(UPS mode). | Central Analytical Instrumentation Facility(CAIF) | Central Analytical Instrumentation Facility(CAIF), MIT, MAHE | 49814522.09 | https://caif.manipal.edu | Active | Research | Thermo Fisher Scientific India Pvt. Ltd. | ininfo@thermofisher.com, shivananda.k.s@thermofisher.com | CAIF,MIT, MAHE | caif.mit@manipal.edu | caif.mit@manipal.edu, a.rao@manipal.edu, vishwanath.managuli@manipal.edu

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE