## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Equipment Description | Department Name* | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Alert to be sent (Email id)*
Fiber Photometry | Fiber Photometry | Animal Facilty, Behaviour Room (HM Lab) | RWD | RWD | RWDR821 | Internal | IISER Mohali |  | Department of Biological Sciences |  | 2499400 | https://www.rwdstco.com/product-item/r821-tricolor-multichannel-fiber-photometry-system/ |  | Characterization | hasan@iisermohali.ac.in
Tapestation instrument | Tapestation | Department of Biological Sciences | Agilent Technologies | Agilent 4150 | DEDAB04285 | Internal | IISER Mohali |  | Department of Biological Sciences |  | 2172180 | https://www.agilent.com/store/en_US/Prod-G2992AA/G2992AA |  | Characterisation/Analytical/Testing Equipment | sadhancdas@iisermohali.ac.in
4D-Nucleofector | Nucleofector | Own laboratory 2TL2 E | Lonza Bioscience | Lonza 4D-Nucleofector | X Unit - 922X2638, Core Unit - 922B2780 | Internal | IISER Mohali |  | Department of Biological Sciences |  | 2499843 | https://bioscience.lonza.com/lonza_bs/IN/en/Transfection/p/000000000000276883/4D-Nucleofector-X-Unit#:~:text=Product%20Overview,available%20in%20our%20knowledge%20database |  | Characterisation/Analytical/Testing Equipment | sadhancdas@iisermohali.ac.in
Customized Femtosecond Regenerative Amplifier | REGA | AB1-1L3 | Coherent (USA) | LibraUSP-HE-1K-220 | SSC.1164267.10042 | Internal | IISER Mohali |  | Department of Chemical Sciences |  | 16534930 | https://www.coherent.com/lasers/amplifiers |  | Charachterization | akde@iisermohali.ac.in
Customzed Transient Absoption Spectrometer | TAS | AB1-1L3 | Newport (USA) | 18SI80411 | 1001 | Internal | IISER Mohali |  | Department of Chemical Sciences |  | 5196262 | https://www.newport.com/f/transient-absorption-spectrometer |  | Charachterization | akde@iisermohali.ac.in
Acousto-Optic Programmable Dispersive Filter Pulse shaper | AOPDF | AB1-1L3 | Fastlite (France) | DAZZLER WR510-950 | GZ0534 | Internal | IISER Mohali |  | Department of Chemical Sciences |  | 5076040 | https://amplitude-laser.com/add_ons/pulse-management/dazzler/ |  | Charachterization | akde@iisermohali.ac.in
Customized Electron Multiplier Charge-Coupled Device spectrograph | EM CCD | AB1-1L3 | Andor (UK) | SR-303i-A | SR2692 | External | Early Career Research Award, SERB, DST,India (Grant no. ECR/2016/00467) | Optical spectroscopy of trapped (and patterned) nano-particles and (macro)molecules in solution | Department of Chemical Sciences |  | 3459594 | https://andor.oxinst.com/products/ixon-emccd-camera-series/ixon-ultra-888 |  | Charachterization | akde@iisermohali.ac.in
Non-collinear Optical Parametric Amplifier | NOPA | AB1-1L3 | Light Conversion (Lithuania) | TW8U1 | T15373 | Internal | IISER Mohali |  | Department of Chemical Sciences |  | 16534930 | https://www.coherent.com/lasers/amplifiers |  | Charachterization | akde@iisermohali.ac.in
Fluorscence stereomicroscope |  | AB2-3A, Academic Block II, IISER Mohali | Nikon | SMZ18 |  | External | SERB, DST, India | Microbial diet-mediated lifespan enhancement via host lipid metabolism | Department of Biological Sciences |  | 2495500 |  |  | Characterisation/Analytical/Testing Equipment | jogender@iisermohali.ac.in
Liquid Handling System | LHS | Level 3, AB-2 | TECAN | FREEDOM EVO 150 | 1405005167 | Internal | IISER Mohali |  | Department of Biological Sciences |  | 10816700 | https://lifesciences.tecan.com/freedom-evo-platform |  | Characterisation/Analytical/Testing Equipment) | service@bioscreen.in
Singer RoToR HDA | Pinning Robot | Level 3, AB-2 | SINGER INSTRUMENTS | Singer RoToR HDA | R13099-100R | Internal | IISER Mohali |  | Department of Biological Sciences |  | 5379406 | https://www.singerinstruments.com/solution/rotor/ |  | Characterisation/Analytical/Testing Equipment) | adam@singerinstruments.com
Real time PCR/qPCR system | qPCR | Level 4, AB1 | ThermoFisher Scientific | QSTUDIO 6 FLEX-96WELL INST-LPTP 1 | 278860307 | Internal | IISER Mohali |  | Department of Biological Sciences |  | 2300000 | https://www.thermofisher.com/order/catalog/product/4485692 |  | Characterisation/Analytical/Testing Equipment) | digital.support@thermofisher.com
High-performance liquid chromatography system | HPLC | Level 3, AB-2 | Shimadzu | Semi-Prep Automated LC-20AR PDA | L20236244537 | External and Internal | DBT Wellcome Trust and Institute | Mechanistic insights into the regulation of fatty acid metabolism by envelope stress response pathways in bacteria | Department of Biological Sciences |  | 5310000 | https://spincotech.com/product/p-series/ |  | Characterisation/Analytical/Testing Equipment) | vishal.katoch@spincotech.com
Spinnning disk confocal microscope | Spinnning disk confocal microscope | Laboratory of Prof. Mahak Sharma, 3TL1, AB-2 IISER Mohali | Evident Scientific (Distributors DSS Imagetech) | IX83 Spinning disk confocal microscope | 3B85101 | External and Internal | DBT Wellcome Trust India alliance Senior Biomedical Fellowship and IISER Mohali | Mechanisms regulating membrane fusion with lysosomes and lysosome reformation | Department of Biological Sciences |  | 20200000 | www.dssimage.com |  | Analytical | headbiology@iisermohali.ac.in , msharma@iisermohali.ac.in
Preparative Ultracentrifuge | Preparative Ultracentrifuge | DBS Common Equipment facility, Academic Block-2 IISERMohali | Beckman Coulter | Optima XPN-100 | XPN14E32 | Internal | IISER Mohali |  | Department of Biological Sciences |  | 3548509 | https://www.mybeckman.in/centrifuges/ultracentrifuges/optima-xpn |  | Analytical | osbio1@iisermohali.ac.in, headbiology@iisermohali.ac.in, msharma@iisermohali.ac.in
Gas Chromatography | GC | AB2-5L2 | Shimadzu | Customized for hydrogen detection (10 ppm V/V) GC-2014 | C121656 | Internal | IISER Mohali | Green hydrogen production using photocatalysts | Department of Chemical Sciences |  | 2800000 |  |  | Analytical equipment | headchemistry@iisermohali.ac.in, ujjalgautam@iisermohali.ac.in
Atomic force microscopy | AFM | AB2-1L2 | Park Systems Corp. | XE7 | SE7740118 | Internal | IISER Mohali | Green hydrogen production using photocatalysts | Department of Chemical Sciences |  | 4000000 |  |  | Characterization | headchemistry@iisermohali.ac.in, ujjalgautam@iisermohali.ac.in
BET surface area analyzer | BET | AB2-1L2 | Quantachrome Instruments | Quantachrome Autosorb-iQ-C-XR | 1050001191 | Internal | IISER Mohali | Green hydrogen production | Department of Chemical Sciences |  | 4400000 |  |  | Analytical | headchemistry@iisermohali.ac.in, ujjalgautam@iisermohali.ac.in
Particle size and zeta potential analyzer | Zeta sizer | AB2-5D | Malvern panalytical limited | Zetasizer Advance Series Lab 1001907 | 100011539 | Internal | IISER Mohali | Chemistry teaching lab | Department of Chemical Sciences |  | 3100000 |  |  | Analytical | headchemistry@iisermohali.ac.in, ujjalgautam@iisermohali.ac.in
Nikon A1 Confocal | Confocal | 1TL1, AB-1, IISER Mohali | Nikon | A1 Confocal | A1-SHS 10225 | Internal | IISER Mohali |  | Department of Biological Sciences |  | 12754656 |  |  | Characterisation | rajeshra@iisermohali.ac.in
Fluorimeter | Fluorimeter | 5D-AB2 | Agilent Technologies India Pvt. Ltd. | Cary Eclipse | MY2448CG01 | Internal | IISER Mohali | Teaching lab funds 2024-25 | Department of Chemical Sciences |  | 2239999 | https://web.iisermohali.ac.in/dept/dcs/ |  | Characterisation/Analytical/Testing Equipment | headchemistry@iisermohali.ac.in, dcs@iisermohali.ac.in
Raman Spectrometer | Raman Spectrometer | 5TL4-AB1 | Anton Paar India Pvt. Ltd. | Cora 7200 | 99041670 | Internal | IISER Mohali | Teaching lab funds 2020-21 | Department of Chemical Sciences |  | 2873099 |  |  | Characterisation/Analytical/Testing Equipment | headchemistry@iisermohali.ac.in
60 MHz Benchtop NMR | NMR | IISER Mohali | Nanalysis | NMReady-60 Quad |  | External | DST Swarnajayanti fellowship | New Hypothesis-Driven Strategies in Catalysis: Total Synthesis of Bioactive Natural Products and Pharmaceutically Important Compounds | Department of Chemical Sciences |  | 4846409 | https://www.nanalysis.com |  | Analytical | headchemistry@iisermohali.ac.in, ramsastrys@gmail.com
Gas Absorption System | BET | Academic Block 1 | Quantachrome Instruments | AUTOSORB IQ-XR-XR (2 Stat.) Viton | 1050002518 | Internal | IISER Mohali | Characterisation of porous materials | Department of Chemical Sciences |  | 3980315 | NA |  | Characterisation | headchemistry@iisermohali.ac.in, skpal@iisermohali.ac.in
Fluorescence Microscope | FM | AB2, 4TL1 | CARL ZEISS INDIA (BANGALORE) PVT. LTD. | Colibri 7- Illumination module RGB-UV 4230529710000 | 5438000773 | Internal | IISER Mohali |  | Department of Chemical Sciences |  | 2850000 | www.zeiss.co.in |  | Characterisation Equipment | headchemistry@iisermohali.ac.in, smaiti@iisermohali.ac.in
Glove Box Work Station | GB | 5L1, AB1 | Mbraun | UNI LAB [1200/780] | 6924 | Internal | IISER Mohali |  | Department of Chemical Sciences |  | 3140000 | Inkarp/M Barun/ IISER-Chem/AP/2008/045 |  | Fabrication Equipment | headchemistry@iisermohali.ac.in, sanjaysingh@iisermohali.ac.in
Glove Box Work Station | GB+SPS | 5L1, AB1 | Mbraun | UNI LAB Plus SP | 10544 | Internal | IISER Mohali |  | Department of Chemical Sciences |  | 4700000 | Inkarp/SG/MB/ IISERM/2014-15/57 |  | Fabrication Equipment | headchemistry@iisermohali.ac.in, sanjaysingh@iisermohali.ac.in
Solvent Purification System | SPS | 5L1, AB1 | Mbraun | MB-SPS STANS 7 SOLVENT1601001 | 9354 | Internal | IISER Mohali |  | Department of Chemical Sciences |  | 3080000 | Inkarp/M Barun/ IISER/SG/2012-13/126 |  | Fabrication Equipment | headchemistry@iisermohali.ac.in
Size-Exclusion Chromatography or Gel-permiation Chromatography | SEC or GPC | AB2-4TL2 | MALVERN Panalytical Ltd | GPC512 | MAL1208100 | Institute | IISER Mohali | Start-up Grant | Department of Chemical Sciences |  | 3067140 | https://rajkumariisc.wixsite.com/polymergroup/facilities |  | Characterisation of macromolecules | headchemistry@iisermohali.ac.in, raj@iisermohali.ac.in
Glove box | Glove box | AB2-4TL1, KRV lab | ProRes Scientific LLP | ProLab GB II | 508787 | Internal | IISER Mohali | Molecular Magnetism | Department of Chemical Sciences |  | 3332556 | www.proresscientific.in |  | Testing equipment | headchemistry@iisermohali.ac.in, vigneshkuduvar@iisermohali.ac.in
Vibratome | Vibratome | HM Lab, DR3, AB1 | Leica | Leica | VT1200S | Internal | IISER Mohali |  | Department of Biological Sciences |  | 2170000 | https://www.leicabiosystems.com/en-in/research/vibratomes/leica-vt1200-s/ |  | Experimental | hasan@iisermohali.ac.in

## Worksheet 1 (hidden)
NEHU Internal Funds
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Internal Resource Generation
SRIC Development Fund
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Vinayaka Missions Research Foundation
NITTTR Bhopal
ICAR-CMFRI
Ministry of Textiles
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
DBT, Govt. of India
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
Minister of Labour and Employment
Central Water Commission CWC
National Mineral Exploration and Development Trust
CSIR, Govt. of India
DST, Govt. of India
ICFRE