## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
Universal Testing Machine with Accessories | UTM | Mechanical Lab | H100KS 0081 | H100KS-0081 | H100KS-0081 | External | Govt. of India |  | Testing of mechanical Properties (Tensile, Flexural, Compressivbe, Tear, Shear, Puncture,etc.) | Plastic Testing Laboratory | Mechanical Lab | 1920000 |  | Working | Testing Equipment | Hounsfield Test Equipment |  | Aimil Limited |  | testing-haldia@cipet.gov.in
Tensile Testing Machine (Analog) | - | Mechanical Lab | Nil 2020 | Nil – 2020 | Nil – 2020 | External | Govt. of India |  | Tensile Testing | Plastic Testing Laboratory | Mechanical Lab | 500000 |  | Working | Testing Equipment | Elmech Engineering Industries |  | Elmech Engineering Industries | elmecheng@yahoo.co.in | testing-haldia@cipet.gov.in
Izod Charpy Impact tester | - | Mechanical Lab | Tinius Olsen | Tinius Olsen | Tinius Olsen | External | Govt. of India |  | Impact Strength | Plastic Testing Laboratory | Mechanical Lab | 2500000 |  | Working | Testing Equipment | Tinius Olsen |  | Aimil Limited | kolkata@aimil.com | testing-haldia@cipet.gov.in
Co efficient of friction Tester | - | Mechanical Lab | 10 21003 | 10.21 | 10.21 | External | Govt. of India |  | Slip Test | Plastic Testing Laboratory | Mechanical Lab | 190000 |  | Working | Testing Equipment | ATSFAAR (ITALY) |  | Techscience Services Pvt. Ltd. |  | testing-haldia@cipet.gov.in
Abraser ( Taber ) Tester | - | Mechanical Lab | Taber Industries | 5131 | 5131 | External | Govt. of India |  | Abrasion Resistance Test | Plastic Testing Laboratory | Mechanical Lab | 1500000 |  | Working | Testing Equipment | Taber Industries | sales@taberindustries.com | Hemtek Instruments |  | testing-haldia@cipet.gov.in
Rockwell Hardness Tester | - | Mechanical Lab | Nil | Nil | Nil | External | Govt. of India |  | Hardness | Plastic Testing Laboratory | Mechanical Lab | 200000 |  | Working | Testing Equipment | S.C. Dey & Co. |  | S.C. Dey & Co. | info@scdey.com | testing-haldia@cipet.gov.in
Falling Dart Impact Tester for Film | - | Mechanical Lab | Fall Dart Film | Fall Dart Film | Fall Dart Film | External | Govt. of India |  | Dart Impact Test | Plastic Testing Laboratory | Mechanical Lab | 200000 |  | Working | Testing Equipment | CIPET, Ahmedabad |  | CIPET |  | testing-haldia@cipet.gov.in
Falling weight Impact Tester for pipe | - | Product Testing Lab | Elmech | Nil | Nil | External | Govt. of India |  | Impact Test of Pipe | Plastic Testing Laboratory | Product Testing Lab | 20000 |  | Working | Testing Equipment | Elmech Pneumatic industries Pvt. Ltd. |  | Elmech Pneumatic industries Pvt. Ltd. | elmecheng@yahoo.co.in | testing-haldia@cipet.gov.in
Burst strength tester for film | - | Product Testing Lab | 21 4856 | 21.4856 | 21.4856 | External | Govt. of India |  | Burst Strength Test | Plastic Testing Laboratory | Product Testing Lab | 50000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Deep Fridger | - | Product Testing Lab | Wadegati | Nil | Nil | External | Govt. of India |  | Conditioning of Sample at 0 Degree Centigrade | Plastic Testing Laboratory | Product Testing Lab | 200000 |  | Working | Testing Equipment | Wadegati Labequip Private Ltd. | wadegati@bom7.vsnl.net.in | Wadegati Labequip Private Ltd. | wadegati@bom7.vsnl.net.in | testing-haldia@cipet.gov.in
Cable Duct Friction test Arrangements | - | Product Testing Lab | Nil | Nil | Nil | External | Govt. of India |  | Testing of Cable duct | Plastic Testing Laboratory | Product Testing Lab | 150000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Notch Cutter ( Manual ) | - | Mechanical Lab | Nil | Nil | Nil | External | Govt. of India |  | Notch Cutting | Plastic Testing Laboratory | Mechanical Lab | 75000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Crush Resistance for Cable duct | - | Mechanical Lab | Nil | Nil | Nil | External | Govt. of India |  | Testing of Cable duct | Plastic Testing Laboratory | Mechanical Lab | 25000 |  | Working | Testing Equipment | S.C. Dey & Co. |  | S.C. Dey & Co. | info@scdey.com | testing-haldia@cipet.gov.in
Load Deformation Tester for Cable Duct | - | Mechanical Lab | Nil | Nil | Nil | External | Govt. of India |  | Testing of Cable duct | Plastic Testing Laboratory | Mechanical Lab | 35000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Flattening Test Apparatus | - | Mechanical Lab | Elmech | Nil | Nil | External | Govt. of India |  | Testing of Cable duct | Plastic Testing Laboratory | Mechanical Lab | 60000 |  | Working | Testing Equipment | Elmech engineering industries |  | Elmech engineering industries | elmecheng@yahoo.co.in | testing-haldia@cipet.gov.in
Opacity Tester | - | Mechanical Lab | Nil | Nil | Nil | External | Govt. of India |  | Opacity | Plastic Testing Laboratory | Mechanical Lab | 54000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Shore D Hardness Tester | - | Mechanical Lab | SHR D Gold | SHR – D- Gold | SHR – D- Gold | External | Govt. of India |  | Hardness | Plastic Testing Laboratory | Mechanical Lab | 25000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Shore A Hardness Tester | - | Mechanical Lab | SHR A Gold | SHR – A – Gold | SHR – A – Gold | External | Govt. of India |  | Hardness | Plastic Testing Laboratory | Mechanical Lab | 25000 |  | Working | Testing Equipment | Askib Engineers Pvt Ltd. |  | Askib Engineers Pvt Ltd. |  | testing-haldia@cipet.gov.in
Hydrostatic Pressure Testing Machine | HPT | Product Testing Lab | Nil | Nil | Nil | External | Govt. of India |  | Internal Pressure creep rupture test of pipe | Plastic Testing Laboratory | Product Testing Lab | 108000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Contour Cutter with Template | - | Product Testing Lab | 20006745 | 20006745 | 20006745 | External | Govt. of India |  | Specimen Preparation | Plastic Testing Laboratory | Product Testing Lab | 275000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Punching Press & Cutting Dies | - | Product Testing Lab | Nil | Nil | Nil | External | Govt. of India |  | Specimen Preparation | Plastic Testing Laboratory | Product Testing Lab | 75000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Muffle Furnace | - | Product Testing Lab | Muffle Fur | Muffle Fur | Muffle Fur | External | Govt. of India |  | Ashing Purpose | Plastic Testing Laboratory | Product Testing Lab | 25000 |  | Working | Testing Equipment | CIPET, Ahmedabad |  | CIPET |  | testing-haldia@cipet.gov.in
Muffle Furnace | - | Product Testing Lab | Nil | Nil | Nil | External | Govt. of India |  | Ashing Purpose | Plastic Testing Laboratory | Product Testing Lab | 30000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Muffle Furnace | - | Chemical Lab | Nil | Nil | Nil | External | Govt. of India |  | Ashing Purpose | Plastic Testing Laboratory | Chemical Lab | 11000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Hot Air Oven | - | Chemical Lab | Nil | Nil | Nil | External | Govt. of India |  | Conditioning | Plastic Testing Laboratory | Chemical Lab | 20000 |  | Working | Testing Equipment | CIPET, Ahmedabad |  | CIPET |  | testing-haldia@cipet.gov.in
Hot Air Oven | - | Chemical Lab | Nil | Nil | Nil | External | Govt. of India |  | Conditioning | Plastic Testing Laboratory | Chemical Lab | 20000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Hot Air Oven | - | Chemical Lab | Nil | Nil | Nil | External | Govt. of India |  | Conditioning | Plastic Testing Laboratory | Chemical Lab | 14500 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Melt flow Index Tester | MFI | Thermal Lab | Nil | Nil | Nil | External | Govt. of India |  | Melt flow Index/Rate Test | Plastic Testing Laboratory | Thermal Lab | 50000 |  | Working | Testing Equipment | CIPET, Ahmedabad |  | CIPET |  | testing-haldia@cipet.gov.in
Melt flow Index Tester (Microprocessor Controlled) | MFI | Thermal Lab | MFI 10 Sl No 256 | MFI – 10, Sl.No. – 256 | MFI – 10, Sl.No. – 256 | External | Govt. of India |  | Melt flow Index/Rate Test | Plastic Testing Laboratory | Thermal Lab | 60000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Modular Melt flow Tester | MFI | Thermal Lab | Nil | Nil | Nil | External | Govt. of India |  | Melt flow Index/Rate Test | Plastic Testing Laboratory | Thermal Lab | 1500000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Heat Deflection Temperature and Vicat Softening Temperature Tester | HDT & VST | Chemical Lab | HDT VST | H.D.T, V.S.P. | H.D.T, V.S.P. | External | Govt. of India |  | Deflection & Softening Temp. Test | Plastic Testing Laboratory | Chemical Lab | 80000 |  | Working | Testing Equipment | CIPET, Ahmedabad |  | CIPET |  | testing-haldia@cipet.gov.in
Microprocessor controlled Heat Deflection Temperature and Vicat Softening Temperature apparatus | HDT & VST | Thermal Lab | Nil | Nil | Nil | External | Govt. of India |  | Deflection & Softening Temp. Test | Plastic Testing Laboratory | Thermal Lab | 2000000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Carbon Black Content Tester | CBC | Chemical Lab | VT4826 | Nil | nil | External | Govt. of India |  | Carbon Black Conetnt Test | Plastic Testing Laboratory | Chemical Lab | 50000 |  | Working | Testing Equipment | International Equipments | inter@bom8.vsnl.net.in | International Equipments | inter@bom8.vsnl.net.in | testing-haldia@cipet.gov.in
Carbon Black Dispersion ( Hot Plate ) | CBD | Thermal Lab | CBD | C.B.D. | C.B.D. | External | Govt. of India |  | Dispersion Test | Plastic Testing Laboratory | Thermal Lab | 40000 |  | Working | Testing Equipment | CIPET, Ahmedabad |  | CIPET |  | testing-haldia@cipet.gov.in
Limiting Oxygen Index Tester | LOI | Chemical Lab | S N14362 | S/N-14362 | S/N-14362 | External | Govt. of India |  | Limiting Oxygen Index Test | Plastic Testing Laboratory | Chemical Lab | 1200000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Melting Point Apparatus | - | Thermal Lab | S1108 | S1108 | S1108 | External | Govt. of India |  | Melting point Test | Plastic Testing Laboratory | Thermal Lab | 75000 |  | Working | Testing Equipment | S.C. Dey & Co. |  | S.C. Dey & Co. | info@scdey.com | testing-haldia@cipet.gov.in
Water Bath | - | Product Testing Lab | Nil | Nil | Nil | External | Govt. of India |  | Conditioning | Plastic Testing Laboratory | Product Testing Lab | 86000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Environmental Stress Cracking Resistance Test Apparatus | ESCR | Chemical Lab | ESCR | ESCR | ESCR | External | Govt. of India |  | ESCR Test | Plastic Testing Laboratory | Chemical Lab | 58000 |  | Working | Testing Equipment | CIPET, Ahmedabad |  | CIPET |  | testing-haldia@cipet.gov.in
Weighting Balance | - | Thermal Lab | HR 200 | HR – 200 | HR – 200 | External | Govt. of India |  | Weight measurement | Plastic Testing Laboratory | Thermal Lab | 240000 |  | Working | Testing Equipment | A & D Co. Ltd. Ineternational |  | Afcoset Balances |  | testing-haldia@cipet.gov.in
Weighting Balance | - | Thermal Lab | TC 60 | TC-60 | TC-60 | External | Govt. of India |  | Weight measurement | Plastic Testing Laboratory | Thermal Lab | 75000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Microscope | - | Thermal Lab | CBD & 106 | CBD & 106 | CBD & 106 | External | Govt. of India |  | Magnify small objects | Plastic Testing Laboratory | Thermal Lab | 200000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Brookfield Viscometer | - | Mechanical Lab | Programmable DV II | Programmable DV – II+ | Programmable DV – II+ | External | Govt. of India |  | Viscosity | Plastic Testing Laboratory | Mechanical Lab | 700000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Low Temp Viscometric Bath | - | Chemical Lab | Nil | Nil | Nil | External | Govt. of India |  | Conditioning | Plastic Testing Laboratory | Chemical Lab | 1000000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Reversion Oil Bath | - | Product Testing Lab | Nil | Nil | Nil | External | Govt. of India |  | Reversion | Plastic Testing Laboratory | Product Testing Lab | 75000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Hot Plate | - | Chemical Lab | Nil | Nil | Nil | External | Govt. of India |  | Heating/ Evaporation | Plastic Testing Laboratory | Chemical Lab | 20000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Hot Plate | - | Chemical Lab | Nil | Nil | Nil | External | Govt. of India |  | Heating/ Evaporation | Plastic Testing Laboratory | Chemical Lab | 15000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Magnetic Stirrer | - | Chemical Lab | 1MLH | 1MLH | 1MLH | External | Govt. of India |  | Heating/ Evaporation | Plastic Testing Laboratory | Chemical Lab | 25000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Magnetic Stirrer | - | Chemical Lab | 2MLH | 2MLH | 2MLH | External | Govt. of India |  | Heating/ Evaporation | Plastic Testing Laboratory | Chemical Lab | 30000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Magnetic Stirrer | - | Chemical Lab | 5MLH | 5MLH | 5MLH | External | Govt. of India |  | Heating/ Evaporation | Plastic Testing Laboratory | Chemical Lab | 25000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Magnetic Stirrer | - | Chemical Lab | 5MLH | 5MLH | 5MLH | External | Govt. of India |  | Heating/ Evaporation | Plastic Testing Laboratory | Chemical Lab | 25000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Volume and Surface Resistivity | - | Mechanical Lab | SM 8220 | SM 8220 | SM 8220 | External | Govt. of India |  | Electrical Resistance | Plastic Testing Laboratory | Mechanical Lab | 275000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Vacuum Pump | - | Mechanical Lab | 2SP 45 | 2SP – 45 | 2SP – 45 | External | Govt. of India |  | Pumping Purpose | Plastic Testing Laboratory | Mechanical Lab | 53000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
pH Meter | - | Thermal Lab | 11E | 11E | 11E | External | Govt. of India |  | Ph Measurement | Plastic Testing Laboratory | Thermal Lab | 20000 |  | Working | Testing Equipment | Testing equipments & manufacturing Company |  | Testing equipments & manufacturing Company |  | testing-haldia@cipet.gov.in
Centrifuge | - | Chemical Lab | Model C 24BL | Model-C-24BL | Model-C-24BL | External | Govt. of India |  | Rotation/Revolution | Plastic Testing Laboratory | Chemical Lab | 123000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Tearing Tester | - | Mechanical Lab | Nil | Nil | Nil | External | Govt. of India |  | Tear Strength Test | Plastic Testing Laboratory | Mechanical Lab | 35000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Two Roll Mill | - | Product Testing Lab | Nil | Nil | Nil | External | Govt. of India |  | Compounding/mixing | Plastic Testing Laboratory | Product Testing Lab | 300000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Motorized Notch Cutter | - | Mechanical Lab | NOTCHVIS | NOTCHVIS | NOTCHVIS | External | Govt. of India |  | Notch Cutting | Plastic Testing Laboratory | Mechanical Lab | 980000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Notch Cutter | - | Mechanical Lab | Nil | Nil | Nil | External | Govt. of India |  | Notch Cutting | Plastic Testing Laboratory | Mechanical Lab | 25000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Hot stage Melting Point Apparatus | - | Rheological Lab | MELT POINT SNo 103 | MELT POINT SNo – 103 | MELT POINT SNo – 103 | External | Govt. of India |  | Melting point Test | Plastic Testing Laboratory | Rheological Lab | 100000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Dielectric Strength Tester | - | Mechanical Lab | Type 6135 054 Sl No 18693 | Type : 6135.054 Sl No.18693 | Type : 6135.054 Sl No.18693 | External | Govt. of India |  | Dielectric stength test/Insulation test | Plastic Testing Laboratory | Mechanical Lab | 1700000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Transparency Tester | - | Mechanical Lab | Nil | Nil | Nil | External | Govt. of India |  | Transparency Test | Plastic Testing Laboratory | Mechanical Lab | 182000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Vibration table | - | Product Testing Lab | Nil | Nil | Nil | External | Govt. of India |  | Vibration Test | Plastic Testing Laboratory | Product Testing Lab | 680000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Drop Impact Tester for bottle | - | Product Testing Lab | Nil | Nil | Nil | External | Govt. of India |  | Impact Test | Plastic Testing Laboratory | Product Testing Lab | 47000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Vacuum Oven | - | Chemical Lab | Nil | Nil | Nil | External | Govt. of India |  | Conditioning | Plastic Testing Laboratory | Chemical Lab | 120000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
QUV Accelerator Weatherometer | - | Mechanical Lab | QUV Spary | QUV-Spary | QUV-Spary | External | Govt. of India |  | Weather Resistance Test | Plastic Testing Laboratory | Mechanical Lab | 2500000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
QUV Accelerator Weatherometer | - | Mechanical Lab | QUV Spary | QUV-Spary | QUV-Spary | External | Govt. of India |  | Weather Resistance Test | Plastic Testing Laboratory | Mechanical Lab | 2500000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Atomic Absorption Spectrophotometer | AAS | Thermal Lab | AA 700 | AA 700 | AA 700 | External | Govt. of India |  | Elemental Analysis | Plastic Testing Laboratory | Thermal Lab | 3000000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Haze Meter | - | Mechanical Lab | Nil | Nil | Nil | External | Govt. of India |  | Haze | Plastic Testing Laboratory | Mechanical Lab | 29500 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Digital gloss meter | - | Mechanical Lab | Nil | Nil | Nil | External | Govt. of India |  | Glossyness | Plastic Testing Laboratory | Mechanical Lab | 75000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Compression Sheet Moulding Machine | - | Product Testing Lab | Nil | Nil | Nil | External | Govt. of India |  | Moulding | Plastic Testing Laboratory | Product Testing Lab | 100000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Conditioning Chamber | - | Product Testing Lab | Nil | Nil | Nil | External | Govt. of India |  | Conditioning | Plastic Testing Laboratory | Product Testing Lab | 40000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Resistance to Dichloromethane Tester | - | Chemical Lab | Elmech Pneumatic Industries Pvt. Ltd. | Elmech Pneumatic Industries Pvt. Ltd. | Elmech Pneumatic Industries Pvt. Ltd. | External | Govt. of India |  | Resistance to Dichloromethane Test | Plastic Testing Laboratory | Chemical Lab | 125665 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Tulu Pump (Atomic Absorption Spectrophotometer) | - | Chemical Lab | Nil |  |  | External | Govt. of India |  | Pumping Purpose | Plastic Testing Laboratory | Chemical Lab | 75000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Automatic High Air Compressor (2 Pcs) | - | Product Testing Lab | Nil | Nil | Nil | External | Govt. of India |  | compressed air | Plastic Testing Laboratory | Product Testing Lab | 200000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Barcol Hardness Tester | - | Mechanical Lab | Elmech | Elmech | Elmech | External | Govt. of India |  | Hardness | Plastic Testing Laboratory | Mechanical Lab | 36000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Vis Double Beam Spectrophotometer | - | Thermal Lab | Systronics | Systronics | Systronics | External | Govt. of India |  | Chemical Analysis | Plastic Testing Laboratory | Thermal Lab | 200000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Differential Scanning Calorimetry | DSC | Mechanical Lab | TA | TA | TA | External | Govt. of India |  | Thermal transition | Plastic Testing Laboratory | Mechanical Lab | 2700000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Microprocessor Karl Fisher Apparatus | - | Thermal Lab | Labtronics | Labtronics | Labtronics | External | Govt. of India |  | water Content Test | Plastic Testing Laboratory | Thermal Lab | 69148 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Notch Cutter for Slow Crack Growth Test | - | Product Testing Lab | DSH Equipments | DSH Equipments | DSH Equipments | External | Govt. of India |  | Notch Cutting of PE Pipes | Plastic Testing Laboratory | Product Testing Lab | 120000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Flammability Tester | - | Chemical Lab | Asian Test Equipments | Asian Test Equipments | Asian Test Equipments | Internal | CIPET |  | Flammabililty test | Plastic Testing Laboratory | Chemical Lab | 75000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Gas Chromatography | GC | Thermal Lab | Thermo Scientific | Thermo Scientific | Thermo Scientific | External | Govt. of India |  | Separation and measurement of organic molecules and gases | Plastic Testing Laboratory | Thermal Lab | 5000000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Weighing Balance (Digital) | - | Thermal Lab | Nil | Nil | Nil | Internal | CIPET |  | Weight measurement | Plastic Testing Laboratory | Thermal Lab | 40000 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Hydrostatic Pressure Testing Machine | HPT | Product Testing Lab | Elmech Pneumatic Industries Pvt. Ltd. | Elmech Pneumatic Industries Pvt. Ltd. | Elmech Pneumatic Industries Pvt. Ltd. | Internal | CIPET |  | Internal Pressure creep rupture test of pipe | Plastic Testing Laboratory | Product Testing Lab | 1153778 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Universal Testing Machine | UTM | Product Testing Lab | Hemtech PVT. LTD | Hemtech PVT. LTD | Hemtech PVT. LTD | Internal | CIPET |  | Testing of mechanical Properties (Tensile, Flexural, Compressivbe, Tear, Shear, Puncture,etc.) | Plastic Testing Laboratory | Product Testing Lab | 1923400 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in
Digital Weighing Balance | - | Thermal Lab | Mettler Toledo | Mettler Toledo | Mettler Toledo | Internal | CIPET |  | Weight measurement | Plastic Testing Laboratory | Thermal Lab | 191160 |  | Working | Testing Equipment |  |  |  |  | testing-haldia@cipet.gov.in

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
Test Funding Agency
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
INODE FAG
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
Testing Funding Agency
GIA
TestName12
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
TestFundingAgencySS
DME Government of Karnataka
I-STEM Funding at IISc
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE