## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
Vacuum Coating Unit |  | CRF LAB -I | Hind Hivac | Hind Hivac 12A4D | 2509 | External Funding | DST, Govt. of India | Optical study of Chalcogenide Glassy Alloys: Se84-xTe15Bi1.0Mx (Where M=Ag,Sn,In,Sb and x=0,2,4,6,8) |  | APS | CRF | 630871 | https://www.ncuindia.edu/central-research-facility/ | Working | Fabrication | M/S Hind High Vacuum Co. (P) Ltd, Site No 17, Phase-1, Peenya Industrial Area, Bangalore | info@hhvthermaltech.com | M/S Hind High Vacuum Co. (P) Ltd. | infotfod@hhvadvancedtech.com | chetnatyagi@ncuindia.edu
Weighing Balance Machine |  | CRF LAB -I | Shimadzu Corporation | SHIMADZU- AUY220 | D449815090 | Internal Funding | The NorthCap Univeristy, Gurugram |  |  | APS | CRF | 125000 | https://www.ncuindia.edu/central-research-facility/ | Working | Analatical Measuremnt |  | myshimadzu_an_mcg@group.shimadzu.co.jp | M/S Shimadzu Corporation | service@shimadzu.com | chetnatyagi@ncuindia.edu
Palletizer |  | CRF LAB -I | Metrex | Metrex01 | SPO/2012/01 | External Funding | DRDO, Govt of India | Investigation of structural, Magnetic and transport properties of doped nano manganites and multifarious materials |  | APS | CRF | 41000 | https://www.ncuindia.edu/central-research-facility/ | Working | Fabrication |  |  |  |  | chetnatyagi@ncuindia.edu
Hot Air Oven |  | CRF LAB -I | Sanjay Scientific Corporation | STC-72 | SPO/2012/02 | External Funding | DRDO, Govt of India | Investigation of structural, Magnetic and transport properties of doped nano manganites and multifarious materials |  | APS | CRF | 16313 | https://www.ncuindia.edu/central-research-facility/ | Working | Fabrication | M/S Sanjay Scientific Corporation, 65 U.A. Jawahar Nagar Delhi - 110007 | sanjayscientific@gmail.com | M/S Sanjay Scientific Corporation, | sanjayscientific@gmail.com | chetnatyagi@ncuindia.edu
Hot Plate with Magnetic Stirrer |  | CRF LAB -I | Shivaki | STC-72 | HDMS-4890 | Internal Funding | The NorthCap Univeristy, Gurugram |  |  | APS | CRF | 8000 | https://www.ncuindia.edu/central-research-facility/ | Working | Fabrication |  |  |  |  | chetnatyagi@ncuindia.edu
UV-VIS-NIR Spectrophotometer |  | CRF LAB -I | Agilent Technologies India (P) Ltd | Cary 5000 | MY13490001 | Internal Funding | The NorthCap Univeristy, Gurugram |  |  | APS | CRF | 2216977 | https://www.ncuindia.edu/central-research-facility/ | Working | Characterization | M/S Agilent Technologies India (P) Ltd; 3&4th Floor, C Block, RMZ Centennial, Industrial Area, Bangalore | india@agilent.com supportservices_india@agilent.com | M/S Agilent Technologies India (P) Ltd | customercare.india@agilent.com | chetnatyagi@ncuindia.edu
Centrifuge Machine |  | CRF LAB -I | Sanjay Scientific Corporation | REMI | IGLC-11075 | Internal Funding | The NorthCap Univeristy, Gurugram | Hydrocarbon by the alga botryococcus |  | APS | CRF | 20500 | https://www.ncuindia.edu/central-research-facility/ | Working | Fabrication | M/S Sanjay Scientific Corporation, 65 U.A. Jawahar Nagar Delhi - 110007 | sanjayscientific@gmail.com | M/S Sanjay Scientific Corporation | sanjayscientific@gmail.com | chetnatyagi@ncuindia.edu
Picoammeter/ Voltage Source |  | CRF LAB -I | Tektronix Asia Ltd. | 6487 | 4043683 | Internal Funding | The NorthCap Univeristy, Gurugram |  |  | APS | CRF | 363930 | https://www.ncuindia.edu/central-research-facility/ | Working | Characterization | M/S Tektronix Asia Ltd. 14150 SW Kari Braun Drive Beaverton, or 97077-0001 USA |  | M/S Tektronix Asia Ltd. |  | chetnatyagi@ncuindia.edu
High Temperature Furnace Metrex Temperature Range 1600 0C |  | CRF LAB -I | Scientific Instruments (P) Ltd | Matrex | CARS/SPO/2014/01 | External Funding | DRDO, Govt of India | Development of polyruethane coating for blast mitigation |  | APS | CRF | 250000 | https://www.ncuindia.edu/central-research-facility/ | Working | Fabrication | M/S Metrex Scientific Instruments (P) Ltd, WH-20, Mayapuri Industrial Aera, Phase – 1, N. Delhi - 110064 |  | M/S Metrex Scientific Instruments (P) Ltd |  | chetnatyagi@ncuindia.edu
Ultrasonic Bath |  | CRF LAB -I | Sanjay Scientific Corporation, | LABMAN | SPO/2013/01 | External Funding | DST, Govt. of India |  |  | APS | CRF | 16900 | https://www.ncuindia.edu/central-research-facility/ | Working | Fabrication | M/S Sanjay Scientific Corporation, 65 U.A. Jawahar Nagar Delhi - 110007 | sanjayscientific@gmail.com | M/S Metrex Scientific Instruments (P) Ltd | sanjayscientific@gmail.com | chetnatyagi@ncuindia.edu
Scanning Electron Microscope |  | CRF LAB -I | EmCrafts Co., Ltd. | Genesis 1000 | JEBE2S | Internal Funding | The NorthCap Univeristy, Gurugram |  |  | APS | CRF | 3146888 | https://www.ncuindia.edu/central-research-facility/ | Working | Characterization | M/S EmCrafts Co., Ltd. 254, Docheokro, Docheok-myeon Gwangju-si, Gyenggi-do, 12814 Korea | emcrafts.com/saies@emcrafts.com | M/S EmCrafts Co., Ltd. | alfatech@alfatechservices.com | chetnatyagi@ncuindia.edu
Spin Coater with Vacuum Pump |  | CRF LAB -I | Apex Instruments Co. Pvt. Ltd | EZ spin-ADV | EZSPINADVNA09 | Internal Funding | The NorthCap Univeristy, Gurugram |  |  | APS | CRF | 103500 | https://www.ncuindia.edu/central-research-facility/ | Working | Fabrication | M/S Scientific & Analytical Instruments F-5, Ground Floor, Okhla Industrial Area, Phase-1 New Delhi - | saies@sainanotech.com | M/S Scientific & Analytical Instruments | sales@apexicindia.com support@apexicindia.com | chetnatyagi@ncuindia.edu
Solar Simulator |  | CRF LAB -I | Sciencetech Inc | 601-150 | 000-1507 | External Funding | DST, Govt. of India | Study of polymer nanocomposites for solar cell applications |  | APS | CRF | 500000 | https://www.ncuindia.edu/central-research-facility/ | Working | Characterization | M/S Sciencetech Inc, 1450 Global Drive, London, Ontario, N6N 1 R3 Canada | sales@sciencetech-inc.com | M/S Sciencetech Inc | custsvcinen@ups.com | chetnatyagi@ncuindia.edu
Vacuum Oven 10x12 with Vacuum Pump |  | CRF LAB -I | Sanjay Scientific Corporation | Vacuum Oven 10x12” | EN837-1 | Internal Funding | The NorthCap Univeristy, Gurugram |  |  | APS | CRF | 52510 | https://www.ncuindia.edu/central-research-facility/ | Working | Fabrication | M/S Sanjay Scientific Corporation, 65 U.A. Jawahar Nagar Delhi - 110007 | sanjayscientific@gmail.com | M/S Sanjay Scientific Corporration | sanjayscientific@gmail.com | chetnatyagi@ncuindia.edu
Hydrothermal Autoclave Capacity |  | CRF LAB -I | TECHINSTRO | Autoclave |  | Internal Funding | The NorthCap Univeristy, Gurugram |  |  | APS | CRF | 24669 | https://www.ncuindia.edu/central-research-facility/ | Working | Fabrication | M/S TECHINSTRO Plot No 463, Roe No 17, Yadav Nagar, Nagpur, Maharashtra-440026 | info@techinstro.com | M/S TECHINSTRO | www.techinstro.com | chetnatyagi@ncuindia.edu
Hot Plate with Magnetic |  | CRF LAB -I | Labman | Capacity : 100ml | L26923 | Internal Funding | The NorthCap Univeristy, Gurugram |  |  | APS | CRF | 11800 | https://www.ncuindia.edu/central-research-facility/ | Working | Fabrication | M/S Tech Vision Enterprises C/704, Tulsi Aangan CHS, Behind Vanrai Complex, Katrap, Badlapur East, 421503 | techvisionenterprises@gmail.com | M/S Tech Vision Enterprises | techvisionenterprises@gmail.com | chetnatyagi@ncuindia.edu
Mechanical Stirrer |  | CRF LAB -I | REMI MOTORS | RQT-124A | JIUG-26600 | External Funding | DRDO, Govt of India | Development of polyruethane coating for blast mitigation |  | APS | CRF | 8000 | https://www.ncuindia.edu/central-research-facility/ | Working | Fabrication | M/S Sanjay Scientific Corporation, 65 U.A. Jawahar Nagar Delhi - 110007 | sanjayscientific@gmail.com | M/S Sanjay Scientific Corporration | sanjayscientific@gmail.com | chetnatyagi@ncuindia.edu
Viscometer |  | CRF LAB -I | FungiLab | VISCOLEAD ONE | ONEL 140351 | External Funding | DRDO, Govt of India |  |  | APS | CRF | 10000 | https://www.ncuindia.edu/central-research-facility/ | Working | Fabrication | M/S Sanjay Scientific Corporation, 65 U.A. Jawahar Nagar Delhi - 110007 | sanjayscientific@gmail.com | M/S Sanjay Scientific Corporration | sanjayscientific@gmail.com | chetnatyagi@ncuindia.edu
High Temperature Furnace 1450 0C |  | CRF LAB -I | New Era Scientific Instruments | LAB Scientific Instrument | SPO/2011/05 | Internal Funding | The NorthCap Univeristy, Gurugram |  |  | APS | CRF | 76700 | https://www.ncuindia.edu/central-research-facility/ | Working | Fabrication | M/S New Era Scientific Instruments, WZ-76, 1ST Floor, Main Road Todapur N. Delhi-110012 | isi.kishor@gmail.com | M/S New Era Scientific Instrument | isi123@yahoo.com | chetnatyagi@ncuindia.edu
Rotary Evaporatory System Auto Digital Setup |  | CRF LAB -I | Pre Tech Bio Sciences | Vacuum Rotary Evaporator | SPO/2023/01 | Internal Funding | The NorthCap Univeristy, Gurugram |  |  | APS | CRF | 276485 | https://www.ncuindia.edu/central-research-facility/ | Working | Fabrication | M/S Pre Tech Bio Sciences 5786/7, New Chandrawal, Jawahar Nagar Delhi 110007 | pretechbiosciences@gmail.com | M/S Pre Tech Bio Sciences | pretechbiosciences@gmail.com | chetnatyagi@ncuindia.edu
Fabrication of Glove box Cabinet |  | CRF LAB -I | Pre Tech Bio Sciences | Air Tight Chamber | SPO/2023/02 | Internal Funding | The NorthCap Univeristy, Gurugram |  |  | APS | CRF | 101480 | https://www.ncuindia.edu/central-research-facility/ | Working | Fabrication | M/S Pre Tech Bio Sciences 5786/7, New Chandrawal, Jawahar Nagar Delhi 110007 | pretechbiosciences@gmail.com | M/S Pre Tech Bio Sciences | pretechbiosciences@gmail.com | chetnatyagi@ncuindia.edu
532 nm SLM Laser |  | CRF LAB -II | New Age Instruments & Materials Pvt. Ltd. | LCX-532L-50-C SB-PPA | LCX-532L-50-C SB-PPA | Internal Funding | The NorthCap Univeristy, Gurugram |  |  | APS | CRF | 700000 | https://www.ncuindia.edu/central-research-facility/ | Working | Characterization | M/S New Age Instruments & Materials Pvt. Ltd. 12-15, IInd Floor, Apna Enclave Shopping Complex, Railway Road, Gurugram (H.R) | sales@newagein.com, rajpal@newagein.com | M/S New Age Instruments & Materials Pvt. Ltd. | support@newagein.com | chetnatyagi@ncuindia.edu
LCR Meter |  | CRF LAB -I | HIOKI Make Probe L2000 | IM3536 | 250208946 | Internal Funding | The NorthCap Univeristy, Gurugram |  |  | APS | CRF | 566400 | https://www.ncuindia.edu/central-research-facility/ | Working | Characterization | M/S Aarav Enterprises Flat No 980, IInd Floor, Govindpuri, New Delhi-110009 | aaraventerprises.del@gmail.com | M/S Aarav Enterprises | aaraventerprises.del@gmail.com | chetnatyagi@ncuindia.edu
KickStart Software |  | CRF LAB -I | Silicom Electronics PVT LTD | KICKSTARTFL-SUITE | KICKSTARTFL-IVC | Internal Funding | The NorthCap Univeristy, Gurugram |  |  | APS | CRF | 200600 | https://www.ncuindia.edu/central-research-facility/ | Working | Characterization | M/S Silicom Electronics PVT LTD C26, DSIDC Complex, Kirti Nagar New Delhi-110015 | info@silicomindia.com | M/S Silicom Electronics PVT LTD | support@silicomindia.com | chetnatyagi@ncuindia.edu
Temp. Controller Stage Furna 500 Degree For LCR Meter (Hioki) Software For Temp. Characteristics RT-500 |  | CRF LAB -I | Aarav Enterprises | RT-500 | 250126849 | Internal Funding | The NorthCap Univeristy, Gurugram |  |  | APS | CRF | 194700 | https://www.ncuindia.edu/central-research-facility/ | Working | Characterization | M/S Aarav Enterprises Flat No 980, IInd Floor, Govindpuri, New Delhi-110009 | aaraventerprises.del@gmail.com | M/S Aarav Enterprises | aaraventerprises.del@gmail.com | chetnatyagi@ncuindia.edu
Electrochemical |  | CRF LAB -I | Metrohm Autolab B.V. | Autolab204 | SERB/2016/02 | External Funding | SERB, DST, Govt. of India | Lateral flow assay strip sensor development for non-invasive point of care diagnosis of urinary tract infection |  | APS | CRF | 1120000 | https://www.ncuindia.edu/central-research-facility/ | Working | Characterization | M/S Metrohm Autolab B.V. Kanaalweg 29-G 3526 km Utrecht The Nethelands | info@metrohm-autolab.com | M/S Metrohm Autolab B.V. | info@metrohm-autolab.com | chetnatyagi@ncuindia.edu
Holography Set up |  | CRF LAB -I | New Port Coorporation | M-RS2000-46-12 | ASH/2014 | Internal Funding | The NorthCap Univeristy, Gurugram |  |  | APS | CRF | 600000 | https://www.ncuindia.edu/central-research-facility/ | Working | Characterization | New Port Coorporation, 1791, Ceere venue. Irvine, CANew Port Coorporation, 1791, Ceere venue. Irvine, CA | na | New Port Coorporation, 1791, Ceere venue. Irvine, CA | NA | chetnatyagi@ncuindia.edu

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE