## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Equipment Description | Department Name* | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Alert to be sent (Email id)*
JASCO J-1500 CD Spectrophotometer | J-1500 CD |  | JASCO | J-1500-150 | F11626-1638 | Others | DST, BITS Pilani | The J-1500 spectropolarimeter from JASCO is a high-precision circular dichroism (CD) and electronic circular dichroism (ECD) spectrometer used for analyzing the structural and chiral properties of biomolecules and materials. It is widely applied in biochemistry, structural biology, and materials science for studying protein secondary structure, conformational changes, nucleic acid structures, and molecular interactions. The instrument enables accurate assessment of molecular stability under varying conditions such as temperature, pH, and ligand binding, supporting research in disease mechanisms, drug discovery, and advanced material characterization. | SATHI Foundation-BITS Pilani | SATHI Foundation-BITS Pilani | 7800000 | https://jascoinc.com/products/spectroscopy/circular-dichroism/j-1000-series-models/j-1500-circular-dichroism-spectrophotometer/ | Working | Analytical | sathi@bits-pilani.ac.in
Malvern NanoSight Pro Nanoparticle Tracking Analyzer | NanoSight Pro NTA |  | Malvern Panalytical | 10047258 | 600000226 | Others | DST, BITS Pilani | The NanoSight Pro Nanoparticle Tracking Analyzer (NTA) from Malvern Panalytical is an advanced system designed for the measurement of nanoparticle size distribution and concentration in liquid suspensions. It operates on the principle of nanoparticle tracking analysis, combining laser light scattering with video microscopy to track the Brownian motion of individual particles in real time. The instrument enables high-resolution characterization of nanoparticles such as exosomes, viruses, proteins, and colloidal materials. It supports both light scattering and fluorescence modes for selective detection of labeled particles. With features like automated data acquisition, flow-based measurements, and precise temperature control, the system ensures accurate, reproducible, and user-independent results. It is widely used in nanotechnology, biopharmaceutical research, drug delivery studies, and materials science for understanding particle behavior, stability, and interactions. | SATHI Foundation-BITS Pilani | SATHI Foundation-BITS Pilani | 5800000 | https://www.malvernpanalytical.com/en/products/product-range/nanosight-range/nanosight-pro?utm_source=google&utm_medium=cpc&utm_campaign=EN%20-%20ISEAA%20-%20India%20-%20Search&utm_term=nanosight%20tracking%20analysis&utm_content=EN%20-%20Technology%20-%20Nanoparticle%20Tracking%20Analysis&gad_source=1&gad_campaignid=20878026647&gbraid=0AAAAAD4oRF2Q3qxFYUkDIz5PJeJFMzNHz&gclid=Cj0KCQjwqPLOBhCiARIsAKRMPZp66Kxw8Cx0diLK--dfpUGD8SkUDyDPY5hTuMlSpEx3I1QNpkKz650aArmKEALw_wcB | Working | Analytical | sathi@bits-pilani.ac.in
IVIS Spectrum 2 Imaging System with Quantum GX3 Micro-CT | IVIS Spectrum 2 + microCT |  | Revvity | CLS158738 (IVIS Spectrum 2), Quantum GX3 microCT | BR73000041-01 | Others | DST, BITS Pilani | The IVIS Spectrum 2 is an advanced in vivo optical imaging system utilizing Xenogen’s patented technology for non-invasive monitoring of disease progression, gene expression, and cellular activity in small animals through bioluminescence and fluorescence imaging. It features high-sensitivity cooled CCD detection, spectral unmixing, and 3D optical tomography for precise localization and quantification of signals. The integrated Quantum GX3 micro-CT system provides high-resolution anatomical imaging with multispecies capability, enabling longitudinal in vivo and ex vivo studies. The combined platform allows accurate co-registration of functional optical signals with structural CT data, supporting research in oncology, infectious diseases, neurology, drug discovery, and translational biomedical studies. | SATHI Foundation-BITS Pilani | SATHI Foundation-BITS Pilani | 64997829 | https://www.revvity.com/in-en/product/ivis-spectrum-2-imaging-system-cls158738 | Working | Analytical | sathi@bits-pilani.ac.in
ZEISS Lightsheet 7 Light Sheet Microscope | Lightsheet 7 |  | Ziess | Lightsheet 7 | 2595000404 | Others | DST, BITS Pilani | The ZEISS Lightsheet 7 is an advanced light sheet fluorescence microscope (LSFM) designed for fast, high-resolution, and low phototoxic imaging of living and optically cleared biological samples. It enables multiview 3D imaging of whole organisms, tissues, and organoids with subcellular resolution by separating illumination and detection pathways. The system supports long-term live imaging with minimal photodamage and allows imaging of large specimens (up to ~2 cm) across a wide range of refractive indices. Equipped with high-sensitivity detectors, specialized sample chambers, and patented Pivot Scan technology, it provides uniform illumination and artifact-free imaging. It is widely used in developmental biology, neuroscience, organoid research, and whole-organ imaging studies. | SATHI Foundation-BITS Pilani | SATHI Foundation-BITS Pilani | 34070910 | https://www.zeiss.com/microscopy/en/products/light-microscopes/light-sheet-microscopes/lightsheet-7.html | Working | Analytical | sathi@bits-pilani.ac.in
ZEISS Lattice SIM 5 Super-Resolution Microscope | Lattice SIM 5 |  | Ziess | Lattice SIM 5 | 3870001114 | Others | DST, BITS Pilani | The ZEISS Lattice SIM 5 is an advanced super-resolution fluorescence microscope based on structured illumination microscopy (SIM) technology, designed for high-speed and high-resolution imaging of living and fixed cells. Utilizing lattice SIM illumination and the SIM² reconstruction algorithm, it achieves super-resolution imaging down to ~60 nm while maintaining low phototoxicity and high temporal resolution. The system enables 2D and 3D imaging of dynamic cellular and subcellular processes with excellent optical sectioning and minimal out-of-focus light. It supports fast acquisition modes, simultaneous multi-color imaging, and flexible imaging conditions to balance resolution and speed. Widely used in cell biology, molecular biology, and biomedical research, it allows detailed visualization of subcellular structures, protein interactions, and dynamic biological processes. | SATHI Foundation-BITS Pilani | SATHI Foundation-BITS Pilani | 30510000 | https://www.zeiss.com/microscopy/en/products/light-microscopes/super-resolution-microscopes/lattice-sim-5.html | Working | Analytical | sathi@bits-pilani.ac.in
Solar Simulator (AAA Class) | SSX-50 |  | Trokut Solutions | SS-X50 | RS18250508 | Others | DST, BITS Pilani | The Solar Simulator SSX-50 is a high-precision AAA class photovoltaic characterization system designed to simulate solar radiation under standard AM 1.5G conditions. It provides a spectral range of 300–1200 nm with high irradiance (~1500 W/m²) and excellent spatial uniformity, spectral match, and temporal stability as per IEC standards. The system is equipped with microprocessor-controlled power supply, LCD interface, and safety interlocks. Integrated accessories including IV measurement software, calibrated reference cell, vacuum stage, and source meter enable accurate current-voltage (I–V) characterization of solar cells and materials. It is widely used in photovoltaic research, material characterization, and renewable energy applications. | SATHI Foundation-BITS Pilani | SATHI Foundation-BITS Pilani | 15950000 | https://trokutsolutions.com/product/ss-x-series-aaa-solar-simulator/ | Working | Analytical | sathi@bits-pilani.ac.in
Photodetector Characterization Analyzer | PD-QE |  | Trokut Solutions | PD-QE | RR09250601 | Others | DST, BITS Pilani | The PD-QE Photodetector Characterization Analyzer is a precision system designed for evaluation of optical and electrical performance of photodetectors. It utilizes a stable xenon light source with monochromatic wavelength control (250–2000 nm) for spectral response and quantum efficiency measurements. The system enables accurate current-voltage (I–V) characterization, noise analysis, and external quantum efficiency (EQE) measurements with high sensitivity. Integrated modules including calibrated light intensity detection, vacuum sample stage, and high-resolution source meter ensure reliable and reproducible measurements. It is widely used in optoelectronics, semiconductor device research, and photonic material characterization. | SATHI Foundation-BITS Pilani | SATHI Foundation-BITS Pilani |  | https://trokutsolutions.com/product/apd-qe/ | Working | Analytical | sathi@bits-pilani.ac.in

## Worksheet 1 (hidden)
NEHU Internal Funds
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Internal Resource Generation
SRIC Development Fund
Dept of Scientific and Industrial Research DSIR
Ministry of Earth Sciences
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Vinayaka Missions Research Foundation
NITTTR Bhopal
ICAR-CMFRI
Ministry of Textiles
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
DBT, Govt. of India
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
Minister of Labour and Employment
Central Water Commission CWC
National Mineral Exploration and Development Trust
Anusandhan National Research Foundation ANRF DST
Dept of Pharmaceuticals NIPER
Ministry of Higher Education
Ministry of New and Renewable Energy
Dept of Atomic Energy
Dept of Health Research Indian council of Medical
Dept of Chemicals and Petrochemicals
Dept of Agriculutre and Farmers Welfare
Dept of DARE DG ICAR
CSIR, Govt. of India
DST, Govt. of India
ICFRE