## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Spectrofluorophotometer |  | GC Lab | Shimadzu | RF1501 |  | External | UGC |  |  | Biochemistry and Biotechnology | Instrument Lab | 620193 |  | Up | Characterization |  |  |  | Shimadzu Pvt Ltd Singapore |  | Toshvin Analytical Pvt Ltd Chennai | chennai.service@toshvin.com
2D Gel Electrophoresis Unit |  | Tissue Culture Lab | Bio-Rad | 526PR07816 |  | External | DST, Govt. of India |  |  | Biochemistry and Biotechnology | Tissue Culture Lab | 1181910 |  | Up | Characterization |  |  |  | Bio-Rad Pacific Ltd Hong Kong | mukesh.poddar@bio-rad.com | Bio-Rad Chennai | mukesh.poddar@bio-rad.com
CryoCube Ultra Low Temperature Freezer |  | Instrument Room I | Eppendorf India | F740 |  | External | UGC |  |  | Biochemistry and Biotechnology | Instrument Room I | 1349986 |  | Up | Characterization |  |  |  | Eppendorf India Ltd Chennai | ravi.l@eppendorf.com | Eppendorf India Ltd Chennai | ravi.l@eppendorf.com
SpectraMax i3x Multi Mode Microplate Reader |  | Tissue Culture Lab | Molecular Devices USA | i3X |  | External | UGC |  |  | Biochemistry and Biotechnology | Tissue Culture Lab | 2984951 |  | Up | Characterization |  |  |  | Spinco Biotech Pvt Ltd | info@spincotech.com | Spinco Biotech Pvt Ltd | info@spincotech.com
ImageXpress Pico Automatic Cell |  | Tissue Culture Lab | Molecular Devices USA | Pico II |  | External | UGC |  |  | Biochemistry and Biotechnology | Tissue Culture Lab | 4390463 |  | Up | Characterization |  |  |  | Spinco Biotech Pvt Ltd | info@spincotech.com | Spinco Biotech Pvt Ltd | info@spincotech.com
Biospectrometer |  | Instrument Room I | Eppendorf India |  |  | External | DST, Govt. of India |  |  | Biochemistry and Biotechnology | Instrument Room I | 787500 |  | Up | Characterization |  |  |  | Eppendorf India Ltd Chennai | ravi.l@eppendorf.com | Eppendorf India Ltd Chennai | ravi.l@eppendorf.com
Ultra Deep Freezer with Data Monitor Logger |  | Instrument Room I | Thermo Fisher Scientific | FDE40086FV |  | External | DST, Govt. of India |  |  | Biochemistry and Biotechnology | Instrument Room I | 982800 |  | Up | Data Monitoring |  |  |  | SLV Biosolutions Chennai | slvbiosolutions@gmail.com | SLV Biosolutions Chennai | slvbiosolutions@gmail.com
Ultra Centrifuge |  | Instrument Room I | Beckman Coulter | Max XP |  | External | DST, Govt. of India |  |  | Biochemistry and Biotechnology | Instrument Room I | 3034410 |  | Up | Characterization |  |  |  | Beckman Coulter | dseenuvasan@beckman.com | Beckman Coulter Chennai | bclsservice@beckman.com
Inverted Microscope |  | Tissue Culture Lab | Nikon Corp Japan | Ti2E |  | External | DST, Govt. of India |  |  | Biochemistry and Biotechnology | Tissue Culture Lab | 2600053 |  | Up | Characterization |  |  |  | Towa Optics | towamds@towaoptics.com | Towa Optics Chennai | towamds@towaoptics.com
Electrochemical Workstation CHI XXX Cell System |  |  |  | CHN 604C |  | External | DST, Govt. of India |  | Electrochemical Characterization | Chemistry | Instrumentation Lab |  |  | Up | Characterization |  |  |  | CH Instruments | info@chinstruments.com | CH Instruments | info@chinstruments.com
400 MHz NMR Spectrometer Nanobay Avance III |  |  | Bruker |  |  | External | DST, Govt. of India |  | H1 C13, 2d | Chemistry | Instrumentation Lab |  |  | Up | Characterization |  |  |  | Bruker India | balamurugan@bruker.com | Bruker India | balamurugan@bruker.com
Powder XRD (PXRD) EQUINOX 1000 | PXRD |  | INEL |  |  | External | UGC |  | Index plames | Chemistry | Instrumentation Lab |  |  | Up | Characterization |  |  |  | INEL Ltd |  | ipgi instruments | aanandhraj@ipgi.co.in
UV Visible Spectrophotometer |  |  | Shimadzu |  |  | External | DST, Govt. of India |  | Absorption measurements | Chemistry | Instrumentation Lab |  |  | Up | Characterization |  |  |  | Shimadzu |  | ipgi instruments | aanandhraj@ipgi.co.in
Single crystal Diffractometer XRD | XRD |  | Bruker |  |  | External | DST, Govt. of India |  | Single Crystal Studies | Chemistry | Instrumentation Lab |  |  | Up | Characterization |  |  |  | Bruker India | balamurugan@bruker.com | Bruker India | balamurugan@bruker.com
Atomic Absorption Spectrometer (AAS) | AAS | [7 empty] | ASS ICE-FIOS with Hydride Generator | Civil Engineering | Advanced Environmental Laboratory |  |  | Up | Characterization |  |  |  | Thermo Fisher Scientific India Pvt Ltd
TRACE Gas Chromatography | [8 empty] | Trace GC 1110 MPC | Civil Engineering | Advanced Environmental Laboratory |  |  | Up | Characterization |  |  |  | Thermo Fisher Scientific India Pvt Ltd
High Performance Liquid Chromatography (HPLC) | HPLC | [7 empty] | LPG-3400SDN Pump | Civil Engineering | Advanced Environmental Laboratory |  |  | Up | Characterization |  |  |  | Thermo Fisher Scientific India Pvt Ltd
Atomic Absorption Spectrometer (AAS) | AAS | [7 empty] | Chemito AA201 | Civil Engineering | Advanced Environmental Laboratory |  |  | Down | Characterization |  |  |  | Chemitograph Technologies
TOC Analyser | [8 empty] | SHIMADZU TO-VCPH200V | Civil Engineering | Advanced Environmental Laboratory |  |  | Down | Characterization |  |  |  | Shimadzu Asia
Atomic absorption spectrophotometer |  | Soil Science Instrument Lab | Thermo Fisher Scientific | ICE 3000 series |  | External | DST, Govt. of India |  | heavy metal analysis | Soil Science and Agricultural Chemistry | Soil Science Instrument Lab |  |  | Up | Characterization |  |  |  | Thermo Fisher Scientific | ininfo@thermofisher.com | elengo | elengo.s@thermofisher.com
Pressure Plate |  | Soil Science Instrument Lab | Soilmoisture Equipment Corp | 1500F1 |  | External | DST, Govt. of India |  | soil moisture holding | Soil Science and Agricultural Chemistry | Soil Science Instrument Lab |  |  | Up | Characterization |  |  |  | Soilmoisture Equipment Corp
Cyclic Voltammetry |  |  | Metrohm India Private Limited |  |  | External | DST, Govt. of India |  |  | Physics |  | 2500000 |  | Up | Characterization
IV Characteristics |  |  | Aarjay International Pvt Ltd |  |  | External | UGC |  |  | Physics |  | 450000 |  | Up | Characterization
Thermoluminescent Dosimeter Mobile X-ray Machine |  |  | Nucleonix | TL1009I |  | External | DST, Govt. of India |  | Medford MXD1000 Spring balanced | Physics |  | 1000000 |  | Up | Characterization
Spectrofluorophotometer |  |  | Toshvin Analytical Pvt Ltd |  |  | External | DST, Govt. of India |  |  | Physics |  | 900000 |  | Up | Characterization
Tubular Furnace |  |  | Sigma Group |  | 1216420 | External | UGC |  |  | Physics |  | 140000 |  | Up | Fabrication
UV Visible Spectrophotometer |  |  | Elico | SQ2800SH |  | External | UGC |  |  | Physics |  | 280000 |  | Up | Characterization
Field Emission Scanning Electron Microscope (FESEM) with EDAX |  |  | Carl Zeiss | SIGMA-300 |  | External | DST, Govt. of India |  |  | Physics | Centralised Instrumentation and Service Laboratory | 24100000 |  | Up | Characterization
Scanning Electron Microscopy (SEM) with EDS |  |  | JEOL Ltd | IT200 |  | External | RUSA Govt of India |  | JEOL-JSM | Physics | Centralised Instrumentation and Service Laboratory | 8400000 |  | Up | Characterization
Confocal Laser Scanning Microscope (CLSM) | CLSM |  | Nikon | A1 MP |  | External | DST, Govt. of India |  |  | Physics | Centralised Instrumentation and Service Laboratory | 15700000 |  | Up | Characterization
Inductively Coupled Plasma Mass Spectrometer (ICPMS) | ICPMS |  | Agilent | 7700x ICP-MS |  | External | DST, Govt. of India |  |  | Physics | Centralised Instrumentation and Service Laboratory | 5200000 |  | Down | Characterization
Fluorescence Activated Cell Sorting (FACS) | FACS |  | Becton Dickinson | FACS Aria III |  | External | DST, Govt. of India |  |  | Physics | Centralised Instrumentation and Service Laboratory | 13800000 |  | Up | Characterization
Atomic Force Microscopy (AFM) | AFM |  | Agilent | 5500 AFM |  | External | UGC |  |  | Physics | Centralised Instrumentation and Service Laboratory | 5700000 |  | Up | Characterization
Simultaneous Thermal Analyser TG DTA and DSC |  |  | NETZSCH | STA 449 F3 JUPITER |  | External | UGC |  |  | Physics | Centralised Instrumentation and Service Laboratory | 2400000 |  | Up | Characterization
UV Visible Spectrophotometer |  |  | Shimadzu | UV 1800 |  | External | UGC |  |  | Physics | Centralised Instrumentation and Service Laboratory | 400000 |  | Up | Characterization
High Performance Liquid Chromatography (HPLC) Binary Gradient System PDA Detector and RI Detector | HPLC |  |  |  |  | External | UGC |  |  | Pharmacy |  | 1640000 |  | Up | Characterization
Particle Size Analyzer |  |  | Malvern Instrument | Hydro 2000SM |  | External | DST, Govt. of India |  |  | Pharmacy |  | 2504000 |  | Up | Characterization
Jet Mill |  |  | Hosokawa Alpine | DR100 |  | External | DST, Govt. of India |  |  | Pharmacy |  | 1400000 |  | Up | Fabrication
Dissolution Test Apparatus with Autosampler | [5 empty] | External | DST, Govt. of India |  |  | Pharmacy |  | 540000 |  | Up | Characterization
Lyophilizer Virtis Benchtop 6L Capacity | [5 empty] | External | UGC |  |  | Pharmacy |  | 1300000 |  | Up | Characterization
HPLC UV Detector | [5 empty] | External | UGC |  |  | Pharmacy |  | 700000 |  | Up | Characterization
Autoclave |  |  |  | MLS-3718L |  | External | DST, Govt. of India |  |  | Pharmacy |  | JYP 832000 |  | Up | Characterization
Microprocessor based Vibracell Ultrasonic Processor 130 watt |  |  |  | VCX-130 |  | External | DST, Govt. of India |  |  | Pharmacy |  |  |  | Up | Characterization
PC based UV Vis Spectrophotometer 200 to 1000 nm | [5 empty] | External | UGC |  |  | Pharmacy |  | 205674 |  | Up | Characterization
LCMS 2020 Single Quadrupole Mass Spectrometer with Prominence I HPLC System |  |  | Shimadzu |  |  | External | DST, Govt. of India |  |  | Pharmacy |  |  |  | Up | Characterization
XcelVap Evaporator | [5 empty] | External | UGC |  |  | Pharmacy |  |  |  | Up | Characterization
High Performance Thin Layer Chromatography (HPTLC) with Photo Recording System and other accessories | HPTLC |  |  |  |  | External | DST, Govt. of India |  |  | Pharmacy |  | 3008054 |  | Up | Characterization
Tabletop High Speed Refrigerator Centrifuge with Stabilizer | [5 empty] | External | DST, Govt. of India |  | Hermel-58110075 (ALLIED) | Botany |  | 598915.65 |  | Up | Characterization
Auto Analyzer for NPK and Minerals Atomic Absorption Spectrophotometer |  |  | SYSTRONICS | SYS-8160 |  | External | UGC |  |  | Botany |  | 843885 |  | Up | Characterization
Cryostat Microtome |  | Department of Zoology-Lab1 | Yorco | Ysi-119 |  | External | DST, Govt. of India |  | Pathalogical diagnosis, Histochemistry,Microscopy, TEM-40°C, 220V Single Phase ,120 mm long with back and handle knief | Zoology | Instrumentation Lab | 762347 |  | Up | Characterization |  |  |  | Lazer Instrumentation | lazerchn@gmail.com
Binocular Microscope |  | Department of Zoology-Lab1 | Olympus | BX 43 |  | External | DST, Govt. of India |  | New lightintensity management system,binocular and trinocular observation tubes, plan flurites plan acromak,stain free objective, Ball bearing stages. | Zoology | Instrumentation Lab | 977130 |  | Up | Characterization |  |  |  | DSS Imagetech