## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
Scanning Electron Microscope | SEM | BSI, ERC Shillong | Carl Zeiss | EVO - 18 | EVO-18-15-38 | Internal Funding | MoEFCC, Govt. of India | NA | Zeiss EVO 18 Scanning Electron Microscope provides excellent quality imaging results from an analytical microscope with the capability to handle all material types. EVO 18 offers Energy and Wavelength Dispersive Spectroscopy (EDS & WDS) ports as standard. For new levels of performance, particularly at probe currents associated with X-ray analysis, choose the LaB6 high brightness source upgrade path. Improved low kV performance and enhanced topography information is offered on EVO 18 by the 5 segment diode BSE detector. | Botanical Survey of India Eastern Regional Centre Shillong | Molecular Plant Taxonomy Laboratory | 6688829 | https://www.zeiss.co.in/ | Working | Scientific | M/S Carl Zeiss India (Bangalore) Pvt. Ltd | nts.india@zeiss.co.in | Carl Zeiss India Bangalore Pvt Ltd | nts.india@zeiss.co.in | hoo-erc@bsi.gov.in
Ultra-High-Performance Liquid Chromatography | UHPLC | BSI, ERC Shillong | Thermo Fisher | UHPLC (DAD) Dionex Ultimate-3000 | 8140956 | Internal Funding | MoEFCC, Govt. of India | NA | Thermo Scientific Dionex UltiMate DAD-3000 is a high-resolution, 1024-element diode array detector (DAD) available in Rapid Separation (200 Hz) and Standard (100 Hz) versions. It operates with the Thermo Scientific Dionex Chromeleon software to provide a variety of spectra views, including 3-D plotting and automated chromatogram handling. The high resolution and low-noise performance of the DAD-3000 family makes it ideal for the most sensitive and accurate library searches and peak purity analyses. The detector is also available as a multiplewavelength detector (MWD) in Standard (100 Hz) and Rapid Separation (200 Hz) versions. | Botanical Survey of India Eastern Regional Centre Shillong | Molecular Plant Taxonomy Laboratory | 4170250 | https://www.thermofisher.com/in | Working | Scientific | M/S Thermo Fisher Scientitic India Kolkata | ininfo@thermofisher.com | Thermo Fisher Scientitic India Pvt Ltd Kolkata | ininfo@thermofisher.com | hoo-erc@bsi.gov.in

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
Test Funding Agency
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
INODE FAG
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
Testing Funding Agency
GIA
TestName12
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
TestFundingAgencySS
DME Government of Karnataka
I-STEM Funding at IISc
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE