## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
Trinocular Resarch Microscope |  | Botany UG Lab | LABOSCOPE | BD-09A | 22774 | External Funding | UGC | Sudies on the periodiciti of algal biodiversity, Eutrophication & algal blooms of Jaitsagar Lake of Bundi district | Highe resolution compound microsocbe with digital Photography. It is usefull for identification of micro orgnizing & internal Structure of Plants | Botany |  | 43800 |  | working | Characterisation/Analytical/Testing Equipment | Jain Chamicals Udaipur | jainchemicals@yahoo.com.in |  |  | opsharmabundi68@gmail.com
Laboratory Digital Electonic Balance |  | Botany UG Lab | SARTORIUS Mechatronics India Pvt Ltd Banglore | INO/09/05/223 | 23332A02 | External Funding | UGC | Sudies on the periodiciti of algal biodiversity, Eutrophication & algal blooms of Jaitsagar Lake of Bundi district | A laboratory digital electronic balance is a precision instrument used to accurately measure the mass of objects. These balances are essential tools in various laboratory settings, including research, manufacturing, and pharmaceutical industries. They are known for their high accuracy, speed, and ease of use | Botany |  | 33200 |  | working | Characterisation/Analytical/Testing Equipment | Jain Chamicals Udaipur | jainchemicals@yahoo.com.in |  |  | opsharmabundi68@gmail.com
Vortex Shaker (High Quality) |  | Botany UG Lab | Tempstar | T | 1 | External Funding | RUSA, Govt. of India | RUSA Project | A high-quality TEMPSTAR vortex shaker, like those offered by Labindia Analytical, Lab Solution India, or Glassco, is a variable speed mixer designed for rapid mixing of samples, primarily used in microbiology, bioscience, and analytical laboratories. They offer adjustable speed control, efficient mixing, and are built for durability and reliability. | Botany |  | 2584 |  | working | Characterisation/Analytical/Testing Equipment | Electronics India Jaipur | electronicsindia01@gmail.com |  |  | opsharmabundi68@gmail.com
High Speed Laboratory Centrifuge machine |  | Botany UG Lab | LABY | T-12 | 1 | External Funding | RUSA, Govt. of India | RUSA Project | A high-speed laboratory centrifuge, like those marketed by LABY, is a specialized benchtop machine used to separate components of a mixture based on their density by spinning them at high speed. These centrifuges are often used in biological and chemical laboratories for various applications such as cell separation, liquid-solid separation, and the isolation of specific compounds. LABY centrifuges typically feature microprocessor control, digital timers, and programmable speed regulation for precise separation. They also include safety features like electronic lid locks and imbalance detection | Botany |  | 16048 |  | Working | Characterisation/Analytical/Testing Equipment | Electronics India Jaipur | electronicsindia01@gmail.com |  |  | opsharmabundi68@gmail.com
Research Analytical Balance (Touch Screen) |  | Botany UG Lab | WENSAR | MAB 220T | 71197 | External Funding | RUSA, Govt. of India | RUSA Project | The WENSAR Research Analytical Balance (Touch Screen) is a highly precise weighing instrument for laboratories, offering features like touch screen display, internal calibration, and various weighing modes. It is designed for applications requiring accurate mass measurements, especially in scientific and research environments. | Botany |  | 38822 |  | Working | Characterisation/Analytical/Testing Equipment | Electronics India Jaipur | electronicsindia01@gmail.com |  |  | opsharmabundi68@gmail.com
Water Bath Tharmostatic controlled |  | Botany UG Lab | Tempstar | KW-9041 | KW-904 | External Funding | RUSA, Govt. of India | RUSA Project | A Tempstar Thermostatic Water Bath is a laboratory instrument used to maintain a precise temperature in a water-filled chamber. It uses a temperature-controlled heating element, a water reservoir, and a digital or analog temperature control system to achieve this | Botany |  | 4814 |  | Working | Characterisation/Analytical/Testing Equipment | Electronics India Jaipur | electronicsindia01@gmail.com |  |  | opsharmabundi68@gmail.com
Hotplat (Ractangular) |  | Botany UG Lab | Tempstar | KH-701 © | KW-904A | External Funding | RUSA, Govt. of India | RUSA Project | A rectangular Tempstar hotplate is a laboratory instrument designed for heating samples and solutions. It typically features a flat, rectangular heating surface made of materials like cast iron or stainless steel, and offers temperature control capabilities, often through analog or digital settings. These hotplates are commonly used in various laboratory settings for tasks like sample preparation, reactions, and evaporation | Botany |  | 2336 |  | Working | Characterisation/Analytical/Testing Equipment | Electronics India Jaipur | electronicsindia01@gmail.com |  |  | opsharmabundi68@gmail.com
Projection Microscope |  | Botany UG Lab | KWALITY | KXB1005 | 9001 | External Funding | RUSA, Govt. of India | RUSA Project | A KWALITY Projection Microscope is a specialized microscope that projects magnified images of a specimen onto a screen, allowing multiple viewers to observe and discuss the sample simultaneously. These microscopes are typically used in educational settings, research laboratories, and for quality control in various industries | Botany |  | 117174 |  | Working | Characterisation/Analytical/Testing Equipment | Electronics India Jaipur | electronicsindia01@gmail.com |  |  | opsharmabundi68@gmail.com
Digital Ph.Condutivity.TDS meter |  | Botany UG Lab | EI | 7200 | 1 | External Funding | RUSA, Govt. of India | RUSA Project | pH/Conductivity/TDS is microprocessor based waterproof TDS. It is used to determine pH, mV, Temperature, Conductivity and TDS in a liquid. This tester has wide applications in agriculture, anti-freeze recycling, aquarium, boiler, chemical industry, cooling tower, drinking water, fish farming, food industry, garden husban. | Botany |  | 12390 |  | Working | Characterisation/Analytical/Testing Equipment | Electronics India Jaipur | electronicsindia01@gmail.com |  |  | opsharmabundi68@gmail.com

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE