## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
Unconfined Compression tester | UCT | D-110 | AIMIL | AIM-074-1 | 12638 | Internal Funding | Institution |  | AIMIL Unconfined Compression tester, with sensitivity proving ring 2kN and dial gauge 0.01 x 25mm travel., Plain platen with adaptor, Split mould 38mm dia. X 76mm long and Rubber sheath for 38mm dia. Speamain AIM:074 | Civil Engineering | Geotechnical Engineering Lab | 86062.44 |  | Working | Testing Equipment | Laxmi Sales and Services | ati_laxmi1@sancharnet.in | AIMIL |  | principal@sknscoe.ac.in
Flexural Testing Machine | FTM | D112 | AIMIL | UTE-100 | 8/2011-4756 | Internal Funding | Institution |  | Electronic Universal testing machine with Software SW01 and Shear Test Attachments 5-20 mm | Civil Engineering | Concrete Technology Lab | 904500 |  | Working | Testing Equipment | Aimil Ltd |  |  |  | principal@sknscoe.ac.in
Compression Testing Machine | CTM | D112 | AIMIL | AIM320E-AN | 12209 | Internal Funding | Institution |  | Compression Testing Machine | Civil Engineering | Concrete Technology Lab | 273230 |  | Working | Testing Equipment | Aimil Ltd |  |  |  | principal@sknscoe.ac.in
Vibration machine | VM | D112 | AIMIL | AIM418-2 | 112437 | Internal Funding | Institution |  | Vibration machine | Civil Engineering | Concrete Technology Lab | 43966 |  | Working | Characterisation/Testing Equipment | Aimil Ltd |  |  |  | principal@sknscoe.ac.in
Concrete Mixer | CM | D111 | AIMIL | - | - | Internal Funding | Institution |  | Concrete Mixer | Civil Engineering | Concrete Technology Lab | 102350 |  | Working | Characterisation/Testing Equipment | Aimil Ltd |  |  |  | principal@sknscoe.ac.in
Los Angeles Abrasion Testing Machine | LAATM | D111 | AIMIL | AIM458-1 | 11567 | Internal Funding | Institution |  | Los Angels Abrassion Testing Machine | Civil Engineering | Concrete Technology Lab | 79866 |  | Working | Characterisation/Testing Equipment | Aimil Ltd |  |  |  | principal@sknscoe.ac.in
Ultrasonic pulse velocity tester | UVT | D111 | EMC | - | M24USPO335 | Internal Funding | Institution |  | Ultrasonic pulse velocity tester | Civil Engineering | Concrete Technology Lab | 92000 |  | Working | Analytical/Testing Equipment | Aimil Ltd |  |  |  | principal@sknscoe.ac.in
Rebound hammer | RRH | D111 | EMC | TEM-912 | ZD24090194 | Internal Funding | Institution |  | Rebound hammer | Civil Engineering | Concrete Technology Lab | 44000 |  | Working | Testing Equipment | Aimil Ltd |  |  |  | principal@sknscoe.ac.in
Universal testing machine | UTM | D112 | AMIL | UTE-100 | 8/2011-4756 | Internal Funding | Institution |  | Electronic Universal testing machine with Software SW01 and Shear Test Attachments 5-20 mm | Civil Engineering | Material Testing Lab | 904500 |  | Working | Testing Equipment | Blue Star |  |  |  | principal@sknscoe.ac.in
Impact Testing Machine | ITM | D112 | AIMIL | IT-30 | 08/2011-1022 | Internal Funding | Institution |  | Impact Testing Machine STD | Civil Engineering | Material Testing Lab | 99731 |  | Working | Characterisation/Analytical/Testing Equipment | Blue Star |  |  |  | principal@sknscoe.ac.in
Hardness Testing Machine | HTM | D112 | AIMIL | - | - | Internal Funding | Institution |  | Rockwell cum Brinell Hardness Tester | Civil Engineering | Material Testing Lab | 40050 |  | Working | Characterisation/Analytical/Testing Equipment |  |  |  |  | principal@sknscoe.ac.in
Torsion Testing machine | TTM | D112 | AIMIL | IT-10 | 8/2011-4757 | Internal Funding | Institution |  | Analogue Torsion Testing Machine | Civil Engineering | Material Testing Lab | 120123 |  | Working | Characterisation/Analytical/Testing Equipment | Blue Star |  |  |  | principal@sknscoe.ac.in
COD-BOD Incubator | COD-BOD | D202 | Bio Technics India | BTI-04 | 34935 | Internal Funding | Institution |  | COD and BOD Incubator, with BOD Bottle, COD Efflux apparatus | Civil Engineering | Environmental Engineering Lab | 54457 |  | Working | Characterisation/Analytical/Testing Equipment | N.N. SCIENTIFIC TRADERS |  |  |  | principal@sknscoe.ac.in
High Volume Sampler | HVS | D202 | Spectro | SLE-HVSI | 62G12 | Internal Funding | Institution |  | High Volume Sampler | Civil Engineering | Environmental Engineering Lab | 121200 |  | Working | Characterisation/Analytical/Testing Equipment | N.N. SCIENTIFIC TRADERS |  |  |  | principal@sknscoe.ac.in
Hot Air Oven | HAO | D202 | Bio Technics India | BIT-24 | 34893 | Internal Funding | Institution |  | Hot plate rectangular with heating mentle: 500ml BTI make | Civil Engineering | Environmental Engineering Lab | 18324 |  | Working | Characterisation/Analytical/Testing Equipment | N.N. SCIENTIFIC TRADERS |  |  |  | principal@sknscoe.ac.in
Electronic Weighing Machine | EWM | D202 | ELICO | - | - | External Funding | Institution |  | Katawala system make electrical balance 50kg-100kg | Civil Engineering | Environmental Engineering Lab | 5700 |  | Working | Characterisation/Analytical/Testing Equipment | N.N. SCIENTIFIC TRADERS |  |  |  | principal@sknscoe.ac.in
Water Analyser | WA | D202 | ELICO | PE-138 | OBS/0354 | Internal Funding | Institution |  | Water quality analyser: | Civil Engineering | Environmental Engineering Lab | 60011 |  | Working | Characterisation/Analytical/Testing Equipment | N.N. SCIENTIFIC TRADERS |  |  |  | principal@sknscoe.ac.in
CBR Test Apparatus | CBR-TEST | D203 | AIMIL | AIM-121 | 12669 | Internal Funding | Institution |  | AMIL C.B.R. TEST Apparatus, Motorised, three speed. | Civil Engineering | Transportation Engineering Lab | 181461 |  | Working | Characterisation/Analytical/Testing Equipment | AMIL |  |  |  | principal@sknscoe.ac.in
Ductility Testing Machine | DTM | D203 | AIMIL | AIM-565-1 | 12522 | Internal Funding | Institution |  | AMIL Ductility Testing machine, electrically operated | Civil Engineering | Transportation Engineering Lab | 68755 |  | Working | Characterisation/Analytical/Testing Equipment | AMIL |  |  |  | principal@sknscoe.ac.in
Marshall Apparatus | MA | D203 | AIMIL | AIM-550-1 | 12615 | Internal Funding | Institution |  | AMIL Marshall apparatus, Single Speed,with dial gauge and 50kN capacity | Civil Engineering | Transportation Engineering Lab | 99326 |  | Working | Characterisation/Analytical/Testing Equipment | AMIL |  |  |  | principal@sknscoe.ac.in
Mini hydraulic flume, Adjustable Channel, Apparatus for determination of major and minor losses in pipes | MHF | D302A | Altech Industries | - | - | Internal Funding | Institution |  | Mini hydraulic flume - Adjustable Channel | Civil Engineering | Fluid Mechanics Lab | 175000 |  | Working | Characterisation/Analytical/Testing Equipment | Altech Industries |  |  |  | principal@sknscoe.ac.in
Bernoulli’s Setup | BS | D302A | Altech Industries | - | - | Internal Funding | Institution |  | Apparatus for verification of bernoullis theorem | Civil Engineering | Fluid Mechanics Lab | 45000 |  | Working | Characterisation/Analytical/Testing Equipment | Altech Industries |  |  |  | principal@sknscoe.ac.in
Venturi and Orifice Setup | VOS | D302A | Altech Industries | - | - | Internal Funding | Institution |  | Apparatus for calibration of venturimeter, orificemeter | Civil Engineering | Fluid Mechanics Lab | 65000 |  | Working | Characterisation/Analytical/Testing Equipment | Altech Industries |  |  |  | principal@sknscoe.ac.in
Notches and Weir Setup | NWS | D302A | Altech Industries | - | - | Internal Funding | Institution |  | Apparatus for determination of Cd of notches | Civil Engineering | Fluid Mechanics Lab | 66000 |  | Working | Characterisation/Analytical/Testing Equipment | Altech Industries |  |  |  | principal@sknscoe.ac.in
Impact of Jet Setup | IOJ | D302A | Altech Industries | - | - | Internal Funding | Institution |  | Apparatus for measuring pressure due to impact of jet on vanes | Civil Engineering | Fluid Mechanics Lab | 60000 |  | Working | Characterisation/Analytical/Testing Equipment | Altech Industries |  |  |  | principal@sknscoe.ac.in
Mineral Specimen, Rock Specimen | MINERAL | D303 | - | - | - | Internal Funding | Institution |  | MINERAL SPECIMAN | Civil Engineering | Engineering Geology Lab | 50100 |  | Working | Characterisation/Analytical/Testing Equipment | Alminrock |  |  |  | principal@sknscoe.ac.in
Total Station STS 752R | TS | D302B | DS Surveyors Pune | STS-752-R | SD11256 | Internal Funding | Institution |  | Total Station STS 752R | Civil Engineering | Survey Lab | 265000 |  | Working | Characterisation/Analytical/Testing Equipment | DS Surveyors Pune |  |  |  | principal@sknscoe.ac.in
Automatic Level BOSCH | AL | D302B | DS Surveyors Pune | GOL26D | M412146 | Internal Funding | Institution |  | Automatic Level BOSCH(GOL26D) | Civil Engineering | Survey Lab | 16500 |  | Working | Characterisation/Analytical/Testing Equipment | DS Surveyors Pune |  |  |  | principal@sknscoe.ac.in
Transit Theodolite 20" | TTM | D302B | DS Surveyors Pune | - | 11289/2013/2014 | Internal Funding | Institution |  | Transit Theodolite 20" | Civil Engineering | Survey Lab | 20000 |  | Working | Characterisation/Analytical/Testing Equipment | DS Surveyors Pune |  |  |  | principal@sknscoe.ac.in

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE
Ministry of Textiles
SRIC Development Fund