## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Equipment Description | Department/Lab Name | Project Title | Rate/Hr | Refernce Website | Category
Optical Lithography - EVG620 |  | GF-21 | EVG | EVG-620 | 1 | External | DST |  | CeNSE |  |  |  | Research Instruments
Optical Lithography - MJB4 |  | GF-21 | SUSS MiroTec | MJB4 | 2 | External | DST |  | CeNSE |  |  |  | Research Instruments
Manual Wafer Bonder-EVG 501 |  | GF-21 | EVG | EVG-501 | 3 | External | DST |  | CeNSE |  |  |  | Research Instruments
Direct Writer |  | GF-21 | Microtech | LW 405A | 4 | External | DST |  | CeNSE |  |  |  | Research Instruments
Mask Writer |  | GF-21 | Heidelberg | μPG 501 | 5 | External | DST |  | CeNSE |  |  |  | Research Instruments
E-line |  | GF-21 | Raith | Eline | 6 | External | DST |  | CeNSE |  |  |  | Research Instruments
Pioneer |  | GF-21 | Raith | Pioneer | 7 | External | DST |  | CeNSE |  |  |  | Research Instruments
Ellipsometer |  | GF-21 | J.A. woollam Co. | M2000U | 8 | External | DST |  | CeNSE |  |  |  | Research Instruments
Dektak Stylus Profiler |  | GF-21 | Bruker Nanosystems | Dektak XT | 9 | External | DST |  | CeNSE |  |  |  | Research Instruments
Four Point Probe |  | GF-21 | 4-Dimensions Inc | Model 280 | 10 | External | DST |  | CeNSE |  |  |  | Research Instruments
MOS Ultrascan |  | GF-21 | K-Space Associates,Inc | KSA-MOS Ultra Scan | 11 | External | DST |  | CeNSE |  |  |  | Research Instruments
Probe Station |  | GF-21 | Agilent Inc | Agilent Inc | 12 | External | DST |  | CeNSE |  |  |  | Research Instruments
Dry Oxidation |  | GF-21 | First Nano/CVD Corporation | EasyTube® 6000 Horizontal Furnace System | 13 | External | DST |  | CeNSE |  |  |  | Research Instruments
Pyrogenic/Wet Oxidtn |  | GF-21 | First Nano/CVD Corporation | EasyTube® 6000 Horizontal Furnace System | 14 | External | DST |  | CeNSE |  |  |  | Research Instruments
Phosphorus Diffusion |  | GF-21 | First Nano/CVD Corporation | EasyTube® 6000 Horizontal Furnace System | 15 | External | DST |  | CeNSE |  |  |  | Research Instruments
Boron Diffusion |  | GF-21 | First Nano/CVD Corporation | EasyTube® 6000 Horizontal Furnace System | 16 | External | DST |  | CeNSE |  |  |  | Research Instruments
Drive-in Furnace |  | GF-21 | First Nano/CVD Corporation | EasyTube® 6000 Horizontal Furnace System | 17 | External | DST |  | CeNSE |  |  |  | Research Instruments
Metal Anneal Furnace |  | GF-21 | First Nano/CVD Corporation | EasyTube® 6000 Horizontal Furnace System | 18 | External | DST |  | CeNSE |  |  |  | Research Instruments
Silicon Nitride_LPCVD |  | GF-21 | First Nano/CVD Corporation | EasyTube® 6000 Horizontal Furnace System | 19 | External | DST |  | CeNSE |  |  |  | Research Instruments
Poly Si/Nanowires_LPCVD |  | GF-21 | First Nano/CVD Corporation | EasyTube® 6000 Horizontal Furnace System | 20 | External | DST |  | CeNSE |  |  |  | Research Instruments
Poly Si/Ge_LPCVD |  | GF-21 | First Nano/CVD Corporation | EasyTube® 6000 Horizontal Furnace System | 21 | External | DST |  | CeNSE |  |  |  | Research Instruments
LTO / TEOS_LPCVD |  | GF-21 | First Nano/CVD Corporation | EasyTube® 6000 Horizontal Furnace System | 22 | External | DST |  | CeNSE |  |  |  | Research Instruments
Rapid Thermal Anneal Sys1 |  | GF-21 | Annealsys | AS-One -100 | 23 | External | DST |  | CeNSE |  |  |  | Research Instruments
Rapid Thermal Anneal Sys2 |  | GF-21 | Annealsys | AS-One -150 | 24 | External | DST |  | CeNSE |  |  |  | Research Instruments
CNT Anneal |  | GF-21 | Tempress | Omni - 3 inch horizontal system | 25 | External | DST |  | CeNSE |  |  |  | Research Instruments
Dry Oxidation |  | GF-21 | Tempress | Omni - 3 inch horizontal system | 26 | External | DST |  | CeNSE |  |  |  | Research Instruments
Dielectric-Anneal |  | GF-21 | Tempress | Omni - 3 inch horizontal system | 27 | External | DST |  | CeNSE |  |  |  | Research Instruments
Metal Anneal |  | GF-21 | Tempress | Omni - 3 inch horizontal system | 28 | External | DST |  | CeNSE |  |  |  | Research Instruments
Critical Point Dryer |  | GF-21 | Tousimis | Autosamdri – 815B,Ser.c | 29 | External | DST |  | CeNSE |  |  |  | Research Instruments
Chemical Wet bench Acid Clean (Bulk Processes) - Level 1 |  | GF-21 | Felcon Wet benches | Bench 1 | 30 | External | DST |  | CeNSE |  |  |  | Research Instruments
Chemical wet bench Acid semi-clean- Level 2 |  | GF-21 | Felcon Wet benches | Bench 2 | 31 | External | DST |  | CeNSE |  |  |  | Research Instruments
Chemical Wetbench Acid Metal Level3 |  | GF-21 | Felcon Wet benches | Bench 3 | 32 | External | DST |  | CeNSE |  |  |  | Research Instruments
Chemical Wet bench (Solvents/bases) Level 3 |  | GF-21 | Felcon Wet benches | Bench 4 | 33 | External | DST |  | CeNSE |  |  |  | Research Instruments
Chemical Wetbench General (BULK processes) LEVEL 3 |  | GF-21 | Felcon Wet benches | Bench 5 | 34 | External | DST |  | CeNSE |  |  |  | Research Instruments
Chemical wet bench Acid clean -Level 1 |  | GF-21 | Nanoclean | Nanoclean | 35 | External | DST |  | CeNSE |  |  |  | Research Instruments
Chemical wet bench Solvents/ bases semi-clean - Level 2 |  | GF-21 | Nanoclean | Nanoclean | 36 | External | DST |  | CeNSE |  |  |  | Research Instruments
Chemical HF Vapouriser WB |  | GF-21 | Idonus Sarl | Idonus HF VPE 150 | 37 | External | DST |  | CeNSE |  |  |  | Research Instruments
Plasma Enhanced Chemical Vapor Deposition |  | GF-21 | Oxford | Plasma lab 100 | 38 | External | DST |  | CeNSE |  |  |  | Research Instruments
Reactive Ion Etching Fluorine |  | GF-21 | Oxford | Plasma lab 100 | 39 | External | DST |  | CeNSE |  |  |  | Research Instruments
Reactive Ion Etching Chlorine |  | GF-21 | Oxford | Plasma lab 100 | 40 | External | DST |  | CeNSE |  |  |  | Research Instruments
Deep Reactive Ion Etching |  | GF-21 | SPTS | LPX Pegasus | 41 | External | DST |  | CeNSE |  |  |  | Research Instruments
Atomic Layer Deposition |  | GF-21 | BeneQ | TFS200 | 42 | External | DST |  | CeNSE |  |  |  | Research Instruments
Sputter Coater-1 |  | GF-21 | Tecport | Tecport | 43 | External | DST |  | CeNSE |  |  |  | Research Instruments
Sputter Coater-2 |  | GF-21 | Tecport | Tecport | 44 | External | DST |  | CeNSE |  |  |  | Research Instruments
E-Beam Evaporator |  | GF-21 | Tecport | Tecport | 45 | External | DST |  | CeNSE |  |  |  | Research Instruments
Anelva RF Sputtering |  | GF-21 | Anelva(SPF-332H) | SPF 332H | 46 | External | DST |  | CeNSE |  |  |  | Research Instruments
Thermal Evaporator |  | GF-21 | Vacuumtechniques P(LTD) | Vacuumtechniques P(LTD) | 47 | External | DST |  | CeNSE |  |  |  | Research Instruments
E-beam Evaporator |  | GF-21 | V.R.Technologies | V.R.Technologies | 48 | External | DST |  | CeNSE |  |  |  | Research Instruments
Anelva RIE System |  | GF-21 | Anelva(DEM-451) | DEM451 | 49 | External | DST |  | CeNSE |  |  |  | Research Instruments
Lindberg Furnace Specification |  | GF-21 | Thermo Scientific | Thermo Scientific | 50 | External | DST |  | CeNSE |  |  |  | Research Instruments
Mask Alignar(MJB) Power Supply Compresssor |  | GF-21 | KSM/Karl suss-(GmbH) | KSM/Karl suss-(GmbH) | 51 | External | DST |  | CeNSE |  |  |  | Research Instruments
Acid Hood |  | GF-21 | Lab guard engineered for protuction | Lab guard engineered for protuction | 52 | External | DST |  | CeNSE |  |  |  | Research Instruments
Angstrom Evaporator |  | GF-21 | TC(Optivl technologe) | TC(Optivl technologe) | 53 | External | DST |  | CeNSE |  |  |  | Research Instruments
Electro chemical work station |  | GF-21 | (Aplab)power supply | (Aplab)power supply | 54 | External | DST |  | CeNSE |  |  |  | Research Instruments
Mbraun glove box- 2with Evaporator |  | GF-21 | Hind High Vacuume CO.P.(LTD) | Hind High Vacuume CO.P.(LTD) | 55 | External | DST |  | CeNSE |  |  |  | Research Instruments
Mbraun glove box-1(with spin coater) |  | GF-21 | MBRAUN(MB20G)LMF | MBRAUN(MB20G)LMF | 56 | External | DST |  | CeNSE |  |  |  | Research Instruments
Solvent Hood |  | GF-21 | Modern Lab Interio | Modern Lab Interio | 57 | External | DST |  | CeNSE |  |  |  | Research Instruments
Spinner |  | GF-21 | Holmarc spin coator | Holmarc spin coator | 58 | External | DST |  | CeNSE |  |  |  | Research Instruments
Acid Hood |  | SF-33 | Modern Lab | Modern Lab | 59 | External | DST | Piranha/ Metal Etchning | CeNSE |  |  |  | Research Instruments
Solvent Hood |  | SF-33 | Labguard | ST2100LCV | 60 | External | DST | Lift Off/ sonication | CeNSE |  |  |  | Research Instruments
Mbraun Glove Box 2with evaporator 2 |  | SF-33 | Mbraun | 200B | 61 | External | DST | Metal/ Moly oxide Evaporation | CeNSE |  |  |  | Research Instruments
Mbraun glove box-1(with Spin coater) |  | SF-33 | Mbraun | 200B | 62 | External | DST | spin coating | CeNSE |  |  |  | Research Instruments
Spinner |  | SF-33 | Holmarc | HO-TH-05 | 63 | External | DST | spin coating | CeNSE |  |  |  | Research Instruments
Angstrom Evaporator(inside the glove box 1) |  | SF-33 | Angstrom Engineering | Nexdep 02196 | 64 | External | DST | Organic Material deposition | CeNSE |  |  |  | Research Instruments
Solatron Analytical Electrochemical work station |  | SF-33 | Solatron | Solatron | 65 | External | DST | Electrochmical deposition, IV , CV measurements etc: | CeNSE |  |  |  | Research Instruments
Thermal evapratore |  | SF_32 | V.R tec | V.R tec | 66 | External | DST | Metal Evaporation | CeNSE |  |  |  | Research Instruments
RF Anelva Sputtering |  | SF_32 | Anelva | SPF-332H | 67 | External | DST | Metal and oxide sputtering | CeNSE |  |  |  | Research Instruments
E-Beam evapratore |  | SF_32 | V.R tec | 433-2 | 68 | External | DST | Metal and oxide deposition | CeNSE |  |  |  | Research Instruments
Anelva RIE |  | SF_32 | Anelva | DEM-451 | 69 | External | DST | Etching | CeNSE |  |  |  | Research Instruments
Glass belljer Thermal evapratore |  | SF_32 | In house assamble | In house assamble | 70 | External | DST | Metal and oxide deposition | CeNSE |  |  |  | Research Instruments
Lindberg fernace |  | SF_32 | thermo scientific | STF55346-1 | 71 | External | DST | anealing | CeNSE |  |  |  | Research Instruments
MJB- MASK Aligner |  | SF_32 | Karl Suss | Karl Suss | 72 | External | DST | Masking | CeNSE |  |  |  | Research Instruments
Wafer Dicing Machine |  | TF-32 | DISCO | DAD322 | 73 | External | DST |  | CeNSE |  |  |  | Research Instruments
Wirebonding machine |  | TF-32 | TPT | HB16 | 74 | External | DST |  | CeNSE |  |  |  | Research Instruments
Laser welding |  | TF-32 | Miyachi-Unitek | LW70AE | 75 | External | DST |  | CeNSE |  |  |  | Research Instruments
Parylene coating |  | TF-32 | SPS | PDS2010 | 76 | External | DST |  | CeNSE |  |  |  | Research Instruments
Helium leak detector |  | TF-32 | Oerlikon Leybold | Phoenix L300I | 77 | External | DST |  | CeNSE |  |  |  | Research Instruments
Pressure calibrator (Hydraulic) |  | TF-32 | Fluke | P3125 | 78 | External | DST |  | CeNSE |  |  |  | Research Instruments
Probe Station 1 with thermal Chuck (PS 1) | PS 1 | MNCF- Ele Room | Cascade | PM5 | 79 | External | DST | A platform that provides up to four electrical probes for measuring electrical properties as a function of temperature, 25-200 C, from micro- to nano-scale devices.. | CeNSE |  |  |  | Research Instruments
Semiconductor Device Analyzer (SDA) | SDA | MNCF- Ele Room | Keysight | B1500A | 80 | External | CeNSE/MITO-024/062/09 | A device that is used with probe station 1, for measuring Current-Voltage, Capacitance-Voltage. Voltage: +/- 100V, current: +/-100mA, CMU: DC +/-100V, 1k to 5MHz, AC: 30mV to 250mV. | CeNSE |  |  |  | Research Instruments
Probe Station 2 (PS 2) | PS 2 | MNCF- Ele Room | Cascade | PM5 | 81 | External | DST | A platform that provides up to four electrical probes for measuring electrical properties at room temperature from micr- to nano-scale devices. | CeNSE |  |  |  | Research Instruments
Semiconductor Device Analyzer (SDA) | SDA | MNCF- Ele Room | Keysight | B1500A | 82 | External | CeNSE/MITO-024/062/09 | A device that is used with probe station 2, for measuring Current-Voltage, Capacitance-Voltage, from micro- to nano-scale devices.Voltage: +/- 100V, current: +/-100mA, CMU: DC +/-100V, 1k to 5MHz, AC: 30mV to 250mV, WGFMU: 10V, 10mA. | CeNSE |  |  |  | Research Instruments
Probe Station 3 (LN2) (PS 3) | PS 3 | MNCF- Ele Room | Lakeshore | CRX-VF | 83 | External | DST | A platform that provides up to four electrical probes for measuring electrical properties at temperatures ranging from 77-400 K from micro- to nano-scale devices. Also, in-vacuum (4*e-5 hPa) mesurements are possible. | CeNSE |  |  |  | Research Instruments
Semiconductor Device Analyzer (SDA) | SDA | MNCF- Ele Room | Keysight | B1500A | 84 | External | DST | A device that is used with probe station 3, for measuring Current-Voltage, Capacitance-Voltage as a function of temperature, 77-400 K, from micro- to nano-scale devices. | CeNSE |  |  |  | Research Instruments
Probe Station 4 (He) (PS 4) | PS 4 | MNCF- Ele Room | Lakeshore | TTPX | 85 | External | DST | A platform that provides up to four electrical probes for measuring electrical properties at temperatures ranging from 4-500 K from micro- to nano-scale devices. Also, in-vacuum (4*e-7 hPa) mesurements, measurements as a function of magnetic field (+2.5T to -2.5T) are possible. | CeNSE |  |  |  | Research Instruments
Semiconductor Device Analyzer (SDA) | SDA | MNCF- Ele Room | Keysight | B1500A | 86 | External | DST | A device that is used with probe station 4, for measuring Current-Voltage, Capacitance-Voltage as a function of temperature, 4-500 K, from micro- to nano-scale devices. | CeNSE |  |  |  | Research Instruments
Impedance Analyzer |  | MNCF- Ele Room | Keysight | 4294A | 87 | External | DST | A device that is used for measuring Capacitance-Voltage, impedance and resistance, as a function of frequency of the applied voltage . | CeNSE |  |  |  | Research Instruments
RF Probe Station (RF PS) | RF PS | MNCF- Ele Room | Cascade | Summit 9000 | 88 | External | DST | It is a platform with two ports that allows probing of wafers and determining electrical properties. Probe tips: 100 microns, 200 microns, 150 microns pitch. | CeNSE |  |  |  | Research Instruments
Vector Network Analyzer (VNA) | VNA | MNCF- Ele Room | Keysight | E86361A | 89 | External | CeNSE/MITO-024/002/06 | It is a device that is used with RF probe station and used for measuring S parameters, smith chart, and impedance. DC bias:0-40V, number of connections: 2 ports, TRL/LRM, SOLT calibration. | CeNSE |  |  |  | Research Instruments
Four point colinear probe |  | MNCF- Ele Room | IT Globe Corporation | SP4 | 90 | Institute | IISc | Non destructive Sheet resistance | CeNSE |  |  |  | Research Instruments
Four probe hall setup with 0.17T fixed magnetic field |  | MNCF- Ele Room | Signatone Corp and HPVT Vacuum Technologies | SP4-62085TFS | 91 | Institute | IISc | Used for making wafer level Hall measurements | CeNSE |  |  |  | Research Instruments
Electro Magnet Probe Station |  | MNCF- Ele Room | Polytronics | HEM-150 | 92 | External | DST | Used for making Hall measurements on a sem-/fully-packaged device. Output current: +/- 30A, Output Voltage: +/- 60VDC, Magnetic Field Intensity: +/-1.7T. | CeNSE |  |  |  | Research Instruments
Mercury Probe Station |  | MNCF- Ele Room | MDC | 802B | 93 | External | DST | Makes up to three non-destructive electrical contacts with wafer-level samples and when used with a semiconductor device analyzer, it makes possible, measurements of current-voltage, capacitance-voltage. Stage dimensions: 6" max, smallest sample: 18mm, Ring contact: 48.6 microns, dot contact: 760 microns. | CeNSE |  |  |  | Research Instruments
Optical Microscope | Microscope | MNCF- Ele Room | Leica | DM 2500M | 94 | External | DST | Used for viewing samples at 5x, 10x, 20x, 50x and 100x. Transmitted light: 12V, 100W halogen lamp, 2 incident light axis, Digital camera (DFC 400), image resolution: 1.3 to 3.3 megapixels, exposure time: 100 micro seconds to 30 secoonds, Bright field, Dark field, Polarization applications | CeNSE |  |  |  | Research Instruments
Stereo Microscope | Microscope | MNCF- Ele Room | Leica | SD 6 | 95 | External | DST | Used for viewing samples at 6.3x to 10x, Camera: leica EC3, Pixels: 2048 x 1536, zoom: 6.3:1, spatial resolution: 432 lp/mm | CeNSE |  |  |  | Research Instruments
Atomic Force Microscopy (AFM) | AFM 1 | MNCF Mechanical | Bruker Systems | Dimension Icon | 96 | External | CeNSE/ADAO-0054/578/13 | Used for mapping the topography of a sample with a max roughness on the order of a few microns. Scan range (XY): 90 um x 90 um, Scan range (Z): 13um, sample size≤210 mm in dia, ≤15 mm thick. Possible modes of operation: contact mode, tapping mode, Scan Asyst mode based on peak force tapping, etc., Peak Force QNM, Kelvin Probe (KPFM)/surface potential microscopy, Piezo Force Microscopy (PFM), Conductive AFM, Liquid AFM, Magnetic Force Microscopy (MFM). | CeNSE |  |  |  | Research Instruments
Atomic Force Microscopy (AFM) | AFM 2 | MNCF Mechanical | Bruker Systems | Dimension Icon | 97 | External | CeNSE/NPMA-014/104/10 | Used for mapping the topography of a sample with a max roughness on the order of a few microns. Scan range (XY): 90 um x 90 um, Scan range (Z): 13um, sample size≤210 mm in dia, ≤15 mm thick. Possible modes of operation: contact mode, tapping mode, Scan Asyst mode based on peak force tapping, etc., Peak Force QNM, Kelvin Probe (KPFM)/surface potential microscopy, Piezo Force Microscopy (PFM), Conductive AFM, Liquid AFM, Magnetic Force Microscopy (MFM). | CeNSE |  |  |  | Research Instruments
Micro Shaker (MS) | MS | MNCF Mechanical | Bruel & Kjaer | A/S LDS V406 | 98 | External | CeNSE/NPMA-014/102/10 | It is used in combination with LDV (laser doppler vibrometer) for measuring natural frequency of the sample. Max acceleration: 5g, Displacement continuous peak-peak: 7mm, Max. frequency: 1000Hz. | CeNSE |  |  |  | Research Instruments
Micro System Analyzer MSA-500 | MSA 500 | MNCF Mechanical | Polytec | MSA 500i | 99 | External | CeNSE/NPMA-014/300/12 | It is used for measuring out-of-plane and in-plane vibrations of MEMS devices. Out of plane vibrations: 10Hz - 24MHz, in-plane vibrations: 1HZ to 1MHz. | CeNSE |  |  |  | Research Instruments
Micro UTM | UTM | MNCF Mechanical | Mecmesin | Multitest 10i | 100 | External | CeNSE/NPMA-014/238/13 | It is used for measuring mechanical properties through mechanical tests (tensile, compression and three point bend test). Load cells: 25N to 10kN, speed range: 1mm/min to 1000mm/min. | CeNSE |  |  |  | Research Instruments
Optical Profilometer (OP) | OP | MNCF Mechanical | Taylor Hobson | Talysurf CCl | 101 | External | CeNSE/MITO-024/082/10 | It is used for measuring thin film parameters like roughness, thickness etc. Vertical resolution: 5nm, max. measuring area: 1.6mm x 1.6mm, XY sticking: 10 cm x 10cm, pixels up to: 1024 x 1024, lateral resolution: 0.4-0.6 μm, surface reflectivity: 0.3-100%. | CeNSE |  |  |  | Research Instruments
Precision Nanodisplacement System (PNDS) | PNDS | MNCF Mechanical | Radiant technologies | PNDS V2.0 | 102 | External | CeNSE/ADAO-0054/366/13 | It is used for checking piezo response of thick films. Piezo response up to 100V is possible. | CeNSE |  |  |  | Research Instruments
Rate Table (RT) | RT | MNCF Mechanical | Motion Dynamics | TES 3H3 TG | 103 | External | CeNSE/NPMA-014/912/12 | It is used for gyroscope calibration for two axis. Max rate inner/outer axis (±1500°sec/±250°sec) | CeNSE |  |  |  | Research Instruments
Scanning Acoustic Microscope (SAM) | SAM | MNCF Mechanical | KSI | V400 | 104 | External | CeNSE/NPMA-014/091/10 | It is used for finding sub-surface defects (bonding defects, voids, cracks etc.). Min defect size: 1μm, transducer: 50, 100, 150, 230 MHz. | CeNSE |  |  |  | Research Instruments
Focused Ion Beam (FIB) | FIB | MNCF-MAT Room | FEI | Helios Nanolab600i | 105 | External | CeNSE/NPMA-014/85/10 | It uses a nanoscale ion beam for removing material as well as depositing material with a resolution of few tens of nm. Electron beam resolution: 1.4nm, 5 GIS ports Platinum GIS - contact pads, Tungsten and XEF2, circuit editting, Omniprobe manipulator. | CeNSE |  |  |  | Research Instruments
X Ray Photoelectron Spectroscopy (XPS) | XPS | MNCF-MAT Room | Shimadzu | Axis ULTRA | 106 | External | CeNSE/MITO-084/442/12 | It is used for knowing surface chemistry, oxidation states, etc. Measurements of depth distribution of composition, oxidation states is also possible. Mono-chromatic source Al Kα (1486.6eV), Dual source - Al Kα and Mg Kα (1253.6eV), charge neutralizer, Ar-ion sputtering, Ultra-Violet Photoelectron Spectroscopy (UPS), XPS Imaging & Elemental mapping. | CeNSE |  |  |  | Research Instruments
Scanning Electron Microscope - EDS (SEM - EDS) | SEM- EDS | MNCF-MAT Room | Carl Zeiss | ULTRA55 | 107 | External | CeNSE/NPMA-014/88/10 | Used for imaging sample surfaces and determining sample-composition. Imaging resolution: 0.8 nm @15kV, elements that can be detected: Boron to Uranium, Cathodoluminescence: 135nm to 1700nm, in-situ IV and Force measurements. | CeNSE |  |  |  | Research Instruments
Scanning Electron Microscope - MONO CL (SEM - MONOCL) | SEM -MONOCL | MNCF-MAT Room | Carl Zeiss | ULTRA55 | 108 | External | CeNSE/NPMA-014/89/10 | Used for imaging sample surfaces and mapping bandgap variations. Imaging resolution: 0.8 nm @15kV, elements that can be detected: Boron to Uranium, Cathodoluminescence: 135nm to 1700nm, in-situ IV and Force measurements. | CeNSE |  |  |  | Research Instruments
Gold Sputtering |  | MNCF-MAT Room | Quorum | Q150RES | 109 | External | DST | Used for depositing a few nm of gold on non-conductive samples for imaging with ions/electrons in our SEMs and FIB systems. | CeNSE |  |  |  | Research Instruments
Transmission Electron Microscope (TEM) | TEM | MNCF-MAT Room | FEI | Titan Themis | 110 | External | CeNSE/MITO96/FS0002/15 | Ultra-bright XFEG gun, 60-300kV, suitable for beam sensitive samples, 4K x 4K CMOS camera, single tilt and double tilt specimen holds, new computerized 5-axis specimen piezo stage, Super-X quad EDS detector for super-fast elemental analysis, EDX Solid State Detector, HRTEM and STEM modes, HAADF (High Angle Annular Dark FIeld Imaging) and Dark FIeld/ Bright Field (DF/BF) detectors for simultaneous imaging in STEM mode, SAED (selected area electron diffraction). | CeNSE |  |  |  | Research Instruments
Fourier Transform Infrared Spectrometer (FTIR) | FTIR | MNCF optical room | Perkin Elmer | Frontier | 111 | External | DST | It is used for determining local environment of atomic species, and composition analysis, by probing phonons. Spectral range: 7800 cm-1 to 350 cm-1, spectral resolution: 0.5cm-1 to 64 cm-1, detector: TGS and MCT, modes: UATR, diffuse reflectance, specular reflectance. | CeNSE |  |  |  | Research Instruments
Simultaneous Thermal Analyser (STA) | STA | MNCF optical room | Perkin Elmer | STA 8000 | 112 | External | DST | It is used to measure thermal characteristics of samples. Temperature range: 15-1500 °C, heating rate: 0.1-100°C/min, calorimetric accuracy: ±5%, Thermocouples; PT-PT/Rh (Type R) | CeNSE |  |  |  | Research Instruments
Solar Simulator (SS) | SS | MNCF optical room | Newport | Oriel SOl3A | 113 | External | CeNSE-CHL-OPTCL-SOL3A-E01 | It is used for knowing photovoltaic response of a device. Class AAA Solar Simulator, Xenon Arc Lamp, Air Mass Filter: 1.5 G | CeNSE |  |  |  | Research Instruments
Intelligent Quantum Efficiency (IQE) | IQE | MNCF optical room | Newport | ORIEL IQE200 | 114 | External | CeNSE-CHL-OPTCL-IQE-E1 | It is used for measuring quantum efficiency of a device. Wavelength range: 350-1100nm, spot size:1mm x 2.5mm, Tungsten Lamp. | CeNSE |  |  |  | Research Instruments
Micro Raman and Micro Photoluminescence (PL) Spectroscopy | Raman and PL | MNCF optical room | Horiba | Labram HR | 115 | External | CeNSE-CHL-OPTCL-LRHR-E01 | It is used for probing phonons in samples, composition analysis, and determination of bandgap. Spectral resolution: 0.3 cm-1, spatial resolution: 1 μm, scan range: 200-1500 nm, Confocal microscope, Polarizers, Lasers-532 nm, 785 nm and 266 nm, Raman/PL mapping, Low temperature 7K. | CeNSE |  |  |  | Research Instruments
X-Ray Diffractometer (XRD) 4 Circle | XRD 4 Circle | MNCF optical room | Rigaku | Smartlab | 116 | External | CeNSE/MITO-084/441/12 | It is used for crystallographic studies. Source: Cu X ray tube, Parallel beam and Bragg Brentano Optics, Laterallt graded incident beam multilayer X ray mirror, 5° axial divergence slits, PSA and PSC slits, 4 bounce Ge monochromator, Kβ filter, Detectors: Point detector (0D), Line detector (1D) and Area detector (2D) | CeNSE |  |  |  | Research Instruments
X-Ray Diffractometer (XRD) - Powder and Thin Films | XRD Powder and thin films | MNCF optical room | Rigaku | Smartlab | 117 | External | CeNSE/MITO-084/441/12 | It is used for crystallographic studies. Source: Cu X ray tube, Parallel beam and Bragg Brentano Optics, Laterallt graded incident beam multilayer X ray mirror, 5° axial divergence slits, PSA and PSC slits, 4 bounce Ge monochromator, Kβ filter, Detectors: Point detector (0D), Line detector (1D) and Area detector (2D) | CeNSE |  |  |  | Research Instruments
Zeta Potential Analyser (ZetaPALS) | ZetaPALS | MNCF optical room | Brookhaven | ZetaPALS | 118 | External | DST | Used for determining particle size and Zeta potential of particles dispersed in a liquid (preferably DI water). Particle size range: 3 nm to 3 μm, sample volume: 1-3 ml, Zeta potential range: -220 mV to + 220 mV. | CeNSE |  |  |  | Research Instruments
UV-Vis Spectrometer (UV-Vis) | UV-Vis | MNCF optical room | Shimadzu | UV-3600 | 119 | External | DST | It is used for measuring absorbance, transmittance and reflectance of samples. Wavelength range: 200-3300 nm, 3 detectors: PMT, InGaAr and PbS, 3 modes: Transmittance, absorbance and reflectance. | CeNSE |  |  |  | Research Instruments
Fluorescence Microscope | Microscope | MNCF optical room | Leica | DM 2500 | 120 | External | DST | It is used for analyzing biological samples. Objectives: 5x, 10x, 20x, 40x and 100x. Digital camera (DFC 450C), Image resolution: 5 megapixels, Bright field, dark field and fluorescence applications. | CeNSE |  |  |  | Research Instruments