## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs)
8 1/2 Digit DMM with 8K Memory |  | IE LAB | Agilent | 3458A |  |  |  |  | DMM | Instrumentation Engineering | IE |  |  | Up | Analytical Measurement
California Bearing Ratio (CBR) Test apparatus | CBR | Civil Engineering Lab | EIE Instruments Pvt Ltd | EIE 1509281 |  | Internal | Institution |  |  | Civil Engineering | Geo Technical Engineering |  |  | Up | Characterization
Unconfined Compression Test Apparatus |  | Civil Engineering Lab | EIE Instruments Pvt Ltd | EIE 1509282 |  | Internal | Institution |  | UCS | Civil Engineering | Geo Technical Engineering |  |  | Up | Characterization
Three Gang Consolidation Test Apparatus |  | Civil Engineering Lab | Aimil | AIM-126-1 |  | Internal | Institution |  |  | Civil Engineering | Geo Technical Engineering |  |  | Up | Characterization
Triaxial Test Apparatus |  | Civil Engineering Lab | Aimil | AIM DIGITRI TEST |  | Internal | Institution |  |  | Civil Engineering | Geo Technical Engineering |  |  | Under Maintenance | Characterization
CTM apparatus 2000 kN |  | Civil Engineering Lab | Aimil | AIM 31 7E-AN-2 |  | Internal | Institution |  | 2000kN | Civil Engineering | Strength of Materials |  |  | Up | Characterization
UTM apparatus 1000 kN |  | Civil Engineering Lab | Aimil | AIM UT100.0 |  | Internal | Institution |  | 1000kN | Civil Engineering | Strength of Materials |  |  | Up | Characterization
Total Station Machine |  | Civil Engineering Lab | Sokkia | CX 150 |  | Internal | Institution |  |  | Civil Engineering | Surveying |  |  | Up | Characterization
Theodolite |  | Civil Engineering Lab | Sokkia |  |  | Internal | Institution |  |  | Civil Engineering | Surveying |  |  | Up | Analytical Measurement
Auto Level |  | Civil Engineering Lab | Sokkia | B40 |  | Internal | Institution |  |  | Civil Engineering | Surveying |  |  | Up | Analytical Measurement
Centrifugal Pump Test Rig |  | Civil Engineering Lab | AMBROS |  |  | Internal | Institution |  |  | Civil Engineering | Fluid Mechanics |  |  | Down | Characterization
Francis Turbine Test Rig |  | Civil Engineering Lab | AMBROS |  |  | Internal | Institution |  |  | Civil Engineering | Fluid Mechanics |  |  | Up | Characterization
Pelton Turbine Test Rig |  | Civil Engineering Lab | AMBROS |  |  | Internal | Institution |  |  | Civil Engineering | Fluid Mechanics |  |  | Up | Characterization
Open Channel Flow Apparatus |  | Civil Engineering Lab | Aimil | AIM AHH-01 |  | Internal | Institution |  |  | Civil Engineering | Fluid Mechanics |  |  | Up | Characterization
UV-Vis Spectrometer |  | Civil Engineering Lab | PerkinElmer | LAMBDA 45 |  | Internal | Institution |  |  | Civil Engineering | Environmental Engineering |  |  | Up | Characterization
Hydrology Apparatus |  | Civil Engineering Lab | Aimil | AIM AHH-01 |  | Internal | Institution |  |  | Civil Engineering | Fluid Mechanics |  |  | Up | Characterization
California Bearing Ratio (CBR) Test apparatus | CBR | Civil Engineering Lab | EIE Instruments Pvt Ltd | EIE 1509281 |  | Internal | Institution |  |  | Civil Engineering | Geo Technical Engineering |  |  | Up | Characterization
Unconfined Compression Test Apparatus |  | Civil Engineering Lab | EIE Instruments Pvt Ltd | EIE 1509282 |  | Internal | Institution |  |  | Civil Engineering | Geo Technical Engineering |  |  | Up | Characterization
Three Gang Consolidation Test Apparatus |  | Civil Engineering Lab | Aimil | AIM-126-1 |  | Internal | Institution |  |  | Civil Engineering | Geo Technical Engineering |  |  | Up | Characterization
Triaxial Test apparatus |  | Civil Engineering Lab | Aimil | AIM DIGITRI TEST |  | Internal | Institution |  |  | Civil Engineering | Geo Technical Engineering |  |  | Under Maintenance | Characterization
CTM apparatus 2000 kN |  | Civil Engineering Lab | Aimil | AIM 31 7E-AN-2 |  | Internal | Institution |  | 2000kN | Civil Engineering | Strength of Materials |  |  | Up | Characterization
UTM apparatus 1000 kN |  | Civil Engineering Lab | Aimil | AIM UT100.0 |  | Internal | Institution |  | 1000kN | Civil Engineering | Strength of Materials |  |  | Up | Characterization
Total Station Machine |  | Civil Engineering Lab | Sokkia | CX 150 |  | Internal | Institution |  |  | Civil Engineering | Surveying |  |  | Up | Characterization
Theodolite |  | Civil Engineering Lab | Sokkia |  |  | Internal | Institution |  |  | Civil Engineering | Surveying |  |  | Up | Analytical Measurement
Auto Level |  | Civil Engineering Lab | Sokkia | B40 |  | Internal | Institution |  |  | Civil Engineering | Surveying |  |  | Up | Analytical Measurement
Centrifugal Pump Test Rig |  | Civil Engineering Lab | AMBROS |  |  | Internal | Institution |  |  | Civil Engineering | Fluid Mechanics |  |  | Down | Characterization
Francis Turbine Test Rig |  | Civil Engineering Lab | AMBROS |  |  | Internal | Institution |  |  | Civil Engineering | Fluid Mechanics |  |  | Up | Characterization
Pelton Turbine Test Rig |  | Civil Engineering Lab | AMBROS |  |  | Internal | Institution |  |  | Civil Engineering | Fluid Mechanics |  |  | Up | Characterization
Open Channel Flow Apparatus |  | Civil Engineering Lab | Aimil | AIM AHH-01 |  | Internal | Institution |  |  | Civil Engineering | Fluid Mechanics |  |  | Up | Characterization
UV-Vis Spectrometer |  | Civil Engineering Lab | PerkinElmer | LAMBDA 45 |  | Internal | Institution |  |  | Civil Engineering | Environmental Engineering |  |  | Up | Characterization
Hydrology Apparatus |  | Civil Engineering Lab | Aimil | AIM AHH-01 |  | Internal | Institution |  |  | Civil Engineering | Fluid Mechanics |  |  | Up | Characterization
Anechoic Chamber |  | Room No 305,Academic Block 1 | JV Micronics |  |  | Internal | Institution |  | Anechoic Chamber with Reference Antenna &Cable,Automatic Positionar with Interfacing | Electronics and Communications Engineering | Microwave Engineering Lab |  |  | Up | Characterization
Vector Network Analyzer (VNA) | VNA | Room No 305,Academic Block 1 | Keysight | N9928A |  | Internal | Institution |  | 26.5 Ghz Field Fox Microwave Vector Netwark Analyzer; Frequency Range 30KHz to 26.5 Ghz;Dynamic Range:≥90dB overall if Bandwidth :10Hz to 100 KHz | Electronics and Communications Engineering | Microwave Engineering Lab |  |  | Up | Characterization
USB Power Sensor |  | Room No 305,Academic Block 1 | Keysight | U2000A |  | Internal | Institution |  | USB Power Sensor;Frequency Range 10MHz to 18 Ghz;Power Range:-60 to +20dBm | Electronics and Communications Engineering | Microwave Engineering Lab |  |  | Up | Characterization
Cadence Software |  | Communication Enginering Lab |  | Cadence IC 6141, University Bundle for UG Valid from 2020-2023 |  | Internal | Institution |  | Cadence IC 6141, University Bundle for UG Valid from 2020-2023 | Electronics and Communications Engineering | Communication Engineering Lab |  |  | Up | Software
High Speed Computational Server |  | Communication Enginering Lab | HPE | Proliant DL 380 Gen9 & Proliant DL 160 Gen9 |  | Internal | Institution |  | Proliant DL 380 Gen9(2x Intel Xenon E5-2650v4/64GB RAM/4x1.2TB SAS HDD)& Proliant DL 160 Gen9(2x Intel Xenon E5-2660v4/64GB RAM/4x1.2TB SATA HDD) | Electronics and Communications Engineering | Communication Engineering Lab |  |  | Up | Characterization
Spectrum Analyzer |  | Basic Electronics lab | Rohde and Schwarz | FSH8 |  | Internal | Institution |  | FSH8-Spectrum Analyzer:100 kHz-8 GHz | Electronics and Communications Engineering | Basic Electronics Lab |  |  | Up | Analytical Measurement
Function Generator |  | Basic Electronics lab |  | DX-4050 |  | Internal | Institution |  | 50 Mhz ,400 Msa/s DDS functun Generator with USB interface, Dynaxact | Electronics and Communications Engineering | Basic Electronics Lab |  |  | Up | Characterization
Digital Storage Oscilloscope (DSO) | DSO | Basic Electronics lab |  | DX1102 |  | Internal | Institution |  | 60 MHz Digital Storage Oscilloscope, Dynaxact | Electronics and Communications Engineering | Basic Electronics Lab |  |  | Up | Characterization
DC Power Supply |  | Basic Electronics lab |  | PSD3304 |  | Internal | Institution |  | Multiple DC power supply:30V/2A,5V/5A,±15V/1A, Scientific | Electronics and Communications Engineering | Basic Electronics Lab |  |  | Up | Characterization
Cathode Ray Oscilloscope (CRO) | CRO | Basic Electronics lab | Metravi | SM410 |  | Internal | Institution |  | 30 MHz Dual Channel Analog Oscilloscope,DC to 30 MHz,Triggering 60 MHz,Variable 10;1 Hold-off;X10,Input Voltage max: 400 Vpp;Time base:20ns t0 0.2s,Rise time:11.6ns,Component and Contunity tester | Electronics and Communications Engineering | Basic Electronics Lab |  |  | Up | Characterization
Digital Multimeter |  | Basic Electronics lab |  | RISH Multi16S |  | Internal | Institution |  | TRMS Mesurement 3100 counts 3 3/4 digit Digital with analog Bar Graph Bench Top Multimeter Backlit LCD Display,Basic Accuracy 0.1%, RISH | Electronics and Communications Engineering | Basic Electronics Lab |  |  | Up | Analytical Measurement
Desktop Computer |  | Communication Engineering lab | Lenovo | Think Station P320 SFF |  | Internal | Institution |  | Intel Core i5 7400,3.0 GHz Core CPU,8 GB 2400 MHZ ECC UDIMM DDR4 with 4 DIMM slot;Minimum 1 TB SATA HDD,7200 rpm speed, PC | Electronics and Communications Engineering | Software Lab |  |  | Up | Characterization
Microprocessor Trainer Kit |  | Communication Engineering lab | Dynalog | DYNA85LU |  | Internal | Institution |  | 8085 trainner kit with High perfomence 8 bit 8085A CPU@3 MHz;16 k powerful monitor FIRMWARE including standard commanda,codes;64k user RAM 62256; on board 40x2/16x2,20x4 LCD interface options,104 key standard PC-compitable PS2 keyboard;LCD display | Electronics and Communications Engineering | Microprocessor Lab |  |  | Up | Characterization
VISSIM Software |  | Communication Engineering lab | National Instruments | [6 empty] | Electronics and Communications Engineering | Communication Engineering Lab |  |  | Up | Software
TCAD Software |  | Communication Engineering lab | National Instruments | [6 empty] | Electronics and Communications Engineering | Communication Engineering Lab |  |  | Up | Software
Lathe |  | CIT Mechanical Workshop | Panther |  |  | Internal | Institution |  |  | Mechanical Engineering | CIT Mechanical Workshop |  |  | Up | Fabrication
Shaper Machine |  | CIT Mechanical Workshop | Padam |  |  | Internal | Institution |  |  | Mechanical Engineering | CIT Mechanical Workshop |  |  | Up | Fabrication
Slotting Machine |  | CIT Mechanical Workshop | Matchless |  |  | Internal | Institution |  |  | Mechanical Engineering | CIT Mechanical Workshop |  |  | Up | Fabrication
Wood Lathe |  | CIT Mechanical Workshop | Norton |  |  | Internal | Institution |  |  | Mechanical Engineering | CIT Mechanical Workshop |  |  | Up | Fabrication
Power Saw |  | CIT Mechanical Workshop | Matchless |  |  | Internal | Institution |  |  | Mechanical Engineering | CIT Mechanical Workshop |  |  | Up | Fabrication
Vertical Bench Drill |  | CIT Mechanical Workshop |  |  |  | Internal | Institution |  | Global | Mechanical Engineering | CIT Mechanical Workshop |  |  | Up | Fabrication
MIG Welding |  | CIT Mechanical Workshop | Ador Welding Limited |  |  | Internal | Institution |  |  | Mechanical Engineering | CIT Mechanical Workshop |  |  | Up | Fabrication
Arc Welding |  | CIT Mechanical Workshop |  |  |  | Internal | Institution |  | Weldstar | Mechanical Engineering | CIT Mechanical Workshop |  |  | Up | Fabrication
Gas Welding |  | CIT Mechanical Workshop |  |  |  | Internal | Institution |  |  | Mechanical Engineering | CIT Mechanical Workshop |  |  | Up | Fabrication
8 1/2 Digit DMM with 8K Memory |  | IE LAB | Agilent | 3458A | [5 empty] | Instrumentation Engineering | IE |  |  | Up | Analytical Measurement
Lathe |  | CIT Mechanical Workshop | Panther |  |  | Internal | Institution |  |  | Mechanical Engineering | CIT Mechanical Workshop |  |  | Up | Fabrication
Shaper Machine |  | CIT Mechanical Workshop | Padam |  |  | Internal | Institution |  |  | Mechanical Engineering | CIT Mechanical Workshop |  |  | Up | Fabrication
Slotting Machine |  | CIT Mechanical Workshop | Matchless |  |  | Internal | Institution |  |  | Mechanical Engineering | CIT Mechanical Workshop |  |  | Up | Fabrication
Wood Lathe |  | CIT Mechanical Workshop | Norton |  |  | Internal | Institution |  |  | Mechanical Engineering | CIT Mechanical Workshop |  |  | Up | Fabrication
Power Saw |  | CIT Mechanical Workshop | Matchless |  |  | Internal | Institution |  |  | Mechanical Engineering | CIT Mechanical Workshop |  |  | Up | Fabrication
Vertical Bench Drill |  | CIT Mechanical Workshop |  |  |  | Internal | Institution |  | Global | Mechanical Engineering | CIT Mechanical Workshop |  |  | Up | Fabrication
MIG Welding |  | CIT Mechanical Workshop | Ador Welding Limited |  |  | Internal | Institution |  |  | Mechanical Engineering | CIT Mechanical Workshop |  |  | Up | Fabrication
Arc Welding |  | CIT Mechanical Workshop |  |  |  | Internal | Institution |  | Weldstar | Mechanical Engineering | CIT Mechanical Workshop |  |  | Up | Fabrication
Gas Welding |  | CIT Mechanical Workshop |  |  |  | Internal | Institution |  |  | Mechanical Engineering | CIT Mechanical Workshop |  |  | Up | Fabrication
Anechoic Chamber |  | Room No 305,Academic Block 1 | JV Micronics |  |  | Internal | Institution |  | Anechoic Chamber with Reference Antenna &Cable,Automatic Positionar with Interfacing | Electronics and Communications Engineering | Microwave Engineering Lab |  |  | Up | Characterization
Vector Network Analyzer (VNA) | VNA | Room No 305,Academic Block 1 | Keysight | N9928A |  | Internal | Institution |  | 26.5 Ghz Field Fox Microwave Vector Netwark Analyzer; Frequency Range 30KHz to 26.5 Ghz;Dynamic Range:≥90dB overall if Bandwidth :10Hz to 100 KHz | Electronics and Communications Engineering | Microwave Engineering Lab |  |  | Up | Characterization
USB Power Sensor |  | Room No 305,Academic Block 1 | Keysight | U2000A |  | Internal | Institution |  | USB Power Sensor;Frequency Range 10MHz to 18 Ghz;Power Range:-60 to +20dBm | Electronics and Communications Engineering | Microwave Engineering Lab |  |  | Up | Characterization
Cadence Software |  | Communication Enginering Lab |  | Cadence IC 6141, University Bundle for UG Valid from 2020-2023 |  | Internal | Institution |  | Cadence IC 6141, University Bundle for UG Valid from 2020-2023 | Electronics and Communications Engineering | Communication Engineering Lab |  |  | Up | Software
High Speed Computational Server |  | Communication Enginering Lab | HPE | Proliant DL 380 Gen9 & Proliant DL 160 Gen9 |  | Internal | Institution |  | Proliant DL 380 Gen9(2x Intel Xenon E5-2650v4/64GB RAM/4x1.2TB SAS HDD)& Proliant DL 160 Gen9(2x Intel Xenon E5-2660v4/64GB RAM/4x1.2TB SATA HDD) | Electronics and Communications Engineering | Communication Engineering Lab |  |  | Up | Characterization
Spectrum Analyzer |  | Basic Electronics lab | Rohde and Schwarz | FSH8 |  | Internal | Institution |  | FSH8-Spectrum Analyzer:100 kHz-8 GHz | Electronics and Communications Engineering | Basic Electronics Lab |  |  | Up | Analytical Measurement
Function Generator |  | Basic Electronics lab |  | DX-4050 |  | Internal | Institution |  | 50 Mhz ,400 Msa/s DDS functun Generator with USB interface, Dynaxact | Electronics and Communications Engineering | Basic Electronics Lab |  |  | Up | Characterization
Digital Storage Oscilloscope (DSO) | DSO | Basic Electronics lab |  | DX1102 |  | Internal | Institution |  | 60 MHz Digital Storage Oscilloscope, Dynaxact | Electronics and Communications Engineering | Basic Electronics Lab |  |  | Up | Characterization
DC Power Supply |  | Basic Electronics lab |  | PSD3304 |  | Internal | Institution |  | Multiple DC power supply:30V/2A,5V/5A,±15V/1A, Scientific | Electronics and Communications Engineering | Basic Electronics Lab |  |  | Up | Characterization
Cathode Ray Oscilloscope (CRO) | CRO | Basic Electronics lab | Metravi | SM410 |  | Internal | Institution |  | 30 MHz Dual Channel Analog Oscilloscope,DC to 30 MHz,Triggering 60 MHz,Variable 10;1 Hold-off;X10,Input Voltage max: 400 Vpp;Time base:20ns t0 0.2s,Rise time:11.6ns,Component and Contunity tester | Electronics and Communications Engineering | Basic Electronics Lab |  |  | Up | Characterization
Digital Multimeter |  | Basic Electronics lab |  | RISH Multi16S |  | Internal | Institution |  | TRMS Mesurement 3100 counts 3 3/4 digit Digital with analog Bar Graph Bench Top Multimeter Backlit LCD Display,Basic Accuracy 0.1%, RISH | Electronics and Communications Engineering | Basic Electronics Lab |  |  | Up | Analytical Measurement
Desktop Computer |  | Communication Engineering lab | Lenovo | Think Station P320 SFF |  | Internal | Institution |  | Intel Core i5 7400,3.0 GHz Core CPU,8 GB 2400 MHZ ECC UDIMM DDR4 with 4 DIMM slot;Minimum 1 TB SATA HDD,7200 rpm speed, PC | Electronics and Communications Engineering | Software Lab |  |  | Up | Characterization
Microprocessor Trainer Kit |  | Communication Engineering lab | Dynalog | DYNA85LU |  | Internal | Institution |  | 8085 trainner kit with High perfomence 8 bit 8085A CPU@3 MHz;16 k powerful monitor FIRMWARE including standard commanda,codes;64k user RAM 62256; on board 40x2/16x2,20x4 LCD interface options,104 key standard PC-compitable PS2 keyboard;LCD display | Electronics and Communications Engineering | Microprocessor Lab |  |  | Up | Characterization
VISSIM Software |  | Communication Engineering lab | National Instruments | [6 empty] | Electronics and Communications Engineering | Communication Engineering Lab |  |  | Up | Software
TCAD Software |  | Communication Engineering lab | National Instruments | [6 empty] | Electronics and Communications Engineering | Communication Engineering Lab |  |  | Up | Software