## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Equipment Description | Department Name* | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Alert to be sent (Email id)*
Gel Rocker | L1-GR-M-100 | Dayanand Girls PG College, Kanpur | GeNei TM | L1-GR-M-100 | L1-GR-M-100 | Internal Funding | Institution |  | Biotechnology |  | 25000 |  | Working | Equipment | principaldgpg@gmail.com
UV-TransilluminatorwithFilter |  | Dayanand Girls PG College, Kanpur | GeNei TM | TCM-1 | TCM-1 | Internal Funding | Institution |  | Biotechnology |  | 40000 |  | Working | Equipment | principaldgpg@gmail.com
Orbital Incubator Shaker |  | Dayanand Girls PG College, Kanpur | U-Tech | ANISO900I:2000 | ANISO900I:2000 | Internal Funding | Institution |  | Biotechnology |  | 55000 |  | Working | Equipment | principaldgpg@gmail.com
Laminar air flow |  | Dayanand Girls PG College, Kanpur | U-Tech |  |  | Internal Funding | Institution |  | Biotechnology |  | 48000 |  | Working | Equipment | principaldgpg@gmail.com
Magnus MLX Microscope |  | Dayanand Girls PG College, Kanpur | Magnus |  |  | Internal Funding | Institution |  | Biotechnology |  | 38000 |  | Working | Equipment | principaldgpg@gmail.com
Orbital Shaker Incubator | OS | Dayanand Girls PG College, Kanpur | V.S. Scientific Corporation | AII SS | AII SS | External Funding | Project sanctioned by Directorate of Higher education, UP (Letter no 81/2024/1042/70-4-2024-002-4(33)/2023 dated 25.09.2024) | A laboratory instrument that combines a temperature-controlled chamber with an orbital shaking mechanism, essential for cell culture, fermentation, and molecular biology studies. | Botany |  | 145000 |  | Working | Equipment | principaldgpg@gmail.com
Magnetic Stirrer (REMI) |  | Dayanand Girls PG College, Kanpur | REMI | 2MLH | ZFHY26301 | External Funding | Project sanctioned by CSJM UNIVERSITY, Kanpur |  | Botany |  | 6800 |  | Working | Equipment | principaldgpg@gmail.com
Shaking Water Bath |  | Dayanand Girls PG College, Kanpur |  |  |  | External Funding | Project sanctioned by UGC |  | Botany |  |  |  | Working | Equipment | principaldgpg@gmail.com
Water Bath Incubator Shaker | WBIS | Dayanand Girls PG College, Kanpur | "COMPLAB" | Model: CSI-171 |  | External Funding | Project sanctioned by UGC | Temperature-controlled chamber with an orbital shaking mechanism, essential for cell culture, algal culture and fermentation. The bath has an oscillating tray. Shaking speed range is between 40 to 140 cycles per minute.Shaking tray can hold Erlenmeyer flasks of 100 ml, 250 ml and 500 ml capacity. Works on 220/230 volts AC supply. | Botany | Central Instrumentation Facility | 33500 |  | Working | Equipment | principaldgpg@gmail.com
Laminar Air Flow Horizontal Model | LAF | Dayanand Girls PG College, Kanpur | DK Scientific |  |  | External Funding | Project sanctioned by UGC | Horizontal laminar airflow (HLF) hoods are used in laboratories to create a sterile, ISO Class 5, non-hazardous work environment by pushing HEPA-filtered air from the back of the unit directly over the work surface toward the operator. Used for plant tissue culture, algal fulture and microbial vulture work. | Botany |  | 39500 |  | Working | Equipment | principaldgpg@gmail.com
Analytical Balance | Citizen CX series | Dayanand Girls PG College, Kanpur | Citizen | Model: CX 220 |  | External Funding | Project sanctioned by UGC | Used for precision weighing. Capacity 220 gm, readability 0.1 mg, response time 3 seconds. Graphical LCD display and fully automatic internal Calibration with built in weight. Functions with AC adapter 230 V | Botany | Botany lab | 74000 |  | Working | Equipment | principaldgpg@gmail.com
e/m Thomson Method | e/m | Dayanand Girls PG College, Kanpur | Omega |  |  | Internal Funding | Institution |  | Physics |  | 11600 |  | Working | Equipment | principaldgpg@gmail.com
LCR SERIES AND PARALLEL | LCR | Dayanand Girls PG College, Kanpur | Omega |  |  | Internal Funding | Institution |  | Physics |  | 4000 |  | Working | Equipment | principaldgpg@gmail.com
ENERGY BANG GAP | BAND GAP | Dayanand Girls PG College, Kanpur | Omega |  |  | Internal Funding | Institution |  | Physics |  | 1800 |  | Working | Equipment | principaldgpg@gmail.com
Centrifuge |  | Dayanand Girls PG College, Kanpur | Electrokraft (India) Pvt. Ltd., Kanpur | Benchtop | KFC 355 | Internal Funding | Institution |  | Zoology |  | 8500 |  | Working | Equipment | principaldgpg@gmail.com
pH Meter |  | Dayanand Girls PG College, Kanpur | Naina Semiconductor Limited, Lucknow | NIG 333 | 4052 | Internal Funding | Institution |  | Zoology |  | 6800 |  | Working | Equipment | principaldgpg@gmail.com
Blood Pressure Monitor |  | Dayanand Girls PG College, Kanpur | Morepen Laboratories Ltd., Solan, Himachal Pradesh | BP-14 | 8904124006950 | Internal Funding | Institution |  | Zoology |  | 1499 |  | Working | Equipment | principaldgpg@gmail.com
Electronic balance |  | Dayanand Girls PG College, Kanpur | Goldtek Marks India Traders, Kanpur | NA | NA | Internal Funding | Institution |  | Zoology |  | 17500 |  | Working | Equipment | principaldgpg@gmail.com

## Worksheet 1 (hidden)
NEHU Internal Funds
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Internal Resource Generation
SRIC Development Fund
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Vinayaka Missions Research Foundation
NITTTR Bhopal
ICAR-CMFRI
Ministry of Textiles
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
DBT, Govt. of India
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
Minister of Labour and Employment
Central Water Commission CWC
National Mineral Exploration and Development Trust
Anusandhan National Research Foundation ANRF DST
CSIR, Govt. of India
DST, Govt. of India
ICFRE