## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Alert to be sent (Email id)*
LN2 Dewar (3 lit capacity)Use in BET Instrument. |  | In BET Instrument's Room. | KGW-Isotherm | Not Found | Not Found | Internal Funding | Institute Funding | LN2 Dewar (3 lit capacity) for BET Surface Area Analyser. | Central Scientific Service |  | Rs.141600.00 |  |  | Accessories | In-Charge: Prof. Asim Bhaumik (msab@iacs.res.in); Operator: Mrs. Sujata Gupta (ocsg4@iacs.res.in)
Air Cooled, split type chiller, cap:5ltr(15000K cal/hr). Use in MPMS Instrument. |  | Attached with MPMS Instrument | Dai-Chi Cooling Solutions Pvt Ltd. | WC0150 | 202405058 | Internal Funding | Institute Funding | Air Cooled, split type chiller, cap:5ltr(15000K cal/hr). | Central Scientific Service |  | Rs. 478844.00 |  |  | Accessories | In-Charge:Prof. Sugata Ray (mssr@iacs.res.in); Operator: Mr. Prasad Modak ( ssppm@iacs.res.in)
_ PCA, TEC Supply,and _ PCA for One View Bing Controller. Spare parts of Camera Use in HRTEM Instrument. |  | Attached with HRTEM Instrument | Gatan Inc | Not Found | Part # 1094.20026 & Part # 1095.20030 | Internal Funding | Institute Funding | _ PCA, TEC Supply,and _ PCA for One View Bing Controller. | Central Scientific Service |  | Rs.405200.20 |  |  | Spare Parts | In-Charge:Prof. Narayan Pradhan (camnp@iacs.res.in)
In-Situ Electrochemical cell use in Rigaku smart lab 9 kW XRD |  | Accessory of Rigaku Instrument | RIGAKU CORPORATION, JAPAN | Smartlab 9kw | BD66000532-01 | Internal Funding | Institute Funding | In-Situ Electrochemical cell for Rigaku smart lab 9 kW XRD | Central Scientific Service |  | Rs.2085060.00 |  |  |  | Prof. Urmimala Maitra (urmimala.maitra@iacs.res.in)
Mettler Toledo make Analytical Balance. Use in Inert Atmosphere Glove Box System . |  | Attached with Glove Box Instrument | Mettler Toledo | Model:ME-204 . | 2744371010 | Internal Funding | Institute Funding | Mettler Toledo make Analytical Balance ; Model:ME-204 for Inert Atmosphere Glove Box System . | Central Scientific Service |  | Rs. 105020.00 |  |  | Accessories | In-Charge:Prof.Pradyut Ghosh (icpg@iacs.res.in)
Power Disit Board, Vacuum Hose 3 Ft., Hall Effect assy. Use in Floor model refrigerated centrifuge beckman ( avanti JXN ). |  | Attached with Floor model refrigerated centrifuge beckman ( avanti JXN Instrument | Beckman Coulter India Private Limited | Not Applicable | Part No. B 91870; Part No. C 07650; Part No. B 48170 | Internal Funding | Institute Funding | Power Disit Board, Vacuum Hose 3 Ft., Hall Effect assy for floor model refrigerated centrifuge beckman ( avanti JXN ). | Central Scientific Service |  | Rs. 410420.40 |  |  | Spare Parts | In-Charge:Prof.Benu Brata Das (pcbbd@iacs.res.in)
New Leybold TURBOVAC 350I Turbo vacuum pump , controller and accessories. Use in DC/RF sputtering system . |  | Attached with DC/RF sputtering system | TURBOVAC | TURBOVAC 3501; TURBO DRIVE351; TURBO POWER INTEGRA POWER SUPPLY. | 31002907370 ; 31002907370 ; 31002914499 | Internal Funding | Institute Funding | new Leybold TURBOVAC 350I Turbo vacuum pump , controller and accessories for the DC/RF sputtering system . | Central Scientific Service |  | Rs.1095040.00 |  |  | Spare Parts | In-Charge: Prof. Devajyoti Mukherjee ( sspdm@iacs.res.in); Operator: Mr. Ranajit Sardar (msrs@iacs.res.in)
MFP-3D Origin AFM System. |  | AFM Instrument Room. | M/s Oxford Instruments Asylum Research Inc. | MFP-3D Origin | Not Found | Internal Funding | Institute Funding | Atomic Force Microscope (AFM) | Central Scientific Service |  | USD 110600.00 |  |  | Instrument | In-Charge: Prof. Somobrata Acharya ( camsa2@iacs.res.in); Operator: Mr. Subir Sikder (msss3@iacs.res.in)
PLC HMI for recovery Compressor control system AND PLC & HMI accessories for Helium liquefier unit. |  | Attached with Helium liquefier unit. | ATOS Instruments Marketing Services. | Not Found | Not Found | Internal Funding | Institute Funding | Recovery compressor control system and accessories for liquefier unit | Central Scientific Service |  | Rs.214760.00 |  |  | Accessories | In-Charge:Prof. Mintu Mondal (sspmm4@iacs.res.in)
Water Chiller. Use in Bruker XRD/ XRF ( Model NCA1IPC1Z0002D02001) instrument. |  | Attached with Bruker XRD/ XRF ( Model NCA1IPC1Z0002D02001) instrument. | Werner Finley Make | NCA1IPC1Z0002Do2001 | 31123031452 | Internal Funding | Institute Funding | Water Chiller | Central Scientific Service |  | Rs.312228.00 |  |  | Accessories | In-Charge:Prof. Mintu Mondal (sspmm4@iacs.res.in)
Air Cooled Split Type Chiller, Capacity : 5TR (15,000Kcal/hr.) Use in Cryogen Free cryomagnetic System with DC resistivity. |  | Attached with Cryogen Free cryomagnetic System with DC resistivity. | DAI-CHI COOLING SOLUTIONS PVT LTD | WC0150 | 202303392 | Internal Funding | Institute Funding | Air Cooled Split Type Chiller, Capacity : 5TR (15,000Kcal/hr.) for Cryogen Free cryomagnetic System with DC resistivity. | Central Scientific Service |  | Rs.478844.00 |  |  | Accessories | Under Prof. Subham Majumdar.
HiPace 300 and HiScroll 6 Pumps. Use in PLD System. |  | Attached with PLD Instrument. | Pfeiffer Vacuum Gmbh | HiPace 350 & Omni control 300 And Hiscroll 6 | 17153616 Omni control- 80101689; 22132560 | Internal Funding | Institute Funding | HiPace 300 and HiScroll 6 Pumps | Central Scientific Service |  | Rs. 1226610.00 |  |  | Accessories | In-Charge: Prof. Devajyoti Mukherjee ( sspdm@iacs.res.in)
Dehumidifier. Use in Fluorescence/ absorption Spectrometer. |  | In Fluorescence/ absorption Spectrometer room. | Volsonic India Private Limited. | HUMI-100PC | 1011222 | Internal Funding | Institute Funding | Dehumidifier | Central Scientific Service |  | Rs. 161953.00 |  |  | Accessories | In-Charge: Prof. Sudip Malik ( psusm2@iacs.res.in)
Automated Powder X-Ray Diffractometer System Model D8 Advance . |  | In Automated Powder X-Ray Diffractometer System Model D8 Advance Room. | Bruker Singapore Pte Ltd. | D8 Advance | 217230 | Internal Funding | Institute Funding | Automated Powder X-Ray Diffractometer System Model D8 Advance . | Central Scientific Service |  | EUR 160000.00 |  |  | Instrument | In-Charge: Prof. Mintu Mondal ( sspmm4@iacs.res.in); Operator: Mr. Subrata Ghosh (tpsb4@iacs.res.in)
Microplate Spectrophotometer with Cuvette Port . |  | In Microplate Spectrophotometer | AR INFOSYSTEMS | EPOCH2NSC ; GEN 5 Software; TAKE 3 Plate; Computer (Lenevo), CPU, Monitor, UPS. | 2208190D; JNF 2ZGJC YNJF WF ; 530821; PG035WM9; V5FZP607;C1202231283992 | Internal Funding | Institute Funding | Microplate Spectrophotometer . | Central Scientific Service |  | Rs.798000.00 |  |  | Instrument | In-Charge: Prof. Ritesh Ranjan Paul ( ritesh.pal@iacs.res.in)
DUEX Intelligent Dehumidifier for AFM room . |  | In AFM room . | DUEX INDUSTRIAL SYSTEMS | BLUEWELL 20/WDE205 | 21050047 | Internal Funding | Institute Funding | DUEX Intelligent Dehumidifier for AFM room . | Central Scientific Service |  | Rs. 56105 |  |  | Accessories | In-Charge: Prof. Somobrata Acharya ( camsa2@iacs.res.in); Operator: Mr. Sanjib Naskar (mssn@iacs.res.in)
Gas Chromatography-Mass Spectroscopy System (GC-MS) with Accessories |  | In Gas Chromatography-Mass Spectroscopy System Room | M/Thermo Fisher Scientific | ISQ 7000,Item No-MI-148000-0017;19070010;19070020;19070001;25117580;19071030;7100.0108-GCMS;7050.0104A-GC-MS;1R120403-2020;1R3815-320;1R120434-0010;1R120404-1940;19050758;19050720;1R96000-98121;085-767100;36500525;60180-599;36500525;60180-599;36500505;26098-1420;26098-1540;26088-1420-26088-1540;260M166L;26004-6030;290GA139;290GA140;290VA191;290VA192;31303233;313G3230;3550458;60201-318;60180-785;29001320;290GA092;453A1925-UI;29033496;29033497;1R32000-60340;1R76505-0036;A0301-15101;10950-R1600;33819020;60180-888;60180-830;365D1831;701-056087;701-935400;701-935400;701-635400;701-935500;1R120439-0030 | ISQ7N2202001;121001043;722301044;722320071;722400285;A20220164; | Internal Funding | Institute Funding | Gas Chromatography-Mass Spectroscopy System (GC-MS) with Accessories | Central Scientific Service |  | Rs. 588600.00 |  |  | Instrument | In-Charge: Prof. Amit Majumdar (icam@iacs.res.in); Operator: Mr. Sridib Bera (gcms@iacs.res.in)
Accessories Use in VACUUM COATER |  | Vacuum Coating Instrument Room (OLD) | Hind High Vacuum Co.Pvt.Ltd. | 12A4D | 2141 | Internal Funding | Institute Funding | VACUUM COATER | Central Scientific Service |  | Rs. 3202499.70 |  |  | Accessories | In-Charge: Dr. K.D.M Rao (trckdmr@iacs.res.in);
general purpose compact fluorescence spectrometer |  | In fluorescence spectrometer Room | HORIBA Scientific | FluoroMax Plus | 0575D-2222-FMPLUS | Internal Funding | Institute Funding | general purpose compact fluorescence spectrometer . | Central Scientific Service |  | USD 24500 |  |  | Accessories | In-Charge: Prof. Shinto Varghese (trcsv@iacs.res.in);
CO2 Incubator |  | In CO2 Incubator Room | SURAVI INSTRUMENTATION PVT LTD | Model-Heracell VIOS 160i | 42978384 | Internal Funding | Institute Funding | CO2 Incubator . | Central Scientific Service |  | Rs. 735000.00 |  |  | Instrument | In-Charge: Prof. Deepak Sinha (bcdks@iacs.res.in);
FTIR spectrometer for the replacement of the existing old FTIR spectrometer |  | In FTIR spectrometer Room | PerkinElmer | For Instrument IRL 1600400; FOR Accessories {Material No.L16000E;L1600400;L16004000;LX108813;09991423;L1271192;L1270421;L11270986;51001144;04810949;L1060351;N0207067;L1600114;L1272315;L1272317;IRSP2ISLPART10EW;L1600111;IRL160000EPOSL} | 120947 (For Instrument). | Internal Funding | Institute Funding | FTIR spectrometer for the replacement of the existing old FTIR spectrometer | Central Scientific Service |  | USD 35000 |  |  | Instrument | In-Charge: Prof.Subhadeep Datta (sspsdd@iacs.res.in);
Ultra-Microtome for Biological Samples and others with accessories. Including EMUC7 module with Cryo Upgradation Facility. |  | In Ultra-Microtome Room | DHR Holding India Pvt. Ltd. | EMUC7 | Not Found | Internal Funding | Institute Funding | Ultra-Microtome for Biological Samples and others with accessories. Including EMUC7 module with Cryo Upgradation Facility. | Central Scientific Service |  | Rs. 5974500.00 |  |  | Instrument | In-Charge: Prof. Prof. Benu Brata Das (pcbbd@iacs.res.in); Operator: Mr. Ranojit Sardar (pcbbd@iacs.res. in)
Planetary Ball Mill with Accessories |  | In Planetary Ball Mill Room | M/S RETESH-Gmbh-Germany | PM 100 | 1222140311N | Internal Funding | Institute Funding | Planetary Ball Mill . | Central Scientific Service |  | Rs. 929668.00 |  |  | Instrument | In-Charge: Prof. Urmimala Maitra. (urmimala.maitra@iacs.res.in);
Ice Flake Machine Room |  | In Ice Flake Machine Room |  | LMIF 100 Labman) | Not Found | Internal Funding | Institute Funding | Ice Flake Machine (Storage capacity 15kg;Model No:LMIF 100 Labman) | Central Scientific Service |  | Rs.149994.60 |  |  | Instrument | In-Charge: Prof. Tapan Kanti Paine (ictkp@iacs.res.in);
Source Measure Unite With accessories [SINGLE CHANNEL,40V, 2600-TRIAX-TRIAX ADAPTER FOR 2600 SERIES, 7078-TRX-GND-3-SLOT MALE TRIAX TO BNC ADAPTER (GUARD REMOVED) |  | In Source Measure Unite Room | KEITHLEY | 2601B | Not Found | Internal Funding | Institute Funding | Source Measure Unite With accessories [SINGLE CHANNEL,40V, 2600-TRIAX-TRIAX ADAPTER FOR 2600 SERIES, 7078-TRX-GND-3-SLOT MALE TRIAX TO BNC ADAPTER (GUARD REMOVED) | Central Scientific Service |  | Rs.1524600.00 |  |  | Instrument | In-Charge: Prof. Subhadeep Datta (sspsdd@iacs.res.in)
Thermic System for Optical Imaging Devices ( Attached with existing Olympus BX53M Microscope ). |  | Attached with existing Olympus BX53M Microscope | Labindia Instruments Pvt LTD | Linkam LTS420 & T96 controller | 11085-0812 14121 | Internal Funding | Institute Funding | Thermic System for Optical Imaging Devices NO.(1): LTS420 Large Sample Area Heating Stage with XY Manipulation and T96 Controller with Linkpad. | Central Scientific Service |  | Rs. 1286615.50 |  |  | Accessories | In-Charge: Prof. Subhadeep Datta (sspsdd@iacs.res.in)
1200 degree C High Temperature Horizontal Split Tube Furnace. |  | In 1200 degree C High Temperature Horizontal Split Tube Furnace Room | Ants Innovations Pvt. Ltd. | Not Found | Not Found | Internal Funding | Institute Funding | 12000C High Temperature Horizontal Split Tube Furnace | Central Scientific Service |  | Rs. 271999.40 |  |  | Instrument | In-Charge: Prof. Urmimala Maitra (urmimala.maitra@iacs.res.in)
MT200/SN 1007196 Replacement of Components and Thorlabs optical accessories ( PQ TCSPC module with laser and driver + Thorlabs optical accessories ; Sepia PDL 828-S; Sepia Oscillator Module: Sepia Laser Module- SLM 828; LDH-P-C- 405B; LDH-P-C-470B ) for existing FLIM setup. |  | Attached with existing FLIM setup. | Simco Global Technology & Systems Limited | 930004; 910020; 910029;910028;910406;910471 | 1044730;1045019;1045356;1045373,1045682;1045616;1046079 | Internal Funding | Institute Funding | MT200/SN 1007196 Replacement of Components and Thorlabs optical accessories for existing FLIM setup. | Central Scientific Service |  | Rs.5709888.50 |  |  | Accessories | In-Charge: Prof. Deepak Sinha ( bcdks@iacs.res.in)
ASIQ TEMP INTERFACE SM PCB Used in BET - Analyzer |  | Attached with BET Instrument. | Anton Paar India Pvt. Ltd. | 192975 | 14717051501 | Internal Funding | Institute Funding | ASIQ TEMP INTERFACE SM PCB ( BET - Analyzer ) | Central Scientific Service |  | Rs.51450.00 |  |  | Accessories | In-Charge: Prof. Tarun Mandal ( psutkm@iacs.res.in)
System for measurement Surface Tension / Interfacial Tension .( Sigma Force Tensiometer 703D) |  | In System for measurement surface tension / Interfacial Tension. Room | SPECIALISE INSTRUMENTS MARKETING COMPANY | T703D | 73246 | Internal Funding | Institute Funding | System for measurement Surface Tension / Interfacial Tension . | Central Scientific Service |  | Rs.799558.00 |  |  | Instrument | In-Charge: Prof. Prashant Chandra Singh ( sppcs@iacs.res.in)
USB-2405[4CH 24-Bit 128kS/s Dynamic Signal Acquisition USB 2.0 module] |  |  | M/s TECH Square | NIL | NIL | Internal Funding | Institute Funding | USB-2405[4CH 24-Bit 128kS/s Dynamic Signal Acquisition USB 2.0 module] | Central Scientific Service |  | Rs.135187.50 |  |  | Software | In-Charge: Prof. Tarun Mandal ( psutkm@iacs.res.in)
RCS Gas Dryer . Used in Q2000 DSC. |  | Used in Q2000 DSC instrument. | Water's India (TA Instruments) | FC100 | 41653 | Internal Funding | Institute Funding | RCS Gas Dryer for Q2000 DSC. | Central Scientific Service |  | Rs.60299.05 |  |  | Accessories | In-Charge: Prof. Sudip Malik (psusm2@iacs.res.in); Operator: Mr. Arup Bandyopadhyay (spakb@iacs.res.in)
SR830 DSP Dual Phase Lock in Amplifier , SR554 Lock in transformer preamplifier , SIM900 Mainframe with RS-232 computer interface , SR540 Optical Chopper . |  |  | Stanford Research Systems, Inc. | SIM900 ; SR540 ; SR554 ; SR830. | NIL | Internal Funding | Institute Funding | SR830 DSP Dual Phase Lock in Amplifier , SR554 Lock in transformer preamplifier , SIM900 Mainframe with RS-232 computer interface , SR540 Optical Chopper . | Central Scientific Service |  | USD 9806.10 |  |  | Software | In-Charge:Prof. Mintu Mondal (sspmm4@iacs.res.in)
Interactive Digital Source Meter. |  | Under Prof. Tarun Kumar Mandal. | Tektronix Instruments INC. Cleveland, USA. / Keithley. | 2450 | 4521876 | Internal Funding | Institute Funding | Interactive Digital Source Meter | Central Scientific Service |  | Rs. 441787.60 |  |  | Accessories | In-Charge: Prof. Tarun Mandal ( psutkm@iacs.res.in)
PerkinElmer DSC-8000 instrument. |  | PerkinElmer DSC-8000 instrument's Room. | PerkinElmer | DSC 8000 | DSC 8000/534L2105272 , Intracooler 2/2103-00636 | Internal Funding | Institute Funding | PerkinElmer DSC-8000 instrument against Buy-Back of existing PerkinElmer Diamond DSC | Central Scientific Service |  | Rs.3820800.00 |  |  | Instrument | In-Charge: Prof. Sudip Malik (psusm2@iacs.res.in); Operator: Mr. Arup Bandyopadhyay (spakb@iacs.res.in)
BIOVIA Materials Studio research Suit. [ BIOVIA- Materials Studio Academic Research Suit (2020) ]( Swoftware) |  | In Prof. Narayan Pradhan's Lab | Dassault Systems. | NIL | NIL | Internal Funding | Institute Funding | BIOVIA Materials Studio research Suit. [ BIOVIA- Materials Studio Academic Research Suit (2020) ] ; | Central Scientific Service |  | Rs. 1495399.50 |  |  | Software | In-Charge: Prof. Narayan Pradhan ( camnp@iacs.res.in)
Complete Package of Air Separation Unit for producing Nitrogen Gas [ Used for Liquid Nitrogen Plant]. |  | Nitrogen Plant | Assembled by : Addcool Trade & Services | NIL | NIl | Internal Funding | Institute Funding | Complete Package of Air Separation Unit for producing Nitrogen Gas | Central Scientific Service |  | Rs.1522500.00 |  |  | Accessories | In-Charge: Prof. Subhadeep Datta (sspsdd@iacs.res.in) & Prof. Devajyoti Mukherjee (sspdm@iacs.res.in); Operator: Mr.Pijus Das (admpkd@iacs.res.in).
Agilent Cary 5000 UV-Vis-NIR Bundle system with Accessories. |  | In UV-Vis-NIR Room | Agilent Technologies | Carry 5000 | MY2144CD01 | Internal Funding | Institute Funding | Agilent Cary 5000 UV-Vis-NIR Bundle system with Accessories. | Central Scientific Service |  | Rs.3880000.00 |  |  | Instrument | In-Charge: Prof. Subhadeep Datta (sspsdd@iacs.res.in)
KBR WINDOW ASSY and SOURCE ELEMENT ASSY . Used in FTIR instrument . |  | Attached with FTIR Instrument. | PerkinElmer | L1200407 ; L1200443 | NIL | Internal Funding | Institute Funding | KBR WINDOW ASSY and SOURCE ELEMENT ASSY for FTIR instrument . | Central Scientific Service |  | Rs. 98115.00 |  |  | Accessories | In-Charge: Prof. Subhadeep Datta (sspsdd@iacs.res.in)
ZETASIZER ADVANCE PRO BLUE (DLS Instrument) with Accesories . |  | DLS Instrument's Room | Malvern Panalytical | ZSU3200 (Zetasizer advance Pro Blue); ZEN1002 Universal 'Dip' Cell Kit. | MAL1262456 ; MAL 1263161 | Internal Funding | Institute Funding | ZETASIZER ADVANCE PRO BLUE (DLS Instrument) with Accesories . | Central Scientific Service |  | GBP 30915.00 |  |  | Instrument | In-Charge: Prof. Tarun Mandal ( psutkm@iacs.res.in)
OLYMPUS UPRIGHT MICROSCOPE MODEL BX53M WITH MAG. RANGE 50X-1000X. |  | Main Bldg. 1st Floor. | I.R. TECHNOLOGY SERVICES PVT. LTD. | BX53M |  | Internal Funding | Institute Funding | OLYMPUS UPRIGHT MICROSCOPE MODEL BX53M WITH MAG. RANGE 50X-1000X. | Central Scientific Service |  | Rs.1868999.90 |  |  | Accessories | In-Charge: Prof. Subhadeep Datta
DIAPHRAGM VACUUM PUMP WITH ACCESSORIES FOR LINKAM THMS600 STAGE. Used in Raman Spectrometer |  | In Raman Spectrometer 's Room. | PFEIFFER | MVP 010-3 DC | NIL | Internal Funding | Institute Funding | DIAPHRAGM VACUUM PUMP WITH ACCESSORIES FOR LINKAM THMS600 STAGE | Central Scientific Service |  | Rs.262500.00 |  |  | Accessories | In-Charge: Prof. Subhadeep Datta (sspsdd@iacs.res.in)
Inverter Chiller with cooling capacity of 5 TR. Used in SQUID-VSM Instrument. |  | In Squid-VSM instrument's Room. | Addcool Trade & Services | ICON005D0P1Y-G3 | NIL | Internal Funding | Institute Funding | Inverter Chiller with cooling capacity of 5 TR | Central Scientific Service |  | Rs.459892.60 |  |  | Accessories | In-Charge: Prof. Subham Majumdar. (sspsm2@iacs.res.in)
Recirculating Chiller for Rotary Evaporator.Used in TGA Instrument. |  | In TGA Instrument's Room. | Ajanta Enterprise. | GMP, Table top Model, Model No. RC-012A. | 3001380 | Internal Funding | Institute Funding | Recirculating Chiller for Rotary Evaporator | Central Scientific Service |  | Rs. 74999.97 |  |  | Accessories | In-Charge: Prof. Sudip Malik. (psusm2@iacs.res.in); Operator: Mr. Arup Bandyopadhyay (spakb@iacs.res.in)
New TGA 4000 Instrument. |  | In TGA Instrument's Room. | PerkinElmer | TGA4000 | 522A19071101 | Internal Funding | Institute Funding | a New TGA 4000 Instrument. | Central Scientific Service |  | USD 19800.00 |  |  | Instrument | In-Charge: Prof. Sudip Malik. (psusm2@iacs.res.in); Operator: Mr. Arup Bandyopadhyay (spakb@iacs.res.in)
Water Chiller for APEX-II SCXRD Instrument |  | In APEX-II SCXRD Instrument's Room. | Warner Finley Pvt. Ltd. | ICON002D0P1Y-G1 | NIL | Internal Funding | Institute Funding | Water Chiller for APEX-II SCXRD Instrument. | Central Scientific Service |  | Rs.249500.00 |  |  | Accessories | In-Charge: Prof. Amit Majumdar.. (icam@iacs.res.in)
Eater Chiller for D8Advance XRD System. |  | In D8Advance XRD Room. | Warner Finley Pvt. Ltd. | LPI-XRD-002-BAXS | NIL | Internal Funding | Institute Funding | Eater Chiller for D8Advance XRD System. | Central Scientific Service |  | Rs.320250.00 |  |  | Accessories | In-Charge: Prof. Subham Majumdar. (sspsm2@iacs.res.in)
JASCO CD Spectro Polarimeter. |  | In JASCO CD Spectro Polarimeter Instrument's Room. | Jasco International Co. Ltd. | J-1500 | BO51961638 | Internal Funding | Institute Funding | a JASCO CD Spectro Polarimeter | Central Scientific Service |  | JPY 7300000.00 |  |  | Instrument | In-Charge: Prof. Anindita Das. (psuad2@iacs.res.in); Operator: Mr. Chanchal Kr. Das.(bcckd@iacs.res.in)
Turbo Moleculer Pumping Station. |  | Room No. 14, [ Main Bldg. Ground floor] | Edwards Limited | nxDS20N20 |  | Internal Funding | Institute Funding | Turbo Moleculer Pumping Station. | Central Scientific Service |  | GBP 7150 |  |  | Accessories | Under Prof.Mintu Mondal & Prof. Subham Majumdar
TCSPC Spectrometer. |  | Room No. 85 [ Main Bldg. 1st. Floor ] (1274) | Horiba Jobin Yvon IBH Ltd. | Delta Flex-01 (Main Unit) DH-HT (DeltaHub) DD-C1 ( DD-Controller) PPD850 ( Detector) DPS-1 (DETECTOR CONTROLLER) | 16169 16179 15995 17374 17239 | Internal Funding | Institute Funding | TCSPC Spectrometer. | Central Scientific Service |  | GBP 88300.00 |  |  | Instrument | In-Charge: Prof. Narayan Pradhan ( camnpiacs.res.in)Operator: By Student
Coater Unit for SEM System. |  | Room No. 018 [ Main Bldg. Gr ] (1181) | Jeol Assia Pte.Ltd | Model No. JEC 3000FC | Not Found | Internal Funding | Institute Funding | Coater Unit for SEM System. | Central Scientific Service |  | USD 17200 |  |  | Accessories | In-Charge: Prof. Tarun Mondal . ( psutkm @iacs.res.in); Operator: Mr. Rabindranath Banik and Soumita Das Kar
Bry-Air Dehumidifier Model FFB-300 along with Digital Humidistat |  | Room No. 101[ ERU Bldg. Gr ] (1181) | HUDA Industrial Areea | FEB 300 | Not Found | Internal Funding | Institute Funding | Bry-Air Dehumidifier Model FFB-300 along with Digital Humidistat | Central Scientific Service |  | Rs. 226500.00 |  |  | Accessories | In-Charge: Prof. Devajyoti Mukherjee (sspdm@ iacs.res.in);Operator: By Student
P/N : MTP TLC Adapter (Inclusive of Software Licence) for MALDI Measurements.,Big Glass Slides., SIMLIPID SW is high throughput Lipid identification software. |  | Room No. 301 [ Centenary Bldg. 2nd Floor.] (2126) | Bruker Daltonik GmbH | Material No.255595 for TLC Adapter;Material No.259387 for MALDI Imaging; | Not Found | Internal Funding | Institute Funding | P/N : MTP TLC Adapter (Inclusive of Software Licence) for MALDI Measurements.,Big Glass Slides., SIMLIPID SW is high throughput Lipid identification software. | Central Scientific Service |  | USD 21305 |  |  | Software | Under Prof.Prosenjit Sen (bcpsiacs.res.in);
Water Level Sensor for BET Instrument. |  | Room No. 11 [ Main Bldg. Ground Floor.] (1710) | PARTECH SCIENTIFIC INSTRUMENTS | 00080 | Not Found | Internal Funding | Institute Funding | Water Level Sensor for BET Instrument. | Central Scientific Service |  | Rs. 64900.00 |  |  | Accessories | In-Charge: Prof. Ashim Bhaumik (msab@iacs.res.in);
ES- UCD 3X Insertion Type Dewar for EPR Instrument. |  | Main Bldg. IACS Gr. Floor(1808) | JEOL LTD | JES X320 | Not Found | Internal Funding | Institute Funding | ES- UCD 3X Insertion Type Dewar for EPR Instrument. | Central Scientific Service |  | USD 10680 |  |  | Accessories | In-Charge:Prof. Tapan Kanti Paine (ictkp@iacs.res.in);
Electronic Balance for BET. |  | Room No. 11 [ Main Bldg. Ground Floor.] (1710) | sartorius | Quintix 224-10IN | 35703745 | Internal Funding | Institute Funding | Electronic Balance for BET. | Central Scientific Service |  | Rs.89250.00 |  |  | Accessories | In-Charge: Prof. Ashim Bhaumik (msab@iacs.res.in); Operator: Ms. Sujata Gupta( maldi@iacs. res.in )
PSU0040 PSU for Zetasizer Nano DLS. |  | Room No.83 [ Main Bldg. 1st Floor ](1262) | Aimil Ltd. | Part No.PSU0040 | Not Found | Internal Funding | Institute Funding | PSU0040 PSU for Zetasizer Nano DLS. | Central Scientific Service |  | Rs.164790.00 |  |  | Spear Parts | In-Charge: Prof. Anindita Das (psuad2iacs.res.in); Operator: Ms. Champa Bag (maldi@iacs. res.in )
Quantachrome make Surface Area Analyzer (BET) |  | Room No. 11 [ Main Bldg. Ground Floor.] (1710) | Quantachrome's | ASIQMP | 457 | Internal Funding | Institute Funding | Quantachrome make Surface Area Analyzer (BET) | Central Scientific Service |  | USD 45100.00 |  |  | Instrument | In-Charge: Prof. Ashim Bhaumik (msab@iacs.res.in); Operator: Ms. Sujata Gupta( maldi@iacs. res.in )
2.axis motor driver and distribution board of XRD Instrument. |  | Room No.11 [ Main Bldg. Gr. Floor. ] (1215) | Bruker Singapore Pte ltd. | Part No. C79298A3220B231 | Not Found | Internal Funding | Institute Funding | 2.axis motor driver and distribution board of XRD Instrument. | Central Scientific Service |  | EUR 2941.00 |  |  | Spare Parts | In-Charge: Dr.Mintu Mondal (sspmm4@iacs.res.in); Operator: Mr. Subrata Ghosh( xrdbruker@iacs. res.in)
Heater (ACD) for FEG-TEM |  | Room No.21 [ Main Bldg. Bldg. Ground Floor ](1251) | JEOL ASIA PTE. LTD | Part No. 80461121 | Not Found | Internal Funding | Institute Funding | Heater (ACD) for FEG-TEM | Central Scientific Service |  | JPY172125.00 |  |  | Spare Parts | In-Charge: Prof. Narayan Pradhan ( camnpiacs.res.in)
Turbo Pump HiPace 80 , Use in XPS Instrument. |  | Room No.77A [ Main Bldg. Gr. Floor] (1253) | Pfeiffer Vacuum Gmbh. | Part No. PM P03 941 A. | Not Found | Internal Funding | Institute Funding | Turbo Pump HiPace 80 | Central Scientific Service |  | EUR 5256.00 |  |  | Spare Parts | Under Prof. Durga Basak.
Helium Compressor Package use in 16T VSM Magnetometer instrument. |  | LN2 (1226) | CRYOMECH | Part No. CPA1110W2FN | Not Found | Internal Funding | Institute Funding | Helium Compressor Package | Central Scientific Service |  | USD 24695.00 |  |  | Spare Parts | Under Prof. Sugata Ray.

## Worksheet 1 (hidden)
NEHU Internal Funds
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Internal Resource Generation
SRIC Development Fund
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Vinayaka Missions Research Foundation
NITTTR Bhopal
ICAR-CMFRI
Ministry of Textiles
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
DBT, Govt. of India
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
CSIR, Govt. of India
DST, Govt. of India
ICFRE