## Sheet1
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Multiwave Pro Microwave Synthesizer |  | Project Lab EC Block 2 | ANTON PAR | GFC17A-VAN6-CO | 516720-1 | DST SERB | Govt. Agency (Central) | Design and Implementation of Breath Analyzer for Diabetes Detection | Metal oxide nanoparticles synthesizing unit | ECED | Material Synthesizer and Testing Equipment | Rs.3000000 | [6 empty] | Anton Paar India Pvt. Ltd. 582, Phase V Udyog Vihar Industrial Area Gurgaon – 122016 (Haryana) India | krishna.muppalla@anton-paar.com | Anton Paar India Pvt. Ltd | krishna.muppalla@anton-paar.com | hodeced@nitc.ac.in
Gas Calibration Set Up Modules |  | Project Lab EC Block 2 | AALBORG | 108040/AT | 82943332 | DST WOSB | Govt. Agency (Central) | Development of point of care prognosis based exhaled breath analyzer for cardiovascular diseases (CVD | Gas Flow Controlling for the test set up requirement | [9 empty] | Advance Tech Controls Pvt Ltd, 83/A, GIDC, Ramangamdi, POR-391243, Dist.-Baroda. Gujarat. India | sales@advancetech.in | Advance Tech Controls Pvt Ltd, | sales@advancetech.in | hodeced@nitc.ac.in
RF Sputtering System |  | Project Lab EC Block 2 | VR Technologies | RF Sputtering system | 8415 | Plan fund, ECED, NITC | NITC |  | Dual target (3" and 2") co-sputtering system with RF(300W) and DC(1000W) power supplies | ECED | Thinfilm coating system | 1500000 | [6 empty] | VR Technologies, Bangalore | vrtechnology_blr@yahoo.co.in | VR Technologies, Bangalore | vrtechnology_blr@yahoo.co.in | hodeced@nitc.ac.in
Thinfilm Coating Unit |  | Project Lab EC Block 2 | VR Technologies |  |  | SERB-SRG | Govt. Agency (Central) | Fabrication and characterization of ZnON based photosensors | Used for coating thinfilms of metals through thermal evaporation method | ECED | Thinfilm coating system | 1350000 | [6 empty] | VR Technologies, Bangalore | vrtechnology_blr@yahoo.co.in | VR Technologies, Bangalore | vrtechnology_blr@yahoo.co.in | hodeced@nitc.ac.in
Pumping station |  | Project Lab EC Block 2 | VR Technologies |  |  | SERB-SRG | Govt. Agency (Central) | Development of a diagnostic tool for Cold Atmospheric Plasma | Used for perfomimg basic plasma experiments | ECED | Vacuum pumping station | 550000 | [6 empty] | VR Technologies, Bangalore | vrtechnology_blr@yahoo.co.in | VR Technologies, Bangalore | vrtechnology_blr@yahoo.co.in | hodeced@nitc.ac.in
Source meter |  | Project Lab EC Block 2 | Keithley | Keithley 2614B |  | Plan fund, ECED, NITC | NITC |  | Dual channel precision sourcemeter for I-V measurement | ECED | Characterization equipment | 500000 | [6 empty] | Convergent Technologies, Trivandrum | convergent.tvm@gmail.com | Keithley Instruments, Bangalore | convergent.tvm@gmail.com | hodeced@nitc.ac.in
High End Workstation |  | R&D lab EC2 | Dell | Optiplex 7070MT |  | DST SERB | Govt. Agency (Central) | An Intelligent System for Retinopathy of Prematurity (ROP) Screening and Diagnosis | High end workstation with 32GB RAM, 1TB Hard disk and 21.5 inch monitor | ECED | Computing Facility | 711900 | [6 empty] | Technoline Systems & Services, Cochin | ho@technolineindia.com | Technoline Systems & Services, Cochin | ho@technolineindia.com | hodeced@nitc.ac.in
Desktop PCs |  | R&D lab EC2 | Dell | Dell precision 7920 |  | DST SERB | Govt. Agency (Central) | An Intelligent System for Retinopathy of Prematurity (ROP) Screening and Diagnosis | Desktop PCs | ECED | Computing Facility | 167288 | [6 empty] | Xeon Systems, Calicut | xeonsystems@gmail.com | Xeon Systems, Calicut | xeonsystems@gmail.com | hodeced@nitc.ac.in
Probe station |  | Project Lab EC Block 2 | Everbeing Intn'l Corp. | PE-4 |  | Plan fund, ECED, NITC | NITC |  | Mini probe station for IV measurement of electronic devices | ECED | Characterization equipment