## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
Electrochemical workstation |  | CSIR-AMPRI, Bhopal | Metrohm | 204 | AUT52216 | External Funding | DST |  | Electrochemical Workstation AUTOLAB 204 Compact Modular Potentiostat Galvanostat with internal dummy cell | EESD |  | 1200000 |  | Working | Analytical |  |  |  |  | khan.raju@ampri.res.in
Advanced UV-Vis Spectrophotometer ND-ONEC-W |  | CSIR-AMPRI, Bhopal | Thermo Fisher | Nanodrop OneC | AZY2437016 | External Funding | DST |  | Wavelength Range 190–850 nm, Wavelength Accuracy ±1 nm | EESD |  | 1200000 |  | Working | Characterization |  |  |  |  | khan.raju@ampri.res.in
Multijet and Thermal Jet Extrusion based 3D Printer |  | CSIR-AMPRI, Bhopal | Cell Link | Bio X6 | X-6-21-1040 | Internal Funding | CSIR |  | 3D bioprinter consisting of three printheads with UV curing capability between the range of 365 nm to 405 nm or higher | EESD |  | 10375000 |  | Working | Fabrication, Bio Component Printing |  |  |  |  | khan.raju@ampri.res.in
Thermogravimetric Analysis-Differential Scanning Colorimetry (TGA-DSC) | TGA-DSC | CSIR-AMPRI, Bhopal | Netzsch | STA 449F5 | STA449F5-0784-M | Internal Funding | CSIR | HCP-054 WP4 | Thermogravimetric Analysis –Differential Scanning Calorimetry (TGA-DSC) with Cp (Specific Heat Capacity) sensor”. Make-Netzsch, Model STA 449 F5 Jupiter | EESD |  | 4726663 |  | Working | Analytical, Thermal Property | M/s Netzsch Technologies (i) Pvt. Ltd; Chennai | vikas.sharma@netzsch.com |  |  | tsshabi.ampri@csir.res.in
X-ray attenuation Testing Facility | X-ray attenuation | CSIR-AMPRI, Bhopal | Kiran | ULTISYS -52 | KMS0519U52-028 | Internal Funding | CSIR | MLP 108 | X-ray attenuation Testing Facility | EESD |  | 2934000 |  | Working | Testing, X-ray transmission | M/s Aryan Distributor | aryandistributor@yahoo.in |  |  | tsshabi.ampri@csir.res.in
Multichannel electrochemical workstation |  | CSIR-AMPRI, Bhopal | Metrohm | Autolab PGSTAT204 | AUT MAC 204.5 | Internal Funding | CSIR |  | Multichannel Electrochemical Workstation | EESD |  | 1799700 |  | Working | Analytical |  |  |  |  | sshiv.singh@ampri.res.in
HPLC |  | CSIR-AMPRI, Bhopal | Thermo Fisher | Vanquish core | 8372738 | External Funding | DBT |  | Solvent delivery System Pump Quaternary system with 4 solvent options | EESD |  | 5450000 |  | Working | Analytical |  |  |  |  | sshiv.singh@ampri.res.in
Atomic Absorption Spectrophotometer | AAS | CSIR-AMPRI, Bhopal | Thermofisher Scientifc | iCE 3500 spectrometer | AA05154910 | Internal Funding | CSIR |  | 180 nm- 900nm wavelength range -0.150 A to 3.00 A (including background signals) | EESD |  | 3200000 |  | Working | Analytical, Heavy Metal Analysis | M/s ThermoFisher Scientific | ininfo@thermofisher.com |  |  | akram.ampri@csir.res.in

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE

## Sheet1
Semi automated Hot Press | Pilot plant | CSIR-AMPRI, Bhopal | M/s Insmart Systems (custom Design) | NA | NA | Internal Funding | CSIR | P50 | Semi-automated Hot Press for Making Joint Free Gamma and Neutron Shielding Blocks ,(190 x 90 x 90mm3) Operating temperature: 1400˚C Furnace Internal Dimension Length: 100 cm Height: 45 cm Width: 45 cm Pressure applicable: 0 – 200 Tone | EESD | 7670000 | NA | Working | Fabrication, Sample preparation | M/s Insmart Systems (custom Design) | info@insmartsystems.in | NA | NA | tsshabi.ampri@csir.res.in
Programmable horizontal three zone tabular furnace | Tubular furnace | CSIR-AMPRI, Bhopal | Bionics Nanotec | Tube furnace BST/TF-1500 | NA | Internal Funding | CSIR | P50 | Programmable Horizontal three Zone Tubular Furnace, Model – Tube furnace BST/TF-1500 | EESD | 1052882 | NA | Working | Fabrication, Sintering | Bionics Nanotec | info@bionicsscientific.com | NA | NA | tsshabi.ampri@csir.res.in
High Temperature Vacuum hot press | Vacum hot press | CSIR-AMPRI, Bhopal | in-house | in-house | NA | Internal Funding | CSIR | MLP-0201 | High Temperature Vacuum rated 1400 degree C | EESD | 1945125 | NA | Working | Fabrication, Hot Pressing | in-house | NA | NA | NA | tsshabi.ampri@csir.res.in
Atmoshpheric CVD Tubular Split Furnace with Liquid Precursor assembly |  | CSIR-AMPRI, Bhopal | NorthenTherm | NA | NA | Internal Funding | CSIR |  | Automated computer-controlled atmospheric chemical vapour deposition tubular split furnace with liquid precursor assembly | EESD | 1498600 |  | Working | Fabrication, Synthesis | NA |  | NA | NA | sshiv.singh@ampri.res.in