## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details* | Equipment Description | Department Name* | Facility Name | Basic Cost(Rs)* | Warranty End Date (Valid Till) | Category* | Alert to be sent (Email id)* | PRISM Service Category* | Year of Purchase* | Purpose / Application of Equipment | Operational Status* | AMC End Date (Valid Till) | Access Restrictions | Remarks | Pre-Experiment Support* | Post-Experiment Support* | Charges for Pre Experiment Support | Charges for Post Experiment Support
Spectrophotometer | SPEC | M113 | Thermo fisher | GENESYS 10S | 2L9U235201 | Internal funding | Institution | U-V Visible,Range 190-1100 nm | Civil Engineering | EE | 424630 |  | Characterization |  | C | 2016
Muffle Furnace | MF | M113 | Labline | MF1 | IE1129 | Internal funding | Institution | Size 4"x4"x9" Max tem 1000 degree C, working temp 900 degree C | Civil Engineering | EE | 22572.94 |  | Characterization |  | C | 2016
pH meter | pH | M113 | Scientific | ST2025 | 1607155, 1607154 | Internal funding | Institution | Two point calibration(7 pH and 4pH) | Civil Engineering | EE | 14747.81 |  | Characterization |  | C | 2016
COD Digestion Apparatus | COD | M113 | I therm | Cat.1230 | 20998 | Internal funding | Institution | Aluminium Dry Heating Block with 15 no.s of 40 mm dia tubes. Temperature upto 200 degree C | Civil Engineering | EE | 46138.66 |  | Characterization |  | C | 2016
BOD Incubator | BOD | M113 | Labline | BOD 2 | 16il24 | Internal funding | Institution | Temperature range from 5 to 60 degree C with an accuracy of +/- 0.5 degree C | Civil Engineering | EE | 85560.8 |  | Characterization |  | C | 2016 |  |  | 28.01.2026
Nephelometer | NM | M113 | ELICO | CL 52D | 3122 | Internal funding | Institution | 0 to 100,1000NTU | Civil Engineering | EE | 16444.49 |  | Characterization |  | C | 2016 |  |  | 27.04.2022
Autocalve | AC | M113 | labline | AV 101 | 16T125 | Internal funding | Institution | Volume 22 Ltr | Civil Engineering | EE | 41674.61 |  | Characterization |  | C | 2016 |  |  | 28.01.2026
Rotary Shaker | RS | M113 | KEMI | KRS.1 | 2670 | Internal funding | Institution | Platform size: 12"x12" Holding Capacity : 250ml x 9 no.s | Civil Engineering | EE | 17424 |  | Characterization |  | C | 2016
Conductivity meter | CM | M113 | Systronics | 304 | 14061 | Internal funding | Institution | 0 to 100,2000NTU | Civil Engineering | EE | 17098 |  | Characterization |  | C | 2022
Digital Nephelometer | DNM | M113 | STI | 422 | - | Internal funding | Institution | Calibration with | Civil Engineering | EE | 16520 |  | Characterization |  | C | 2024 |  |  | 28.01.2026
BOD Incubator | BOD | M113 | Rotek | RI-14D SS | 260424 | Internal funding | Institution | Temp range +5 to 110 degree C, accuracy +/-1 degree C | Civil Engineering | EE | 22302 |  | Characterization |  | C | 2026

## Worksheet 1 (hidden)
NEHU Internal Funds
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Internal Resource Generation
SRIC Development Fund
Dept of Scientific and Industrial Research DSIR
Ministry of Earth Sciences
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Vinayaka Missions Research Foundation
NITTTR Bhopal
ICAR-CMFRI
Ministry of Textiles
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
DBT, Govt. of India
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
Minister of Labour and Employment
Central Water Commission CWC
National Mineral Exploration and Development Trust
Anusandhan National Research Foundation ANRF DST
Dept of Pharmaceuticals NIPER
Ministry of Higher Education
Ministry of New and Renewable Energy
Dept of Atomic Energy
Dept of Health Research Indian council of Medical
Dept of Chemicals and Petrochemicals
Dept of Agriculutre and Farmers Welfare
Dept of DARE DG ICAR
CSIR, Govt. of India
DST, Govt. of India
ICFRE