## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs)
Level Control Trainer VLCT |  | EED-208 | Vi Micro Systems Pvt Ltd Chennai | VLCT 1001 |  | Internal | Institution |  | Level controller is a module for analysing and controlling the level of a process tank. VLCT | Electrical Engineering | Control Systems and Robotics Lab | 36771 |  | Up | Characterization
Computer Controlled DC Modular Servo System |  | EED-208 | Feedback Instruments Ltd UK | 33-008-PCI |  | Internal | Institution |  | It consists of dc motor, servo amplifier, power supply, Tacho units, digital encoder etc. It is used for validation of different control techniques. | Electrical Engineering | Control Systems and Robotics Lab | 1036105.8 | www.feedback- instruments.com | Up | Characterization
Digital Inverted Pendulum |  | EED-208 | Feedback Instruments Ltd UK | 33-005-PCI | ISN15789 | Internal | Institution |  | It is used for balancing a free swinging pendulum in its inverted position on a cart. | Electrical Engineering | Control Systems and Robotics Lab | 611390 | www.feedback- instruments.com | Up | Characterization
Dspace |  | EED-208 | dSPACE GmbH Germany | CLP 1104 |  | Internal | Institution |  | D-Space is an open source repository software package with hardware interface. It is used for validation of different control techniques. | Electrical Engineering | Control Systems and Robotics Lab | 1114080 | www.dspace.com | Up | Software
Twin Rotor Aerodynamical System (TRAS) | TRAS | EED-208 | Inteco Poland | TRAN |  | Internal | Institution |  | TRAS is a laboratory set-up whose behavoiur resembles that of a helicopter. It is used for validation of different control techniques. | Electrical Engineering | Control Systems and Robotics Lab | 671580 | www.inteco.com.pl | Up | Characterization
Control System Lab Trainer Kit |  | EED-208 | Nvis Technologies Pvt Ltd Indore | NVIS 3000A |  | Internal | Institution |  | It is useful for analysis of fundamental problems of control system. | Electrical Engineering | Control Systems and Robotics Lab | 48720 |  | Up | Characterization
Workstation (WS) 4 | WS | Machine Learning Lab |  |  |  | Internal | Institution |  | The workstation provides high graphic memory and processing power required for large parallel computational works. Assembled (R P Tech) | Electrical Engineering | Machine Learning Lab | 6.35 lac |  | Up | Characterization
DC Microgrid Test Bench |  | Delhi | Ecosense | [5 empty] | 6.5 kW | Electrical Engineering | MP Varshney Lab |  | www.ecosenseworld.com | Up | Characterization
ZedBoard |  | Taiwan | Digilent | [6 empty] | Electrical Engineering |  |  | www.zedborad.org | Up | Characterization
Solar Panel |  | Delhi | Ecosense | [5 empty] | 2 Kw, 50 V, 20 A | Electrical Engineering |  |  | www.ecosenseworld.com | Up | Characterization
Fuel Cell |  | Delhi | Ecosense | [5 empty] | 1kW, 28.8 V, 35 A | Electrical Engineering |  |  | www.ecosenseworld.com | Up | Characterization
Wind Emulator |  | Delhi | Ecosense | [5 empty] | 3.5 kW, 150 V, 10 A | Electrical Engineering |  |  | www.ecosenseworld.com | Up | Fabrication
PV Emulator |  | Delhi | Ecosense | [5 empty] | 2 kW, 50 V, 20 A | Electrical Engineering |  |  | www.ecosenseworld.com | Up | Characterization
Battery Lead Acid |  | Delhi | Ecosense | [5 empty] | 26 Ah, 96 V | Electrical Engineering |  |  | www.ecosenseworld.com | Up | Characterization
Real Time Power System Simulator |  | CANADA | RTDS Technologies | [5 empty] | Racks-6; Nodes per rack-75; GTAO/GTAI-10 V peak; GTDO/GTDI-5-30V | Electrical Engineering |  |  |  | Up | Characterization
DSP Controller |  | Germany | dSPACE | [5 empty] | ADC-10 V number -8; DAC 10 V-number-8. dSPACE DS1104 | Electrical Engineering |  |  |  | Up | Characterization
MATLAB |  | PSS LAB | MathWorks | VERSION 2019 a |  | Internal | Institution |  | SOFTWARE | Electrical Engineering | PSS Lab |  | https://www.mathworks.com/products.html?s_tid=gn_ps | Up | Software
PSCAD |  | PSS LAB | Manitoba Hydro International Ltd Canada | VERSION 4.5 |  | Internal | Institution |  | SOFTWARE | Electrical Engineering | PSS Lab |  | https://www.pscad.com/software/pscad/overview | Up | Software
High Voltage Probes |  | Power System Lab | Silicom Electronics Pvt Ltd | [5 empty] | High Voltage Probes | Electrical Engineering |  | 277350 |  | Up | Characterization
High Voltage Probes |  | Power System Lab | Silicom Electronics Pvt Ltd | [5 empty] | High Voltage Probes | Electrical Engineering |  | 277350 |  | Up | Characterization
High Voltage Probes |  | Power System Lab | Silicom Electronics Pvt Ltd | [5 empty] | High Voltage Probes | Electrical Engineering |  | 277350 |  | Up | Characterization
High Voltage Probes |  | Power System Lab | Silicom Electronics Pvt Ltd | [5 empty] | High Voltage Probes | Electrical Engineering |  | 277350 |  | Up | Characterization
High Voltage Probes |  | Power System Lab | Silicom Electronics Pvt Ltd | [5 empty] | High Voltage Probes | Electrical Engineering |  | 277350 |  | Up | Characterization
High Voltage Probes |  | Power System Lab | Silicom Electronics Pvt Ltd | [5 empty] | High Voltage Probes | Electrical Engineering |  | 277350 |  | Up | Characterization
High Voltage Probes |  | Power System Lab | Silicom Electronics Pvt Ltd | [5 empty] | High Voltage Probes | Electrical Engineering |  | 277350 |  | Up | Characterization
High Voltage Probes |  | Power System Lab | Silicom Electronics Pvt Ltd | [5 empty] | High Voltage Probes | Electrical Engineering |  | 277350 |  | Up | Characterization
High Voltage Probes |  | Power System Lab | Silicom Electronics Pvt Ltd | [5 empty] | High Voltage Probes | Electrical Engineering |  | 277350 |  | Up | Characterization
High Voltage Probes |  | Power System Lab | Silicom Electronics Pvt Ltd | [5 empty] | High Voltage Probes | Electrical Engineering |  | 277350 |  | Up | Characterization
Three Phase Transformer |  | Power System Lab | Benn Electricals |  |  | Internal | Institution |  | 2KVA, 415V/230V | Electrical Engineering |  | 114960 |  | Up | Characterization
Vacuum Circuit Breaker Set |  | Power System Lab | ABB |  |  | Internal | Institution |  |  | Electrical Engineering |  | 1798000 |  | Up | Characterization
Three Phase Relay Testing Kit CMC356 |  | Power System Lab | Omicron Energy Solution Pvt Ltd |  |  | External | Central Power Research Institute | Design, Developement and Validation of New Adaptive Digital Relaying Scheme for Power Transformer |  | Electrical Engineering |  | 2109524 |  | Up | Characterization
Digital Storage Oscilloscope four channel |  | Power System Lab | Yokogawa India |  |  | External | Central Power Research Institute | Design, Developement and Validation of New Adaptive Digital Relaying Scheme for Power Transformer | 4 Channel | Electrical Engineering |  | 430000 |  | Up | Characterization
Digital Storage Oscilloscope eight channel |  | Power System Lab | Yokogawa India |  |  | Internal | Institution |  | 4 Channel | Electrical Engineering |  | 1055000 |  | Up | Characterization
PSCAD Software ten users |  | Power System Lab | PSCAD |  |  | Internal | Institution |  | 10 users | Electrical Engineering |  | 500000 |  | Up | Software
Three Phase Transformer |  | Power System Lab | Benn Electricals |  |  | External | Central Power Research Institute | Design, Developement and Validation of New Adaptive Digital Relaying Scheme for Power Transformer | 5KVA, 415V/230V | Electrical Engineering |  | 168300 |  | Up | Characterization
DC Motor Generator Set |  | Power System Lab | Benn Electricals |  |  | External | CSIR, Govt. of India | Design, Implementation and Validation of New Digital Relaying Scheme for Synchronous Generator During Internal Fault | 4KVA,1500RPM/coupled with 5 HP / 220 V / 1500 RPM / DC Shunt motor | Electrical Engineering |  | 212240 |  | Up | Characterization
DC Motor Generator Set |  | Power System Lab | Benn Electricals |  |  | Internal | Institution |  | 3KVA,1500RPM/coupled with 5 HP / 220 V / 1500 RPM / DC Shunt motor | Electrical Engineering |  | 210000 |  | Up | Characterization
Three Phase Induction Motor DC Generator Set |  | Power System Lab | Benn Electricals |  |  | Internal | Institution |  | 5 HP / 415 V star connected double layer stator with all 72 terminals brought out / coupled with 5 HP / 220 V / 1500 RPM / DC Shunt motor | Electrical Engineering |  | 215000 |  | Up | Characterization
Various Relays |  | Power System Lab | SEL |  |  | Internal | Institution |  |  | Electrical Engineering |  | 3500000 |  | Up | Characterization