## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs)
Digital Storage Oscilloscope (DSO) | DSO | HV LAB, EED, IIT Roorkee | SIGLENT | SDS 2204x | SDS2XKCC3R 0175 | External | SERB, DST, Govt. of India |  | Capture the output signals of HFCTs and store them on PC. | Electrical Engineering | High Voltage Laboratory |  | https://int.siglent.com/ | Up | Characterization
Acoustic Sensors with Preamplifiers |  | HV LAB, EED, IIT Roorkee | Physical Acoustics | R15A |  | External | SERB, DST, Govt. of India |  | Measurement of acoustic signals emitted by Partial Discharge. | Electrical Engineering | High Voltage Laboratory |  | https://www.physicalacoustics.com/ | Up | Characterization
High Frequency Current Transformers (HFCT) | HFCT | HV LAB, EED, IIT Roorkee | HVPD | HFCT100HC |  | External | SERB, DST, Govt. of India |  | Measurement of electrical signals emitted by Partial Discharge. | Electrical Engineering | High Voltage Laboratory |  | https://www.hvpd.co.uk/ | Up | Characterization
BNC Filters |  | HV LAB, EED, IIT Roorkee | HVPD | FIL5060 |  | External | SERB, DST, Govt. of India |  | Connected in series with HFCT output to filter out the power frequency signal. | Electrical Engineering | High Voltage Laboratory |  | https://www.hvpd.co.uk/ | Up | Characterization
Laboratory type Scaled Transformer Prototype |  | HV LAB, EED, IIT Roorkee | Raychem RPG Pvt Limited |  |  | External | SERB, DST, Govt. of India |  | Experimental setup: laboratory-type scaled model of oil-filled transformer winding. Custom Made, Transformer Model | Electrical Engineering | High Voltage Laboratory |  | https://www.raychemrpg.com/ | Up | Characterization
Test Cells with various Defects |  | HV LAB, EED, IIT Roorkee | Shree Bala Ji Sales |  |  | External | SERB, DST, Govt. of India |  | Test cell of various defects to model the different types of discharge during experimentation. Custom Made | Electrical Engineering | High Voltage Laboratory |  | -- | Up | Characterization
Software University Vivado System Edition |  | Embedded lab | Xilinx |  |  | Internal | Institution |  | software for embedded system development. university edition | Electrical Engineering |  |  |  | Up | Software
SDSoC Software |  | Embedded lab | Xilinx |  |  | Internal | Institution |  | software for system develoment | Electrical Engineering |  |  |  | Up | Software
Function Generator |  | Embedded lab | SIGLENT | SDG805 |  | Internal | Institution |  | signal analysis | Electrical Engineering |  |  | int.siglent.com | Up | Characterization
Power Supply 5V and 12V |  | Embedded lab | Vijayanta | D-12 |  | Internal | Institution |  | DC 12 volt and DC 5 volt suppl;y | Electrical Engineering |  |  | vijayantatechnologies.com | Up | Characterization
FPGA Development Board |  | Embedded lab | Vertex | vertex II pro development plateform |  | Internal | Institution |  | Development board, with ADC,DAC compact flash card | Electrical Engineering |  |  |  | Up | Characterization
DFIG Based Wind Emulator |  | EED, Room:T201 | Entuple Technologies | ASHC132M | PJAD0050 | External | DST, Govt. of India |  | 1. DC motor driven DFIG system rated 2.2 kW 2. Real time wind profile simulation 3. MPPT tracking 4. The DC machine is controlled by a chopper to emulate wind characteristics. 5. The rotor part of the slip ring induction machine is connected to grid through a rotor-side and a grid-side converter. 6. The stator part of DFIG machine is directly connected to the grid through a relay contact. 7. The entire system is controlled by a WAVECT FPGA controller. Entuple technologies crompton Greaves | Electrical Engineering | Smart Hybrid AC Dc Microgrid Research Laboratory (ADMIRE) |  | https://www.entuple.com/pages/wavect | Up | Characterization
Programmable DC Source 4 kW PV Emulators |  | EED, Room:T201 | Chroma and Rigol | 62020H | 62020DA00239 | External | DST, Govt. of India |  | DC Power supply | Electrical Engineering | Smart Hybrid AC Dc Microgrid Research Laboratory (ADMIRE) |  |  | Up | Characterization
Programmable DC Source 4 kW PV Emulators |  | EED, Room:T201 | Chroma and Rigol | 150S62020H | 62020DA00242 | External | DST, Govt. of India |  | DC Power supply | Electrical Engineering | Smart Hybrid AC Dc Microgrid Research Laboratory (ADMIRE) |  |  | Up | Characterization
Programmable DC Source 4 kW PV Emulators |  | EED, Room:T201 | Chroma and Rigol | 150SDP832 | DP8c213102793 | External | DST, Govt. of India |  | DC Power supply | Electrical Engineering | Smart Hybrid AC Dc Microgrid Research Laboratory (ADMIRE) |  |  | Up | Characterization
10 kWh Lead Acid Battery |  | EED, Room:T201 | Exide Powersafe Plus | EP26-12 | 4VI06111507191 | External | DST, Govt. of India |  | storage | Electrical Engineering | Smart Hybrid AC Dc Microgrid Research Laboratory (ADMIRE) |  |  | Up | Characterization
Super Capacitor 16V 58F |  | EED, Room:T201 | Maxwell Technologies | BMOD0500P016B02 | M01630R16120B0876 | External | DST, Govt. of India |  | storage | Electrical Engineering | Smart Hybrid AC Dc Microgrid Research Laboratory (ADMIRE) |  |  | Up | Characterization
Diesel Generator (DG) | DG | EED, Room:T201 | Kirloskar | CC13AS1 | 1700048 | External | DST, Govt. of India |  | 1. A household diesel generator with a rated capacity of 3 kVA is integrated into the hybrid AC-DC microgrid testbed to validate effective power management algorithms that aim to improve the reliability of microgrid. 2.The diesel generator integrated into the microgrid is utilized for practical testing of day-ahead load and source scheduling in a microgrid. KOEL i green kirloskar | Electrical Engineering | Smart Hybrid AC Dc Microgrid Research Laboratory (ADMIRE) |  | https://www.koeligreen.in/index.php#about-us | Up | Characterization
Programmable Loads |  | EED, Room:T201 | Chroma | 63802 | 638020001060/61/62 | External | DST, Govt. of India |  | 1. 5.4 kW Programmable AC-DC loads (Constant Z, I, P modes) 2. LED Street lights 3. Computer loads which work on AC and 24V DC. | Electrical Engineering | Smart Hybrid AC Dc Microgrid Research Laboratory (ADMIRE) |  | https://www.chromausa.com/instruments/electronic-loads/#:~:text=Chroma%20is%20the%20global%20leader,testing%2C%20and%20fuel%20cell%20testing. | Up | Characterization
Programmable Loads |  | EED, Room:T201 | Chroma | 63802 | 638020001060/61/62 | External | DST, Govt. of India |  | 1. 5.4 kW Programmable AC-DC loads (Constant Z, I, P modes) 2. LED Street lights 3. Computer loads which work on AC and 24V DC. | Electrical Engineering | Smart Hybrid AC Dc Microgrid Research Laboratory (ADMIRE) |  | https://www.chromausa.com/instruments/electronic-loads/#:~:text=Chroma%20is%20the%20global%20leader,testing%2C%20and%20fuel%20cell%20testing. | Up | Characterization
Programmable Loads |  | EED, Room:T201 | Chroma | 63802 | 638020001060/61/62 | External | DST, Govt. of India |  | 1. 5.4 kW Programmable AC-DC loads (Constant Z, I, P modes) 2. LED Street lights 3. Computer loads which work on AC and 24V DC. | Electrical Engineering | Smart Hybrid AC Dc Microgrid Research Laboratory (ADMIRE) |  | https://www.chromausa.com/instruments/electronic-loads/#:~:text=Chroma%20is%20the%20global%20leader,testing%2C%20and%20fuel%20cell%20testing. | Up | Characterization
Electric Vehicle (EV) Charger Bharat DC Charger |  | EED, Room:T201 | Delta | BEVC/DC001 | ED619300044R0 | External | DST, Govt. of India |  | 1. The rating of EV charger is max. 15kW with a current rating of max. 200A. 2. The input voltage rating of the Charger is 415-440V AC with a variable output range of 48V/60V/72V DC. 3. It works on CC-CV (constant current – constant voltage) mode of charging. 4. The EV charger is presently dedicated to charge the Liion batteries. 5. Battery charging replicates the smart EV charging - visualizing a smart home with an EV connected to the charger, the smart charger charges the EV when the cost of energy is less. 6. Harmonic testing: Analysis of the harmonics injected into the AC bus through increased penetration of EV chargers. Delta Ev charging solutions | Electrical Engineering | Smart Hybrid AC Dc Microgrid Research Laboratory (ADMIRE) |  | https://www.deltaww.com/Solutions/CategoryListT1.aspx?CID=03&SID=4&hl=en-US&Name=EV+Charging+Solutions | Up | Characterization
Digital Signal Oscilloscope (DSO) 4 Channel | DSO | EED, Room:T201 | Tektronix | TPS2024B | TPS2024BC022235 | External | DST, Govt. of India |  | 1. 1-no 16 channel DSo and 2-no 4-channel DSOs 2. Functions of DSO 3. capable of monitoring, analysing and data logging of steady-state and transient results | Electrical Engineering | Smart Hybrid AC Dc Microgrid Research Laboratory (ADMIRE) |  | https://www.yokogawa.com/in/ https://www.tek.com/ | Up | Characterization
Digital Signal Oscilloscope (DSO) 4 Channel | DSO | EED, Room:T201 | Tektronix | TPS2024B | TPS2024BC022236 | External | DST, Govt. of India |  | 1. 1-no 16 channel DSo and 2-no 4-channel DSOs 2. Functions of DSO 3. capable of monitoring, analysing and data logging of steady-state and transient results | Electrical Engineering | Smart Hybrid AC Dc Microgrid Research Laboratory (ADMIRE) |  | https://www.yokogawa.com/in/ https://www.tek.com/ | Up | Characterization
Digital Signal Oscilloscope (DSO) 16 Channel | DSO | EED, Room:T201 | Yokogawa | DL850E | 91U525542 | External | DST, Govt. of India |  | 1. 1-no 16 channel DSo and 2-no 4-channel DSOs 2. Functions of DSO 3. capable of monitoring, analysing and data logging of steady-state and transient results | Electrical Engineering | Smart Hybrid AC Dc Microgrid Research Laboratory (ADMIRE) |  | https://www.yokogawa.com/in/ https://www.tek.com/ | Up | Characterization
Smart Meters |  | EED, Room:T201 | Delta Technologies | DPM-C530A | DPMC530W17360199 |  |  |  | 1. Precise measurement of various electrical energy and power quality parameters, which include current, voltage, power, active energy, reactive energy, power factor, frequency, harmonics, and current / voltage unbalance 2. Also provides off-limit alarms and history log functions 3. Measurement Accuracy: ±0.5% | Electrical Engineering | Smart Hybrid AC Dc Microgrid Research Laboratory (ADMIRE) |  |  | Up | Characterization
Compact RIOs 9035 PXIe 1071 |  | EED, Room:T201 | National Instruments | PXIe/1071 cRIOs-9035 | 3160AB7 | External | DST, Govt. of India |  | 1. NI module comprises of PXIe-8840 which acts as CPU and two cRIOs-9035 which offers master-slave combination. 2. The compact RIOs can also work independently without the master PXIe. 3. Each cRIO chassis has slots for 8 modules (modules are Analog i/o’s or Digital i/o’s). Among 8 slots, 6 slots are accommodated in each cRIO which can measure 6 AC and DC voltages, 6 AC currents, 32 digital i/os and 4 Analog outputs. 4. It is used as a communication medium in a multi-microgrid system comprising of DC microgrid and AC microgrid. 5. Each cRIO can gather data from individual microgrid and communicate with master PXIe which acts as tertiary level control in dispatching power commands to each microgrid to achieve supply-demand balance. cRIOs, Pxie | Electrical Engineering | Smart Hybrid AC Dc Microgrid Research Laboratory (ADMIRE) |  | https://www.ni.com/en-in.html | Up | Characterization
Power Amplifiers 15 kVA and 22.5 kVA |  | EED, Room:T201 | Spitzenberger and Spies | DM15000/PAS/PHIL DM22500/APS | A575100/11016 A615700/11118 | External | DST, Govt. of India |  | 1. The two Power amplifiers of rating 15 kVA and 22.5 kVA act as an interface between the Hardware setup and the Real Time Digital Simulator (RTDS) that facilitate the Power-Hardware- in-Loop (PHIL) simulation. 2. Power Amplifiers are capable of operating in four quadrants. 3. 22.5 kVA Power Amplifier is connected with Optical fiber cable which prevents communication delay. | Electrical Engineering | Smart Hybrid AC Dc Microgrid Research Laboratory (ADMIRE) |  | https://www.spitzenberger.de/Home.aspx | Up | Characterization
OPAL RT OP5700 |  | EED, Room:T201 | OPAL RT Technologies | OP-5700 | TF517482S01 | External | DST, Govt. of India |  | 1. OPAL RT (OP5700) is a HIL-FPGA based Real-Time Simulator operating with Virtex7 FPGA platform. 2. It is having 16 analog I/Os and 32 digital I/Os, which supports HIL and PHIL experimentation with the external hardware. 3. This model can be extendable up to 4 core, 128 analog I/Os and 256 digital I/Os. 4. Additionally, it is having two simulation platforms that are eFPGAsim and RT_LAB. 5. These are OPAL-RTs real-time simulation software combining performance and enhanced user experience. 6. Fully integrated with MATLAB/Simulink®, RT-LAB offers the most complex model based design for interaction with real-world environments. 7. It provides the flexibility and scalability to achieve the most complex real-time simulation applications in the power electronics, and power systems industries. | Electrical Engineering | Smart Hybrid AC Dc Microgrid Research Laboratory (ADMIRE) |  | https://www.opal-rt.com/ | Up | Characterization
Solar Rooftop 5kW |  | EED, Room:T201 | Valkan Engineering Pvt Ltd | SUPER 400 PRO Bifacial - 400Wp |  | External | DST, Govt. of India |  | PV rooftop | Electrical Engineering | Smart Hybrid AC Dc Microgrid Research Laboratory (ADMIRE) |  |  | Up | Characterization
Power Quality Analyzer |  | EED, Room:T201 | Yokogawa | WT1803E | 15A0/50A3/HE/Q | External | DST, Govt. of India |  |  | Electrical Engineering | Smart Hybrid AC Dc Microgrid Research Laboratory (ADMIRE) |  |  | Up | Characterization
PMSG Emulator |  | EED, Room:T201 | Entuple Technologies | ASHC132M | SALG4511 | External | DST, Govt. of India |  | 1. DC motor driven PMSG system rated 2.2 kW 2. Real time wind profile simulation 3. MPPT tracking 4. The entire system is controlled by a WAVECT FPGA controlle. Entuple technologies/crompton Greaves | Electrical Engineering | Smart Hybrid AC Dc Microgrid Research Laboratory (ADMIRE) |  | https://www.entuple.com/pages/wavect | Up | Characterization
Wavect WCU300 Controller |  | EED, Room:T201 | Entuple Technologies |  | WCU300 | External | DST, Govt. of India |  | FPGA controller | Electrical Engineering | Smart Hybrid AC Dc Microgrid Research Laboratory (ADMIRE) |  | https://www.entuple.com/pages/wavect | Up | Characterization
Interfacing Converters |  | EED, Room:T201 | Entuple Technologies |  |  | External | DST, Govt. of India |  | 1. Unidirectional DC-DC Boost Converter: 2. Used to integrate PV with the DC bus 3. Bidirectional DC-DC Converters 4. Used to integrate Battery and Ultra capacitors with the DC bus. | Electrical Engineering | Smart Hybrid AC Dc Microgrid Research Laboratory (ADMIRE) |  | https://www.entuple.com/pages/wavect | Up | Characterization