## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
KVL and KCL kit | K&K Kit | A-113 & 114 | Multiscope Services Pune | - | - | Internal Funding | Institution |  | KVL & KCL kit (Customized Kit) | Electrical Engineering | Basic Electrical | 2000 |  | Working | Characterisation/Analytical/Testing Equipment | Prowiz System Sales | info@prowiz.in | Prowiz System Sales | info@prowiz.in | principal@sknscoe.ac.in
DC SHUNT MOTOR | DCSM | A-113 & 114 | Micro Mot Controls | - | 108302 | Internal Funding | Institution |  | 220V, 6.8A, 1500RPM, 2HP | Electrical Engineering | Basic Electrical | 25500 |  | Working | Characterisation/Analytical/Testing Equipment | Prowiz System Sales | info@prowiz.in | Prowiz System Sales | info@prowiz.in | principal@sknscoe.ac.in
3 PHASE INDUCTION MOTOR | 3PIM | A-113 & 114 | Micro Mot Controls | - | 1078316 | Internal Funding | Institution |  | 415V, 3A, 1440RPM, 2HP | Electrical Engineering | Basic Electrical | 30500 |  | Working | Characterisation/Analytical/Testing Equipment | Prowiz System Sales | info@prowiz.in | Prowiz System Sales | info@prowiz.in | principal@sknscoe.ac.in
DC Motor | DCM | D-105 & 106 | BENN ELECTRIALS | - | M/C No. 1107-7883 | Internal Funding | Institution |  | 5HP/220V/1500RPM/ DC Shant Motor With BDA | Electrical Engineering | Electrical Machine- I | 43790 |  | Working | Characterisation/Analytical/Testing Equipment | BEEN ELECTRIALS | benn@vsnl.com | BEEN ELECTRIALS | benn@vsnl.com | principal@sknscoe.ac.in
DC Generator | DCG | D-105 & 106 | BENN ELECTRIALS | - | M/C No. 1107-1939 | Internal Funding | Institution |  | 3KW/220V/1500RPM | Electrical Engineering | Electrical Machine- I | 35843 |  | Working | Characterisation/Analytical/Testing Equipment | BEEN ELECTRIALS | benn@vsnl.com | BEEN ELECTRIALS | benn@vsnl.com | principal@sknscoe.ac.in
Single Phase Transformer (Customiresd Kit) | SPT | D-105 & 106 | BENN ELECTRIALS | - | - | Internal Funding | Institution |  | 1KVA/230V-230V/1 PHASE | Electrical Engineering | Electrical Machine- I | 8061 |  | Working | Characterisation/Analytical/Testing Equipment | BEEN ELECTRIALS | benn@vsnl.com | BEEN ELECTRIALS | benn@vsnl.com | principal@sknscoe.ac.in
Three Phase Transformer (Customiresd Kit) | TPT | D-105 & 106 | BENN ELECTRIALS | - | - | Internal Funding | Institution |  | 1KVA/415V-230V/3 PHASE | Electrical Engineering | Electrical Machine- I | 13778 |  | Working | Characterisation/Analytical/Testing Equipment | BEEN ELECTRIALS | benn@vsnl.com | BEEN ELECTRIALS | benn@vsnl.com | principal@sknscoe.ac.in
Induction Motor | IM | D-105 & 106 | BENN ELECTRIALS | - | M/C No. 18273-892 | Internal Funding | Institution |  | 5HP/415/1440RPM/50Hz/3HP/AC/SQIM | Electrical Engineering | Electrical Machine - II | 18952 |  | Working | Characterisation/Analytical/Testing Equipment | BEEN ELECTRIALS | benn@vsnl.com | BEEN ELECTRIALS | benn@vsnl.com | principal@sknscoe.ac.in
Synchronous Motors | SM | D-105 & 106 | BENN ELECTRIALS | - | M/C No. S1107-375 | Internal Funding | Institution |  | 5HP/415/1500/ASM | Electrical Engineering | Electrical Machine - II | 31399 |  | Working | Characterisation/Analytical/Testing Equipment | BEEN ELECTRIALS | benn@vsnl.com | BEEN ELECTRIALS | benn@vsnl.com | principal@sknscoe.ac.in
Alternator | Alternator | D-105 & 106 | BENN ELECTRIALS | - | M/C No. A1107-374 | Internal Funding | Institution |  | 3KVA/415V/3HP/1500RPM | Electrical Engineering | Electrical Machine - II | 36633 |  | Working | Characterisation/Analytical/Testing Equipment | BEEN ELECTRIALS | benn@vsnl.com | BEEN ELECTRIALS | benn@vsnl.com | principal@sknscoe.ac.in
100 MHz 2 channel Digital Stroge Oscilloscope | oscilloscope | D-109 | Aplab Limited | D36100CA | - | Internal Funding | Institution |  | 100MHz TWO CHANNEL DSO | Electrical Engineering | EMI & Network Analysis | 48444 |  |  | Characterisation/Analytical/Testing Equipment | Aplab Limited |  | Aplab Lomited |  | principal@sknscoe.ac.in
Nortons Theorm Kit | NTK | D-109 | Hi-TECH ELECTRONICS | - | - | Internal Funding | Institution |  | Norton's Theorm Kit | Electrical Engineering | EMI & Network Analysis | 2500 |  |  | Characterisation/Analytical/Testing Equipment | Hi-TECH ELECTRONICS | pravin_gundewar@yahoo.com | Hi-TECH ELECTRONICS | pravin_gundewar@yahoo.com | principal@sknscoe.ac.in
Thevenins Theorm Kit | TTK | D-109 | Hi-TECH ELECTRONICS | - | - | Internal Funding | Institution |  | Thevenin's Theorm Kit | Electrical Engineering | EMI & Network Analysis | 2500 |  |  | Characterisation/Analytical/Testing Equipment | Hi-TECH ELECTRONICS | pravin_gundewar@yahoo.com | Hi-TECH ELECTRONICS | pravin_gundewar@yahoo.com | principal@sknscoe.ac.in
SCR DIACTRIAC MOSFET IGBT | SCR Kit | D-303B | Hem Electronics | - | - | Internal Funding | Institution |  | SCR DIACTRIAC MOSFET IGBT | Electrical Engineering | Power Electronics | 12550 |  | Working | Characterisation/Analytical/Testing Equipment | Hem Electronics | san_hem@sancharnet.in | Hem Electronics | san_hem@sancharnet.in | principal@sknscoe.ac.in
HALF and FULL BRIDGE Rectifier and Inverters | HWCR/FWCR | D-303B | Hem Electronics | - | - | Internal Funding | Institution |  | HALF and FULL BRIDGE Rectifier and Inverters | Electrical Engineering | Power Electronics | 26500 |  | Working | Characterisation/Analytical/Testing Equipment | Hem Electronics | san_hem@sancharnet.in | Hem Electronics | san_hem@sancharnet.in | principal@sknscoe.ac.in
1phase and 3 phase bridge control dc drives | 1-P & 3-P Bridge | D-303B | B.S.R. Industries | INSL-B | 11173 | Internal Funding | Institution |  | DC SHUNT-220V,2A,1500 RPM ,5HP | Electrical Engineering | Industrial Drives & Control | 102120 |  | Working | Characterisation/Analytical/Testing Equipment | Hem Electronics | san_hem@sancharnet.in | Hem Electronics | san_hem@sancharnet.in | principal@sknscoe.ac.in
Four quadrant operation of DC drives | FQO of DC Drives | D-303B | B.S.R. Industries | INSL-B | 11118 | Internal Funding | Institution |  | DC SHUNT-220V,4A,1500 RPM ,1HP | Electrical Engineering | Industrial Drives & Control | 24950 |  | Working | Characterisation/Analytical/Testing Equipment | Hem Electronics | san_hem@sancharnet.in | Hem Electronics | san_hem@sancharnet.in | principal@sknscoe.ac.in
AC induction motor speed control kits | AC IMSC Kits | D-303B | B.S.R. Industries | INSL-B | 5214 | Internal Funding | Institution |  | 3 Phase,220V, 2.4A,5HP,1400 RPM, | Electrical Engineering | Industrial Drives & Control | 47950 |  | Working | Characterisation/Analytical/Testing Equipment | Hem Electronics | san_hem@sancharnet.in | Hem Electronics | san_hem@sancharnet.in | principal@sknscoe.ac.in
AC Position Control System | ACP | D-303A | Hem Electronics | - | - | Internal Funding | Institution |  | 1Phase, 230V, 50Hz | Electrical Engineering | Control System | 15550 |  | Working | Characterisation/Analytical/Testing Equipment | Hem Electronics | san_hem@sancharnet.in | Hem Electronics | san_hem@sancharnet.in | principal@sknscoe.ac.in
DC Position Control | DCP | D-303A | Hem Electronics | - | - | Internal Funding | Institution |  | 1Phase, 230V, 50Hz | Electrical Engineering | Control System | 15550 |  | Working | Characterisation/Analytical/Testing Equipment | Hem Electronics | san_hem@sancharnet.in | Hem Electronics | san_hem@sancharnet.in | principal@sknscoe.ac.in
Linear System Simulator | LSS | D-303A | Hem Electronics | - | - | Internal Funding | Institution |  | 1Phase, 230V, 50Hz | Electrical Engineering | Control System | 10990 |  | Working | Characterisation/Analytical/Testing Equipment | Hem Electronics | san_hem@sancharnet.in | Hem Electronics | san_hem@sancharnet.in | principal@sknscoe.ac.in
Merz price protection of alternator Generator | Merz-price protection of alternator/Generator | D-107 | Suvidhi Industries, Nashik | - | - | Internal Funding | Institution |  | Simulation Model for Merz-price protection of alternator/Generator | Electrical Engineering | Power System, Switchgear and Protection | 136268 |  | Working | Characterisation/Analytical/Testing Equipment | Suvidhi Industries, Nashik | suvidhi22@gmail.com | Suvidhi Industries, Nashik |  | principal@sknscoe.ac.in
Current Transformer Kit | CTK | D-107 | ELECTROTECH | 621A | - | Internal Funding | Institution |  | Phase angle and Percentage Ratio error Measurement in CT 0 to 50A, Phase angle 0 to 20, Percentage Ratio error 0 to 0.5 in case of CT | Electrical Engineering | Power System, Switchgear and Protection | 63840 |  | Working | Characterisation/Analytical/Testing Equipment | Suvidhi Industries, Nashik | suvidhi22@gmail.com | Suvidhi Industries, Nashik | suvidhi22@gmail.com | principal@sknscoe.ac.in
Potential Transformer Kit | PTK | D-107 | ELECTROTECH | 631A | - | Internal Funding | Institution |  | Phase angle and Percentage Ratio error Measurement in CT 0 to 50A, Phase angle 0 to 20, Percentage Ratio error 0 to 0.5, in Case of PT | Electrical Engineering | Power System, Switchgear and Protection | 63840 |  | Working | Characterisation/Analytical/Testing Equipment | Suvidhi Industries, Nashik | suvidhi22@gmail.com | Suvidhi Industries, Nashik | suvidhi22@gmail.com | principal@sknscoe.ac.in
Distance Protection Panel | DPP | D-107 | Suvidhi Industries, Nashik | ADR239A-V2 Series | - | Internal Funding | Institution |  | Simulation Model for Distance Protuction Transmission Line | Electrical Engineering | Power System, Switchgear and Protection | 178600 |  | Working | Characterisation/Analytical/Testing Equipment | Suvidhi Industries, Nashik | suvidhielectriels@rediffmal.Com | Suvidhi Industries, Nashik | suvidhi22@gmail.com | principal@sknscoe.ac.in
Dell Make P4 Computers | DM P4 Computers | D-108 | DELL | DELL Optilex 390 DT Base - N- Series Base 2nd G Intel R | - | Internal Funding | Institution |  | 2GB RAM/500GB MEMORY | Electrical Engineering | Electrical Software | 21258 |  | Working | Characterisation/Analytical/Testing Equipment | Dell India Pvt. Ltd. Tamil Nadu |  | Dell India Pvt. Ltd. Tamil Nadu |  | principal@sknscoe.ac.in
Printers | Printers | D-108 | EPSON | FX 890 | - | Internal Funding | Institution |  | Printers | Electrical Engineering | Electrical Software | 9350 |  | Working | Characterisation/Analytical/Testing Equipment | CAFÉ CLICK | accounts@cafeclick.co.in | CAFÉ CLICK | accounts@cafeclick.co.in | principal@sknscoe.ac.in

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE
Ministry of Textiles
SRIC Development Fund