## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
Fourier transform infrared spectrometer |  | CSIR-AMPRI, Bhopal | Thermo Fisher | Nicolet iS50 | AUP1810149 | Internal Funding | CSIR |  | Fourier Transform Infra-Red Spectrometer , Model: Nicolet iS50 | FMCD |  | 2276004 |  | Working | Characterization | M/s Thermo Fisher Scientific (i) Pvt Ltd; Mumbai |  |  |  | mkgupta@ampri.res.in
Planetary Ball mill |  | CSIR-AMPRI, Bhopal | Retsch GmbH | PM400MA | 1218200325F | External Funding | DST |  | Planetary Ball Mill Model- “PM 400 MA” Make-Retsch GmbH, Germany | FMCD |  | 2298982.4 |  | Working | Fabrication, Sample Preparation | M/s Verder Scientific Pvt. Ltd; Hyderabad |  |  |  | mkgupta@ampri.res.in
Fully Automated sequential wavelength Dispensive X-ray Fluorescence spectrometer(WDXRF) | WD-XRF | CSIR-AMPRI, Bhopal | Bruker | XRF/Bruker ASX, S8 TIGER Series 2, 3kW | 213248 | External Funding | DST |  | Fully Automated Sequential Wavelength Dispersive X-Ray Fluorescence Spectrometer Model :Bruker AXS, S8 TIGER Series 2, 3kW | FMCD |  | 7554874 |  | Not Working | Analytical | M/s Bruker (I) Scientific Pvt. Ltd; Mumbai |  |  |  | mkgupta@ampri.res.in
KEM QUICK Thermal Conductivity Meter |  | CSIR-AMPRI, Bhopal | KEM QUICK | QTM710 | 22670026 | Internal Funding | CSIR |  | KEM Quick Thermal Conductivity Meter, Model QTM-710 | FMCD |  | 1318165 |  | Working | Analytical, Thermal conductivity measurement | M/s Agaram Industries, Chennai |  |  |  | mkgupta@ampri.res.in
Grinding cum Ball mill |  | CSIR-AMPRI, Bhopal | Retsch GmbH | TCM 300 | 1219110619C | External Funding | DST |  | Drum mill model, “TM 300 XL” make RETSCH GmbH, Germany | FMCD |  | 1377618 |  | Working | Fabrication, Material Processing | M/s Verder Scientific Pvt. Ltd; Hyderabad |  |  |  | mkgupta@ampri.res.in
LCR Mector Dielectric Constant and Dissipation Factor Mearsurment Setup |  | CSIR-AMPRI, Bhopal | Keysight | E4980A | MY46516341 | Internal Funding | CSIR |  | Dielectric Constant and Dissipation factor measurement setup | FMCD |  | 1937737 |  | Working | Analytical, Di-electric measurement |  |  |  |  | mkgupta@ampri.res.in
Procurement of Thermogravimetric analysis TGA DTA system |  | CSIR-AMPRI, Bhopal | Hitachi | NEXTA STA 200 | 25112058D1-01 | Internal Funding | CSIR |  | TGA (Thermogravimetric Analysis)/DTA (Differential Thermal Analysis) Equipment | FMCD |  | 2883265 |  | Working | Analytical, Thermal Property |  |  |  |  | mkgupta@ampri.res.in
Extruder for making granules of Paddy straw and PLA Polymer |  | CSIR-AMPRI, Bhopal | Parin | PE-30/30 | PELV-08224-25 | Internal Funding | CSIR |  | Extruder for making granules of paddy straw and PLA polymer | FMCD |  | 1403008 |  | Working | Fabrication, Granule making |  |  |  |  | mkgupta@ampri.res.in
Source Measurement unit |  | CSIR-AMPRI, Bhopal | Keithley | 2635B | 4570001 | External Funding | DST |  | Keithley make source measurement unit Model: 2635B | FMCD |  | 1378240 |  | Working | Electric Characterization |  |  |  |  | neeraj.ampri@csir.res.in
Source Measure Unit |  | CSIR-AMPRI, Bhopal | Keithley | SMU2470 | 4627321 | Internal Funding | CSIR |  | Keithley Make 1 KV Graphical Source Meter, Model # SMU2470 | FMCD |  | 1398300 |  | Working | Electric Characterization |  |  |  |  | neeraj.ampri@csir.res.in
RTP CVD Tool |  | CSIR-AMPRI, Bhopal | Venture Scientific | RTP-CVD | NT0040-2425 | External Funding | DST |  | Furnace Single zone RTP-CVD furnace Maximum operation temperature) (oC) 1100 oC Working temperature (oC) 1000 oC Heating zone 12-inch length with 140mm constant temperature zone within +/-5ºC uniformity upto 180mm to 200mm. Heating rate 200-400 oC/min | FMCD |  | 1299999 |  | Working | Fabrication, Sample Preparation |  |  |  |  | neeraj.dwivedi@ampri.res.in
High Velocity Oxygen fuel Spray coating unit |  | CSIR-AMPRI, Bhopal | Parat Technologies | PT HV2700 | PT/16238 | Internal Funding | CSIR |  | Air cooled HVOF gun operated with LPG gas | FMCD |  | 1560933 |  | Working | Fabrication, Sample Preparation |  |  |  |  | neeraj.dwivedi@ampri.res.in
Microwave chemical vapour deposition system |  | CSIR-AMPRI, Bhopal | OSEC | OSEC-02-2025 |  | Internal Funding | CSIR |  | Vacuum System and Microwave Reactor Cavity Operating pressure range 20 -140 Torr. Vacuum pump: Microwave power supply Frequency: 2.45GHz Microwave power: 3.0 kW or higher Magnetron Isolator (3.0 kW or higher and 2.45 MHz), Microwave detector, wave guide Manual stub-tuners | FMCD |  | 5310000 |  | Working | Fabrication, Sample Preparation |  |  |  |  | neeraj.dwivedi@ampri.res.in
CNC Verical Milling Centre(VMC) | - | CSIR-AMPRI, Bhopal | Veemax,Pune | CMT 6040 V2S |  | Internal Funding | CSIR | Network CORE-0001 | Milling CNC | FMCD |  | 7000000 | - | Working | Fabrication, All Milling Works | Ceemax, Pune | #VALUE! | Siemens, Bangalore | Siemens, Bangalore | rkbharilya.ampri@csir.res.in
Thermal Conductivity System |  | CSIR-AMPRI, Bhopal | Hot Disk AB | TPS 2200 | 20222200259 | External Funding | DST |  | Thermal Conductivity System , Make Hot-Disk AB, Model: TPS 2200, | FMCD |  | 2891000 |  | Working | Characterization |  |  |  |  | sarikaverma@ampri.res.in
Plasma Enhanced CVD |  | CSIR-AMPRI, Bhopal | Omicron Scientific | PECVD-0SEC-04-24 |  | External Funding | DST |  | SS Chamber-12ʺ± 0.5 diameter and 10ʺ± 0.5 height (316 type) RF Power Supply 300 Watts with auto matching network: 01 No. | FMCD |  | 1711000 |  | Working | Characterization |  |  |  |  | sarikaverma@ampri.res.in
Electro Mechanical UTM |  | CSIR-AMPRI, Bhopal | Swastik | UTES-60 | 2024/3 | Internal Funding | CSIR |  | Load cell capacity: 600 KN | FMCD |  | 1091500 |  | Working | Characterization |  |  |  |  | sarikaverma@ampri.res.in
Cryomill alongwith spares & accessories |  | CSIR-AMPRI, Bhopal | Retsch GmbH |  | 122023042I | Internal Funding | CSIR |  | CryoMill 100–240 V, 50/60 Hz, alongwith spares and accessories | FMCD |  | 1237429 |  | Not Working | Cryogenic Grinding | M/s Verder Scientific Pvt. Ltd; Hyderabad | a.runow@retsch.com |  |  | medha.mili@ampri.res.in
Table top Atomic Force Microscopy |  | CSIR-AMPRI, Bhopal | Nanosurf AG | CoreAFM | 7924168, 9723130 | Internal Funding | CSIR |  | Atomic Force Microscopy. Model: CoreAFM | FMCD |  | 4800000 |  | Working | Surface characterization of thin films | M/s Inkarp Instruments Pvt. Ltd, Hyderabad |  |  |  | neeraj.ampri@csir.res.in
Strain Measurement system |  | CSIR-AMPRI, Bhopal | FMTI System | 200U | 1013 | External Funding | DST |  | Strain Measurement system | SCMD |  | 1984500 |  | Working | Testing |  |  |  |  | meraj.ampri@csir.res.in

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE

## Sheet1
Digital Compression Molding Machine |  | CSIR-AMPRI, Bhopal |  |  |  | Internal Funding | CSIR |  | Digital Compression Molding Machine | FMCD | 6756450 |  | Working | Testing |  |  |  |  | mkgupta@ampri.res.in
Electromagnetic Manufacturing Forming Machine |  | CSIR-AMPRI, Bhopal |  |  |  | Internal Funding | CSIR |  | Electromagnetic Manufacturing / Forming Machine-40 KJ | FMCD | 12996750 |  | Working | Fabrication, Sample Preparation |  |  |  |  | merajahmed@ampri.res.in
Weathrometer |  | CSIR-AMPRI, Bhopal | Q LAB |  |  | Internal Funding | CSIR |  | Xenon Arc Lamp Based weatherometer and UV Fluorescent Lamps Based Weatherometer systems | FMCD | 4863826 |  | Working | Testing | M/s Venture Instrumentation, Bangalore |  |  |  | mkgupta@ampri.res.in
Computer Controlled Magnetron Sputter |  | CSIR-AMPRI, Bhopal | Advanced Process Technology (APT) | APT |  | Internal Funding | CSIR |  | Sputtering Chamber: (a) Geometry: spherical chamber (b) Chamber Material: Electro-polished SS304 grade non-magnetic, non-corrosive stainless steel (c) Base Vacuum rating (Base pressure): 10-6 torr | FMCD | 4404750 |  | Working | Fabrication, Sample Preparation |  |  |  |  | neeraj.ampri@csir.res.in
Computer Controlled Benchtop Tribometer |  | CSIR-AMPRI, Bhopal | DUCOM |  |  | Internal Funding | CSIR |  | Computer Controlled Piezo-based Benchtop Tribometer | FMCD | 3179999 |  | Working | Characterization |  |  |  |  | neeraj.ampri@csir.res.in
Plasma-based hybrid thin film deposition tool |  | CSIR-AMPRI, Bhopal | Omicron Scientific Eqipment Co. | OSEC |  | Internal Funding | CSIR |  | Plasma-based hybrid thin film deposition tool (PECVD+ sputtering) | FMCD | 2048393 |  | Working | Fabrication, Sample Preparation |  |  |  |  | neeraj.ampri@csir.res.in
CNC Turning Centre | - | CSIR-AMPRI, Bhopal | DMG | CTX 310 V4 | 8042942742C | Internal Funding | CSIR | - | 4Axis Turning Centre | FMCD | 10000000 | www.dmgmori.com | Working | Fabrication, Sample Preparation | DMG-Bangalore | Service Coordinator,DMG MORI India Pvt. Ltd. DMG MORI India Pvt. Ltd. No 3-1, 3rd Main Road, K.I.A.D.B, Peenya 1st Stage, Ward no1, HMT, IN-560058 Bangalore, Tel.: +91 80 40896561 Mobile: 9902007269 | DMG-Bhopal Service | DMG-Bhopal Service | rkbharilya.ampri@csir.res.in