## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
COMPRESSION TESTING MACHINE |  | TESTING LAB | LLOYD | LR 100K | 10017 | Internal Funding | Institution |  |  | TESTING |  | 265882 |  |  | Testing Equipment | LLOYD | service@hemetek.com | LLOYD | service@hemetek.com | amritsar@cipet.gov.in
HDT AND VST |  | TESTING LAB | ATS FAAR | MP 3 | xxx | Internal Funding | Institution |  |  | TESTING |  | 327419 |  |  | Testing Equipment | Techscience Services Pvt. Ltd. | science.tech@elnet.ems.vsnl.net.in | Techscience Services Pvt. Ltd. | science.tech@elnet.ems.vsnl.net.in | amritsar@cipet.gov.in
NOTCH CUTTER |  | TESTING LAB | CEAST |  | 16569 | Internal Funding | Institution |  |  | TESTING |  | XXX |  |  | Testing Equipment | CEAST | aftersalestech@ceast.com | CEAST | aftersalestech@ceast.com | amritsar@cipet.gov.in
IZOD CHARPY IMPACT TESTER |  | TESTING LAB | ATS-FAR |  | xxx | Internal Funding | Institution |  |  | TESTING |  | XXX |  |  | Testing Equipment | Techscience Services Pvt. Ltd. | science.tech@elnet.ems.vsnl.net.in | Techscience Services Pvt. Ltd. | science.tech@elnet.ems.vsnl.net.in | amritsar@cipet.gov.in
WEIGHING BALANCE |  | TESTING LAB | METTLER TOLEDO | AL 204 | 1225330379 | Internal Funding | Institution |  |  | TESTING |  | 145000 |  |  | Testing Equipment | METTLER TOLEDO |  | METTLER TOLEDO |  | amritsar@cipet.gov.in
SURFACE AND VOLUME RESISTIVITY |  | TESTING LAB | CEAST |  | 5911 | Internal Funding | Institution |  |  | TESTING |  | 24000 |  |  | Testing Equipment | CEAST | aftersalestech@ceast.com | CEAST | aftersalestech@ceast.com | amritsar@cipet.gov.in
MELT FLOW INDEX |  | TESTING LAB | LLOYD |  | 117 | Internal Funding | Institution |  |  | TESTING |  | 5,80,871 |  |  | Testing Equipment | LLOYD | service@hemetek.com | LLOYD | service@hemetek.com | amritsar@cipet.gov.in
HARDNESS TESTER SHORE-A |  | TESTING LAB | TESTING MACHINES | SHR A GOLD | XXX | Internal Funding | Institution |  |  | TESTING |  | 6500 |  |  | Testing Equipment | TESTING MACHINES | amritsar@cipet.gov.in | TESTING MACHINES | amritsar@cipet.gov.in | amritsar@cipet.gov.in
HARDNESS TESTER SHORE-D |  | TESTING LAB | HIROSHIMA |  | XXX | Internal Funding | Institution |  |  | TESTING |  | 4500 |  |  | Testing Equipment | HIROSHIMA | info@pacorr.com | HIROSHIMA | info@pacorr.com | amritsar@cipet.gov.in
ROCHWELL HARDNESS TESTER |  | TESTING LAB | PSI SALES | TR 35 | 35 | Internal Funding | Institution |  |  | TESTING |  | 11117 |  |  | Testing Equipment | PSI SALES | psi_sales@vsnl.net | PSI SALES | psi_sales@vsnl.net | amritsar@cipet.gov.in
IMPACT TESTER |  | TESTING LAB | ELMECH |  | xxx | Internal Funding | Institution |  |  | TESTING |  | XXX |  |  | Testing Equipment | ELMECH | sales@elmechpneumatic.com | ELMECH | sales@elmechpneumatic.com | amritsar@cipet.gov.in
MELTING POINT APPRATUS |  | TESTING LAB | CEAST |  | 16581 | Internal Funding | Institution |  |  | TESTING |  | 81800 |  |  | Testing Equipment | CEAST | aftersalestech@ceast.com | CEAST | aftersalestech@ceast.com | amritsar@cipet.gov.in
CONTOUR CUTTER |  | TESTING LAB | CEAST |  | xxx | Internal Funding | Institution |  |  | TESTING |  | 657809 |  |  | Testing Equipment | CEAST | aftersalestech@ceast.com | CEAST | aftersalestech@ceast.com | amritsar@cipet.gov.in
CARBON BLACK CONTENT |  | TESTING LAB | CIPET |  | xxx | Internal Funding | Institution |  |  | TESTING |  | 28000 |  |  | Testing Equipment | CIPET | amritsar@cipet.gov.in | CIPET | amritsar@cipet.gov.in | amritsar@cipet.gov.in
HOT AIR OVEN |  | TESTING LAB | CIPET |  | 103 | Internal Funding | Institution |  |  | TESTING |  | 78450 |  |  | Testing Equipment | CIPET | amritsar@cipet.gov.in | CIPET | amritsar@cipet.gov.in | amritsar@cipet.gov.in
ENV. CLIMAATIC CHAMBER |  | TESTING LAB | KASCO INDUSTRIES |  | 3A 191P2K | Internal Funding | Institution |  |  | TESTING |  | 411757 |  |  | Testing Equipment | KASCO INDUSTRIES | service@aki-india.com | KASCO INDUSTRIES | service@aki-india.com | amritsar@cipet.gov.in
TABER ABRSION TESTER |  | TESTING LAB | ATS FAAR | 5131 | 20001248 | Internal Funding | Institution |  |  | TESTING |  | 391736 |  |  | Testing Equipment | Techscience Services Pvt. Ltd. | science.tech@elnet.ems.vsnl.net.in | Techscience Services Pvt. Ltd. | science.tech@elnet.ems.vsnl.net.in | amritsar@cipet.gov.in
HOT AIR OVEN |  | TESTING LAB | DEEPAK POLYPLAST |  | XXX | Internal Funding | Institution |  |  | TESTING |  | 84895 |  |  | Testing Equipment | DEEPAK POLYPLAST | exports@deepakpolyplast.com | DEEPAK POLYPLAST | exports@deepakpolyplast.com | amritsar@cipet.gov.in
IZOD CHARPY IMPACT TESTER |  | TESTING LAB | CEAST | 6963 | 16588 | Internal Funding | Institution |  |  | TESTING |  | XXX |  |  | Testing Equipment | CEAST | aftersalestech@ceast.com | CEAST | aftersalestech@ceast.com | amritsar@cipet.gov.in
CARBON BLACK CONTENT |  | TESTING LAB | ELMECH |  | 3421 | Internal Funding | Institution |  |  | TESTING |  | 45207 |  |  | Testing Equipment | ELMECH | sales@elmechpneumatic.com | ELMECH | sales@elmechpneumatic.com | amritsar@cipet.gov.in
HOT OIL BATH |  | TESTING LAB | ELMECH |  | 3384 | Internal Funding | Institution |  |  | TESTING |  | 73329 |  |  | Testing Equipment | ELMECH | sales@elmechpneumatic.com | ELMECH | sales@elmechpneumatic.com | amritsar@cipet.gov.in
HYDROSTATIC PRESSURE MACHINE |  | TESTING LAB | ELMECH |  | XXX | Internal Funding | Institution |  |  | TESTING |  | 136000 |  |  | Testing Equipment | ELMECH | sales@elmechpneumatic.com | ELMECH | sales@elmechpneumatic.com | amritsar@cipet.gov.in
MUFFLE FURNANCE |  | TESTING LAB | DEEPAK POLYPLAST |  | XXX | Internal Funding | Institution |  |  | TESTING |  | 37425 |  |  | Testing Equipment | DEEPAK POLYPLAST | exports@deepakpolyplast.com | DEEPAK POLYPLAST | exports@deepakpolyplast.com | amritsar@cipet.gov.in
UNIVERSAL PROJECTER MICROSCOPE |  | TESTING LAB | MICRO MEASURES and INSTRUMENTS |  | XXX | Internal Funding | Institution |  |  | TESTING |  | 38925 |  |  | Testing Equipment | MICRO MEASURES & INSTRUMENTS | sales@almicroinstruments.com | MICRO MEASURES & INSTRUMENTS | sales@almicroinstruments.com | amritsar@cipet.gov.in
Gas chromatography with UPS 5 KV |  | TESTING LAB | THERMOFISHER |  | 718102682 | Internal Funding | Institution |  |  | TESTING |  | 41,93,624 |  |  | Testing Equipment | THERMOFISHER | shridhar.gawade@thermofisher.com | THERMOFISHER | shridhar.gawade@thermofisher.com | amritsar@cipet.gov.in
QUV WHATHEROMETER |  | TESTING LAB | Q LAB |  | 10007177SPRAY | Internal Funding | Institution |  |  | TESTING |  | 6,10,813 |  |  | Testing Equipment | Venture Instrumentation Technogies | info@venturetechnologies.net | Venture Instrumentation Technogies | info@venturetechnologies.net | amritsar@cipet.gov.in
HDT/VST |  | TESTING LAB | GOTECH | HV2000 C3 | TC0901842 | Internal Funding | Institution |  |  | TESTING |  | 16,250USD |  |  | Testing Equipment | GOTECH | mail@chromlineindia.com | GOTECH | mail@chromlineindia.com | amritsar@cipet.gov.in
DENSITY GRADIENT MACHINE |  | TESTING LAB | DEESHA IMPEX |  | XXX | Internal Funding | Institution |  |  | TESTING |  | 72140 |  |  | Testing Equipment | DEESHA IMPEX | biz@deeshaimpex.com | DEESHA IMPEX | biz@deeshaimpex.com | amritsar@cipet.gov.in
GLOSS METER |  | TESTING LAB | S.C DEY |  | XXX | Internal Funding | Institution |  |  | TESTING |  | 38250 |  |  | Testing Equipment | S.C DEY | scdey@cal3.vsnl.net.in | S.C DEY | scdey@cal3.vsnl.net.in | amritsar@cipet.gov.in
HAZE METER |  | TESTING LAB | S.C DEY |  | XXX | Internal Funding | Institution |  |  | TESTING |  | 78030 |  |  | Testing Equipment | S.C DEY | scdey@cal3.vsnl.net.in | S.C DEY | scdey@cal3.vsnl.net.in | amritsar@cipet.gov.in
TEAR TESTER |  | TESTING LAB | DEEPAK POLYPLAST |  | DPPL 11 13 629 | Internal Funding | Institution |  |  | TESTING |  | 65803 |  |  | Testing Equipment | DEEPAK POLYPLAST | exports@deepakpolyplast.com | DEEPAK POLYPLAST | exports@deepakpolyplast.com | amritsar@cipet.gov.in
WIEGHING BALANCE |  | TESTING LAB | A-ONE |  | XXX | Internal Funding | Institution |  |  | TESTING |  | 17818 |  |  | Testing Equipment | A-ONE | a_onescales@yahoo.co.in | A-ONE | a_onescales@yahoo.co.in | amritsar@cipet.gov.in
DEEP FREEZER |  | TESTING LAB | VOLTAS | CVF500DD | CVF500BD | Internal Funding | Institution |  |  | TESTING |  | 23000 |  |  | Testing Equipment | VOLTAS | AKSHAYTRADERS94@GMAIL.COM | VOLTAS | AKSHAYTRADERS94@GMAIL.COM | amritsar@cipet.gov.in
SLIP TESTER |  | TESTING LAB | ELMECH |  | XXX | Internal Funding | Institution |  |  | TESTING |  | 43790.5 |  |  | Testing Equipment | ELMECH | sales@elmechpneumatic.com | ELMECH | sales@elmechpneumatic.com | amritsar@cipet.gov.in
IZOD-CHARPY IMPACT TESTER |  | TESTING LAB | TINIUS OLESON | IT 504 | 253 | Internal Funding | Institution |  |  | TESTING |  | 20,344USD |  |  | Testing Equipment | Aimil Ltd | servicedel@aimil.com | Aimil Ltd | servicedel@aimil.com | amritsar@cipet.gov.in
TENSILE TESTER |  | TESTING LAB | PSI SALES | SSUTM1205 | SSUTM1205 | Internal Funding | Institution |  |  | TESTING |  | 308347 |  |  | Testing Equipment | PSI SALES | psi_sales@vsnl.net | PSI SALES | psi_sales@vsnl.net | amritsar@cipet.gov.in
MELT FLOW INDEX |  | TESTING LAB | DEEPAK POLYPLAST |  | DPPL 12 13 341 | Internal Funding | Institution |  |  | TESTING |  | 46818 |  |  | Testing Equipment | Deepak Polyplast Ahmedabad | exports@deepkpolyplast.com | Deepak Polyplast Ahmedabad | exports@deepkpolyplast.com | amritsar@cipet.gov.in
HOT AND COLD WATER BATH |  | TESTING LAB | KAISER MACHINERIES |  | XXX | Internal Funding | Institution |  |  | TESTING |  | 126684 |  |  | Testing Equipment | KAISER MACHINERIES | expmkt@kaisertechnic.com | KAISER MACHINERIES | expmkt@kaisertechnic.com | amritsar@cipet.gov.in
VISCOMETER BATH |  | TESTING LAB | ZENITH |  | XXX | Internal Funding | Institution |  |  | TESTING |  | XXX |  |  | Testing Equipment | ZENITH | zenithglasswares@gmail.com | ZENITH | zenithglasswares@gmail.com | amritsar@cipet.gov.in
DART IMPACT TESTER |  | TESTING LAB | KAISER MACHINERIES |  | XXX | Internal Funding | Institution |  |  | TESTING |  | 66970 |  |  | Testing Equipment | KAISER MACHINERIES | expmkt@kaisertechnic.com | KAISER MACHINERIES | expmkt@kaisertechnic.com | amritsar@cipet.gov.in
OPACITY TESTER |  | TESTING LAB | ELMECH |  | XXX | Internal Funding | Institution |  |  | TESTING |  | 54000 |  |  | Testing Equipment | ELMECH | sales@elmechpneumatic.com | ELMECH | sales@elmechpneumatic.com | amritsar@cipet.gov.in
SMALL WATER BATH |  | TESTING LAB | IMAK |  | XXX | Internal Funding | Institution |  |  | TESTING |  |  |  |  | Testing Equipment | IMAK |  | IMAK |  | amritsar@cipet.gov.in
MUFFLE FURNANCE |  | TESTING LAB | B.P INDUSTRIES |  | F-03 | Internal Funding | Institution |  |  | TESTING |  | 47272 |  |  | Testing Equipment | B.P INDUSTRIES | BPIND_AMBASSADOR@HOTMAIL.COM | B.P INDUSTRIES | BPIND_AMBASSADOR@HOTMAIL.COM | amritsar@cipet.gov.in
CONDITIONING CHAMBER |  | TESTING LAB | HEXAPLAST |  | 14/72 | Internal Funding | Institution |  |  | TESTING |  | 93711 |  |  | Testing Equipment | HEXAPLAST | info@hexaplastindia.com | HEXAPLAST | info@hexaplastindia.com | amritsar@cipet.gov.in
HYDROSTATIC PRESSURE TESTER |  | TESTING LAB | ELMECH |  | 3434 | Internal Funding | Institution |  |  | TESTING |  | 144000 |  |  | Testing Equipment | ELMECH | sales@elmechpneumatic.com | ELMECH | sales@elmechpneumatic.com | amritsar@cipet.gov.in
IMPACT TESTER |  | TESTING LAB | DEEPAK POLYPLAST |  | XXX | Internal Funding | Institution |  |  | TESTING |  | 20500 |  |  | Testing Equipment | DEEPAK POLYPLAST | exports@deepakpolyplast.com | DEEPAK POLYPLAST | exports@deepakpolyplast.com | amritsar@cipet.gov.in
RESISTANCE TO HEAT |  | TESTING LAB | DEEPAK POLYPLAST |  | XXX | Internal Funding | Institution |  |  | TESTING |  | 132500 |  |  | Testing Equipment | DEEPAK POLYPLAST | exports@deepakpolyplast.com | DEEPAK POLYPLAST | exports@deepakpolyplast.com | amritsar@cipet.gov.in
HV TESTER |  | TESTING LAB | DEEPAK POLYPLAST |  | XXX | Internal Funding | Institution |  |  | TESTING |  | XXX |  |  | Testing Equipment | DEEPAK POLYPLAST | exports@deepakpolyplast.com | DEEPAK POLYPLAST | exports@deepakpolyplast.com | amritsar@cipet.gov.in
OHM METER |  | TESTING LAB | DEEPAK POLYPLAST |  | XXX | Internal Funding | Institution |  |  | TESTING |  | 298795 |  |  | Testing Equipment | DEEPAK POLYPLAST | exports@deepakpolyplast.com | DEEPAK POLYPLAST | exports@deepakpolyplast.com | amritsar@cipet.gov.in
COLLAPSE TESTER |  | TESTING LAB | DEEPAK POLYPLAST |  | XXX | Internal Funding | Institution |  |  | TESTING |  | 17500 |  |  | Testing Equipment | DEEPAK POLYPLAST | exports@deepakpolyplast.com | DEEPAK POLYPLAST | exports@deepakpolyplast.com | amritsar@cipet.gov.in
UTM |  | TESTING LAB | TINIUS OLSEN |  | 10075 | Internal Funding | Institution |  |  | TESTING |  | 24,23,377 |  |  | Testing Equipment | Aimil Ltd | servivedel@aimil.com | Aimil Ltd | servivedel@aimil.com | amritsar@cipet.gov.in
UTM |  | TESTING LAB | DAK SYSTEM | UTB9103 | 462 16 17 | Internal Funding | Institution |  |  | TESTING |  | 2027768 |  |  | Testing Equipment | DAK SYSTEM | support@daksystem.com | DAK SYSTEM | support@daksystem.com | amritsar@cipet.gov.in
UVB WHEATHEROMETER |  | TESTING LAB | DEEPAK |  | XXX | Internal Funding | Institution |  |  | TESTING |  | 442085 |  |  | Testing Equipment | DEEPAK | exports@deepakpolyplast.com | DEEPAK | exports@deepakpolyplast.com | amritsar@cipet.gov.in
MOISTURE METER |  | TESTING LAB | PANOMEX |  | 126 | Internal Funding | Institution |  |  | TESTING |  | 38812 |  |  | Testing Equipment | PANOMEX | sales@panomex.com | PANOMEX | sales@panomex.com | amritsar@cipet.gov.in
MUFFLE FURNANCE |  | TESTING LAB | BP INDUSTRIES |  | F 17 | Internal Funding | Institution |  |  | TESTING |  | 47272 |  |  | Testing Equipment | BP INDUSTRIES | BPIND_AMBASSADOR@HOTMAIL.COM | BP INDUSTRIES | BPIND_AMBASSADOR@HOTMAIL.COM | amritsar@cipet.gov.in
MELTING POINT |  | TESTING LAB | ANALAB | 25 THERMOCALE | 206 17 1307 | Internal Funding | Institution |  |  | TESTING |  | 81800 |  |  | Testing Equipment | ANALAB | info@analab.co.in | ANALAB | info@analab.co.in | amritsar@cipet.gov.in
AUTO KARL FISHER TITRATION |  | TESTING LAB | LABTRONICS | 63 | 1277 | Internal Funding | Institution |  |  | TESTING |  | 18500 |  |  | Testing Equipment | LABTRONICS | info@labtronicsindia.com | LABTRONICS | info@labtronicsindia.com | amritsar@cipet.gov.in
DIGITAL POTENTIOMETER |  | TESTING LAB | LABTRONICS |  | XXX | Internal Funding | Institution |  |  | TESTING |  | 4997 |  |  | Testing Equipment | LABTRONICS | info@labtronicsindia.com | LABTRONICS | info@labtronicsindia.com | amritsar@cipet.gov.in
RESISTANCE TO COMBINED CYCLING TEMP GRAVELLED BOX |  | TESTING LAB | ADVANCE ENGINEERING |  | XXX | Internal Funding | Institution |  |  | TESTING |  | 237744 |  |  | Testing Equipment | ADVANCE ENGINEERING | advance.bpl@gmail.com | ADVANCE ENGINEERING | advance.bpl@gmail.com | amritsar@cipet.gov.in
COMPRESSIVE LOADING MACHINE |  | TESTING LAB | DASS INDUSTRIES |  | XXX | Internal Funding | Institution |  |  | TESTING |  | 59000 |  |  | Testing Equipment | DASS INDUSTRIES | marwaha_satish@yahoo.co.in | DASS INDUSTRIES | marwaha_satish@yahoo.co.in | amritsar@cipet.gov.in
DEFLECTION DRO UNIT |  | TESTING LAB | INTELLECTUAL |  | XXX | Internal Funding | Institution |  |  | TESTING |  | 53100 |  |  | Testing Equipment | INTELLECTUAL | contact@intellectualequipments.com | INTELLECTUAL | contact@intellectualequipments.com | amritsar@cipet.gov.in
PIPE IMPACT TESTER NEW |  | TESTING LAB | DASS INDUSTRIES |  | XXX | Internal Funding | Institution |  |  | TESTING |  |  |  |  | Testing Equipment | DASS INDUSTRIES | marwaha_satish@yahoo.co.in | DASS INDUSTRIES | marwaha_satish@yahoo.co.in | amritsar@cipet.gov.in
DSC WITH UPS |  | TESTING LAB | PERKIN ELMER |  | 53461901162 | Internal Funding | Institution |  |  | TESTING |  | 29,95,147 |  |  | Testing Equipment | PERKIN ELMER | india.servicesupport@perkinelmer.com | PERKIN ELMER | india.servicesupport@perkinelmer.com | amritsar@cipet.gov.in
QUV WHATHEROMETER |  | TESTING LAB | Q LAB |  | 210790243SE | Internal Funding | Institution |  |  | TESTING |  | 16,29,483 |  |  | Testing Equipment | Venture Instrumentation Technogies | info@venturetechnologies.net | Venture Instrumentation Technogies | info@venturetechnologies.net | amritsar@cipet.gov.in
QUV WHATHEROMETER |  | TESTING LAB | Q LAB |  | 2107801935SE | Internal Funding | Institution |  |  | TESTING |  | 16,9,483 |  |  | Testing Equipment | Venture Instrumentation Technogies | info@venturetechnologies.net | Venture Instrumentation Technogies | info@venturetechnologies.net | amritsar@cipet.gov.in
HYDROSTATIC PRESSURE MACHINE |  | TESTING LAB | ELMECH |  | 4304 | Internal Funding | Institution |  |  | TESTING |  | 8,12,430 |  |  | Testing Equipment | ELMECH | sales@elmechpneumatic.com | ELMECH | sales@elmechpneumatic.com | amritsar@cipet.gov.in

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
Test Funding Agency
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
INODE FAG
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
Testing Funding Agency
GIA
TestName12
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
TestFundingAgencySS
DME Government of Karnataka
I-STEM Funding at IISc
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE