## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details* | Equipment Description | Department Name* | Facility Name | Basic Cost(Rs)* | Warranty End Date (Valid Till) | Category* | Alert to be sent (Email id)* | PRISM Service Category* | Year of Purchase* | Purpose / Application of Equipment | Operational Status* | AMC End Date (Valid Till) | Access Restrictions | Remarks | Pre-Experiment Support* | Post-Experiment Support* | Charges for Pre Experiment Support | Charges for Post Experiment Support
3D Printer RAISE 3D | 3DP-R3D | Maker Village | RAISE 3D | Pro2 Plus | 10151926020 | External Funding | MIETY, GOK | Industrial-grade FDM 3D printer used for producing high-quality prototypes, functional parts, and engineering models using thermoplastic materials. | Maker Village | Design & Fabrication | 214600 |  | Design & Fabrication | info@iiitmk.ac.in | A | NA | Used for rapid prototyping, product development, fabrication of functional components, and educational training in additive manufacturing. | Working |  | No |  | Yes | Yes | 50% of equipmemt usage charge | 50% of equipmemt usage charge
LPKF PCB Milling Equipment | PCBM-LPKF | Maker Village | LPKF | ProtoMat S104 | 1829000221 | External Funding | MIETY, GOK | Precision PCB prototyping system used for in-house fabrication of printed circuit boards without chemical etching processes. | Maker Village | PCB Prototyping Facility | 2500000 |  | PCB Prototyping Facility | info@iiitmk.ac.in | A | NA | Used for in-house fabrication and prototyping of printed circuit boards (PCBs) for research, development, and testing of electronic circuits. | Working |  | No |  | Yes | Yes | 50% of equipmemt usage charge | 50% of equipmemt usage charge
Laser Cutting SIL | LC-SIL | Maker Village | Suresh Indu Lasers Pvt.Ltd | 8x4 | SIL0804EN054 | External Funding | MIETY, GOK | Laser-based fabrication equipment used for precision cutting and engraving of materials such as acrylic, wood, plastic, and thin metal sheets. | Maker Village | Fabrication Lab | 430000 |  | Fabrication Lab | info@iiitmk.ac.in | A | NA | Used for precision cutting, engraving, and fabrication of prototypes, enclosures, and mechanical components from various materials. | Working |  | No |  | Yes | Yes | 50% of equipmemt usage charge | 50% of equipmemt usage charge
Form labs 3B SLA printer | SLA-F3B | Maker Village | Form Labs | Form 3B | CaringAvadavat | External Funding | MIETY, GOK | Professional SLA (Stereolithography) 3D printer designed for producing highly detailed and accurate resin-based prototypes and biomedical models. | Maker Village | Rapid Prototyping Lab | 530000 |  | Rapid Prototyping Lab | info@iiitmk.ac.in | A | NA | Used for producing high-resolution prototypes, biomedical models, dental applications, and detailed engineering components. | Working |  | No |  | Yes | Yes | 50% of equipmemt usage charge | 50% of equipmemt usage charge
3D Printer Creality K2 | 3DP-CK2 | Maker Village | Creality | K2 Plus | 10000802495L524KSPA | External Funding | MIETY, GOK | Advanced FDM 3D printer designed for rapid prototyping and production of engineering components with high printing speed and accuracy. | Maker Village | Design & Fabrication | 78000 |  | Design & Fabrication | info@iiitmk.ac.in | A | NA | Used for high-speed prototyping, product design validation, and fabrication of engineering models and functional parts. | Working |  | No |  | Yes | Yes | 50% of equipmemt usage charge | 50% of equipmemt usage charge
3D Printer Elegoo | 3DP-ELG | Maker Village | Elegoo | Centauri Carbon | CC.25416.C146 | External Funding | MIETY, GOK | Desktop 3D printer used for manufacturing detailed prototypes, models, and educational projects through additive manufacturing. | Maker Village | Design & Fabrication | 75000 |  | Design & Fabrication | info@iiitmk.ac.in | A | NA | Used for creating detailed prototypes, educational models, and small-scale manufacturing applications. | Working |  | No |  | Yes | Yes | 50% of equipmemt usage charge | 50% of equipmemt usage charge
3D Printer Comgrew | 3DP-CMG | Maker Village | Comgrew | T500 | 2506120028 | External Funding | MIETY, GOK | FDM-based 3D printer used for rapid prototyping, product development, and fabrication of functional components. | Maker Village | Design & Fabrication | 72000 |  | Design & Fabrication | info@iiitmk.ac.in | A | NA | Used for fabrication of prototypes, design validation, and hands-on training in additive manufacturing technologies. | Working |  | No |  | Yes | Yes | 50% of equipmemt usage charge | 50% of equipmemt usage charge
SMT Assembly Line - fully automatic solder paste stencil printer | SMT-AL | Maker Village | Speedline Technologies | MPM 100 | M203901 | External Funding | MIETY, GOK | Automated Surface Mount Technology assembly system used for placement, soldering, and assembly of electronic components on PCBs. | Maker Village | Electronics Manufacturing Facility | 800000 |  | Electronics Manufacturing Facility | info@iiitmk.ac.in | A | NA | Used for automated assembly of surface mount electronic components on PCBs during prototype and small-scale production. | Working |  | No |  | Yes | Yes | 50% of equipmemt usage charge | 50% of equipmemt usage charge
SMT Assembly Line - Pick and Place machine | SMT-PP | Maker Village | Fuji | XPF-W | SD0084476 | External Funding | MIETY, GOK | Automated Surface Mount Technology assembly system used for placement, soldering, and assembly of electronic components on PCBs. | Maker Village | Electronics Manufacturing Facility | 2700000 |  | Electronics Manufacturing Facility | info@iiitmk.ac.in | A | NA | Used for automated assembly of surface mount electronic components on PCBs during prototype and small-scale production. | Working |  | No |  | Yes | Yes | 50% of equipmemt usage charge | 50% of equipmemt usage charge
SMT Assembly Line - Reflow Soldering machine | SMT-RS | Maker Village | Shenzhen JT Automation | RS 800 II | 1-16072107-01 | External Funding | MIETY, GOK | Automated Surface Mount Technology assembly system used for placement, soldering, and assembly of electronic components on PCBs. | Maker Village | Electronics Manufacturing Facility | 122000 |  | Electronics Manufacturing Facility | info@iiitmk.ac.in | A | NA | Used for automated assembly of surface mount electronic components on PCBs during prototype and small-scale production. | Working |  | No |  | Yes | Yes | 50% of equipmemt usage charge | 50% of equipmemt usage charge
HiPot Tester | HPT | Maker Village | Chroma | 19073 | 19730008383 | External Funding | MIETY, GOK | High-voltage insulation tester used to verify electrical insulation strength and ensure product safety compliance. | Maker Village | Electrical Safety Testing Facility | 222000 | 2 Years | Electrical Safety Testing Facility | info@iiitmk.ac.in | A | 30/07/2019 | Used for electrical safety testing by verifying insulation integrity and dielectric withstand capability of electrical products. | Working |  | No |  | Yes | Yes | 50% of equipmemt usage charge | 50% of equipmemt usage charge
Gound Bond Tester Model-19572 | GBT-19572 | Maker Village | Chroma | 19572 | 195720001756 | External Funding | MIETY, GOK | Electrical safety tester used to measure ground continuity and protective earth bonding in electrical equipment. | Maker Village | Electrical Safety Testing Facility | 285000 |  | Electrical Safety Testing Facility | info@iiitmk.ac.in | A | NA | Used for testing protective earth continuity and ensuring electrical safety compliance of equipment. | Working |  | No |  | Yes | Yes | 50% of equipmemt usage charge | 50% of equipmemt usage charge
DC Electronic Loads | DCEL | Maker Village | Chroma | 6314A | 6314A0008187 | External Funding | MIETY, GOK | Programmable electronic equipment used to simulate load conditions and evaluate the performance of DC power sources and batteries. | Maker Village | Power Electronics Laboratory | 67000 |  | Power Electronics Laboratory | info@iiitmk.ac.in | A | NA | Used for simulating load conditions to evaluate the performance, efficiency, and reliability of power supplies, batteries, and converters. | Working |  | No |  | Yes | Yes | 50% of equipmemt usage charge | 50% of equipmemt usage charge
Signal Analyzer | SA | Maker Village | Keysight | N9000B | MY57103239 | External Funding | MIETY, GOK | Instrument used for analyzing signal characteristics including frequency, amplitude, modulation, and spectral content. | Maker Village | RF & Communication Laboratory | 58000 |  | RF & Communication Laboratory | info@iiitmk.ac.in | A | NA | Used for analyzing signal characteristics such as frequency, amplitude, modulation, and spectral purity in communication systems. | Working |  | No |  | Yes | Yes | 50% of equipmemt usage charge | 50% of equipmemt usage charge
Basic Spectrum Analyser Keysight N9322C | BSA-N9322C | Maker Village | Keysight | N9322C | CN0743B981 | External Funding | MIETY, GOK | RF measurement instrument used to analyze the frequency spectrum of electrical signals for communication and electronic applications. | Maker Village | RF & Communication Laboratory | 630000 |  | RF & Communication Laboratory | info@iiitmk.ac.in | A | NA | Used for RF signal analysis, interference detection, frequency measurement, and characterization of communication devices. | Working |  | No |  | Yes | Yes | 50% of equipmemt usage charge | 50% of equipmemt usage charge
DC Power Analyzer with source | DCPA | Maker Village | Keysight | N6705C | MY56003493 | External Funding | MIETY, GOK | Integrated instrument capable of supplying DC power while simultaneously measuring voltage, current, power, and efficiency parameters. | Maker Village | Power Electronics Laboratory | 768000 |  | Power Electronics Laboratory | info@iiitmk.ac.in | A | NA | Used for sourcing DC power while simultaneously measuring voltage, current, power consumption, and energy efficiency of devices under test. | Working |  | No |  | Yes | Yes | 50% of equipmemt usage charge | 50% of equipmemt usage charge
TBS2000B Digital Storage Oscilloscope | DSO-TBS2B | Maker Village | Tektronics | TBS2204B | C021221 | External Funding | MIETY, GOK | Digital oscilloscope used for observing, measuring, and analyzing time-varying electrical waveforms in electronic circuits. | Maker Village | Electronics Instrumentation Laboratory | 170000 |  | Electronics Instrumentation Laboratory | info@iiitmk.ac.in | A | NA | Used for observing, measuring, and troubleshooting electrical waveforms in electronic circuits and systems. | Working |  | No |  | Yes | Yes | 50% of equipmemt usage charge | 50% of equipmemt usage charge
MSO2024 Oscilloscope 16 channel 200MHz | MSO2024 | Maker Village | Tektronics | MSO2024B | C060626 | External Funding | MIETY, GOK | Mixed Signal Oscilloscope featuring 16 digital channels and 200 MHz bandwidth for simultaneous analysis of analog and digital signals in embedded systems and electronic circuit debugging. | Maker Village | Electronics Instrumentation Laboratory | 540000 |  | Electronics Instrumentation Laboratory | info@iiitmk.ac.in | A | NA | Used for simultaneous analysis of analog and digital signals, embedded system debugging, protocol analysis, and electronic circuit development. | Working |  | No |  | Yes | Yes | 50% of equipmemt usage charge | 50% of equipmemt usage charge
Arbitrary Function Generator | AFG-1 | Maker Village | Tektronics | AFG1022 | AFG10222139340 | External Funding | MIETY, GOK | An electronic test instrument used to create both standard and custom user-defined electrical signals as voltage waveforms | Maker Village | Electronics Instrumentation Laboratory | 220000 |  | Electronics Instrumentation Laboratory | info@iiitmk.ac.in | A | NA | to test circuits, simulate real-world faults, and calibrate electronic | Working |  | No |  | Yes | Yes | 50% of equipmemt usage charge | 50% of equipmemt usage charge

## Worksheet 1 (hidden)
NEHU Internal Funds
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Internal Resource Generation
SRIC Development Fund
Dept of Scientific and Industrial Research DSIR
Ministry of Earth Sciences
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Vinayaka Missions Research Foundation
NITTTR Bhopal
ICAR-CMFRI
Ministry of Textiles
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
DBT, Govt. of India
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
Minister of Labour and Employment
Central Water Commission CWC
National Mineral Exploration and Development Trust
Anusandhan National Research Foundation ANRF DST
Dept of Pharmaceuticals NIPER
Ministry of Higher Education
Ministry of New and Renewable Energy
Dept of Atomic Energy
Dept of Health Research Indian council of Medical
Dept of Chemicals and Petrochemicals
Dept of Agriculutre and Farmers Welfare
Dept of DARE DG ICAR
CSIR, Govt. of India
DST, Govt. of India
ICFRE

## Departments (hidden)
Computational Science and Humanities
Computer Science and Engineering I
Computer Science and Engineering II
CSE Cyber Security
Electronics and Communication Engineering