## Sheet1
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Rate/Hr | Refernce Website | Equipment Status | Category
Nuclear Magnetic Resonance (NMR) Spectrometer | NMR Spectrometer | Central Instrumentation Facility | Bruker | Avance III |  | Institute | IISER Bhopal |  | Nuclear Magnetic Resonance Spectrometer 400 MHz & 500 MHz | Central Instrumentation Facility |  |  |  | Up | Characterization
Nuclear Magnetic Resonance (NMR) Spectrometer | NMR Spectrometer | Central Instrumentation Facility | Bruker | Avance III |  | Institute | IISER Bhopal |  | Nuclear Magnetic Resonance Spectrometer 700 MHz | Central Instrumentation Facility |  |  |  | Up | Characterization
Single Crystal X-ray Diffractometer (SCXRD) | SC-XRD | Central Instrumentation Facility | Bruker | Smart ApexII |  | Institute | IISER Bhopal |  |  | Central Instrumentation Facility |  |  |  | Up | Characterization
Electron Paramagnetic Resonance (EPR) | EPR | Central Instrumentation Facility | Bruker | Bruker Win EPR |  | Institute | IISER Bhopal |  |  | Central Instrumentation Facility |  |  |  | Up | Characterization
Powder X-ray Diffractometer (PXRD) | P-XRD | Central Instrumentation Facility | PANalytical | EMPYREAN |  | Institute | IISER Bhopal |  |  | Central Instrumentation Facility |  |  |  | Up | Characterization
Magnetic Property Measurement System Superconducting Quantum Interference Device (MPMS SQUID) | MPMS SQUID-VSM | Central Instrumentation Facility | Quantum Design, USA | MPMS3 |  | Institute | IISER Bhopal |  |  | Central Instrumentation Facility |  |  |  | Up | Characterization
Physical Property Measurement System (PPMS) | PPMS | Central Instrumentation Facility | Quantum Design, USA | PPMS-9 |  | Institute | IISER Bhopal |  |  | Central Instrumentation Facility |  |  |  | Up | Analytical Measurement
Scanning Hall Probe Microscopy (SHPM) | SHPM/AFM | Central Instrumentation Facility | Quantum Design, USA | SHPM |  | Institute | IISER Bhopal |  |  | Central Instrumentation Facility |  |  |  | Up | Research Equipment
X-Ray Fluorescence (XRF) | XRF | Central Instrumentation Facility | PANalytical | Epsilon5 |  | Institute | IISER Bhopal |  |  | Central Instrumentation Facility |  |  |  | Up | Characterization
Matrix Assisted Laser Desorption Ionization (MALDI) Mass Spectrometer | MALDI | Central Instrumentation Facility | Bruker | UT0274 G 151 |  | Institute | IISER Bhopal |  |  | Central Instrumentation Facility |  |  |  | Up | Research Equipment
Waters UPLC | UPLC | Central Instrumentation Facility | Water's | A11UPD6228 |  | Institute | IISER Bhopal |  |  | Central Instrumentation Facility |  |  |  | Up | Research Equipment
Ultra Plus Field Emission Scanning Electron Microscope (FESEM) | FE-SEM | Central Instrumentation Facility | Carl Zeiss | Ultra Plus-4316 |  | Institute | IISER Bhopal |  |  | Central Instrumentation Facility |  |  |  | Up | Characterization
Atomic Force Microscopy (AFM) | AFM | Central Instrumentation Facility | Agilent Technologies | 5500 Series, US06310454 |  | Institute | IISER Bhopal |  |  | Central Instrumentation Facility |  |  |  | Up | Characterization
Thermogravimetric Analyzer (TGA) | TGA | Central Instrumentation Facility | Perkin Elmer | TGA 4000 |  | Institute | IISER Bhopal |  |  | Central Instrumentation Facility |  |  |  | Up | Characterization
Differential Scanning Calorimeter (DSC) | DSC | Central Instrumentation Facility | Perkin Elmer | DSC 6000 |  | Institute | IISER Bhopal |  |  | Central Instrumentation Facility |  |  |  | Up | Characterization
Elemental Analyzer (EA) | EA | Central Instrumentation Facility | Elementar | Vario Micro Cube |  | Institute | IISER Bhopal |  |  | Central Instrumentation Facility |  |  |  | Up | Research Equipment
Dynamic Light Scattering (DLS) Zeta Potential | DLS/Zetasizer | Central Instrumentation Facility | Beckman Coulter | Delsa Nano |  | Institute | IISER Bhopal |  |  | Central Instrumentation Facility |  |  |  | Up | Characterization
Rheometer |  | Central Instrumentation Facility | Anton Paar | Rheoplus MCR 302 |  | Institute | IISER Bhopal |  |  | Central Instrumentation Facility |  |  |  | Up | Research Equipment
Scintillation Counter |  | Central Instrumentation Facility | Perkin Elmer | Microbeta 2 |  | Institute | IISER Bhopal |  |  | Central Instrumentation Facility |  |  |  | Up | Research Equipment
Amplified Ultrafast Laser System |  | Central Instrumentation Facility | Spectra Physics and CDP | MaiTai, Spitfire, Exipro, and FOG100 |  | Institute | IISER Bhopal |  |  | Central Instrumentation Facility |  |  |  | Up | Research Equipment
Gel Permeation Chromatography (GPC) | GPC | Central Instrumentation Facility | Agilent | GPC 50 Plus |  | Institute | IISER Bhopal |  |  | Central Instrumentation Facility |  |  |  | Up | Characterization
Spectroscopic Ellipsometer |  | Central Instrumentation Facility | J. A. Woollam Inc. | M-2000V |  | Institute | IISER Bhopal |  |  | Central Instrumentation Facility |  |  |  | Up | Research Equipment
Uv-Visible NIR Spectrometer |  | Central Instrumentation Facility | Agilent | Cary 5000 |  | Institute | IISER Bhopal |  |  | Central Instrumentation Facility |  |  |  | Up | Characterization
Uv-Visible NIR absorption and emission Spectrometer |  | Central Instrumentation Facility | Perkin Elmer | Lambda 950 |  | Government | DST |  |  | Central Instrumentation Facility |  |  |  | Up | Characterization
Integrated Confocal Laser Raman Spectrometer |  | Central Instrumentation Facility | Horiba Japan | Lab RAM HR-UV |  | Institute | IISER Bhopal |  |  | Central Instrumentation Facility |  |  |  | Up | Research Equipment
Next Generation Sequencer (NGS) |  | Central Instrumentation Facility |  |  |  | Institute | IISER Bhopal |  |  | Central Instrumentation Facility |  |  |  | Up | Research Equipment
Pulsed Laser Deposition (PLD) System with Reflection High Energy Electron Diffractionometer (RHEED) | PLD RHEED | AB-III | Staib Instruments |  |  | Government | DST, IISER Bhopal |  | Pulsed Laser Deposition (PLD) System with Reflection High Energy Electron Diffractionometer (RHEED) | Physics |  |  |  | Up | Research Equipment
Pulsed Laser Deposition (PLD) System | PLD | AB-III | Coherent, Excel Instruments |  |  | Institute | IISER Bhopal |  |  | Physics |  |  |  | Up | Research Equipment
Photoemission Spectrometer |  | AB-III | Custom Built Prevac |  |  | Institute | IISER Bhopal |  |  | Physics |  |  |  | Up | Research Equipment
Tetra Arc Furnace |  | AB-III | Techno Search Corporatio Japan | TCA4-6 |  | Institute | IISER Bhopal |  |  | Physics |  |  |  | Up | Research Equipment
Floating Zone Furnace |  | AB-III | Crystal Systems Corporation Japan | FZ-T-10000-H-VII-VPM-MII-PC |  | Institute | IISER Bhopal |  |  | Physics |  |  |  | Up | Research Equipment
Laue Camera |  | AB-III | Photonic Science UK |  |  | Institute | IISER Bhopal |  |  | Physics |  |  |  | Up | Research Equipment
High Temperature Box and Tubular Furnaces |  | AB-III | Carbolite/Nabertherm |  |  | Government | DST, IISER Bhopal |  | Temp. Range 1000DegC-1700DegC | Physics |  |  |  | Up | Research Equipment
RF DC Sputtering System |  | AB-III | Excel Instrument, Mumbai | Assembled |  | Institute | IISER Bhopal |  |  | Physics |  |  |  | Up | Research Equipment
Ferroelectric Hysteresis Loop Tracer with Probe Station |  | AB-III | Radiant Technologies, Inc. |  |  | Institute | IISER Bhopal |  |  | Physics |  |  |  | Up | Research Equipment
Thin Film Coating Unit |  | AB-III | Hind High Vacuum Company Pvt Ltd | BC 300 |  | Institute | IISER Bhopal |  |  | Physics |  |  |  | Up | Fabrication
Nanosecond LASER with OPO Transient Absorption Spectrometer |  | AB-III | Newport | INDI-04-10-HG |  | Institute | IISER Bhopal |  |  | Physics |  |  |  | Up | Research Equipment
Z Scan Setup for Nonlinear Absorption and Refraction Measurements |  | AB-III | Newport | M-Z-Scan |  | Government | DST |  |  | Physics |  |  |  | Up | Analytical Measurement
Terahertz Spectrometer |  | AB-III | Assembled |  |  | Government | DST |  |  | Physics |  |  |  | Up | Research Equipment
Terahertz Spectrometer with Magnetic Field |  | AB-III | Menlo Systems & Oxford Instruments |  |  | Government | DST, IISER Bhopal |  |  | Physics |  |  |  | Up | Research Equipment
Low Temperature Magnetic Field Dependent Raman Spectrometer Facility |  | AB-III | JY-Horiba & Attocube | HR Evo |  | Institute | IISER Bhopal |  |  | Physics |  |  |  | Up | Research Equipment
Femtosecond LASER | Femtosecond LASER | AB-III | Spectra-Physics |  |  | Institute | IISER Bhopal |  |  | Physics |  |  |  | Up | Research Equipment
Mask Aligner System |  | AB-III | SUSS MicroTech Lithography GmbH |  |  | Institute | IISER Bhopal |  |  | Physics |  |  |  | Up | Fabrication
40 FS Amplifier LASER |  | AB-III | Spectra-Physics | Solstice Ace 40 |  | Institute | IISER Bhopal |  |  | Physics |  |  |  | Up | Research Equipment
Physical Property Measurement System (PPMS) | PPMS | CIF | Quantum Design | 6000 |  | Institute | IISER Bhopal |  |  | Physics |  |  |  | Up | Characterization
Scintillation Counter |  | CIF | Perkin Elmer | Microbeta 2. |  | Institute | IISER Bhopal |  |  | Biological Sciences |  |  |  | Up | Research Equipment
Confocal with two photon imaging |  | Microscopy room, Room #112, AB-3 | Carl Zeiss/Spectra Physics | LSM780/ Axioexaminar/Mai-Tai |  | Institute | IISER Bhopal |  | Confocal with two photon imaging (and image processing software, Imaris); Upright microscope for sample examination | Biological Sciences |  |  |  | Up | Research Equipment
Apotome |  | Room #222, AB-3 | Carl Zeiss | AxioImgaer M2 |  | Institute | IISER Bhopal |  | Apotome (upright microscope) | Biological Sciences |  |  |  | Up | Research Equipment
Live Cell Confocal Microscope |  | Microscopy room, Room #112, AB-3 | Olympus | FV3000 |  | Government | DST |  |  | Biological Sciences |  |  |  | Up | Research Equipment
Phosphorimager |  | Third Floor, AB-3 | GE | FLA-9000 |  | Institute | IISER Bhopal |  |  | Biological Sciences |  |  |  | Up | Research Equipment
Surface Plasmon Resonance |  | Bio Intstrumentation facility-1, Room #11, AB-3 | GE | BIACORE T200 |  | Institute | IISER Bhopal |  |  | Biological Sciences |  |  |  | Up | Research Equipment
Image plate detector for X-ray Diffraction |  | CIF | MAR Research | Mar345DTB |  | Institute | IISER Bhopal |  | Image Plate detector for X-ray diffraction (MAR Research GMBH) | Biological Sciences |  |  |  | Up | Research Equipment
Rotating anode X-ray Generator |  | CIF | Rigaku | Gen-RUH3RHB |  | Government | CCMB |  |  | Biological Sciences |  |  |  | Up | Research Equipment
Uv-Vis-NIR | UV-vis-NIR | CIF Room No -204 | Perkin Elmer | Lambda 950 |  | Government | DST |  |  | Chemistry |  |  |  | Up | Research Equipment
FluoroMax |  | CIF Room No -204 | Horiba | Fluoromax |  | Government | MHRD |  |  | Chemistry |  |  |  | Up | Research Equipment
Microbalance |  | 313 | Sartorius, | Model MSE3.6P.000-DM |  | Government | DST |  |  | Chemistry |  |  |  | Up | Research Equipment
Uv-Vis | UV-Vis. | 313 | Shimadzu UV-1800 | UV-1800 |  | Government | DST |  |  | Chemistry |  |  |  | Up | Research Equipment
Stereo Microscope |  | AB2, Lab No 109 | Leica | EC3 |  | Government | DST |  |  | Chemistry |  |  |  | Up | Research Equipment
High Performance Liquid Chromatography (HPLC) | HPLC | AB-2, 220 | Agilent | 1260 Infinity II |  | Institute | IISER Bhopal |  |  | Chemistry |  |  |  | Up | Research Equipment
Microbalance |  | 321 | Saffron SES220C | SES220C |  | Institute | IISER Bhopal |  |  | Chemistry |  |  |  | Up | Research Equipment
Microbalance |  | 325 | Sartorius, | Model BSA224S-CW |  | Institute | IISER Bhopal |  |  | Chemistry |  |  |  | Up | Research Equipment
UV-Vis Spectrophotometer |  | 327 | Agilent | CARY 100 |  | Government | DAE |  |  | Chemistry |  |  |  | Up | Characterization
Electrochemical Set Up |  | 327 | CHI 660E | 660E |  | Government | DST |  |  | Chemistry |  |  |  | Up | Research Equipment
Gas Chromatograph (GC) |  | 327 | Agilent 7820A | 7820 A |  | Institute | IISER Bhopal |  |  | Chemistry |  |  |  | Up | Research Equipment
Glove Box Station |  | 327 | MBraunUniLab | MB-Unilab (1200/780) |  | Institute | IISER Bhopal |  |  | Chemistry |  |  |  | Up | Research Equipment
Floromax 4 |  | 301 | Horiba | Floromax 4 |  | Institute | IISER Bhopal |  |  | Chemistry |  |  |  | Up | Research Equipment
Uv Spectrometer |  | 301 | Perkin Elmer | LAmbda 50 |  | Institute | IISER Bhopal |  |  | Chemistry |  |  |  | Up | Research Equipment
Weighing Balance |  | 301 | Mettler Toledo | ML 204 |  | Institute | IISER Bhopal |  |  | Chemistry |  |  |  | Up | Research Equipment
BET Surface Area |  | 301 | Quantachrome Instruments | BEL MAX |  | Institute | IISER Bhopal |  |  | Chemistry |  |  |  | Up | Research Equipment
CD Spectrometer |  | 301 | Jasco / J-815 | J-815 |  | Institute | IISER Bhopal |  |  | Chemistry |  |  |  | Up | Research Equipment
Polarimeter |  | 301 | Autopol Iv | IV |  | Institute | IISER Bhopal |  |  | Chemistry |  |  |  | Up | Research Equipment
Hydraulic Press Machine |  | 301 | PCi Analytics/ 141042 | 141042 |  | Institute | IISER Bhopal |  |  | Chemistry |  |  |  | Up | Research Equipment
Infrared (IR) Spectrophotometer |  | 301 | Perkin Elmer | Spectrum BX |  | Institute | IISER Bhopal |  |  | Chemistry |  |  |  | Up | Research Equipment
Electro Chemical Analyzer |  | 301 | CH Instruments Texas, USA | CHI760D |  | Institute | IISER Bhopal |  |  | Chemistry |  |  |  | Up | Research Equipment
FluoroLog |  | 301 | Horiba | Fluro log -3-21 F-3029 |  | Institute | IISER Bhopal |  |  | Chemistry |  |  |  | Up | Research Equipment
Time Correlated Single Photon Counting (TCSPC) | TCSPC | 301 | Horiba | Delta Flex-01-DD |  | Institute | IISER Bhopal |  |  | Chemistry |  |  |  | Up | Research Equipment
Petrological Microscope |  | EES Lab | Leica | DM 1000 |  | Institute | IISER Bhopal |  |  | Earth and Environment al Science |  |  |  | Up | Research Equipment
Ion Chromatography (IC) |  | EES Lab | Metrohm | 884 |  | Institute | IISER Bhopal |  |  | Earth and Environment al Science |  |  |  | Up | Research Equipment