## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs)
CHNS Elemental Analyser |  | Mendeleev Block, Lab No. 106 | Elementar Analysensysteme GmbH | UNICUBE |  | Internal | Institution |  | CHNS elemental analysers provide a means for the rapid determination of carbon, hydrogen, nitrogen and sulphur in organic matrices and other types of materials. They are capable of handling a wide variety of sample types, including solids, liquids, volatile and viscous samples, in the fields of pharmaceuticals, polymers, chemicals, environment, food and energy. | Chemistry | Chemistry Common Instrumentation Facility |  |  | Up | Characterization
BET Physical Adsorption Analyser |  | Main Building, C Wing, First Floor, C-217 | Micromeritics Instrument Corporation | ASAP-2020HD-KCMP |  | Internal | Institution |  | Automatic Hydrocarbon-Resistant Micropore & Chemisorption Analyzer : High-performance analyzer producing research grade analytical measurements for the determination of surface area and pore size distribution from 3.5 to 5000 Angstroms by physical adsorption. Includes special hydrocarbon-resistant manifold fitted with Kalrez TM sealing surfaces for analyses using unsaturated hydrocarbons such as benzene, toluene and other adsorbates. Analysis Gases: N2, O2, Ar, Kr, CO2, CO, H2, butane, ethane, benzene, toluene etc. Available Techniques/Reports: • Single-point BET surface area  Multi-point BET surface area • Adsorption isotherm • Desorption isotherms • Langmuir surface area • BJH Mesopore volume & area • Total pore volume • Reference isotherms • deBoer t-plot & others • MP-method • Micropore volume & area • Micropore Size Distribution • f-Ratio plot • Graph Overlays • αs Plot • Heat of adsorption • Horvath-Kawazoe • Freundlich & Temkin • Dubinin-Radushkevich • Dubinin-Astakhov • Density Functional Theory Operating Specifications: • Surface Area Range 0.0005 m2/g and up • Pore Diameter Range: 3.5 - 5000 Angstroms • Micropore Volume: Detectable within 0.0001 cc/g Pressure Measurement Resolution: • 0 to 0.1 mmHg Transducer: • mmHg, 0 to 10 mmHg Transducer • 0.00001 mmHg, 0 to 1000 mmHg Transducer: 0.001 mmHg Typical Relative Pressures: N2 / Liquid N2: 10-7 Ar / Liquid Ar: 10-7 CO2 at 25oC: 10-9 | Chemistry | Dr R Vaidhyanathan Lab |  |  | Up | Characterization
Ultra High Pressure Liquid Chromatography with Single Quadrupole Detector Mass Spectrometer (UPLCSQDMS) | UPLCSQDMS | Main Building, C-Wing, Second Floor | Waters GmbH | Acquity H-class |  | External | DST, Govt. of India |  | Waters SQ Detector is a compact, bench top quadrupole API mass spectrometer. The system features new automated set-up technology and fast acquisition capability for simple, rapid LC/MS The following items are included as part of the standard system: Z SPRAYTM API interface…Dual orthogonal interface for robust LC/MS • IntelliStartTM fluidics…Automated tuning, calibration and method development • Electrospray (ESI) inlet probe…for efficient ionization of a wide range of compounds • ESCITM ionization capability…rapid switching source for both ESI and APCI in the same run. flow rate range of 5 - 1,000 µl/min (ESI) and 200 - 2,000 µl/min (APCI) Mass range of 2 - 2,000 Da (amu) Scan Rate of the Mass detector is 10000 amu / sec in Both Continuum and centroid modes Polarity Switching time 20 milliseconds 1. ZSpray API INTERFACE Atmospheric pressure ionization (API ) LC interface including: • One easily dismountable ion source enclosure. • Cone gas facility for chemical noise reduction. • Electronic mass flow meters for drying gas and cone gas. • Tool free cone removal • Source isolation valve • Micrometer probe positioning The source and spraying elements are visible through a transparent enclosure and are easily accessible via a quick-release door. The source elements may be wiped clean in situ or removed for cleaning without the need for tools and without breaking vacuum. The nebulised spray is orientated orthogonally and positioned off axis for maximum source longevity and analyser protection against 'dirty' samples. The source also includes facilities for declustering ions formed at atmospheric pressure. Positive and negative capability is included. All source voltages and gases are under data system control. IntelliStart fluidics: The system comprises an on-board infusion system capable of delivering solutions from 2 built-in vial locations to aid tuning, calibration and method development. The solutions are delivered via a switching valve for direct infusion to the probe or combined into an LC flow. The valve can be programmed from the software to function as a divert valve. The fluidics can be controlled manually via the system Console or automatically as part of the IntelliStart system check software. 2. QUADRUPOLE ANALYSER High performance quadrupole analyzer inter-element beam focusing and a mass range of 2-2000 Da. Pre-filters maximize resolution and transmission especially at high mass and also to eliminate main filter cleaning. All lens and analyzer voltages are digitally controlled and recorded. Analyser parameters may be programmed with respect to mass for optimal performance. 3. VACUUM SYSTEM Clean, differentially pumped, automated vacuum system comprising: Air-cooled Pfeiffer split flow turbomolecular drag pump evacuating both the source & analyzer. Vacuum read backs and system vent/pump cycles are digitally monitored and controlled, to provide total software control and ensure fail-safe operation in the event of power failure. 4. DETECTOR Dynolite photomultiplier detector. A High Voltage conversion dynode and phosphor are positioned at 90° off-axis to the analyser for the elimination of neutral noise. The photomultiplier is enclosed in its own vacuum envelope for long life. The detector operates in both positive and negative ion modes, and can switch rapidly under software digital control. Part No. : 205000415 : Kit, Mains Cord, UK- 01 Nos Part No. : 186003887 : Assy Vacuum Roughing - 01 Nos One Leybold rotary pump for backing of the turbo pump Part No. : 176001109 : MassLynx 4.1 - XP for SQD - 01 Nos Lenovo ThinkCentre M58p E8400 with Windows XP Professional Processor: Intel Core 2 Duo E8400 Processor (3.0 GHz 1333 MHz FSB 6MB L2) Operating system: Windows Vista Business 32 Licence with Windows XP Professional downgrade Form factor: Tower Motherboard: Intel Q45 Chipset Total memory: 2 GB PC2-8500 SDRAM (2 DIMMs) Maximum memory: 8GB Video adapter: Intel GMA 4500 (integrated) Audio adapter: Intel Q45 (integrated) First hard drive bay: 250GB Hard Disk Drive, 7200RPM Serial ATA Second hard drive bay: None Diskette drive: Floppy Disk Drive First optical device bay: DVD Recordable Networking: Integrated Intel Gigabit Ethernet Keyboard: Preferred Pro Full-size Keyboard (Stealth Black) - US Euro Pointing device: Optical USB wheel mouse System Warranty: Four Years Onsite International Warranty with Non-HDD Return; Expansion: 2 * PCI, 1 * PCI Expressx1, 1* PCI Expressx16 Ports: 1 Parallel, 1 * Serial, External microphone, External Display, Headphone, Line in, Line out, 8 USB 2.0 (2 front, 6 back) Additional Software: IBM RecordNow Additional Network card: PCI Express 1x NetXtreme Gigabit Ethernet National Instruments GPIB controller card MassLynx 4.1 Application Software Multi-tasking suite of analytical applications and instrument management software operating in Microsoft Windows environment. MassLynx includes: Mass Spectrometer Control Software a)Scan functions Full scan MS (up to 10,000 Da/s) MS selected ion recording (SIR). b) Acquisition functions. Profile data acquisition. Multi Channel Analysis (MCA) data acquisition. Centroided data acquisition. Noise rejection. Rapid polarity switching Rapid ion mode switching (ESCi) Digital dynamic range of 4 e6 Total ion current monitoring. Base peak monitoring. External contact start/stop/events. Analogue channel acquisition via a SATIN module. c) Tuning Utilities. The system features easy-to-use manual and automated tuning and calibration software tools. Tuning parameters include: MS Ionisation mode and polarity. MS acquisition. All ion source parameters. All lens voltages. MS resolution. MS ion energy. d) Inlet Control Software: Integrated control of specific Waters LC and autosampler systems Third party LC and autosampler systems from specified vendors e) Data processing and review: Spectrum Review and Processing Chromatogram Review and Processing 3-D Contour plotting Spectral library search facilities (user defined or commercial libraries) Batch processing of qualitative and quantitative sample sets: Part No. : 668000273 : MONITOR, Lenovo ThinkVision Flat Panel - 01 Nos Part No. : VB-PRT : HP LASER JET PRINTER 220V - 01 Nos Part No. : 176015007 : ACQUITY UPLC H-Class Core System - 01 Nos The ACQUITY UPLC H-Class Core System has integrated solvent, sample and column heating configured for quaternary solvent delivery and sample introduction via a direct inject sample manager. The system may be configured for a broad range of applications supported by UPLC optical detectors and mass detectors, with a choice of instrument control and data management software. The following items are included as part of the core system: • ACQUITY UPLC H-Class Quaternary Solvent Manager (QSM) • ACQUITY UPLC H-Class Sample Manager – Flow-Through-Needle (SM-FTN) • Column Heater with Active Pre-Heating (CH-A) • ACQUITY UPLC Solvent Tray Module • ACQUITY UPLC H-Class System Start Up Kit • Leak Sensors Quaternary Solvent Manager The Quaternary Solvent Manager (QSM) is a high pressure pump that can simultaneously pump four degassed solvents (A, B, C, and D). A gradient proportioning valve (GPV) is used to dynamically blend solvents in any specified combination producing predictable gradient segments regardless of solvent compressibility and system backpressure. Solvent selection and blending occur on the low pressure side of the solvent delivery system and solvents continue to blend under high pressure in each piston chamber. Integrated degasser chambers (1 per solvent line) automatically remove dissolved gasses from up to four (4) elution solvents. A fifth degasser chamber is accommodated for the wash solvent utilized by the ACQUITY UPLC H-Class Sample Manager. Automated, continuous compressibility compensation enables high pressure (up to 15,000 psi / 1,000 bar) solvent delivery. The Quaternary Solvent Manager is equipped with electronically controlled Intelligent Intake Valve (i2Valve) delivering faster system priming and reduces startup times. The i2Valve minimizes solvent flow disturbances in the inlet lines by closely synchronizing the valve performance with pump operation. Leak sensors manage and identify solvent leaks during unattended operation. Programmable flow rates are 0.01 uL/min to 2 mL/min. Sample Manager - FTN The Sample Manager – FTN uses a flow-through-needle design to aspirate samples and hold it in the sample needle in preparation for injecting the sample onto the column. The needle serves as part of the injection flow path when the sample is pushed onto the column. Gradients pass through the needle during injection, ensuring complete sample recovery. The systems RΘ positioning mechanism controls the orientation of the sample plates relative to the sample needle carriage reducing added system volume. Sample management is supported through a choice of plates and vial holders. Two (2) plates or holders are supported in the SM-FTN. Any sample position may be accessed at any time, including stat sample processing. Sample injection volumes of 0.1-10 uL are supported by the standard configuration. Optional extension loops can extend the injection volume up to 1000μL. The robust design ensures a proper needle seal even at operating pressures up to 15,000 psi / 1,000 bar. Sample temperature is regulated over a range of 4 to 40 C using Peltier technology. Dual leak sensors identify and manage solvent leaks at the injection valve and from any of the column management products, during unattended operation. Programmable, integrated wash system uses a single solvent to clean the sample needle and prime the system resulting in ultra-low carryover performance (<0.004%). Column Heater (CH-A) Module The Column Heater insulates the column from ambient environmental variations. Temperature control is maintained for the range of 20C to 90C. Columns having dimensions up to 4.6 mm I.D. and up to 150 mm length (including guard column) may be inserted into the heater with no tubing modifications required for detector interfaces. The CH-A comes standard with active pre-heating (APH) enabling active solvent conditioning, prior to the column, improving chromatographic separations. ACQUITY UPLC Columns, equipped standard with eCord™ Information Management Technology, interface with a communications reader in the column heater module to enable bidirectional communication of column manufacturing information and time-based usage of the column. All information is stored in the eCord device, and is accessible through the ACQUITY UPLC System Instrument Console. The Column Heater is an integral component of the ACQUITY UPLC Sample Manager. ACQUITY UPLC H-Class System Start Up Kit ACQUITY Solvent Tray Module Solvent Tray Module provides convenient spill management support for multiple solvent bottles on top of the integrated instrument stack. Tray accommodates up to four (4) one-liter eluent bottles and two 100 mL wash solvent bottles. Solvent spills are routed through the system leak path management fluidics and diverted away from the instrument. ACQUITY UPLC System Test Mix and Column (P/N 186002350) ACQUITY UPLC Systems will be installed and performance verified by certified Waters engineers. The ACQUITY System Test Mix is one portion of a system performance verification protocol that will test and provide documentation that system performance meets Waters installation standards. The System Test Column is an ACQUITY UPLC BEH C18, 1.7um, 2.1 mm x 50 mm Column. Instrument Console All ACQUITY UPLC System control, status monitoring, and user diagnostic capabilities are contained in the Instrument Console. Instrument functionality is accessible through this common instrument interface software. Graphical user interfaces are simplified in their default implementation, and may be structured in a custom fashion based on user preferences. The Instrument Console has the same functionality and appearance when used with either Empower or MassLynx Software Data Systems. It allows the user access the Connections® INSIGHT™ functionality, a new service product that quickly connects your ACQUITY UPLC System to Waters Technical Service Experts ACQUITY UPLC Systems Driver Pack The ACQUITY UPLC Systems Driver Pack provides control of the ACQUITY UPLC H-Class System with Empower 2 and Empower 1154 (ACQUITY service pack or later), MassLynx version 4.1 (SCN 714 with 733 or later) and standalone console. The kit contains ACQUITY UPLC Module firmware and loader and the ACQUITY UPLC Columns Calculator. Part No. : 176015036 : CQUITY UPLC PDAeλ Detector - 01 Nos The ACQUITY UPLC Photodiode Array (PDA) Detector is specifically designed to complement the ACQUITY UPLC Core System. With data rates up to 80 data acquisition points per second (80 Hz) and noise specifications as low as ±3 μAU, the ACQUITY UPLC PDA offers sensitivity that is unmatched by any photodiode array detector on the market. Further, enhanced software control provides flexibility for simultaneous 2D and 3D operation in either Empower™ or MassLynx™ software. Detector wavelength range is 190-800 nm, with 1.2 nm spectral resolution. Detector response is linear with 5% ≤deviation at 2.0 AU, Propylparaben at 257nm. Detector supports full three-dimensional spectral analysis or multi-wavelength operation (up to eight (8) wavelengths) under Empower Software control. Lamp optimization software guarantees low noise performance in the visible wavelength range and compensates for lamp degradation over time to ensure consistent response. The combination of lamp optimization software and an automatic second order filter enables operation in the linear wavelength range without requiring a lamp change. The lamp is warranted for 2000 hours. The 10mm analytical light-guided flow cell delivers sensitivity and resolution to ACQUITY UPLC applications. Low dispersion performance is achieved with a 500 nL internal volume and 62.5 μm PEEK interconnect inlet/outlet tubing. Part No. : 186002350: ACQUITY UPLC BEH C18 1.7µm 2.1x50mm Col - 01 Nos Part No. : 186002877 : ACQUITY UPLC BEH C8 1.7µm 2.1x50mm Col - 01 Nos Part No. : WAT011690 : FREE FATTY ACID HP 3.9 X 150 - 01 Nos Part No. : WAT084038 : CARBOHYDRATE ANALYSIS COLUMN - 01 Nos Part No. : 430002011 : ASSY, EXTENSION LOOP, 100uL - 01 Nos Part No. : 410001347 : SYRINGE, 250 uL, - 01 Nos Part No. : 700005215 : N/Swage Needle, 15UL - 02 Nos Part No. : NM30LA : NM30LA Nitrogen Generator - 01 Nos The Peak Scientific NM30LA is a self-contained Nitrogen Generator with built-in Air Compressor. No additional equipment is required. Quiet in operation, the NM30LA utilizes membrane technology to selectively remove oxygen, moisture and other gases to leave clean, dry, phthalate free nitrogen. Part No. : NPN : Extended Warranty – 24 Months Standard Warranty is 12 Months with the extended warranty of 24 months the total system warranty will be of 36 months. total system warranty will be of 36 months. | Chemistry | Dr Srinivas Hotha |  |  | Up | Characterization
Rheometer |  | Mendeleev Block, Lab No. 106 | Anton Paar GmbH France | 92002-MCR302 |  | External | SERB, DST, Govt. of India |  | 000010 92002 / 90278017 / AT MCR 302 MODULAR COMPACT RHEOMETER Rheometer system in modern, compact design with an air bearing supported electronically commutated synchron motor drive system for rheological measurements with automatic tool recognition and intelligent configuration system Qty 1 PCS 19,526.85 Euro Universal Software including Molecular Weight & Distribution & Large Ampllitude Oscillatory Shear (LAOS) 000020 104907 / 85423275 / DE RHEOMETER SOFTWARE RheoCompassTM PROFESSIONAL Software licence for one MCR 51, 52, 101, 102, 301, 302, 501, 502 or MCR 702 TwinDriveTM Software licence for one Smartpave Running under Microsoft Windows 7 64bit/8 64bit Qty 1 PCS 2690.52 Euro 165547 / 73269098 / AT DISPOSABLE PLATE D-PP15/SS/P2/S07 D: 15mm; PROFILED Qty 1 PCS 1358.60 Euro Active Peltier Hood 000040 90001 / 90279050 / AT H-PTD200/GL HOOD WITH PELTIER HEATING/COOLING- temperature range: -20 to 200 °C - for optical applications Qty 1 PCS 2,675.28 Euro 000050 84853 / 73269098 / AT DISPOSABLE/REMOVEABLE CONE D-CP40-1/SS/S07D: 40 mm, angle 1°, stainless steel Qty 1 PCS 53.91 Euro 000060 87187 / 73269098 / AT DISPOSABLE/REMOVEABLE CONE D-CP25-1/SS/S07D: 25 mm, angle 1°, stainless steel Qty 1 PCS 28.32 Euro 000070 87188 / 73269098 / AT DISPOSABLE/REMOVEABLE CONE D-CP25-2/SS/S07D: 25 mm, angle 2°, stainless steel Qty 1 PCS 28.32 Euro 000080 96756 / 73269098 / AT DISPOSABLE/REMOVEABLE CONE D-CP25-4/SS/S07D: 25 mm, angle 4°, stainless steel Qty 1 PCS 44.11 Euro 000090 10636 / 90279050 / AT SHAFT FOR DISPOSABLE MEASURING- SYSTEMS D-CP/PP 7 Qty 1 PCS 259.74 Euro 000100 93170 / 73269098 / AT DISPOSABLE/REMOVEABLE PLATE D-PP15/SS/S07D: 15 mm, stainless steel Qty 1 PCS 31.58 Euro 000110 97037 / 73269098 / AT DISPOSABLE/REMOVEABLE PLATE D-PP08/SS/S07D: 8 mm, stainless steel 1 PCS 31.58 Euro Measuring Plate - Sandblasted 000120 93249 / 73269098 / AT DISPOSABLE/REMOVEABLE PLATE D-PP25/SS/S/S07D: 25 mm, stainless steel, sandblasted 1 PCS 76.78 Euro Measuring Plate - Profiled 000130 165547 / 73269098 / AT DISPOSABLE PLATE D-PP15/SS/P2/S07 D: 15mm; PROFILED 1 PCS 130.69 Euro Double Gap Concentric Cylinder Measuring System with Peltier Temperature Control 000140 3338 / 90279050 / AT STANDARD MEASURING SYSTEM DG26.7/T200/AL :Measuring cylinder B-DG26.7/Q1 Measuring cup C-DG26.7/T200/AL 1 PCS 1,310.55 Euro 000150 16097 / 90279050 / AT C-PTD200 PELTIER TEMPERATURE CONTROL DEVICE for concentric cylinder measuring geometriestemperature range: -30 to 200 °C 1 PCS 2,333.31 Euro DMTA system up to 450 C For Solid Sample, Thin Films, Packaging Material & Fibers 134005 / 90278017 / AT/ CTD 450 / TD ready CONVECTION TEMPERATURE CONTROL DEVICE 1 PCS 8,581.79 Euro 000170 129538 / 90279050 / AT SOLID TORSION BAR FIXTURE SRF12/CTD V2.0FOR RECTANGULAR BARS UP TO 12 mm 1 PCS 1,411,.97 Euro 000180 129540 / 90279050 / AT UNIV. EXTENSIONAL FIXTURE UXF12/CTD V2.0COMPLETE SYSTEM INCL. TEMPERATURE PROBE consisting of: - set of drums. smooth surface (D: 12 mm) - set of drums: coated with boron nitride (CBN) incl. clamping lever - Setup for DMTA / Extensional Measurements 1 PCS 4,051.30 Euro Small Light Scattering Systems (SALS) 000190 90004 / 90279050 / AT SALS OPTION LASER CLASS 1consisting of: - diode laser with polarizer, adjustable parallel and perpendicular to shear direction - projection lenses with polarizer, adjustable parallel and perpendicular to shear direction - direct and telecentric imaging onto CCD chip of camera - integrated linear bearing for movements in x-direction from 12 to 23 mm from the center 1 PCS 8,353.09 Euro 000200 23907 / 85258030 / CA CCD CAMERA FOR MICROSCOPE SYSTEM Camera Lumenera Lu165c: 12 bit, 1392 x 1040 pixels,2/3" CCD-Sensor, USB 2.0 1 PCS 4,116.65 Euro 000210 81768 / 90279050 / AT MEASURING PLATE PP43/GL-HT D: 43 mm, QUARTZGLASS, HIGH-TEMP 1 PCS 1,519.78 Euro 000220 90000 / 90279050 / AT P-PTD200/GLGLASS PLATE WITH PELTIER CONTROL - for cone/plate and parallel plate measuring geometries - optional also for special cylindrical geometries - temperature range: -20 to 200 °C - for applications like SALS, microscopy, UV or similar 1 PCS 3,022.14 Euro 000230 104911 / 85423275 / DE RHEOMETER SOFTWARE RheoCompassTM SOFTWARE OPTION Media Window - For visualization of pictures or videos taken with a camera during a rheological measurement (e.g. rheo-- microscopy or SALS tests) 1 PCS 807.54 Euro 155661/84193900/ CA UV-LIGHT SOURCE OMNICURE S1500 WITHOUT FILTER; WITH CONTROL CABLE 1 PCS 4,546.83 Euro 23910/90275000/CA Radiometer R2000 1 PCS 1,451.72 Euro 000260 108654 / 90275000 / CA FILTER 320-480NM EXFO-UV 1 PCS 272.25 Euro Sr. No. : 81922178 Warranty must be for a period of 03 years from the date of installation and acceptance at IISER Pune Any replacement during the warranty period, the entire cost will be borne by the supplier. CPU :Dell Model:-Optiplex 9010 Sr. No.: 7GXVGY1 Monitor : CN-0KHRIX72872-617EQKV-A00 Printer : Lasetjet CP 1025 Sr. No. : CNF12665920 Air Compressor :- Sr. No.: WX16030302 Air Dryer & Circulator : Sr. No. : 1604006 | Chemistry | Chemistry Common Instrumentation Facility |  |  | Up | Analytical Measurement
Multichannel Electrochemical Workstation |  | Main Building, C-Wing, Second Floor | Bio-Logic SAS France |  |  | External | Ministry of Education |  | 1: 094-300-094-101/1*4/2*4 /3*8/10*8-094-081/6*3: VMP 300,8 Channels Computer controlled Potentiostat/Galvanostat/FRA –Electrochemical Workstation with EC-Lab software: 50960EURO1Nos,50960EURO 2: A-012669: Voltammetry cell 20ml with Platinum wire counter Electrodes including 7 nos of cells: 224EURO1Nos,224EURO Cell holder (1 pc) Teflon cap for VC-4 Purge tube (ETFE) (1 m - 1 pc) 3: A-002013: Platinum Working Electrode: 218EURO1Nos,218EURO 4: A-002014: AUE Gold Working Electrode: 218EURO1Nos,218EURO 5: A-012297: Glassy Carbon Working Electrode: 168EURO1Nos,168EURO 6: R-XM150: Platinum Electrode 10mm Diameter: 146EURO1Nos,146EURO 7: A-012167: AgAgcl Reference Electrode: 78EURO1Nos,78EURO 8: A-002056: Calomel Reference Electrode: 118EURO1Nos,118EURO 9: R-XR200: Hg/HgSO4 reference electrode in sat K2SO4 : 90EURO1Nos,90EURO 10: R-XR400: Hg/HgO reference electrode in 0.1 M KOH : 101EURO1Nos,101EURO 11: A-012172: RE-7S Non Aqueous Reference Electrode : 84EURO1Nos,84EURO 12: 092-22/14: Coin cell Holder assembly.: 168EURO2Nos,336EURO 4 cells can be connected in a holder 13: BDD-E: Boron Doped Diamond Electrode: 224EURO1Nos,224EURO 14: N-FAR600: Faraday cage 600 x 400 x 200 mm (H x L x W): 392EURO1Nos,392EURO 15: A-012838: SEC 2000 - UV/VIS Spectrometer Combo kit consists of the following: 4760EURO1Nos,4760EURO SEC2000 - UV/VIS Spectrometer SEC2000 - DH UV Light source SEC2000 - CUV Cuvette holder 16: A-012904: SEC-C Thin Layer Quartz Glass: 1064EURO1Nos,1064EURO Spectro electro chemical cell Kit (Pt)* consists of the following. SEC-C05 Thin Layer Quartz Glass cell (Light pass length: 0.5 mm) SEC-C Teflon Cap SEC-C05 Platinum Gauze working electrode (80 mesh) SEC-C05 Platinum counter electrode, Purge tube (ETFE) (1 m) 17: A-012167: RE-1B Reference Electrode Ag/AgCl –: 78EURO1Nos,78EURO length: 80 mm – OD: 6 mm) 18: A-010887: ITO electrode: 504EURO1Nos,504EURO (10 x 20 mm – t: 0.5 mm – 10 pcs 19: A-012660: SEC-2F Spectro Electrochemical Flow cell consists of the following.: 784EURO1Nos,784EURO SEC-2F flow cell base SEC-2F flow cell block(A) SEC-2F flow cell block(B) SEC-2F flow cell cover SEC-2F S500 Silicon gasket (2 pcs) Dynaseal PEEK fingertight (2 pcs) Silicon Tube (length: 30 cm) Needle adaptor Purge tube (ETFE) (length: 1 m) Stainless Tube OD 1/16" (length: 50 mm) 20: A-012169: RE-3V Reference electrode Screw Type (Ag/AgCl - Screw type - length: 51.5 mm – OD: 10 mm): 106EURO1Nos,106EURO 21: A-012173: RE-7V Non Aqueous reference electrode (Ag/Ag+ - Screw type - length: 55.5 mm – OD: 10 mm): 106EURO1Nos,106EURO 22: SE-QCA922B: Electro chemical Quartz Crystal Microbalance (EQCM) 9MHz.includes Main unit and adapter: 6160EURO1Nos,6160EURO 23: 092-QCA-FC: Static and Flow QCA Cell: 448EURO1Nos,448EURO 24: SE-CL3: DIP CELL: 392EURO1Nos,392EURO 25: SE-CL4: Well Cell: 532EURO1Nos,532EURO 26: SE-9C*2: Resonators 9 MHz Graphite Electrode: 1092EURO1Nos,1092EURO (50 pcs) 27: SE-9AU*2: Resonators 9 MHz Gold Electrode : 1008EURO1Nos,1008EURO (50 pcs) 28: SE-9PT*2: Resonators 9 MHz Platinum Electrode : 1008EURO1Nos,1008EURO (50 pcs) 29: SE-9IT-M*2: Resonators 9 MHz Indium Tin oxide Mirror finish (25 pcs): 1456EURO1Nos,1456EURO 30: SE-WQCM: Win QCM software control for QCA922, QCM934 (No Potentiostat control) - support Windows 7 (32 bits): 1568EURO1Nos,1568EURO 31: 092-22/1: DB-9 to 8 BNCs cable for Potentiostat to connect with QCM.: 157EURO1Nos,157EURO 32: EL-AV-008: Perilstatic Pump : 784EURO1Nos,784EURO 33: A-011975: Electrode Polishing Kit consists of the following-: 146EURO1Nos,146EURO 0.05 um polishing alumina (20 mL) 1 um polishing diamond (10 mL) Alumina polishing pad (10 pcs) Diamond polishing pad (10 pcs) Replacement glass plate for PK-3 34: E-ECC-REFD: 3 Electrode test cell for battery: 300EURO1Nos,300EURO 35: 095-97/095-09/1: Fuel Cell fixture with 3 layer MEA 5cm x 5cm : 150EURO1Nos,150EURO 36: A-002056: RE-2B Calomel Reference Electrode : 50EURO1Nos,50EURO Warranty must be for a period of 03 year from the date of installation and acceptance at IISER Pune Any replacement during the warranty period, the entire cost including shipping & freight will be borne by the supplier. Sr. No. :. Multichannel Electrochemical Workstation | Chemistry | Dr Mustafa Lab |  |  | Up | Characterization
Floor Model Ultracentrifuge |  | Bio Main Bldg/GF/Inst Lab 1 | Beckman Coulter International | Optima L 100K |  | Internal | Institution |  | 1. Optima L-100K Floor Ultra Centrifuge 50 Hz Speeds to 100,000 RPM | Biology | Bio Instrument Lab 1 |  |  | Up | Characterization
Four Mirror Optical Floating Zone Furnace |  | H-Cross, Lab No. 210 | Crystal Systems Corporation | FZ-T-10000-H-HR-I-VPM-PC |  | Internal | Institution |  | Four Mirror Optical Floating Zone Furnace with Mass flow Controllers with halogen Lampe ,Quartz tubes, O rings & seed holding jig and Feed holding hook | Physics | Dr Surjeet Singh Lab |  |  | Up | Fabrication
Microscope Axio Imager.Z2 Inverted |  | Bio main lab/GF/Microscopy room | Carl Zeiss Microlmaging GmbH | Axio Imager.Z2 |  | Internal | Institution |  | UPRIGHT MOTORIZED RESEARCH MICROSCOPE | Biology | Microscopy Facility |  |  | Up | Characterization
Physical Properties Measurement System (PPMS) | PPMS | H-Cross, Lab No. 210 | Quantum Design USA | PPMS-9ECII |  | Internal | Institution |  | PPMS Base system with a 9 Tesla Long Magnet & Power Supply with P935A EverCool II Dewar | Physics | Dr Surjeet Singh Lab |  |  | Up | Analytical Measurement
Glove Box Workstation |  | H-Cross, Lab No. 210 | Mbraun Inertgas Systeme GmbH | LABMASTER SP |  | Internal | Institution |  |  | Physics | Dr Surjeet Singh Lab |  |  | Up | Fabrication
Laue X-ray Imaging Camera System |  | H-Cross, Lab No. 210 | Photonic Science Ltd |  |  | Internal | Institution |  | Photonic Science Laue X-ray Imaging camera system with Computer System and Software for Analysis and Goniometer. Photonics Laue X-ray Imaging Camera System | Physics | Dr Surjeet Singh Lab |  |  | Up | Characterization
Laser System Millennia Prime Ultrafast Oscillator Amplifier System |  | Main Building, C Wing, Ground Floor, C-129 | Newport Corporation |  |  | Internal | Institution |  | 1. Model Millennia Prime, Diode pumped frequency doubled Laser, >10 watt at 532nm ,including laser head and power supply Specification: Wavelength: 532 nm Average Power: > 10W Spatial mode: TEM00 Beam Diameter: 2.3 ± 10% mm Beam Divergence: <0.5 mrad Power Stability: ± 1% Pointing Stability: < 2 µrad/ºC Noise (RMS): < 0.04% Polarization: vertical, >100:1 2. Model Mill Chiller 240Vac 3. Model 3941-30-X1S, Regeratively Mode Locked Ti:Sapphire laser including laser head, electronics and Purge box. Specification : Pulse width: < 35 femtosecond (fs) Peak wavelength: 800nm Tuning Range: 780 to 820 nm Average Power: ≥750 mW Repetition rate: 80 MHz Spatial mode: TEM00 Polarization: Linear, vertical, 500:1 Noise: < 0.2 % rms Output power stability: ± 1 % Beam divergence: < 2mrad Beam diameter: < 2 mm 4. Model NSI 'TSUNAMI SEED KIT Beam routing kit to use Tsunami as seed laser for Spitfire systems, equipped with suitable beam splitter . Model Spitfire PRO-35F-1KXP, High power > 4W, 1 KHz, ,<35fs Ti:Sapphire amplifier including stretcher and compressor and SP-OS-1 optics for 780-820nm Specification: Pulse Energy: 4mJ (1kHz) Repetition Rate: 1kHz Pulse width: < 35 fs Central wavelength: 800 nm Tuning range: 780-820 nm Energy Stability: < 0.75% rms Spatial mode: TEM00 Beam diameter: 7 mm nominal Polarization: Linear, Horizontal Pre-Pulse constant ratio: > 1000:1 Post-Pulse contrast ratio: > 100:1 6. Model Empower 30, High Power, CW diode pumped, 1-10 kHz Nd:YLF intra-cavity doubled, Q-switched pump laser, 527nm, 20W@1kHz, 30W@5kHz, 220V, 50Hz Specification Wavelength: 527 nm Repetition rate: 1 – 10 kHz Power: 20 W at 1 kHz Energy per pulse: 20 mJ Beam diameter: 3 mm Energy Stability: < 1% rms Polarization: Linear, Horizontal, >100:1 Spatial Mode: Multimode Beam divergence: < 10 mrad Beam circularity: 80 % 7. Model EMP CHILLER 220-50,Chiller for use with Empower 8. Model TOPAS-USF-UV2 Optical Parametric Amplifier system, Tunning range 240- 2600 nm. Specification : Tuning range: 240 to 2600 nm Pump duration: 35-40 fs Pump energy: 2 mJ Pump Repetition rate: 1 kHz 9. Model TOPAS-BR-F, Beam routing mirror with a flip mount assembly 10. Model TOPAS-BS50-50, Beam splitter 50/50 assembly 11. Model TOPAS-MTEL, Mirror telescope 12. Model No.85300-5 FJW IR viewer – 180nm – 1550nm 13. Model: 818-UV/CM Low Power Detector Wavelength range: 200-1100nm Power, Average max W Attenuator: 0.2W/cm2 Power, Average max w/o Attenuator: 0.2mW/cm2 14. Model: 818P-030-19 High Power Detector 30 W broadband, spectrally flat thermopile optical detector with 19 mm circular aperture 15. Model: 841-DIN Adapter 16. Model: 842-PE Hand Held Optical Power & Energy meter 17. Model PSCOUT-SP-LR, Pulse Scout scanning Auto correlator Low rep rate,Amplifier <20fs , 700-1100nm 18. Model NSI-PSCOUTUPG-SP-HR, Conversion kit from PSCOUT-SP-LR to PSCOUT-SP-HR 19. Model Ocean Optics, Ocean Optics Spectrum Analyzer, includes, USB4000-VIS-NIR with Grating #3 for 350-1000nm; 25um Slit, DET4-350-1000 Detector w/ OFLV-350-1000, Order Sorting filter;interface cable to USB port of PC/notebook, QP200-2-VIS/NIR Premium quality patchcord, CC-3 Diffuser and Spectra Suite Software. Laser System : Millennia Prime | Chemistry | Dr Pankaj Mandal Lab |  |  | Up | Characterization
Scanning Tunneling Microscope (STM) | STM | H-Cross, Lab No. 214 | Omicron NanoTechnology GmbH | UHV-LT-STM |  | Internal | Institution |  | Microscope : UHV-LT-STM | Physics | Dr Aparna Deshpande Lab |  |  | Up | Characterization
Magnetic Properties Measurement System (MPMS) | MPMS | H-Cross, Lab No. 211 | Quantum Design | Quantum Design MPMS XL7 AC |  | Internal | Institution |  | 1. Model : MPMS XL7 AC : MPMS XL 7T High Uniformity Magnet with Integrated AC Coil Includes: M130 RSO Option, M131 RSO Airlock Assembly, M140 Continuous Low Temperature Control. | Physics | Dr Sunil Nair Lab |  |  | Up | Analytical Measurement
Glove Box Workstation |  | Main Building, C Wing, Ground Floor, C-123 | Mbraun Inertgas Systeme GmbH | LABMASTER SP |  | Internal | Institution |  |  | Chemistry | Dr Shabana Khan Lab |  |  | Up | Fabrication
Crystallization Robot |  | X-ray Crystallography Lab, Biology Dept, Main Building | TTP Labtech Ltd | [5 empty] | CRYSTALLIZATION ROBOT : MOSQUITO 5 DECK SYSTEM 5-position deck mosquito for crystallography including 1 pipette loader, power cable, calibration block, 1 plate-seal holder, 1 guide block, 1 pack 5ul micro-reservoir strips, 1 pack 2ul micro-reservoir strips, 1 pack View Drop plate-seals 4-position ultra low reagent holder 1 spool 4150-030xx non-sterile pipettes i) Part No: 3085-04000 5 Deck Humidity cover with Humidifier Kit attachment and Humidifier for Mosquito 5 Deck System iii) 4150-03020 - Spool of 26000 pipettes at 9 mm pitch – 02 Nos iv) 4150-03100 - 8 position 5ul micro reservoir strips for 9 mm (50/pack) – 02 Nos v) 4150-03110 - 8 position 2ul micro reservoir strips for 9 mm (50/pack) - 02 Nos vi) 4150-05600 - 96 well seals with large aperture for Hanging drops( 25 /pack) – 02 Nos vii) NPN - Hanging Drop Plates , 100 Nos – 02 Nos Sr. No. PB-1915, Mosquito 5 Deck System | Biology | Crystallography Facility |  |  | Up | Characterization
Ti Sapphire Tunable Femtosecond Laser for Nonlinear Plasmonics |  | H-Cross, Lab No. 223 | Coherent Inc | Chameleon Ultra I |  |  |  |  | Femtosecond Laser System : Chameleon Ultra I | Physics | Dr Pavan Kumar Lab |  |  | Up | Characterization
High Resolution Mass Spectrometer (HRMS) | HRMS | Bio Main Bldg/GF | Waters GmbH | Synapt G2 |  |  |  |  | SYNAPT G2 HDMS Hybrid Quadrapole –Time of flight MASS SPECTROMETER with Ion Mobility Seperation & ESI / ESCi(ESI/APCI) Ionization source | Biology | Dr Jayant Udgaonkar Lab |  |  | Up | Characterization
PicoQuant Confocal Microscope |  | Bio Main Bldg/GF | Simco Global | [5 empty] | Microscope-Micro Time 200- Cofocal microscope | Biology | Dr Jayant Udgaonkar Lab |  |  | Up | Characterization
Fluorimeter |  | Bio Main Bldg/GF | Horiba | Spex-Fluoro Max-3 | [5 empty] | Biology | Dr Jayant Udgaonkar Lab |  |  | Up | Analytical Measurement
Glove Box Workstation |  | Mendeleev Block, Lab - 102 | Mbraun Inertgas Systeme GmbH | Unilab Plus SP |  | Internal | Institution |  |  | Chemistry | Dr Moumita Majumdar Lab |  |  | Up | Fabrication
Ferroelectric Test System |  | Main Building, C- Wing, First Floor, Lab No. c-216 | aixACCT Systems GmbH | [5 empty] | FERROELECTRIC TEST SYSTEM WITH PYROELECTIC MEASURMENT SETUP & ACCESSORIES | Chemistry | Dr Boomishankar Lab |  |  | Up | Characterization
Inductively Coupled Plasma Mass Spectrometer (ICPMS) | ICPMS | ECS Instrumentation Lab Opp Mendeleev | Thermo Fisher Scientific Wissenschaftliche Gerate GmbH | iCAP Qc Quadrupole ICP |  | Internal | Institution |  | • Digital, solid state RF-generator with dynamic frequency impedance matching to the plasma at ~27MHz. Full PC control giving continuously variable power from 500W to 1600W. | ECS | ECS Instrumentation Lab |  |  | Up | Characterization
Excimer Laser Source |  | Dr. Ogale's Lab | Coherent (Deutschland) GmbH | CompexPro 201 | [5 empty] | Physics | Dr S B Ogale Lab |  |  | Up | Fabrication
Laser Flash thermal constant Analyzer (LFA) | LFA | Energy Lab, G1 building | Linseis Messgerate GmbH Germany | LFA-1000/1250OC |  |  |  |  | • LFA 1250 Laser Flash Thermal conductivity analyser including vacuum pump, closed loop water cooler, 12.7 mm sample holder for liquid made of sapphire and manual gas control. 12.7mm SiC and 25.4mm Graphite sample holder. | Physics | Energy Lab G1 |  |  | Up | Characterization
Electrochemical Workstation |  | Main Building,C Wing, First Floor, Lab C 217 | CH Instruments Inc | [5 empty] | Electrochemical Workstation | Chemistry | Dr R Vaidhyanathan Lab |  |  | Up | Characterization
Patch Clamp Electrophysiology Set up |  | Biology | DHR Holdings India Pvt Ltd | [5 empty] | Patch –Clamp Electrophysiology Set-up | Biology | Dr Nixon Abraham Lab |  |  | Up | Characterization
CHNSO Analyzer |  | ECS Instrumentation Lab Opp Mendeleev | Thermo Fisher Scientific Pte Ltd | [5 empty] | CHNS/O Analyser | ECS | ECS Instrumentation Lab |  |  | Up | Characterization
Data Acquisition System and Broadband Seismometer |  | Field locations in campus | Nanometrics Inc | [5 empty] | Data Acquisition System And Broadband Seismometer | ECS | ECS Instrumentation Lab |  |  | Up | Characterization
Agilent 7000D GCMS MS with 7890B GC set up |  | Main Building, Gr Floor, Instrument Facility 1 (N 108) | Agilent Technologies India Pvt Ltd |  |  | Internal | Institution |  | Agilent 7000D GCMS/MS with 7890B GC Set-up | Biology | Bio Mass Spec Lab |  |  | Up | Characterization
Ultracentrifuge |  | Main Building, FGr Floor,A Wing, Inst Lab 1 | Eppendorf | Centrifuge 5430R |  | Internal | Institution |  | Ultracentrifuge | Biology | Bio Instr Lab |  |  | Up | Characterization
Isotope Ratio Mass Spectrometer (IRMS) | IRMS | ECS Instrumentation Lab Opp Mendeleev | Elementar UK Ltd | IsoPrime Precision |  | Internal | Institution |  | Isotope Ratio Mass Spectrometer (IRMS) with accessory kit | ECS | ECS Instrumentation Lab |  |  | Up | Characterization
High Resolution Transmission Electron Microscope (HRTEM) | HRTEM | G1, Lab No. 303 | JEOL Asia Pte Ltd | [5 empty] | High Resolution TEM | Physics | HRTEM Lab |  |  | Up | Characterization