## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Hot Wire Anemometer Dantec Dynamics | [9 empty] | Aerospace Engineering |  |  |  | Up | Analytical Measurement
Data Acquisition System | [8 empty] | consisting of 1) NI PXIe-8820 2.2 GHz Celeron 1020Edual-core windows 7. 2) NI PXIe-6366, simultaneous X series Data acquisition. 3) NI PXIe - 4492,24-Bit 204.8kS/s,8inputs. | Aerospace Engineering |  |  |  | Up | Characterization
Shock Tube Assembly (STA) | STA | [8 empty] | Aerospace Engineering |  |  |  | Up | Characterization
Multi Component Force Measurement System |  |  | Kistler | [6 empty] | Aerospace Engineering |  |  |  | Up | Analytical Measurement
Double Pulsed Nd:YAG Laser +DYE Laser | [9 empty] | Aerospace Engineering |  |  |  | Up | Characterization
LaVision Optical Accessory Equipments | [8 empty] | 1108418 flow visualization, 1108453 Laser guiding arm, 1108406 Light sheet optics for UV, 1108409 Collimator upgrade, 1108410 Telescope optics | Aerospace Engineering |  |  |  | Up | Characterization
NanoStar IICD Camera System and accessories | [9 empty] | Aerospace Engineering |  |  |  | Up | Characterization
Laser and Transceiver Module ID Module for LDV PDPA | [9 empty] | Aerospace Engineering |  |  |  | Up | Characterization
Malvern Spray Tech Real Time Spray Droplet Sizing Instrument | [9 empty] | Aerospace Engineering |  |  |  | Up | Characterization
Phantom VEO 410L 12 bit High Speed Camera | [9 empty] | Aerospace Engineering |  |  |  | Up | Characterization
Imager ProX4M CCD Camera with accessories | [9 empty] | Aerospace Engineering |  |  |  | Up | Characterization
PCO 14 bit CCD Camera |  |  |  | PCO.2000 | [5 empty] | Aerospace Engineering |  |  |  | Up | Characterization
Combustion Laboratory unit with accessories | [9 empty] | Aerospace Engineering |  |  |  | Up | Research Infrastructure
External LED illuminator with Power Supply |  |  |  | PIV01346 | [5 empty] | Aerospace Engineering |  |  |  | Up | Characterization
Wavelength Meter WS 6dL UV2 | [9 empty] | Aerospace Engineering |  |  |  | Up | Analytical Measurement
Easy Dyne Standard Digital Tensiometer K205 Eq No 30000277 | [9 empty] | Aerospace Engineering |  |  |  | Up | Analytical Measurement
NI Pxle DAQ System with Different Measurement Capabilities | [9 empty] | Aerospace Engineering |  |  |  | Up | Characterization
Renishaw Raman Spectrometer 532 nm |  |  | Renishaw | [6 empty] | Aerospace Engineering |  |  |  | Up | Characterization
Deben 2 KN Microtest Tensile Stage |  |  | Deben | [6 empty] | Aerospace Engineering |  |  |  | Up | Characterization
Hot Wire Anemometer | [9 empty] | Aerospace Engineering |  |  |  | Up | Analytical Measurement
High Speed Camera 1850fps max | [9 empty] | Aerospace Engineering |  |  |  | Up | Characterization
Pulsed Nd:YAG Laser 10 Hz | [9 empty] | Aerospace Engineering |  |  |  | Up | Characterization
Flue Gas Analyzer NOx CO O2 UHC | [9 empty] | Aerospace Engineering |  |  |  | Up | Characterization
Universal Testing Machine Instron with Environmental Chamber |  |  | Instron | [6 empty] | Chemistry |  |  |  | Up | Characterization
Twin Screw Extruder Brabender Plastic Mixer | [9 empty] | Chemistry |  |  |  | Up | Characterization
Dynamic Mechanical Analyzer (DMA) | DMA | [8 empty] | Chemistry |  |  |  | Up | Characterization
Thermogravimetric Analyzer | [9 empty] | Chemistry |  |  |  | Up | Characterization
Differential Scanning Calorimeter | [9 empty] | Chemistry |  |  |  | Up | Characterization
Surface Area Analyzer | [9 empty] | Chemistry |  |  |  | Up | Characterization
Particle Size Analyzer (PSA) | PSA | [8 empty] | Chemistry |  |  |  | Up | Characterization
Polarized Microscope with Hot Stage | [9 empty] | Chemistry |  |  |  | Up | Characterization
High Performance Liquid Chromatography (HPLC) | HPLC | [8 empty] | Chemistry |  |  |  | Up | Characterization
Gel Permeation Chromatography (GPC) | GPC | [8 empty] | Chemistry |  |  |  | Up | Characterization
UV Visible Spectrophotometer | [9 empty] | Chemistry |  |  |  | Up | Characterization
Solar Simulator | [9 empty] | Chemistry |  |  |  | Up | Characterization
Glove Box | [9 empty] | Chemistry |  |  |  | Up | Fabrication
Atmospheric Pressure Plasma System | [9 empty] | Chemistry |  |  |  | Up | Characterization
Spectrofluorimeter | [9 empty] | Chemistry |  |  |  | Up | Analytical Measurement
FTIR Spectrophotometer | [9 empty] | Chemistry |  |  |  | Up | Characterization
Atomic Force Microscope (AFM) | AFM | [8 empty] | Chemistry |  |  |  | Up | Characterization
Mass Spectrometer | [9 empty] | Chemistry |  |  |  | Up | Characterization
Electrochemical Work Station | [9 empty] | Chemistry |  |  |  | Up | Characterization
Planetary Ball Mill | [9 empty] | Chemistry |  |  |  | Up | Fabrication