## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs)
Fluorescence Spectrophotometer |  | SP-6 | PerkinElmer | FL 6500 |  | Internal | Institution |  | Fluorescence Spectrophotometer allows to study the emmission spectra of various organic samples | Department of Chemistry | Sophisticated Central Instrumentation Facility |  |  | Up | Characterization
IR Camera |  | Heat Transfer Lab | FLIR | Flir-T 1030SC |  | Internal | Institution |  | 1024 × 768 pixels, Thermal Sensitivity/NETD < 20 mK at +30°C (+86°F), Thermal Image Full color IR image, | Department of Mechanical Engineering | Heat Transfer Lab |  |  | Up | Characterization
Pool Boiling |  | Heat Transfer Lab | TherMet Solutions |  |  | Internal | Institution |  | Sub cooled boiling uncritical heat flux | Department of Mechanical Engineering | Heat Transfer Lab |  |  | Up | Characterization
Fluorescence Microscope |  | Biology lab | Leica | DMi8 |  | Internal | Institution |  | 3 color fluroscent microscope | BSBE |  |  |  | Up | Characterization
Real Time PCR |  | Biology lab | Bio-Rad | CFX96 |  | Internal | Institution |  | Real time PCR | BSBE |  |  |  | Up | Characterization
Multiwell Plate Reader |  | Biology lab | BioTek | Cytation1 |  | External | DBT, Govt. of India |  | 96 well plate reader | BSBE |  |  |  | Up | Characterization
Gel Documentation System |  | Biology lab | Bio-Rad | chemidoc touch |  | External | SERB |  | Chemi doc system | BSBE |  |  |  | Up | Analytical Measurement
Field Emission Scanning Electron Microscope (FESEM) with Energy Dispersive Spectroscopy | FESEM | SP6, IIT Dharwad, WALMI Campus | Carl Zeiss | Gemin 300 with Oxford EDS |  | External | Ministry of Education |  | This facility is used to study the morphology, topography and chemical composition of nanomaterials and nanodevices | SCIF | Sophisticated Central Instrumentation Facility |  |  | Up | Characterization