## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Rate/Hr | Refernce Website | Equipment Status | Category
Powder X-Ray Diffractometer (PXRD) | PXRD | Central Advance Sophisticated Equipment, Chemistry Building, IIT Jodhpur | Bruker | Bruker AXS D8 Advance |  | Institute | IIT Jodhpur |  | Supply and Installation of Accessories of D8 Advance Powder X-Ray Diffractometer (XRD) System (as per list of goods enclosed | Department of Chemistry |  |  |  | Up | Research Equipment
Electrochemical Workstation (ECWS) | ECWS | Central Advance Sophisticated Equipment, Chemistry Building, IIT Jodhpur | ILMVAC GMBH, GERMANY | IVIUM State |  | Institute | IIT Jodhpur |  |  | Department of Chemistry |  |  |  | Up | Research Equipment
Gas Chromatograph (GC) | GC | Central Advance Sophisticated Equipment, Chemistry Building, IIT Jodhpur | Perkinelmer | CLARUS 580 |  | Institute | IIT Jodhpur |  | Spare Parts for Gas chromatography 1. Cyclosil-B 30m, 0.25mm, 0.25u, Part No. 112-6632, Make: Agilent, 2. Cyclodex-B 30m, 0.25mm, 0.25u Part no. 112-2532 make: Agilent, 3. HP-Chiral-10B 30m, 0.25mm, 0.2 Part No. 19091G-B133 Make: Agilent | Department of Chemistry |  |  |  | Up | Research Equipment
Differential Scaling Calorimeter (DSC) | DSC | Central Advance Sophisticated Equipment, Chemistry Building, IIT Jodhpur | Perkinelmer | DSC-4000 |  | Institute | IIT Jodhpur |  | Differential Scaling Calorimeter and accessories | Department of Chemistry |  |  |  | Up | Research Equipment
Fluorescence Spectrometer (FL) | FL | Central Advance Sophisticated Equipment, Chemistry Building, IIT Jodhpur | Perkinelmer | LS 55 Spectrometer |  | Institute | IIT Jodhpur |  | Fluorescence Spectrometer and accessories | Department of Chemistry |  |  |  | Up | Research Equipment
Simultaneous Thermal Analyzer (STA) | STA | Central Advance Sophisticated Equipment, Chemistry Building, IIT Jodhpur | Perkinelmer | STA-6000 |  | Institute | IIT Jodhpur |  | Simultaneous Thermal Aanalyzer and accessories | Department of Chemistry |  |  |  | Up | Research Equipment
Electrochemical Workstation (ECWS) | ECWS | Central Advance Sophisticated Equipment, Chemistry Building, IIT Jodhpur | CH Instruments | CHI 660E/CHI 680C |  | Institute | IIT Jodhpur |  | Electrochemical Workstation and accessories | Department of Chemistry |  |  |  | Up | Research Equipment
Fourier Transform Infrared Spectrometer (FTIR) | FTIR | Central Advance Sophisticated Equipment, Chemistry Building, IIT Jodhpur | Bruker | Vertex,70V+PMA50 |  | Institute | IIT Jodhpur |  | Fourier Transform Infrared Spectrometer and accessories | Department of Chemistry |  |  |  | Up | Research Equipment
Scanning Electron Microscope (SEM) | SEM EVO 18+ EDS | Central Advance Sophisticated Equipment, Chemistry Building, IIT Jodhpur | Carl Zeiss | EVO 18+ EDS |  | Institute | IIT Jodhpur |  | Scanning Electron Microscope (As per the Enclosed List of Goods), EDS ( As per the Enclosed list of Goods) | Department of Chemistry |  |  |  | Up | Research Equipment
Single Crystal X-Ray Diffractometer (SCXRD) | SCXRD | Central Advance Sophisticated Equipment, Chemistry Building, IIT Jodhpur | Bruker | Bruker |  | Institute | IIT Jodhpur |  | Single Crystal X-Ray Diffractometer, CAT No. 882-032500 ( As per the enclosed List of Goods) Ploarized Microscope with Camera to view and mount crystal | Department of Chemistry |  |  |  | Up | Research Equipment
High Pressure Layer Chromatography (HPLC) | HPLC | Central Advance Sophisticated Equipment, Chemistry Building, IIT Jodhpur | Waters | Waters |  | Institute | IIT Jodhpur |  | 1. Chiralpak IA, Analytical, 250X4.6mm, 5um, Part No. 80325, Make: Daicel 2. Chiralpak IB, Analytical, 250X4.6mm, 5um, Part No. 81325, Make: Daicel 3. Chiralpak IC, Analytical, 250X4.6mm, 5um, Part No. 83325, Make: Daicel 4. Chiralpak ID, Analytical, 250X4.6mm, 5um, Part No. 84325, Make: Daicel 5. Chiral-AGP Analytical 150X4.0mm, 5um, Part No. 30714, Make: Daicel 6. Chiralpak QN-AX Analytical 150X4.6mm, 5um, 32324, Make: Daicel 7. Chiralpak QD-AX Analytical 150X4.6mm, 5um Part No. 31324, Make: Daicel 8. Chiral--CBH Analytical 150x4.0mm, 5um, Part No. 33714 Make: Daicel Symmetry Shield RP18 Guard Column Part No. 186000117 Symmetry C18 (250 x 4.6mm, 5um) Part No. WAT054275 Symmetry C18 Guard Column Part No. WAT054225 Sentry Guard Holder Universal Part No. WAT046910 Symmetry Shield RP18 (4.6 x 250mm, 5um) Part No. 186000112 | Department of Chemistry |  |  |  | Up | Research Equipment
Dry Box Glow Box (GB) | GB | Central Advance Sophisticated Equipment, Chemistry Building, IIT Jodhpur | MBARUN Unilab | MBARUN |  | Institute | IIT Jodhpur |  | MBraun Spares of Glow Box (as per attached list of goods as Annexure-A) | Department of Chemistry |  |  |  | Up | Research Equipment
Gas Chromatography System | GC YL | Central Advance Sophisticated Equipment, Chemistry Building, IIT Jodhpur | YL instruments & youngling | YL6500 |  | Institute | IIT Jodhpur |  | Gas Chromatograph System Model No. YL 6500 ( As per the Quotation) | Department of Chemistry |  |  |  | Up | Research Equipment
Atomic Force Microscope (AFM) | AFM | Central Advance Sophisticated Equipment, Chemistry Building, IIT Jodhpur | Park | XE-70 |  | Institute | IIT Jodhpur |  | Atomic Force Microscope Model XE-70 ( As per the enclosed list of Goods) | Department of Chemistry |  |  |  | Up | Research Equipment
Nuclear Magnetic Resonance Spectrometer (NMR) | NMR | Central Advance Sophisticated Equipment, Chemistry Building, IIT Jodhpur | Bruker advance 500 WB | advance 500 WB |  | Institute | IIT Jodhpur |  | Bruker 500MHz WB FT-NMR Spectrometer for liquid & solid application | Department of Chemistry |  |  |  | Up | Research Equipment
Dynacool 9T Cryogen Free PPMS Base System | Dynacool | Central Advance Sophisticated Equipment, Chemistry Building, IIT Jodhpur | Quantum Design | Quantum Design |  | Institute | IIT Jodhpur |  | Dynacool-9T Cryogen Free PPMS base system with a Longitudinal Magnet and Power with complete accessorie | Department of Chemistry |  |  |  | Up | Research Equipment
SQUID Magnetometer Evercool System | SQUID | Central Advance Sophisticated Equipment, Chemistry Building, IIT Jodhpur | Quantum Design | Quantum Design |  | Institute | IIT Jodhpur |  | SQUID Magnetometer Evercool System (Magnetic Property Measurement System) | Department of Chemistry |  |  |  | Up | Research Equipment
Raman Spectrometer | Raman | Central Advance Sophisticated Equipment, Chemistry Building, IIT Jodhpur | Bayspec Inc., | Bayspec |  | Institute | IIT Jodhpur |  | Nomadic Raman Microscope with accessories | Department of Chemistry |  |  |  | Up | Research Equipment
UV-Visible Spectroscopy | UV-Vis | Central Advance Sophisticated Equipment, Chemistry Building, IIT Jodhpur | Varian | Cary 4000 |  | Institute | IIT Jodhpur |  | UV-visible Spectroscopy (Range 200nm-800nm) | Department of Chemistry |  |  |  | Up | Research Equipment
Precision Multiferroic Test System (PMTS) | PMTS | Central Advance Sophisticated Equipment, Chemistry Building, IIT Jodhpur | RADIANT TECHNOLOGIES INC. | Precision Multiferroic |  | Institute | IIT Jodhpur |  | PRECISION MULTIFERROIC TEST SYSTEM | Department of Chemistry |  |  |  | Up | Research Equipment
Thermal Conductivity Meter (TCM) | TCM | Central Advance Sophisticated Equipment, Chemistry Building, IIT Jodhpur | HOT DISK AB | Hot-Disk TPS 2500S |  | Institute | IIT Jodhpur |  | Thermal Conductivity Meter (Hot-Disk TPS 2500S) | Department of Chemistry |  |  |  | Up | Research Equipment
Electrochemical Workstation |  | Central Advance Sophisticated Equipment, Chemistry Building, IIT Jodhpur | METROHM AUTOLAB B.V. | AUTOLAB 302NFRA |  | Institute | IIT Jodhpur |  | ELECTROCHEMICAL WORKSTATION; MODEL: AUTOLAB 302NFRA | Department of Chemistry |  |  |  | Up | Research Equipment
Scanning Tunneling Microscope (STM) | STM | Department of Electrical Engineering, IIT Jodhpur | OMICRON NANO TECHNOLOGY GMBH | Oxford Instruments |  | Institute | IIT Jodhpur |  | Customized MultiProbe LT XA UHV System with LT STM and Matrix Control | Department of Electrical |  |  |  | Up | Research Equipment
Semiconductor Characterization System (SCS) | SCS | Department of Mechanical Engineering, IIT Jodhpur | Tektronix Asia Ltd., | 4210-SMU |  | Institute | IIT Jodhpur |  | Keithley 4200-SCS-PK3 Semiconductor Characterization System mainframe bundle with: 4200-SCS Mainfarme Unit, KITE Test Unit, 2 Nos. Model 4200-SMU, 02 Nos. Model 4210-SMU, 02 Nos. Model 4200-PA Preamps, 01 Nos. Model 4210-CVU Module, 01 Nos. 8101-PIV Test fixture with sample devices, 1 set cables. | Department of Mechanical |  |  |  | Up | Research Equipment
Surface Area Analyzer | BET | Central Advance Sophisticated Equipment, Chemistry Building, IIT Jodhpur | QUANTACHROME INSTRUMENTS | Autosorb-iQ-MP-XR |  | Institute | IIT Jodhpur |  | Surface Area Analyzer Model: Autosorb-iQ-MP-XR .(02142-UL-1), Make: Quantachrome | Department of Chemistry |  |  |  | Up | Research Equipment
Chemisorption Analyzer | BET-CA | Central Advance Sophisticated Equipment, Chemistry Building, IIT Jodhpur | PARTECH SCIENTIFIC INSTRUMENTS | Altamira |  | Institute | IIT Jodhpur |  | CHEMISORPTION ANALYZER | Department of Chemistry |  |  |  | Up | Research Equipment
Fortus 400 MC System Base Unit Shop Air (FS) | FS | Department of Mechanical Engineering, IIT Jodhpur | STRATASYS INC. | Fortus 400MC |  | Institute | IIT Jodhpur |  | Fortus 400MC System (Base unit) Shop Air | Department of Mechanical |  |  |  | Up | Research Equipment
BD FACSARIA III | BD | Department of Bioscience and Bioengineering, Chemistry Building, IIT Jodhpur | BECTON DICKINSON AND COMPANY | Aria-III |  | Institute | IIT Jodhpur |  | BD facs aria-III, bench top flow cytometer with high speed sorter system | Department of Bioscience and Bioengineering |  |  |  | Up | Research Equipment
High Performance Computing (HPC) | HPC | Department of Mechanical Engineering, IIT Jodhpur | CMC Limited | HPC |  | Institute | IIT Jodhpur |  | High Performance Computing | Department of Mechanical |  |  |  | Up | Research Equipment
Laser Doppler Velocimetry (LDV) Phase Doppler Particle Analysis (PDPA) System | LDV/PDPA | Department of Mechanical Engineering, IIT Jodhpur | TSI Incorporated | LDV/PDPA |  | Institute | IIT Jodhpur |  | 2D LDV/PDPA System with accessories | Department of Mechanical |  |  |  | Up | Research Equipment