## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Rate/Hr | Refernce Website | Equipment Status | Category
Portable Digital Analyser |  | Instrumentation Lab | HIKOI | PM3000A |  |  |  |  | Accuracy :±0.05% rdg ±0.05% rng Ranges: 0.5V to 2000Vpk (1400Vrms) | Alternate Hydro Energy Centre (AHEC) |  |  |  | Up | Research Equipment
Portable Horizontal Acoustic Doppler Current Meter |  | Instrumentation Lab | RD Instruments | 1200 Hz Channel |  |  |  |  | 1200 KHz Resolution 0.1cm/s Velocity range ±5m/s profiling range 90m | Alternate Hydro Energy Centre (AHEC) |  |  |  | Up | Research Equipment
Portable Horizontal Acoustic Doppler Current Meter |  | Instrumentation Lab | RD Instruments | 600 Hz Channel |  |  |  |  | 600 KHz Resolution 0.1cm/s Velocity range ±5m/s profiling range 90m | Alternate Hydro Energy Centre (AHEC) |  |  |  | Up | Research Equipment
Portable Vertical Acoustic Doppler Current Meter |  | Instrumentation Lab | RD Instruments | 1200 Hz Channel |  |  |  |  | 1200 KHz Communications: RS-232 or RS-422 Resolution: 0.01 | Alternate Hydro Energy Centre (AHEC) |  |  |  | Up | Research Equipment
Real Time Digital Simulator |  | Simulator Lab | Tractable | [5 empty] | Invertor controller,testing and calibration of Hydro turbine speed governor. Real Time Simulation of power system | Alternate Hydro Energy Centre (AHEC) |  |  |  | Up | Research Equipment
Precession class process calibrator with pump |  | Instrumentation Lab | FLUKE | 525 A |  |  |  |  | Pressure measurement to 0.05% of full span, using an internal Pressure sensor & Current measurement with 0.025% accuracy and 0.001mA resolution | Alternate Hydro Energy Centre (AHEC) |  |  |  | Up | Research Equipment
Portable Clamp Ultrasonic Flow Meter |  | Instrumentation Lab | GE SENSING | PT 878 |  |  |  |  | Flow Accuracy (Velocity, % of reading): Pipe Diameter > 150 mm (6 in.), ±1% to 2% of reading typical Range: -12.2 to 12.2 m/s (-40 to 40 ft/s), Portable clamp on ultrasonic flow meter for pipes | Alternate Hydro Energy Centre (AHEC) |  |  |  | Up | Research Equipment
Hydro Graphic Eco Sounder |  | Eco System Lab | Hydrographic | hydrobox |  |  |  |  | determine the depth of water by transmitting sound waves into water. The time interval between emission and return of a pulse is recorded, which is used to determine the depth of water along with the speed of sound in water at the time. | Alternate Hydro Energy Centre (AHEC) |  |  |  | Up | Research Equipment
Three Phase Digital Power Meter |  | Instrumentation Lab | Yokogawa | wt-230 |  |  |  |  | Resolution 16 bit Accuracy ±(0.2% 0f reading + 0.2% of range) range: 600V, 20Amp. | Alternate Hydro Energy Centre (AHEC) |  |  |  | Up | Research Equipment
Portable Clamp Ultrasonic Flow Meter |  | Instrumentation Lab | ULTRA FLUX | 801P |  |  |  |  | Accuracy: 0.5% Double pipe Pipe dia range : 10mm to 10000mm | Alternate Hydro Energy Centre (AHEC) |  |  |  | Up | Research Equipment
Solar Energy Trainer Kit |  | Solar Lab | Croma | 63804 |  |  |  |  | The system works as a live demonstration unit of solar cells in terms of its concepts and applications. | Alternate Hydro Energy Centre (AHEC) |  |  |  | Up | Research Equipment
Portable Silt Particle Size Analyser |  | Sediment Monitoring and Abrasion Testing Laboratory | SEQUOIA | LISTT |  |  |  |  | Measuring parameters: Sediment size and concentration | Alternate Hydro Energy Centre (AHEC) |  |  |  | Up | Research Equipment
Solar Array Simulator |  | Solar Lab | Chroma | 62050H |  |  |  |  | It simulates PV Characteristics | Alternate Hydro Energy Centre (AHEC) |  |  |  | Up | Research Equipment
Programmable AC Sources for Solar System |  | Solar Lab | Chroma | 61703 |  |  |  |  | It cretes diff. AC wave forms | Alternate Hydro Energy Centre (AHEC) |  |  |  | Up | Research Equipment
Test Bench SHP with Power Grid Simulator |  | Simulator Lab | OPAL -RT | [5 empty] | Invertor controller,testing and calibration of Hydro turbine speed governor. Real Time Simulation of power system | Alternate Hydro Energy Centre (AHEC) |  |  |  | Up | Research Equipment
Surface Roughness Tester |  | Sediment Monitoring and Abrasion Testing Laboratory | MITUTOYO | SJ-411 |  |  |  |  | Measuring parameters: Surface roughness, Effect of erosion in turbine and other plant components Specification: Measuring range: X-axis 25 mm, Z-axis 800 μm, Resolution: 0.000125 μm | Alternate Hydro Energy Centre (AHEC) |  |  |  | Up | Research Equipment
Portable Ultrasonic Flow Meter |  | Instrumentation Lab | ULTRA FLUX | 801 |  |  |  |  | Accuracy: 0.5% single pipe Pipe dia range : 10mm to 10000mm | Alternate Hydro Energy Centre (AHEC) |  |  |  | Up | Research Equipment
Sediment Size Shape Analyser |  | Sediment Monitoring and Abrasion Testing Laboratory | Camsizet XT | 150.0011 |  |  |  |  | Measuring parameters: Sediment size and shape distributions Specification: PSD: 0 to 3000 μm Shape: Aspect ratio, roundness etc. | Alternate Hydro Energy Centre (AHEC) |  |  |  | Up | Research Equipment
Portable on line turbidity suspended solid sensor |  | Sediment Monitoring and Abrasion Testing Laboratory | Hach | Cat no. LXV404.66.00502 |  |  |  |  | Measuring parameters: Sediment size and concentration continuously Specification: PSD: 32 log-spaced size classes, 2.5 to 500 µm size range, SSC: Up to 30,000 ppm (mg/l) | Alternate Hydro Energy Centre (AHEC) |  |  |  | Up | Research Equipment
Portable Laser Diffraction Sediment Sensor |  | Sediment Monitoring and Abrasion Testing Laboratory | SEQUOIA | LISST |  |  |  |  | Measuring parameters: Sediment size distribution and concentration Specification: PSD: 0.34 to 500 µm size range in 44 log-spaced size classes SSC: 30 to 1,900 mg/l | Alternate Hydro Energy Centre (AHEC) |  |  |  | Up | Research Equipment
Double Beam Spectrophotometer |  | Eco System Lab | PERKIN | LAMDA365 |  |  |  |  | Wavelength range: 190-1100 11m | Alternate Hydro Energy Centre (AHEC) |  |  |  | Up | Research Equipment
Portable Hand Held Scanner |  | Sediment Monitoring and Abrasion Testing Laboratory | HandySCAN 700 | 700 |  |  |  |  | Measuring parameters: Erosion in turbine and other plant components Specification: Resolution: 50 μm Recommended part size range: 0.1 to 4 m | Alternate Hydro Energy Centre (AHEC) |  |  |  | Up | Research Equipment
Three phase AC DC meter |  | Electrical Lab | Yokogawa | WT310EF-C2 |  |  |  |  | single input element with 0.1% accuracy and direct current input | Alternate Hydro Energy Centre (AHEC) |  |  |  | Up | Research Equipment
Portable Laser Diffraction Sediment Sensor |  | Sediment Monitoring and Abrasion Testing Laboratory | Sequoia | LISST |  |  |  |  | Measuring parameters: Sediment size distribution and concentration Specification: PSD: 0.34 to 500 µm size range in 44 log-spaced size classes SSC: 30 to 1,900 mg/l | Alternate Hydro Energy Centre (AHEC) |  |  |  | Up | Research Equipment
Portable Multi Frequency Acoustic Based Sediment Sensor |  | Sediment Monitoring and Abrasion Testing Laboratory | AQUASCAT | 1000S |  |  |  |  | Measuring parameters: Sediment size and concentration continuously Specification: PSD: 20 μm to 500 μm SSC: 0.01 g/l to 20 g/l over 1 m | Alternate Hydro Energy Centre (AHEC) |  |  |  | Up | Research Equipment
Solar Photovoltaic Analyser |  | Solar Lab | PVPM | 1040C |  |  |  |  | measure the IV Characteristics of PV panels | Alternate Hydro Energy Centre (AHEC) |  |  |  | Up | Research Equipment
Data Acquisition System |  | Instrumentation Lab | NI | [5 empty] | used for data collection, curent, voltage | Alternate Hydro Energy Centre (AHEC) |  |  |  | Up | Research Equipment
Flue Gas Analyser |  | Eco System Lab | Testo | 340 |  |  |  |  | to measure the CO,NO, SO2 | Alternate Hydro Energy Centre (AHEC) |  |  |  | Up | Research Equipment
Portable Acoustic Based Sediment Sensor |  | Sediment Monitoring and Abrasion Testing Laboratory | AQUAscat | 1000R |  |  |  |  | Measuring parameters: Sediment size and concentration continuously Specification: PSD: 20 μm to 500 μm SSC: 0.01 g/l to 20 g/l over 1 m | Alternate Hydro Energy Centre (AHEC) |  |  |  | Up | Research Equipment