## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
Laser Powder Bed Fusion Processing additive manufacturing machine DMP FLEX 350 (3D SYSTEM) build volume 275X275X400 mm |  | CSIR-AMPRI, Bhopal | DMP | Flex 350 | 5350D27422333 | Internal Funding | CSIR |  | Technology Laser powder bed fusion as per ISO/ASTM-52900/2015 with open system architecture for material. | IMPD |  | 49987135 |  | Working | Fabrication, Metallic Component Printing | NA |  | NA | NA | abhishek.ampri@csir.res.in
Electrochemical workstation |  | CSIR-AMPRI, Bhopal | Prio-logic | SP50e | #5162 | Internal Funding | CSIR |  | Electrochemical Workstation, Make - BIO-LOGIC, Model: SP-50e instruments with soft. EIS-Trop (Part no. 092-050ez-T) Single Channel potentiostate with communication board and cables provided with EC-Lab Software (Win-32/64bits) | IMPD |  | 1025432 |  | Working | Analytical, Electrochemical testing | M/s Biologic Science Instruments Pvt. Ltd., Thane |  | NA | NA | archanasingh@ampri.res.in
Semi Automatic Screen Printer |  | CSIR-AMPRI, Bhopal | PTM | NA | TLKSC4044 | External Funding | DST |  | Bed size-22”x30”. | IMPD |  | 1155000 |  | Working | Fabrication, Printing of films | NA |  | NA | NA | archanasingh@ampri.res.in
FTIR Spectrometer with universal quicksnap sampling machine |  | CSIR-AMPRI, Bhopal | Bruker | alpha2 | 13092411 | Internal Funding | CSIR |  | Spectral range-8000 cm-1 to 350 cm-1,Wave number accuracy-<0.05cm-1 @ 2000cm-1, Resolution-0.75 cm-1,resolution freely adjustable from 0.75 cm-1 to256 cm-1.,Optical components-KBr beam splitter and KBr windows to cover the full MIR range from 8,000 – 350 cm-1 | IMPD |  | 1699992 |  | Working | Characterization of the materials | NA |  | NA | NA | archanasingh@ampri.res.in
UV Visible spectrophotometer |  | CSIR-AMPRI, Bhopal | Thermo Scientific | Evolution 220 | NA | Internal Funding | CSIR |  | Evolution 220 Bio UV-Visible Spectrophotometer with accessories , Make Thermo Scientific, Model : Evolution 220 Branded PC, Online UPS, 10mm Quartz Cuvette and 100 Microliter (01 pair each) Rectangular Quartz Cell Lidded 10 mm, 3mm, 100 Microliter quartz Cuvette (Will be supplied Locally ) | IMPD |  | 1448009 |  | Working | Characterization | M/s Thermo Fisher Scientific India Pvt. Ltd; Ahmedabad |  | NA | NA | chetna.dhand@ampri.res.in
Multi Auto Lab Multichannel Potentiostat |  | CSIR-AMPRI, Bhopal | Metrohm | M204 | MAC90679 | Internal Funding | CSIR |  | Metrohm Multi Autolab Multichannel Potentiostat Galvanostat Model : M204 | IMPD |  | 2194500 |  | Working | Electric Characterization | NA |  | NA | NA | chetna.dhand@ampri.res.in
Automated Electrosppinging Machine |  | CSIR-AMPRI, Bhopal | Nanospin | Super ES2 | SE524122421 | External Funding | DST |  | Automated Electrospinning Machine SUPER E-S2 HSNCode-84198110 | IMPD |  | 1070950 |  | Working | Fabrication, , Electro Spinning | NA |  | NA | NA | chetna.dhand@ampri.res.in
Field Emission Transmission Electron Microscope |  | CSIR-AMPRI, Bhopal | Jeol | JEM-F200 | EM1730001110111 | Internal Funding | CSIR | MLP0110 | Field Emission Transmission Electron Microscope. Make- JEOL, Model: JEM-F200 | IMPD |  | 72860895 |  | Working | Characterization | M/s Jeol India Pvt. Ltd., New Delhi |  | Jeol India Pvt Ltd | Jeol India Pvt Ltd | ashiq.ampri@csir.res.in
Transmission Electron Microscope sample preparation facility |  | CSIR-AMPRI, Bhopal | Gatan | 695.CSSS | 19032501W0695 | Internal Funding | CSIR | MLP0110 | Ion Beam Milling Systems PIPS II COOL Auto Terminator Dimple Grinder Disc Punch Hot Plate for Sample Mounting ( FOC Disc Grinder and specimen lapping kit TEM Cross Section Kit Ultrasonic Disc Cutter Specimen Lapping Kit Lapping Disc | IMPD |  | 12389309 |  | Working | Material Characterization | M/s Harley Instruments, Pune |  | NA | NA | ashiq.ampri@csir.res.in
Polishing units |  | CSIR-AMPRI, Bhopal | METATECH | Eletropol-TEM | 130324,MTI/484/101 | Internal Funding | CSIR | MLP307 | “Polishing Units”. 1. Twin-jet electropolisher. Model: ELETROPOL-TEM (HSN CODE-84609010) 2. 8” Double disc variable Speed Grinder/polisher individual drive. Model: DC-II (HSN CODE-84609010) 3. Double Disc Automatic Polishing Machine. Model: Autopol II IP (Dual) | IMPD |  | 2478000 |  | Working | Testing & Sample preparation | NA |  | NA | NA | ashiq.ampri@csir.res.in
CHEMICAL Vapor Deposition system |  | CSIR-AMPRI, Bhopal | Custom | E99144 | CN-0X074K | Internal Funding | CSIR |  | Maximum working temperature 1100⁰C with ± 1 Deg C Length of the uniform temperature region should be minimum 100 mm : Quartz tube of size of 500 mm length x 150 mm dia | IMPD |  | 1299375 |  | Working | Fabrication, Sample Preparation | NA |  | NA | NA | n.sathish@ampri.res.in
E-Beam powder bed fusion additive manufacturing facility |  | CSIR-AMPRI, Bhopal | GE, Additive Acram | EBM A2X | 1472 | Internal Funding | CSIR |  | Build Chamber 1.1 Maximum Build Size (W x D x H) : 200 x 200 x 380 mm or more 1.2 Maximum Beam Power : 3000W or more 1.3 Cathode Type : Tungsten filament or better 1.4 Minimum Beam Diameter: 250μm or lower 1.5 Maximum EB Translation Speed: 8000 m/s or more 1.6 Vacuum Pressure: i. Column Pressure: 1x10-7 mbar or better ii. Chamber Pressure: 10-5 mbar or better iii. Build Atmosphere: 5 x 10-3 mbar or better | IMPD |  | 62562479 |  | Working | Fabrication, Component Printing | NA |  | NA | NA | n.sathish@ampri.res.in
Thermal Property Analyser |  | CSIR-AMPRI, Bhopal | Netzsch | LFA 467 Hyperflash | NA | Internal Funding | CSIR |  | Thermal Property Analyser LFA 467 Hyperflash Sample Holder 6.256.4-92.7.00 (PEEK) LFA 46700A90.021.-00 Reference sample Pyroceram 9606, Ø25.4X2.5mm, NIB008774 Reference sample , stainless steel, Ø25.4X2.5mm, 6.256.4-96.1.04 | IMPD |  | 2884229 |  | Working | Thermal analysis | M/s Netzsch Technologies(I) Pvt. Ltd; Chennai |  | NA | NA | nikhilgorhe@ampri.res.in
Optical Microscope |  | CSIR-AMPRI, Bhopal | Leica | DM2700M | 548033 | Internal Funding | CSIR |  | Microscope type and requirement overview Upright light-illuminated optical metallurgical microscope with facility to view the samples using an eyepiece as well as with a camera connected to a computer for live-imaging, image-capture, digital analysis through software, and data storage. | IMPD |  | 2714000 |  | Working | Characterisation, Metallography | NA |  | NA | NA | nikhilgorhe@ampri.res.in
Electro Chemical Workstation |  | CSIR-AMPRI, Bhopal | CH Instruments | CHI660E | I1408 | External Funding | DST |  | Electrochemical Workstation with Potentiostat / Galvanostat | IMPD |  | 1254244 |  | Working | Analytical, Electro chemical Properties | M/s Sinsil International Pvt. Ltd, Baroda |  | NA | NA | surender.ampri@csir.res.in
3D Printer with workstation |  | CSIR-AMPRI, Bhopal | Monotech systems limited | Markforged Mark tWO" Desktop Series" | FPR2027012202007168 | External Funding | DST |  | 3D Printer with workstation | IMPD |  | 2413100 |  | Working | Fabrication | NA |  | Monotech systems limited | Monotech systems limited | surender.ampri@csir.res.in
FDM High Temp Filament extruder |  | CSIR-AMPRI, Bhopal | 3Devo | Composer 450 | FMV1C166547 | Internal Funding | CSIR |  | Temperature range: up to 4000C or higher | IMPD |  | 1486800 |  | Working | Characterization & Processing | NA |  | NA | NA | tchatterjee@ampri.res.in
Microplate Reader/ MICROPLATE SPECTROPHOTOMETER | MicroRead | CSIR-AMPRI, Bhopal | Make: Tecan | Infinite® 200 PRO | Thermo Scientific | External Funding | SERB |  | Absorbance Measurement for Microplates (6, 48, 96, and 384-well plates, μDrop Plates) |  |  | 800000 | M/s Thermo Fisher Scientific India Pvt. Ltd |  | M/s Thermo Fisher Scientific India Pvt. Ltd |  | Infinite® 200 PRO | Absorbance Measurement for Microplates (6, 48, 96, and 384-well plates, μDrop Plates) |  | chetna.dhand@ampri.res.in

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE

## Sheet1
CAD design Software | CSIR-AMPRI, Bhopal | DASSAULT SYSTEMS, etc | NA | 90000511371023004JNN7C26 | Internal Funding | CSIR | Scanning technology Blue LED projection/ Laser triangulation/Structured light Point to Point Spacing (mm) In minimum FOV: 0.070 | IMPD | 7891840 | Working | Fabrication, Component design | NA | NA | NA | abhishek.ampri@csir.res.in
Glove Box | CSIR-AMPRI, Bhopal | BioStag (indegeniuos) | BST-1200 | NA | Internal Funding | CSIR | Filter Outlet and inlet filters, filter rate<0.3μm Illumination LED lighting is located on the top Leak rate leakage rate <0.005 vol % / h Dimensions of anti chamber (mm) Large one: L x D: 500 x 300 mm Mini antechamber: L x D: 200 x 100 mm Vacuum Better than 0.4-0.6 mbar or flow volume 10-15 m3/hr Controlling Automatic controlling for both mini and large antichamber Measurement range 0-1000 ppm, with accuracy : +/- 1 ppm, Accuracy: ± 3 ppm in full range, Resolution: ± 0.5 % in full range | IMPD | 1262600 | Working | Fabrication, Inert atmosphere reaction | NA | NA | NA | archanasingh@ampri.res.in
High Performance Computing workstation | CSIR-AMPRI, Bhopal | Boston | 4U GPU | NA | Internal Funding | CSIR | High Performance Computing Workstation - 4U GPU Super Workstation | IMPD | 1288341 | Working | Data Processing | M/s Nimesh System Solutions Pvt. Ltd; Bangalore | NA | NA | n.sathish@ampri.res.in
3D Scanner | CSIR-AMPRI, Bhopal | 3D Systems | NA | NA | Internal Funding | CSIR | GeoMagic capture scanner with propack DesignX Reverse engineering software | IMPD | 3055750 | Working | Data Processing | NA | NA | NA | n.sathish@ampri.res.in
Spectrometer with Gratings and Acessories | CSIR-AMPRI, Bhopal | NA | Teledyne (SP2156)/Andor (iVac 316)/Spectroscopy Integrated Optics (0785l-21A) | NA | Internal Funding | CSIR | a. Spectrometer with Gratings and accessorires b. CCD Detector c. 785nm, 100m2 Excitation source for Raman Spectroscopy | IMPD | 3029250 | Working, Accessory | Characterisation,Component of Raman system | NA | NA | NA | n.sathish@ampri.res.in
Fume Hood Setups for the Graphene Centre | CSIR-AMPRI, Bhopal | BVSE | BVSE/FH-05 | NA | Internal Funding | CSIR | Fume hood specialized tailored Set-ups | IMPD | 4248000 | Working | Fabrication, Synthesis & Process | NA | NA | NA | ram.kumar@ampri.res.in
3D Printer with Electrode position Facility | CSIR-AMPRI, Bhopal | Mcube | NA | NA | External Funding | DST | 3D Printer with Electrode position Facility | IMPD | 1165500 | Working | Fabrication, Component Printing | Mcube 3d Printing Pvt. Ltd. | Mcube 3d Printing Pvt. Ltd. | Mcube 3d Printing Pvt. Ltd. | surender.ampri@csir.res.in