## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Equipment Description | Department/Lab Name | Project Title | Rate/Hr | Refernce Website | Category
Transmission Electrone Microscope 200kV (TEM 200kV) | TEM 200kV | Faraday lab | JEOL | JEM-2100 | 1 | External | DST | LaB6 e-gun; HR; EDS attached | INST |  |  |  | Research Instrument
Scanning Electron Microscope (SEM) | SEM | Faraday lab | JEOL | JSM IT300 | 2 | External | DST | LV mode; probe current up to 1μA;EDS attached | INST |  |  |  | Research Instrument
Atomic Force Microscope (AFM) | AFM | Faraday lab | Bruker, Germany | Multimode 8 | 3 | External | DST | CFM;EFM;KPFM;MFM | INST |  |  |  | Research Instrument
Confocal Raman (CF) | CF | Faraday lab | WiTec, Germany | alpha300R | 4 | External | DST | Confocal Raman Imaging | INST |  |  |  | Research Instrument
Particle Size Analyser (PSA) | PSA | Faraday lab | Malvern Instruments, UK | Zetasizer Nano ZSP | 5 | External | DST | dia:0.3 nm - 10μm; sensitiviy:0.1mg/mL (Lysozyme) | INST |  |  |  | Research Instrument
FTIR | FTIR | Faraday lab | Agilent technologies, USA | Cary 660FTIR spectrometer | 6 | External | DST | 9000 -350 cm-1; Max. Resn: better than 0.075 cm-1 | INST |  |  |  | Research Instrument
UV-VIS-NIR | UV-VIS-NIR | Faraday lab | Cary Agilent Technologies, USA | G9825A CARY UV-Vis NIR Spectrophotometer | 7 | External | DST | 200 - 2500 nm; DRA; solid, film, liquid sample type | INST |  |  |  | Research Instrument
TG-DTA | TG-DTA | Faraday lab | Perkin Elmer | STA8000 | 8 | External | DST | up to 11600 deg. C | INST |  |  |  | Research Instrument
Differential Scanning Calorimeter (DSC) | DSC | Faraday lab | Perkin Elmer | DSC8000 | 9 | External | DST | up to 750 deg. C | INST |  |  |  | Research Instrument
Rheometer | Rheometer | Faraday lab | Anton Paar | MCR 302 | 10 | External | DST | 0.005 to 50 N;-5 to 200 deg. C | INST |  |  |  | Research Instrument
Electrochemical workstation | Electrochemical workstation | Faraday lab | CH Instruments, USA | CH instruments 600E series | 11 | External | DST | 600 E series specifications | INST |  |  |  | Research Instrument
GC-MS | GC-MS | Faraday lab | Shimadzu (Asia Pacific) Pte Ltd, Singapore | GC-MS QP2010Ultra | 12 | External | DST | Max. scan speed~20,000 u/sec | INST |  |  |  | Research Instrument
Surface profiler | Surface profiler | Faraday lab | Bruker AXS Pte Ltd, Singapore | Bruker DektakXT | 13 | External | DST | Resoln: 0.1 μm; SiC tip | INST |  |  |  | Research Instrument
Powder X-Ray Diffractometer | Powder X-Ray Diffractometer | Faraday lab | Bruker AXS GmbH, Germany | D8 Eco Advance X-ray diffractometer | 14 | External | DST | CuKα, 20 kV | INST |  |  |  | Research Instrument
Small Angle X-Scattering System | Small Angle X-Scattering System | Faraday lab | Anton PaarSAXess, Austria | 84982 / 90221900 / AT | 15 | External | DST | qmin.: 0.03 nm-1; s to d: 26 cm, CuKα, liquid and solid sample type | INST |  |  |  | Research Instrument
Circular Dichroism Sectrometer | Circular Dichroism Sectrometer | Faraday lab | Jasco International Co.Ltd | J-1500 (150-S) | 16 | External | DST | Xenon lamp, high speed scanning up to 1600 nm | INST |  |  |  | Research Instrument
BET Surface Area Analyzer | BET Surface Area Analyzer | Faraday lab | QuantaChrome instruments | AutosorbiQ and ASiQwin | 17 | External | DST | Autosorb iQ and ASiQwin | INST |  |  |  | Research Instrument
Fluorimeter | Fluorimeter | Faraday lab | Edinburgh Instruments Ltd, UK | FS5 Spectrofluoromete | 18 | External | DST | 240-850 nm, liquid & solid sample type; MCS-mode | INST |  |  |  | Research Instrument
High pressure Liquid Chromatography QDA Mass detector (HPLC Faraday -MS(QDA)) | HPLC Faraday -MS(QDA) | Faraday lab | Waters | Water Aquity QDA detector | 19 | External | DST | 10-1200Da M/Z range | INST |  |  |  | Research Instrument