## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
X Ray Diffraction | XRD | IOC R&D | Panalytical | Empyrean | DY1543 | IOCL | IOCL | NA | For structural analysis of crystalline materials | Analytical Department | XRD | 12247750 | www.malvernpanalytical.com | working | Spectroscopy | Malvern Panalytical/Spectris technology | naresh.vyas@panalytical.com | Malvern Panalytical/Spectris technology | northsupport@malvernpanalytical.com | singhdheer@indianoil.in
X Ray Diffraction | XRD | IOC R&D | Anton Paar | XRDynamics500 | 84281630 | IOCL | IOCL | NA | For structural analysis of crystalline materials | Analytical Department | XRD | 17356963 | www.anton-paar.com | working | Spectroscopy | Anton Paar | abhishek.singh@anton-paar.com | Anton Paar | ravi.mishra@anton-paar.com | singhdheer@indianoil.in
Triple Quadrupole Inductively Coupled Plasma Mass Spectrometer | Triple Quad ICP MS | IOC R&D | Agilent | ICPMS 8900 | SG18501093 | IOCL | IOCL | NA | Elemental mapping in petroleum refinery feeds and products | Analytical Department | ICPMS | 15136395 | www.agilent.com | Working | Atomic Spectroscopy | Agilent Technologies Singapore (Sales) Pte Ltd | ccc-smt@agilent.com | Agilent Technologies India Pvt Ltd | cag_india@agilent.com | singhdheer@indianoil.in
Ultra High Performance Liquid Chromatograph | UHPLC | IOC R&D | Knaur | Azura | FBT245100001 | IOCL | IOCL | NA | UHPLC with RI & PDA | Analytical Department | UHPLC | 7455000 |  | Working | Chromatograhy | Chromline Equipment Company | karmakarbikas@gmail.com | Chromline Equipment Company | karmakarbikas@gmail.com | singhdheer@indianoil.in
Ultra High Performance Liquid Chromatograph | UHPLC | IOC R&D | Thermofisher | Vanquish | 8355780 | IOCL | IOCL | NA | UHPLC with RI, PDA & CAD | Analytical Department | UHPLC | 7918200 |  | Working | Chromatograhy | Thermo Fisher Scientific India Pvt. Ltd. | Support@thermofisher.com | Thermo Fisher Scientific Pte Ltd. | ininfo@thermofisher.com | singhdheer@indianoil.in
High Performance Liquid Chromatograph | HPLC | IOC R&D | Shimadzu | Nexera X2 | L20565102060AE | IOCL | IOCL | NA | HPLC with RI & PDA | Analytical Department | HPLC | 4042802 |  | Working | Chromatograhy | Shimadzu (Asia Pacific) Pte Ltd | info@shimadzu.in | SPINCOTECH PVT LTD | aniket.rathore@spincotech.com | singhdheer@indianoil.in
High Performance Liquid Chromatograph | HPLC | IOC R&D | Shimadzu | Prominence | L20105546622AE | IOCL | IOCL | NA | HPLC with RI & PDA | Analytical Department | HPLC | 3086305.24 |  | Working | Chromatograhy | Shimadzu (Asia Pacific) Pte Ltd | info@shimadzu.in | SPINCOTECH PVT LTD | aniket.rathore@spincotech.com | singhdheer@indianoil.in
Advanced Gel Permeation Chromatograph | GPC | IOC R&D | Malvern | OMNISEC REVEAL ULTRA | H23QSPQ94A | IOCL | IOCL | NA | Ulttra GPC-PDA/RI/Viscosity/LS | Analytical Department | GPC | 21541963.63 |  | Working | Chromatograhy | Aimil Ltd. | amitbhatia@aimil.com | Aimil Ltd. | sombir@aimil.com | singhdheer@indianoil.in
Ion Chromatograph | IC | IOC R&D | Thermofisher | ICS 6000 | 20010148 | IOCL | IOCL | NA | IC-conductivity detector | Analytical Department | IC | 7526868.77 |  | Working | Chromatograhy | Thermo Fisher Scientific India Pvt. Ltd. | Support@thermofisher.com | Thermo Fisher Scientific Pte Ltd. | ininfo@thermofisher.com | singhdheer@indianoil.in
Cumbustion Ion Chromatograph | CIC | IOC R&D | Thermofisher | AQF-2100H-dionex aquion | 211140072 | IOCL | IOCL | NA | Cumbustion Ion Chromatograph | Analytical Department | CIC | 8267480.23 |  | Working | Chromatograhy | Nittoseiko Analytech | u.ridder@n-analytech.de | Skytech System (India) Pvt. Ltd. | shrikant.sharma@skytechindia.com | singhdheer@indianoil.in
Liquid Chromatograh Mass Spectrometer | LC-MS/MS | IOC R&D | Thermofisher | TSQ- Altis plus | 8348577 | IOCL | IOCL | NA | UPLC with Triple Quadrupole Mass Spectrometer | Analytical Department | LC-MS/MS | 23486298.67 |  | Working | Chromatograhy | Thermo Fisher Scientific India Pvt. Ltd. | Support@thermofisher.com | Thermo Fisher Scientific Pte Ltd. | ininfo@thermofisher.com | singhdheer@indianoil.in
Thin Layer Chromatograph with FID | TLC-FID | IOC R&D | Iatroscan | Iatroscan-MK6 | NA6181102 | IOCL | IOCL | NA | TLC-FID | Analytical Department | TLC-FID | 15137688.53 |  | Working | Chromatograhy | Anchrom Enterprises (I) Pvt. Ltd. | service@anchrom.in | Anchrom Enterprises (I) Pvt. Ltd. | deepak.pal@anchrom.in | singhdheer@indianoil.in
Nitrogen/Sulfur/Chlorine analyzer | N S Cl Analyzer | IOC R&D | Analytic Jena | EA 5100 | A700AX0248 | IOCL | IOCL | NA | D4929 | Analytical Department | Chlorine analysis in Naptha | 69.76 |  | working | Chromatograhy | ANALYTIK JENA INDIA PVT. LTD., | support-india@analytik-jena.com | AnalytikJena, Germany | info@analytik-jena.com | singhdheer@indianoil.in
Gas chromatograph with FID and backflush facility | Fuel Dilution Analyzer | IOC R&D | Shimadzu (Asia Pacific) Pte Ltd | GC-2030 | C2256181607 | IOCL | IOCL | NA | D7593 | Analytical Department | Fuel Dilution | 36.13 |  | working | Chromatograhy | Toshwin Analytical Pvt Ltd | delhi@toshvin.com/rohank@toshvin.com | Shimadzu (Asia Pacific) Pte Ltd | sales@shimadzu.com.sg | singhdheer@indianoil.in
Simulated distillation (SimDis) analysis | SIMDIST | IOC R&D | PerkinElmer Scientific (Singapore) Pte. Ltd. | Clarus 500 | 650N6032302 | IOCL | IOCL | NA | D2887 | Analytical Department | SIMDIST | 32.52 |  | working | Chromatograhy | Spectralytic Scientific India Private Limited. | mjagadish.naidu@perkinelmer.com | PerkinElmer Scientific (Singapore) Pte. Ltd. |  | singhdheer@indianoil.in
Nitrogen/Sulfur analyzer | N/S Analyzer | IOC R&D | Trace Elemental Instruments | Xplorer | 190830336 | IOCL | IOCL | NA | D5762 | Analytical Department | Nitrogen in ppm level in petrolum products | 43.47 |  | working | Chromatograhy | Lab India Pvt Ltd | enquiry@labindia.com | Trace Elemental Instruments | sales@teinstruments.com | singhdheer@indianoil.in
Carbon/Hydrogen/Nitrogen/Sulfur Analyzer | CHNS Analyzer | IOC R&D | Thermo Fisher Scientific Pte Ltd. | Flash 2000 | 2014F.0076 | IOCL | IOCL | NA | D5291 | Analytical Department | Carbon, Hydrogen, Nitrogen & Sulfur analysis in petrolum products | 29.3 |  | working | Chromatograhy | Thermo Fisher Scientific India Pvt. Ltd. | Support@thermofisher.com | Thermo Fisher Scientific Pte Ltd. | enquiry.sg@thermofisher.com | singhdheer@indianoil.in
Gas chromatograph with HID/FID detector | GC-HID/FID | IOC R&D | Young In Chromass | 6500 | G65001392A | IOCL | IOCL | NA | GC-HID/FID | Analytical Department | Analyzing hydrocarbon composition (From C-1 to C-5 paraffinic & olefinic hydrocarbons individually of Dry gas, propylene and LPG | 26.88 |  | working | Chromatograhy | Blaze Analytical Instruments LLP | soumen@blazeanalytical.com | Young In Chromass | export@youngincm.com | singhdheer@indianoil.in
Gas chromatograph with HID/TCD | GC-HID/TCD | IOC R&D | Young In Chromass | 6500 | G65001381A | IOCL | IOCL | NA | GC-HID/TCD | Analytical Department | Analysis of permanent gas (H2, O2, N2, CO, CO2) in Dry gas, propylene and LPG samples | 29.86 |  | working | Chromatograhy | Blaze Analytical Instruments LLP | soumen@blazeanalytical.com | Young In Chromass | export@youngincm.com | singhdheer@indianoil.in
Detail hydrocarbon Hydrocarbon analysis | Prefrac-DHA | IOC R&D | PAC | 8890 | CN2014A104 | IOCL | IOCL | NA | D6730 | Analytical Department | Detailed analysis of the hydrocarbons in the range of C5-C12 in petroleum products | 61.74 |  | working | Chromatograhy | Marsap Services Pvt. Ltd | accounts@marsap.com | PAC | sales.usa@paclp.com | singhdheer@indianoil.in
Refinery Gas Analyzer | RGA | IOC R&D | PerkinElmer Scientific (Singapore) Pte. Ltd. | Clarus 690 | 690S20020701 | IOCL | IOCL | NA | Hydrocarbons and Non-Hydrocarbon Gases in Gaseous samples | Analytical Department | RGA | 4244000 | www.perkinelmer.com | Working | Chromatograhy | PerkinElmer Scientific (Singapore) Pte. Ltd. | Matthew.Welton@perkinelmer.com | Spectralytic Scientific India Pvt Ltd | india.servicesupport@perkinelmer.com | singhdheer@indianoil.in
Nitrogen Sulfur Analyzer | N/S Analyzer | IOC R&D | Nittoseiko Analytech | NSX2100V | D8IA0785 | IOCL | IOCL | NA | Nitrogen and sulfur quantification | Analytical Department | N/S Analyzer | 4833000 | www.n-analytech.co.jp | Working | Chromatograhy | Nittoseiko Analytech | u.ridder@n-analytech.de | Skytech System (India) Pvt. Ltd. | csdservice@skytechindia.com | singhdheer@indianoil.in
Biodiesel Analyzer | Biodiesel Analyzer | IOC R&D | Shimadzu (Asia Pacific) Pte Ltd | GC-2030 | C12256181495 | IOCL | IOCL | NA | Ester, PUFA, Glycerides in Biodiesel | Analytical Department | Biodiesel Analyzer | 7627000 | www.shimadzu.com | Working | Chromatograhy | Shimadzu (Asia Pacific) Pte Ltd | info@shimadzu.in | Toshwin Analytical Pvt Ltd | mpandit@toshvin.com | singhdheer@indianoil.in
Gas Chromatography-Mass Spectrometry | GC-MS | IOC R&D | Shimadzu (Asia Pacific) Pte Ltd | GCMS-TQ8050 NX | 217660 | IOCL | IOCL | NA | Quantitative analysis | Analytical Department | GC-MS | 9035000 | www.shimadzu.com | Working | Chromatograhy | Shimadzu (Asia Pacific) Pte Ltd | info@shimadzu.in | Toshwin Analytical Pvt Ltd | mpandit@toshvin.com | singhdheer@indianoil.in
Gas Chromatography with sulphur chemiluminescence detector | GC-SCD | IOC R&D | Shimadzu (Asia Pacific) Pte Ltd | SCD-2030 | C12256081173 | IOCL | IOCL | NA | Sulphur speciation | Analytical Department | GC-SCD | 7318000 | www.shimadzu.com | Working | Chromatograhy | Shimadzu (Asia Pacific) Pte Ltd | info@shimadzu.in | Toshwin Analytical Pvt Ltd | mpandit@toshvin.com | singhdheer@indianoil.in
Gas Chromatography with Vacuum Ultraviolet Absorption Spectroscopy Detection | GC-VUV | IOC R&D | Shimadzu (Asia Pacific) Pte Ltd | GC-2030 | C122562 | IOCL | IOCL | NA | PIONA analysis | Analytical Department | GC-VUV | 20529000 | www.shimadzu.com | Working | Chromatograhy | Shimadzu (Asia Pacific) Pte Ltd | info@shimadzu.in | Toshwin Analytical Pvt Ltd | mpandit@toshvin.com | singhdheer@indianoil.in
Wavelength dispersive X-Ray Fluorescence | WDXRF | IOC R&D | Rigaku | ZSX Primus | BE69000045-01 | IOCL | IOCL | NA | WDXRF | Analytical Department | XRF | 10485000 | www.irtech.in | Working | Elemental Analysis | Rigaku |  | M/s IR Tech | service_del@irtech.in | singhdheer@indianoil.in
X-Ray Photoelectron Spectroscopy | XPS | IOC R&D | PHI | VersaProbe 5000 |  | IOCL | IOCL | NA | XPS | Analytical Department | XPS | 43906740 | www.phi.com | Not working | Spectroscopy | PHI Electronics |  | M/s Icon Analytical | nkamat@iconanalytical.com | singhdheer@indianoil.in
NMR Spectrometer ECA500 | NMR | IOC R&D | Jeol Asia | JNM ECA500 | NM1038000440044 | IOCL | IOCL | NA | Nuclear Magnetic Resonance Spectrometer: Used for Reaction Monitoring, Qualitative and Quantitative Characterization Fuels, Additives, Lubricants, Pertrochemiclas etc. | Analytical Departmnet | NMR |  | www.jeol.com | Working | Spectroscopy | Jeol Asia Pte Ltd | jeolasia@singnet.com.sg | Jeol India | info@jeolindia.com | singhdheer@indianoil.in
NMR Spectrometer ECZ500 | NMR | IOC R&D | Jeol Asia | JNM ECZ500 | NM1759000300030 | IOCL | IOCL | NA | Nuclear Magnetic Resonanace Spectrometer: Used for Qulitative and Quantitative Characterization Fuels, Additives, Lubricants, Polymer, Pertrochemiclas etc. | Analytical Departmnet | NMR |  | www.jeol.com | Working | Spectroscopy | Jeol Asia Pte Ltd | jeolasia@singnet.com.sg | Jeol India | info@jeolindia.com | singhdheer@indianoil.in
High Resolution Mass Spectrometer | HRMS | IOC R&D | Jeol Asia | JCA 7000 |  | IOCL | IOCL |  | HRMS | Analytical Departmnet | HRMS |  | www.jeol.com | Not working | Spectroscopy | Jeol Asia Pte Ltd | jeolasia@singnet.com.sg | Jeol India | info@jeolindia.com | singhdheer@indianoil.in
FTIR Spectrometer | FTIR | IOC R&D | Jasco | FT/IR 4X | A039062111 | IOCL | IOCL | NA | FTIR Spectrometer | Analytical Departmnet | FTIR Spectrometer | 2205000 | https://www.jasco-global.com/ | Working | Spectroscopy | Anatek Services Pvt Ltd, Delhi | ranjan@anatekservices.com | Anatek Services Pvt Ltd, Delhi | ranjan@anatekservices.com | singhdheer@indianoil.in
UV Vis NIR Spectrometer | UV-Vis NIR | IOC R&D | Shimadzu | UV 3600I PLUS | A12615900148 | IOCL | IOCL | NA | UV Vis NIR Spectrometer | Analytical Departmnet | UV Vis NIR Spectrometer | 5395000 |  | Working | Spectroscopy | Shimadzu Analytical (India) Pvt.Ltd. | infodelhi@shimadzu.in | Shimadzu Analytical (India) Pvt.Ltd. | infodelhi@shimadzu.in | singhdheer@indianoil.in
Raman Spectrometer | RAMAN | IOC R&D | Horiba | LabRam HR Evo | 1349 | IOCL | IOCL | NA | Raman Spectrometer | Analytical Departmnet | Raman Spectrometer | 13522900 |  | Working | Spectroscopy | Horiba India | Mohit.sharma@horiba.com | Horiba India | Mohit.sharma@horiba.com | singhdheer@indianoil.in
ICAP Optical Emission Spectrometer | ICP | IOC R&D | Agilent | 5800VDV | MY2320CQ08 | IOCL | IOCL | NA | ICAP Optical Emission Spectrometer | Analytical Departmnet | ICAP Optical Emission Spectrometer | 8366000 |  | Working | Elemental Analysis | Agilent India | customercare.india@agilent.com | Agilent India | customercare.india@agilent.com | singhdheer@indianoil.in
ICAP Optical Emission Spectrometer | ICP | IOC R&D | Thermo | ICAP PRO XP DUO | ICAPPRO10786 | IOCL | IOCL | NA | ICAP Optical Emission Spectrometer | Analytical Departmnet | ICAP Optical Emission Spectrometer | 7352000 |  | Working | Elemental Analysis | Thermo Fisher India | ankit.laddha@thermofisher.com | Thermo Fisher India | ankit.laddha@thermofisher.com | singhdheer@indianoil.in

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE